## Item 1 Cell Washer Centrifuge
Form D: Technical Quotation Form
RFQ reference no: RFQ/2025/56626
Name of Bidder: [insert name of bidder]
Date: [insert submission date]
Bidders are required to complete the Comparative Data Tables below to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.
Technical specifications for goods – Comparative Data Table
Item 1: Benchtop Cell Washer Centrifuge
Model (full name) |  | Insert Details
Manufacturer (full name) |  | Insert Details
Country of Origin |  | Insert Details
| Item Specification | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete
A | General description:
1 | Centrifuge supports specific applications in the clinical and medical industry such as washing away cellular debris, extraneous proteins, and other constituents from red blood cells of donor blood. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
2 | Link to the proposed model: The participant must provide a link to the proposed model on the Manufacturer's website in English. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
B | Technical specifications:
3 | User-friendly operation with keypad control and easy-to-read digital displays | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
4 | Automatic alerts indicate if the saline level is low, and when a run is complete | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
5 | Fast run – finish washing 24 samples in up to 3 minutes | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
6 | Achieve optimal corpuscle dryness by setting desired decanting speed | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
7 | Improve corpuscle washing with optional overflow method during centrifugation step | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
8 | For washing, tubes swing at a fixed positive angle to sediment cells rapidly at the bottom of the tube | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
9 | For decanting, the rotor holds tubes at a slightly negative angle and the saline is decanted centrifugally | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
10 | Manual mode available to wash the cells step-by-step, allowing closed monitoring of washing process | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
11 | Tube racks with red and blue number labelling for easy sample balancing | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
12 | 4-stage display: Wash - Centrifuge - Decant - Agitate | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
13 | User interface user friendly with English and Russian available | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
C | Power supply:
14 | 220 V ± 10 %, 50/60 Hz: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
D | Components, spare parts, consumables:
15 | The supplier (if necessary) must complete the equipment (taking into account the specifics of the proposed model) with all the necessary parts, components, materials (the cost of which should be included in the tender offer) for assembly, installation and commissioning at the workplace. Completeness should ensure the full functioning of the declared equipment. | ☐ Yes ☐ No | Attach Supporting Statement
16 | The supplier (if necessary) must equip the equipment (taking into account the specifics of the proposed model) with all the necessary spare parts (the cost of which must be included in the tender offer) for its full operation during the warranty period. A list of such spare parts shall be submitted in the bid. | ☐ Yes ☐ No | Attach Supporting Statement
E | Quality and Safety Standards For the purposes of this tender a supplier can either be a distributor (intermediary who does not manufacture but only provides the health product) or the manufacturer of a product. Requirements for distributors: Distributors of medical devices and health products shall: Have all the licences and authorizations required under national legislation of the country of operation issued by the national regulatory authority or other relevant entity; and Have a Quality Management System (preferably compliant to ISO 9001 or other applicable quality management system requirements). Relevant certificates, licences, permits, authorisations or other documents, as may be applicable, attesting to existence of such QMS shall be provided as requested. Requirements for Manufacturers: Manufacturers of Medical Devices and other health products shall, subject to applicable regulations: Have a duly authorised manufacturing licence, valid for all relevant manufacturing sites and activities performed, issued by the National Regulatory Authority of the country of manufacturing and be Good Manufacturing Practice (GMP) compliant according to the applicable regulatory framework and national regulations; and Have a valid and certified QMS, according to the following requirements: latest versions in force ISO 13485 or any of the applicable ISO standard (ISO 9001 etc.), when the first is not applicable, or an equivalent QMS standard (equivalence defined below from b. to c.); and the QMS shall include the scope and the locations and facilities where the relevant activities are performed; The QMS shall be issued by Conformity Assessment Bodies (CABs), Notified or Accredited bodies recognised by the Regulatory Authority of one of the Global Harmonization Task Force (GHTF) Founding Member countries (Australia, Canada, EU, Japan, US). | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
F | Product Certification Compliance with internationally recognized standards of quality is expected for all the offered items: Compliance and certification to Regulation (EU) 2017/745 (MDR) or Directive 93/42/EEC or FDA approval or EU type Declaration of Conformity, issued by the manufacturer and verified by the Notification Body (NB). However, other certificates issued in compliance with the regulatory frameworks of the founder countries of the Global Harmonization Task Force (GHTF) are also acknowledged, if properly explained by the bidder (for all items offered/types of equipment). | ☐ Yes ☐ No | As per Section II.2c, attach the certifications
G | Manufacturer's commitment to sustainability: It is preferred that the manufacturing facilities, where the offered equipment are manufactured, possess a valid ISO 14001 Environmental Management System (EMS) certificate. In the absence of ISO 14001, an EMS certificate issued by a competent national body can be considered.
H | The awarded bidder is required to provide, where applicable, UNOPS with the hazardous property sheet (MSDS or alike) and documents under which the quality assurance was processed in the Manufacturer’s country, as shown in Operation and Service Manuals, within 2 weeks after award. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
I | Confirm that General Requirements as per Section III. 2 of the Schedule of Requirements are met | ☐ Yes ☐ No | Insert details of how these requirements are met
J | Confirm that Training services shall be provided as per Section III.3.3 of the Schedule of Requirements of draft contract. | ☐ Yes ☐ No | Insert details of how these services are offered, including the names and addresses of all the parties/institutions that will provide the services.
K | Confirm that Warranty and After-sales services shall be provided as per Section III.3.4 of the Schedule of Requirements of draft contract | ☐ Yes ☐ No | Insert details of how these services are offered, including the name and address of the local agent (if any) that will carry out the services.
L | Documentation and Licences
17 | Operating instructions in English and/or Russian and/or Uzbek language (if not available, please confirm that they shall be supplied together with the equipment): | ☐ Yes ☐ No | Insert details of the goods offered
18 | Maintenance manual in English and/or Russian and/or Uzbek (if not available, please confirm that they shall be supplied together with the equipment). | ☐ Yes ☐ No | Insert details of the goods offered
19 | All software shall support English and/or Russian language, shall be original and officially licensed to the beneficiary, without additional fees/subscriptions required for operating the equipment over its lifecycle. | ☐ Yes ☐ No | Insert details of the goods offered
The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements and Schedule IV: Draft Contract for Goods.
☐ Yes ☐ No
ANY DEVIATION MUST BE LISTED BELOW:
Name :
Title :
Date :
Signature : _____________________________________________________________
[Stamp this form with official stamp of the bidder]

## Item 2 Refrigerated benchtop ce
Form D: Technical Quotation Form
RFQ reference no: RFQ/2025/56626
Name of Bidder: [insert name of bidder]
Date: [insert submission date]
Bidders are required to complete the Comparative Data Tables below to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.
Technical specifications for goods – Comparative Data Table
Item 2: Refrigerated benchtop centrifuge
Model (full name) |  | Insert Details
Manufacturer (full name) |  | Insert Details
Country of Origin |  | Insert Details
| Item Specification | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete
A | General description:
1 | Laboratory refrigerated centrifuge is intended for for the separation of biological fluids (blood, urine, etc.) in the field of centrifugal forces in the laboratory. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
2 | Link to the proposed model: The participant must provide a link to the proposed model on the Manufacturer's website in English. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
B | Technical specifications:
3 | Rotor holds at least 12 tubes of 50 ml | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
4 | Speed range from 100 to 5000 rpm | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
5 | Minimum Relative Centrifugal Force (RCF) of at least of 3,000 x g. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
6 | Microcomputer control, digital or analog indicators of speed and time | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
7 | Brushless motor, no dust pollution | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
8 | Tabletop model | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
9 | Approximate acceleration time: 10 sec | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
10 | Adjustable speed in steps of 100 rpm | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
11 | Timer: 1-99 min. and continuous work | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
12 | Adjustable working temperature range not smaller than - 20° to + 40°C. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
13 | Temperature increments: 1°C. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
14 | The system shall be able to maintain a temperature of 4°C even at maximum speed. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
15 | The system shall be able to reach a temperature of 4°C from ambient temperature, in a time no greater than 10 minutes. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
16 | Automatic safety lock cover during operation | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
C | Power supply:
17 | 220 V ± 10 %, 50/60 Hz: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
18 | Network cable, European standard connector:
D | Components, spare parts, consumables:
19 | One (1) rotor for at least 12 tubes of 50 ml | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
20 | One (1) rotor for at least 12 tubes of 15 ml | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
21 | The supplier (if necessary) must complete the equipment (taking into account the specifics of the proposed model) with all the necessary parts, components, materials (the cost of which should be included in the tender offer) for assembly, installation and commissioning at the workplace. Completeness should ensure the full functioning of the declared equipment. | ☐ Yes ☐ No | Attach Supporting Statement
22 | The supplier (if necessary) must equip the equipment (taking into account the specifics of the proposed model) with all the necessary spare parts (the cost of which must be included in the tender offer) for its full operation during the warranty period. A list of such spare parts shall be submitted in the bid. | ☐ Yes ☐ No | Attach Supporting Statement
E | Quality and Safety Standards Distributors of medical devices and health products shall: Have all the licences and authorizations required under national legislation of the country of operation issued by the national regulatory authority or other relevant entity; and Have a Quality Management System (preferably compliant to ISO 9001 or other applicable quality management system requirements). Relevant certificates, licences, permits, authorisations or other documents, as may be applicable, attesting to existence of such QMS shall be provided as requested. Requirements for Manufacturers: Manufacturers of Medical Devices and other health products shall, subject to applicable regulations: Have a duly authorised manufacturing licence, valid for all relevant manufacturing sites and activities performed, issued by the National Regulatory Authority of the country of manufacturing and be Good Manufacturing Practice (GMP) compliant according to the applicable regulatory framework and national regulations; and Have a valid and certified QMS, according to the following requirements: latest versions in force ISO 13485 or any of the applicable ISO standard (ISO 9001 etc.), when the first is not applicable, or an equivalent QMS standard (equivalence defined below from b. to c.); and the QMS shall include the scope and the locations and facilities where the relevant activities are performed; The QMS shall be issued by Conformity Assessment Bodies (CABs), Notified or Accredited bodies recognised by the Regulatory Authority of one of the Global Harmonization Task Force (GHTF) Founding Member countries (Australia, Canada, EU, Japan, US). | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
F | Product Certification Compliance with internationally recognized standards of quality is expected for all the offered items: Compliance and certification to Regulation (EU) 2017/745 (MDR) or Directive 93/42/EEC or FDA approval or EU type Declaration of Conformity, issued by the manufacturer and verified by the Notification Body (NB). However, other certificates issued in compliance with the regulatory frameworks of the founder countries of the Global Harmonization Task Force (GHTF) are also acknowledged, if properly explained by the bidder (for all items offered/types of equipment). | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
G | Manufacturer's commitment to sustainability: It is preferred that the manufacturing facilities, where the offered equipment are manufactured, possess a valid ISO 14001 Environmental Management System (EMS) certificate. In the absence of ISO 14001, an EMS certificate issued by a competent national body can be considered. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
H | The awarded bidder is required to provide, where applicable, UNOPS with the hazardous property sheet (MSDS or alike) and documents under which the quality assurance was processed in the Manufacturer’s country, as shown in Operation and Service Manuals, within 2 weeks after award. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
I | Confirm that General Requirements as per Section III. 2 of the Schedule of Requirements are met | ☐ Yes ☐ No | Insert details of how these services are offered, including the names and addresses of all the parties/institutions that will provide the services.
J | Confirm that Training services shall be provided as per Section III.3.3 of the Schedule of Requirements of draft contract. | ☐ Yes ☐ No | Insert details of how these services are offered, including the name and address of the local agent (if any) that will carry out the services.
K | Confirm that Warranty and After-sales services shall be provided as per Section III.3.4 of the Schedule of Requirements of draft contract | ☐ Yes ☐ No | Insert details of how these requirements are met
L | Documentation and Licences
23 | Operating instructions in English and/or Russian and/or Uzbek language (if not available, please confirm that they shall be supplied together with the equipment): | ☐ Yes ☐ No | Insert details of the goods offered
24 | Maintenance manual in English and/or Russian and/or Uzbek (if not available, please confirm that they shall be supplied together with the equipment). | ☐ Yes ☐ No | Insert details of the goods offered
25 | All software shall support English and/or Russian language, shall be original and officially licensed to the beneficiary, without additional fees/subscriptions required for operating the equipment over its lifecycle. | ☐ Yes ☐ No | Insert details of the goods offered
M | Confirmation statement on the unloading of the goods within the final Lot of destination as per RFQ specified Locations | ☐ Yes ☐ No | Attach Supporting Statement
The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements and Schedule IV: Draft Contract for Goods.
☐ Yes ☐ No
ANY DEVIATION MUST BE LISTED BELOW:
Name :
Title :
Date :
Signature : _____________________________________________________________
[Stamp this form with official stamp of the bidder]

## Item 3 Centrifuge, microhematoc
Form D: Technical Quotation Form
RFQ reference no: RFQ/2025/56626
Name of Bidder: [insert name of bidder]
Date: [insert submission date]
Bidders are required to complete the Comparative Data Tables below to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.
Technical specifications for goods – Comparative Data Table
Item 3: Centrifuge, microhematocrit
Model (full name) |  | Insert Details
Manufacturer (full name) |  | Insert Details
Country of Origin |  | Insert Details
| Item Specification | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete
A | General description:
1 | Centrifuge has a wide range of applications covering clinical, research, specific laboratory use. The system comes with rotors for microplates and high speed ﬁxed angle rotors for microtubes and centrifuge tubes. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
2 | Link to the proposed model: The participant must provide a link to the proposed model on the Manufacturer's website in English. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
B | Technical specifications:
3 | Rotor speed 16000 rpm | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
4 | Maximum g-force: 23511 x g | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
5 | Maximum capacity 4 x 400 ml tubes | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
6 | Speed ​​adjustment: up to 16000 rpm / 23511 x g, in divisions of 100 rpm or 100 x g | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
7 | Timer setting: 9 min 59 sec in 1 sec increments | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
8 | Unlimited continuous centrifugation mode | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
9 | Pulse mode for short centrifuges at maximum speed | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
10 | 10 levels of acceleration and 10 levels of deceleration | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
11 | Pulse mode for short, fast centrifugation | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
12 | Audible signal to complete spinning and report a fault, with the possibility of switching off if necessary | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
13 | Possibility to change set parameters (speed, RCF, time, acceleration / deceleration) during centrifuge operation | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
14 | Noise level at 1m distance <68 dBa | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
15 | Automatic door lock after start | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
16 | Aluminium rotor with airtight cover, capacity min 24 seats for 2 ml tubes, fixed rotor angle 45 °, k factor 185 | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
17 | Aluminium rotor with a capacity of 10 places for 10 ml tubes, fixed rotor angle 35 °, k factor 500 | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
18 | Aluminium fixed angle rotor for 15 ml conical and round-bottom tubes k factor 500 | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
19 | Swing Out rotor 0-90 ° for 2 x microtiter plates, maximum app RPM 4500, maximum force 2700 RPM | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
C | Power supply:
20 | 220 V ± 10 %, 50/60 Hz: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
21 | Network cable, European standard connector:
D | Components, spare parts, consumables:
22 | The supplier (if necessary) must complete the equipment (taking into account the specifics of the proposed model) with all the necessary parts, components, materials (the cost of which should be included in the tender offer) for assembly, installation and commissioning at the workplace. Completeness should ensure the full functioning of the declared equipment. | ☐ Yes ☐ No | Attach Supporting Statement
23 | The supplier (if necessary) must equip the equipment (taking into account the specifics of the proposed model) with all the necessary spare parts (the cost of which must be included in the tender offer) for its full operation during the warranty period. A list of such spare parts shall be submitted in the bid. | ☐ Yes ☐ No | Attach Supporting Statement
E | Quality and Safety Standards For the purposes of this tender a supplier can either be a distributor (intermediary who does not manufacture but only provides the health product) or the manufacturer of a product. Requirements for distributors: Distributors of medical devices and health products shall: Have all the licences and authorizations required under national legislation of the country of operation issued by the national regulatory authority or other relevant entity; and Have a Quality Management System (preferably compliant to ISO 9001 or other applicable quality management system requirements). Relevant certificates, licences, permits, authorisations or other documents, as may be applicable, attesting to existence of such QMS shall be provided as requested. Requirements for Manufacturers: Manufacturers of Medical Devices and other health products shall, subject to applicable regulations: Have a duly authorised manufacturing licence, valid for all relevant manufacturing sites and activities performed, issued by the National Regulatory Authority of the country of manufacturing and be Good Manufacturing Practice (GMP) compliant according to the applicable regulatory framework and national regulations; and Have a valid and certified QMS, according to the following requirements: latest versions in force ISO 13485 or any of the applicable ISO standard (ISO 9001 etc.), when the first is not applicable, or an equivalent QMS standard (equivalence defined below from b. to c.); and the QMS shall include the scope and the locations and facilities where the relevant activities are performed; The QMS shall be issued by Conformity Assessment Bodies (CABs), Notified or Accredited bodies recognised by the Regulatory Authority of one of the Global Harmonization Task Force (GHTF) Founding Member countries (Australia, Canada, EU, Japan, US). | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
F | Product Certification Compliance with internationally recognized standards of quality is expected for all the offered items: Compliance and certification to Regulation (EU) 2017/745 (MDR) or Directive 93/42/EEC or FDA approval or EU type Declaration of Conformity, issued by the manufacturer and verified by the Notification Body (NB). However, other certificates issued in compliance with the regulatory frameworks of the founder countries of the Global Harmonization Task Force (GHTF) are also acknowledged, if properly explained by the bidder (for all items offered/types of equipment). Specific Certification requirements are specified in the Technical Specifications of each particular item. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
G | Manufacturer's commitment to sustainability: It is preferred that the manufacturing facilities, where the offered equipment are manufactured, possess a valid ISO 14001 Environmental Management System (EMS) certificate. In the absence of ISO 14001, an EMS certificate issued by a competent national body can be considered. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
H | The awarded bidder is required to provide, where applicable, UNOPS with the hazardous property sheet (MSDS or alike) and documents under which the quality assurance was processed in the Manufacturer’s country, as shown in Operation and Service Manuals, within 2 weeks after award. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
I | Confirm that General Requirements as per Section III. 2 of the Schedule of Requirements are met | ☐ Yes ☐ No | Provide the details and the relevant specific information regarding the service.
J | Confirm that Training services shall be provided as per Section III.3.3 of the Schedule of Requirements of draft contract. | ☐ Yes ☐ No | Insert details of how these services are offered, including the names and addresses of all the parties/institutions that will provide the services.
K | Confirm that Warranty and After-sales services shall be provided as per Section III.3.4 of the Schedule of Requirements of draft contract | ☐ Yes ☐ No | Insert details of how these services are offered, including the name and address of the local agent (if any) that will carry out the services.
L | Documentation and Licences
24 | Operating instructions in English and/or Russian and/or Uzbek language (if not available, please confirm that they shall be supplied together with the equipment): | ☐ Yes ☐ No | Insert details of the goods offered
25 | Maintenance manual in English and/or Russian and/or Uzbek (if not available, please confirm that they shall be supplied together with the equipment). | ☐ Yes ☐ No | Insert details of the goods offered
26 | All software shall support English and/or Russian language, shall be original and officially licensed to the beneficiary, without additional fees/subscriptions required for operating the equipment over its lifecycle. | ☐ Yes ☐ No | Insert details of the goods offered
The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements and Schedule IV: Draft Contract for Goods.
☐ Yes ☐ No
ANY DEVIATION MUST BE LISTED BELOW:
Name :
Title :
Date :
Signature : _____________________________________________________________
[Stamp this form with official stamp of the bidder]

## Item 4 Centrifuge, benchtop mic
Form D: Technical Quotation Form
RFQ reference no: RFQ/2025/56626
Name of Bidder: [insert name of bidder]
Date: [insert submission date]
Bidders are required to complete the Comparative Data Tables below to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.
Technical specifications for goods – Comparative Data Table
Item 4: Centrifuge, benchtop micro, high-speed.
Model (full name) |  | Insert Details
Manufacturer (full name) |  | Insert Details
Country of Origin |  | Insert Details
| Item Specification | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete
A | General description:
1 | System to be used for the separation of samples with smaller volumes ranging from 0.5 to 2 µl. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
2 | Link to the proposed model: The participant must provide a link to the proposed model on the Manufacturer's website in English. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
B | Technical specifications:
3 | Maximum rotor speed 14800 rpm | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
4 | Maximum g-force: app 16000 xg | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
5 | Maximum capacity 12 x 1.5/2 ml tube | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
6 | Timer setting: 20 sec to 99 min 59 sec in 1 sec increments | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
7 | Acceleration / deceleration time from max speed: 17 sec / 18 sec | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
8 | Pulse mode for short, fast centrifugation | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
9 | Dimensions not larger than (H x L x W): 180mm x 280mm x 230mm | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
10 | Device weight maximum 7 kg | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
11 | Noise level at 1m distance <60 dBa | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
12 | Rotor imbalance detection | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
13 | Rotor exchange without tool | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
14 | Rotor with protective cover | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
C | Power supply:
15 | 220 V ± 10 %, 50/60 Hz: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
16 | Network cable, European standard connector:
D | Components, spare parts, consumables:
17 | The supplier (if necessary) must complete the equipment (taking into account the specifics of the proposed model) with all the necessary parts, components, materials (the cost of which should be included in the tender offer) for assembly, installation and commissioning at the workplace. Completeness should ensure the full functioning of the declared equipment. | ☐ Yes ☐ No | Attach Supporting Statement
18 | The supplier (if necessary) must equip the equipment (taking into account the specifics of the proposed model) with all the necessary spare parts (the cost of which must be included in the tender offer) for its full operation during the warranty period. A list of such spare parts shall be submitted in the bid. | ☐ Yes ☐ No | Attach Supporting Statement
E | Quality and Safety Standards For the purposes of this tender a supplier can either be a distributor (intermediary who does not manufacture but only provides the health product) or the manufacturer of a product. Requirements for distributors: Distributors of medical devices and health products shall: Have all the licences and authorizations required under national legislation of the country of operation issued by the national regulatory authority or other relevant entity; and Have a Quality Management System (preferably compliant to ISO 9001 or other applicable quality management system requirements). Relevant certificates, licences, permits, authorisations or other documents, as may be applicable, attesting to existence of such QMS shall be provided as requested. Requirements for Manufacturers: Manufacturers of Medical Devices and other health products shall, subject to applicable regulations: Have a duly authorised manufacturing licence, valid for all relevant manufacturing sites and activities performed, issued by the National Regulatory Authority of the country of manufacturing and be Good Manufacturing Practice (GMP) compliant according to the applicable regulatory framework and national regulations; and Have a valid and certified QMS, according to the following requirements: latest versions in force ISO 13485 or any of the applicable ISO standard (ISO 9001 etc.), when the first is not applicable, or an equivalent QMS standard (equivalence defined below from b. to c.); and the QMS shall include the scope and the locations and facilities where the relevant activities are performed; The QMS shall be issued by Conformity Assessment Bodies (CABs), Notified or Accredited bodies recognised by the Regulatory Authority of one of the Global Harmonization Task Force (GHTF) Founding Member countries (Australia, Canada, EU, Japan, US). | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
F | Product Certification Compliance with internationally recognized standards of quality is expected for all the offered items: Compliance and certification to Regulation (EU) 2017/745 (MDR) or Directive 93/42/EEC or FDA approval or EU type Declaration of Conformity, issued by the manufacturer and verified by the Notification Body (NB). However, other certificates issued in compliance with the regulatory frameworks of the founder countries of the Global Harmonization Task Force (GHTF) are also acknowledged, if properly explained by the bidder (for all items offered/types of equipment). | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
G | Manufacturer's commitment to sustainability: It is preferred that the manufacturing facilities, where the offered equipment are manufactured, possess a valid ISO 14001 Environmental Management System (EMS) certificate. In the absence of ISO 14001, an EMS certificate issued by a competent national body can be considered. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
H | The awarded bidder is required to provide, where applicable, UNOPS with the hazardous property sheet (MSDS or alike) and documents under which the quality assurance was processed in the Manufacturer’s country, as shown in Operation and Service Manuals, within 2 weeks after award. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
I | Confirm that General Requirements as per Section III. 2 of the Schedule of Requirements are met | ☐ Yes ☐ No | Provide the details and the relevant specific information regarding the service.
J | Confirm that Training services shall be provided as per Section III.3.3 of the Schedule of Requirements of draft contract. | ☐ Yes ☐ No | Insert details of how these services are offered, including the names and addresses of all the parties/institutions that will provide the services.
K | Confirm that Warranty and After-sales services shall be provided as per Section III.3.4 of the Schedule of Requirements of draft contract | ☐ Yes ☐ No | Insert details of how these services are offered, including the name and address of the local agent (if any) that will carry out the services.
L | Documentation and Licences
19 | Operating instructions in English and/or Russian and/or Uzbek language (if not available, please confirm that they shall be supplied together with the equipment): | ☐ Yes ☐ No | Insert details of the goods offered
20 | Maintenance manual in English and/or Russian and/or Uzbek (if not available, please confirm that they shall be supplied together with the equipment). | ☐ Yes ☐ No | Insert details of the goods offered
21 | All software shall support English and/or Russian language, shall be original and officially licensed to the beneficiary, without additional fees/subscriptions required for operating the equipment over its lifecycle. | ☐ Yes ☐ No | Insert details of the goods offered
The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements and Schedule IV: Draft Contract for Goods.
☐ Yes ☐ No
ANY DEVIATION MUST BE LISTED BELOW:
Name :
Title :
Date :
Signature : _____________________________________________________________
[Stamp this form with official stamp of the bidder]

## Item 5 Centrifuge, blood bank (
Form D: Technical Quotation Form
RFQ reference no: RFQ/2025/56626
Name of Bidder: [insert name of bidder]
Date: [insert submission date]
Bidders are required to complete the Comparative Data Tables below to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.
Technical specifications for goods – Comparative Data Table
Item 5: Centrifuge, blood bank (hematocrit rotor)
Model (full name) |  | Insert Details
Manufacturer (full name) |  | Insert Details
Country of Origin |  | Insert Details
| Item Specification | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete
A | General description:
1 | The device is designed for automatic separation of highly purified cell fractions from the concentrate of leukocytes and bone marrow aspirates: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
2 | Link to the proposed model: The participant must provide a link to the proposed model on the Manufacturer's website in English. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
B | Technical Specifications
3 | Principle of operation – magnetic separation: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
4 | Fully automated system: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
C | Operating modes:
6 | Cell washing: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
7 | Centrifugation in density gradient: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
8 | Immunomagnetic separation: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
9 | Cultivation of cells (with the possibility of forming a gaseous medium with a given composition): | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
10 | Maintaining the required temperature inside the centrifugation/culture chamber: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
11 | Formation of the final product: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
12 | Magnet Module: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
13 | Centrifugation module: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
14 | Module for monitoring the gas composition of the atmosphere of the centrifugation/cultivating chamber | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
15 | Peristaltic pump: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
16 | Temperature control module: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
17 | Liquid/air sensors: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
18 | Pressure sensor: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
19 | Temperature sensor: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
20 | Signal lamp: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
21 | Signal buzzer: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
22 | Color touch screen control: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
23 | Microscope Camera: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
24 | Centrifugation speed not less than: 2,500 rpm | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
25 | Number of solenoid valves not less than: 24 | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
26 | Peristaltic pump speed in the range not less than: 2 - 600 ml/min | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
27 | Temperature control in the range not less than: 4° - 38°C | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
28 | The maximum magnification of the microscope camera is not less than: 400x | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
29 | Isolation of cells - in sterile conditions: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
30 | Automated reduction/increase of sample volume: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
31 | Isolation of the thromboleucocytolytic layer, its automatic detection: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
32 | Carrying out a multi-stage procedure of immunomagnetic separation: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
33 | Special functions for the formation of the finished cell product: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
34 | Volume adjustment: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
35 | Resuspending of cells in the storage medium: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
36 | Finishing product formation: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
37 | Transfer of cell mass to the final container: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
38 | Purity of the target cell fraction not less than: 90 % | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
39 | Output of target cells not less than: 70 % | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
40 | Barcode Reader: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
41 | Number of USB ports at least: 3 | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
42 | Ethernet Port: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
D | Power supply:
43 | 220 V ± 10 %, 50/60 Hz: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
44 | Network cable, Eurostandard connector: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
E | Components, spare parts, consumables:
45 | Sterile sealing device: 1 pc. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
46 | Model (full and exact name): | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
| Manufacturer (full and exact name): | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
| Country of origin: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
| Technical documentation: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
47 | The device is designed for sterile sealing (welding) of tubes of plastic containers with blood: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
48 | Sterile connection of PVC liquid-filled tubes: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
49 | The outer diameter of the connected PVC tubes in the range not less than: 4,0 - 4,5 mm | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
50 | The inner diameter of the connected PVC tubes in the range not less than: 2,9 - 3,1 mm | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
51 | The heating temperature of the sealing plate is not less than: 300°C | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
52 | Sealing time (welding) not more than: 15 sec. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
53 | The capacity of the cassette with disposable plates is not less than: 70 | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
54 | Built-in container for used plates: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
55 | LCD display with current parameters: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
56 | Plates - electrodes sealing, disposable: 300 pcs | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
57 | Plastic highways for T-cell transduction (starter kit): 1 set | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
58 | Biocompatibility: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
59 | Closed sterile circuit: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
60 | Full integration with the claimed cell separator: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
61 | The kit must meet the requirements of all processing steps, including cell enrichment/deposition, as well as temperature-controlled incubation steps: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
62 | The kit shall include backbones, bags and sterile access ports for the addition of samples, media, reagents, a module for centrifugation/culture, a column for cell separation, a heat exchange cartridge, and sampling devices for the purpose of carrying out quality control analysis during the process: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
63 | Taking into account the specifics of the declared equipment, the bidder may propose a different composition of the set (with the provision of a list) that meets the requirements specified in paragraph 4.2.4.: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
64 | T-cell culture medium: 1 pack | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
65 | The medium should contain stable glutamine, human albumin (pharmaceutical grade), phenolic red. The composition should not contain components of animal origin and antibiotics. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
66 | The environment must be ready for use; should not require additional preparations: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
67 | By the time of delivery to the customs territory of the Republic of Uzbekistan, the shelf life of consumables (with a limited shelf life) must be at least 80% of the established one. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
68 | The supplier (if necessary) must complete the equipment (taking into account the specifics of the proposed model) with all the necessary parts, components, materials (the cost of which should be included in the tender offer) for assembly, installation and commissioning at the workplace. Completeness should ensure the full functioning of the declared equipment. | ☐ Yes ☐ No | Attach Supporting Statement
69 | The supplier (if necessary) must equip the equipment (taking into account the specifics of the proposed model) with all the necessary spare parts (the cost of which must be included in the tender offer) for its full operation during the warranty period. A list of such spare parts shall be submitted in the bid. | ☐ Yes ☐ No | Attach Supporting Statement
F | Quality and Safety Standards
70 | QMS (ISO 9001, GDP or GSP compliance) certificates for the Bidder | ☐ Yes ☐ No | Attach Supporting Statement
71 | ISO 9001 or ISO 13485 and/or any of the applicable ISO standards (ISO 10993, ISO 14644) for the Manufacturer of the offered goods. | ☐ Yes ☐ No | Attach Supporting Statement
72 | ISO 14001 EMS certificate, or similar, for the Manufacturer of the offered goods. | ☐ Yes ☐ No | Attach Supporting Statement
G | Product Certification Compliance with internationally recognized standards of quality is expected for all the offered items: Compliance and certification to Regulation (EU) 2017/745 (MDR) or Directive 93/42/EEC or FDA approval or EU type Declaration of Conformity, issued by the manufacturer and verified by the Notification Body (NB). However, other certificates issued in compliance with the regulatory frameworks of the founder countries of the Global Harmonization Task Force (GHTF) are also acknowledged, if properly explained by the bidder (for all items offered/types of equipment). | ☐ Yes ☐ No | Attach Supporting Statement
H | The awarded bidder is required to provide, where applicable, UNOPS with the hazardous property sheet (MSDS or alike) and documents under which the quality assurance was processed in the Manufacturer’s country, as shown in Operation and Service Manuals, within 2 weeks after award. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
I | Confirm that General Requirements as per Section III. 2 of the Schedule of Requirements are met | ☐ Yes ☐ No | Provide the details and the relevant specific information regarding the service.
J | Confirm that Training services shall be provided as per Section III.3.3 of the Schedule of Requirements of draft contract. | ☐ Yes ☐ No | Insert details of how these services are offered, including the names and addresses of all the parties/institutions that will provide the services.
K | Confirm that Warranty and After-sales services shall be provided as per Section III.3.4 of the Schedule of Requirements of draft contract | ☐ Yes ☐ No | Insert details of how these services are offered, including the name and address of the local agent (if any) that will carry out the services.
L | Documentation and Licences
73 | Operating instructions in Enlish and/or Russian language (if not available, please confirm that they shall be supplied together with the equipment): | ☐ Yes ☐ No | Insert details of the goods offered
74 | Maintenance manual in English and/or Russian (if not available, please confirm that they shall be supplied together with the equipment). | ☐ Yes ☐ No | Insert details of the goods offered
75 | All software shall support English and/or Russian language, shall be original and officially licensed to the beneficiary, without additional fees/subscriptions required for operating the equipment over its lifecycle. | ☐ Yes ☐ No | Insert details of the goods offered
M | Remote Support
76 | Remote access for on-line technical support/consultation for solving technical and application-related problems without delaying the workflow | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements and Schedule IV: Draft Contract for Goods.
☐ Yes ☐ No
ANY DEVIATION MUST BE LISTED BELOW:
Name :
Title :
Date :
Signature : _____________________________________________________________
[Stamp this form with official stamp of the bidder]

## Item 6 Centrifuge, blood bank,
Form D: Technical Quotation Form
RFQ reference no: RFQ/2025/56626
Name of Bidder: [insert name of bidder]
Date: [insert submission date]
Bidders are required to complete the Comparative Data Tables below to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.
Technical specifications for goods – Comparative Data Table
Item 6: Centrifuge, blood bank, blood bag
Model (full name) |  | Insert Details
Manufacturer (full name) |  | Insert Details
Country of Origin |  | Insert Details
| Item Specification | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete
A | General description:
1 | Blood centrifuges to separate and analyze blood components, by spinning samples of blood at high speeds, using centrifugal force to separate the various parts of the blood. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
2 | Link to the proposed model: The participant must provide a link to the proposed model on the Manufacturer's website in English. | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
B | Technical specifications:
3 | Max. speed : 4240 rpm ; Max RCF : 6010 x g | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
4 | Max. capacity : 6x 1000 ml bottles or 12 blood pack system of 800 ml each | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
5 | Control : Microprocessor | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
6 | Drive : Frequency controlled , maintenance free induction drive | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
7 | Acceleration curve : 9 curves ; Braking curves : 10 curves | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
8 | Run time : 1 min – 99 h, continuous operation | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
9 | Temp. range : – 20 to + 40o C | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
10 | Safety features : Lid lock & interlock , imbalance cut-out , steel armoured chamber in accord with IEC 1010 | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
11 | Programme memory : minimum 30 user centrifugation programs, one of which with freely combinable braking & acceleration curve, key operated switch for protection against unauthorised access, data last used saved, in the case of power interruption data saving | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
12 | CE Certified | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
C | Power supply:
13 | 220 V ± 10 %, 50/60 Hz: | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals
14 | Network cable, European standard connector:
D | Components, spare parts, consumables:
15 | The supplier (if necessary) must complete the equipment (taking into account the specifics of the proposed model) with all the necessary parts, components, materials (the cost of which should be included in the tender offer) for assembly, installation and commissioning at the workplace. Completeness should ensure the full functioning of the declared equipment. | ☐ Yes ☐ No | Attach Supporting Statement
16 | The supplier (if necessary) must equip the equipment (taking into account the specifics of the proposed model) with all the necessary spare parts (the cost of which must be included in the tender offer) for its full operation during the warranty period. A list of such spare parts shall be submitted in the bid. | ☐ Yes ☐ No | Attach Supporting Statement
E | Quality and Safety Standards (As per Section II.2b - Manufacturer & Supplier Certification) | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
17 | QMS (ISO 9001, GDP or GSP compliance) certificates for the Bidder | ☐ Yes ☐ No | Attach Supporting Statement
18 | ISO 9001 or ISO 13485 and/or any of the applicable ISO standards (ISO 10993, ISO 14644) for the Manufacturer of the offered goods. | ☐ Yes ☐ No | Attach Supporting Statement
19 | ISO 14001 EMS certificate, or similar, for the Manufacturer of the offered goods. | ☐ Yes ☐ No | Attach Supporting Statement
F | Product Certification Compliance with internationally recognized standards of quality is expected for all the offered items: Compliance and certification to Regulation (EU) 2017/745 (MDR) or Directive 93/42/EEC or FDA approval or EU type Declaration of Conformity, issued by the manufacturer and verified by the Notification Body (NB). However, other certificates issued in compliance with the regulatory frameworks of the founder countries of the Global Harmonization Task Force (GHTF) are also acknowledged, if properly explained by the bidder (for all items offered/types of equipment). | ☐ Yes ☐ No | Attach Supporting Statement
G | The awarded bidder is required to provide, where applicable, UNOPS with the hazardous property sheet (MSDS or alike) and documents under which the quality assurance was processed in the Manufacturer’s country, as shown in Operation and Service Manuals, within 2 weeks after award. | ☐ Yes ☐ No | Insert details and submit supporting documents as necessary
H | Confirm that General Requirements as per Section III. 2 of the Schedule of Requirements are met | ☐ Yes ☐ No | Provide the details and the relevant specific information regarding the service.
I | Confirm that Training services shall be provided as per Section III.3.3 of the Schedule of Requirements of draft contract. | ☐ Yes ☐ No | Insert details of how these services are offered, including the names and addresses of all the parties/institutions that will provide the services.
J | Confirm that Warranty and After-sales services shall be provided as per Section III.3.4 of the Schedule of Requirements of draft contract | ☐ Yes ☐ No | Insert details of how these services are offered, including the name and address of the local agent (if any) that will carry out the services.
K | Documentation and Licences
20 | Operating instructions in English and/or Russian and/or Uzbek language (if not available, please confirm that they shall be supplied together with the equipment): | ☐ Yes ☐ No | Insert details of the goods offered
21 | Maintenance manual in English and/or Russian and/or Uzbek (if not available, please confirm that they shall be supplied together with the equipment). | ☐ Yes ☐ No | Insert details of the goods offered
22 | All software shall support English and/or Russian language, shall be original and officially licensed to the beneficiary, without additional fees/subscriptions required for operating the equipment over its lifecycle. | ☐ Yes ☐ No | Insert details of the goods offered
L | Confirmation statement on the unloading of the goods within the final Lot of destination as per RFQ specified Locations | ☐ Yes ☐ No | Attach Supporting Statement
The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements and Schedule IV: Draft Contract for Goods.
☐ Yes ☐ No
ANY DEVIATION MUST BE LISTED BELOW:
Name :
Title :
Date :
Signature : _____________________________________________________________
[Stamp this form with official stamp of the bidder]

## Services and delivery requireme
Form D: Technical Quotation Form
RFQ reference no: RFQ/2025/56626
Name of Bidder: [insert name of bidder]
Date: [insert submission date]
Bidders are required to complete the Comparative Data Tables below to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.
Service requirements – Comparative Data Table
S/N | Description of Services | Is quotation compliant? Bidder to complete | Details Bidder to complete
1 | The Supplier shall provide all the necessary documentation in a timely manner for facilitating the Customs Clearance process by the Consignee. If applicable, This includes the Certificate of Registration / Authorization / Waiver for the import and use of the devices by the health regulatory authority of the Republic of Uzbekistan that shall be obtained by the Supplier prior to the goods’ arrival to the country (or application for registration shall be made and letter from relevant regulatory authority for the Customs shall be obtained). Any demurrage caused due to incomplete documentation shall be borne by the Supplier. | ☐ Yes ☐ No | Insert details
2 | Delivery, ( If applicable installation or assembly, calibration, testing, commissioning), users’ training services as well as maintenance during warranty period at Republican Specialized Scientific and Practical Medical Center of Oncology and Radiology. Address: Shifokorlar Street, Almazar District, Tashkent city. | ☐ Yes ☐ No | Insert details
Delivery requirements –– Comparative Data Table
UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete
Delivery time for the goods | Bidder shall make the goods available at FCA (Incoterms2020) point within 30 days after Contract signature and/or deliver them to DPU (Incoterms 2020) Tashkent, Uzbekistan within 60 days after Contract signature. | ☐ Yes ☐ No | Insert details
Delivery time for the services | Bidder shall deliver the goods from Tashkent to all the final destination and perform the related services within 30 days after goods’ arrival to Tashkent (or its vicinity). | ☐ Yes ☐ No | Insert details
Delivery place and Incoterms rules | Bidder’s quoted FCA point – FCA (Incoterms2020) Tashkent, Uzbekistan – DPU (Incoterms2020) Door-to-door within Tashkent, Uzbekistan, as provided in the Section IV: Draft Contract for Goods. | ☐ Yes ☐ No | Insert details
Consignee details | United Nations Office for Project Services (UNOPS) AUMCO Uzbekistan Office 4A Afrosiyob Street, Tashkent, Uzbekistan Phone: +998 71 205 1255 | ☐ Yes ☐ No | Insert details
UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantities of the equipment components and consumables specified above, provided this does not exceed +/- 20%, without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details
The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements and Schedule IV: Draft Contract for Goods.
☐ Yes ☐ No
ANY DEVIATION MUST BE LISTED BELOW:
Name :
Title :
Date :
Signature : _____________________________________________________________
[Stamp this form with official stamp of the bidder]