## Instruction to bidders
INSTRUCTIONS ON TECHNICAL INFORMATION SHEET
Instruction to Proposers:
1. Proposers are required to fill in "General Information Bidder/Proposer" tab and all Technical Information Sheets. These documents, filled in and submitted together, along with documentary evidences as required, comprise a comprehensive technical offer against a given tender schedule. Furhermore, a) General Information Bidder/Proposer Tab captures a Proposer's company information and their Quality Management System. b) Technical Information Sheet captures technical requirements for each product in the schedule and Proposer's responses to the requirements. To enable quick navigation between Technical Information Sheets, an overview of the product scope in the schedule is provided. UNICEF codes specified in the overview (Column B) correspond to the individual Technical Information Sheets (separate number-coded worksheets in the package).
2. Each Technical Information Sheet describes specifications and requirements for one or more individual products The specification and requirements are listed in Column A. Note: Please do not make any changes in Column A!
3. Proposers must fill in Column C in the Technical Information Sheet for each respective product following the specific instructions given in Column B. Please always follow the instructions, use drop menus where provided and observe the requirements to attach a documentary evidence where required. Note: Please do not make any changes in Column B!
4. Proposers must fill in Column C specifying actual parameters, also names, types, models etc., of the product offered to UNICEF in response to the required generic specification. Should a Proposer wish to elaborate more / provide any additional comments or clarifications with regards to a specific parameter, they may do so in Column C too.
5. In addition to CE self declaration of conformity, for CE marked products, UNICEF requires all bidders to submit their products to WHO/USFDA Emergency Use Suthorization assessment to be eligible for procurement. To accommodate different stages of product development, proposers who have not yet submitted their products to WHO/USFDA for EUA listing may submit their product to UNICEF and indicate their intetion to submit their products for EUAL.

## General Bidder information
Technical Information Sheet
Failure to complete may invalidate your proposal
Schedule 4: Laboratory chemicals
GENERAL INFORMATION BIDDER/PROPOSER | INSTRUCTIONS FOR COMPLETING | PROPOSER'S OFFER
Name | Please indicate full company name according to business registration =>
Country | Please indicate the country of business registration =>
Nature of business | Please select as applicable from the drop menu =>
Website | Please indicate the address of company's webpage =>
On-line product catalogue | Please provide link to Bidder/Proposer's online product catalogue =>
UNGM registration | Please specify UNGM registration number, if registered =>
In case of award, the Bidder/Proposer can in principle agree to provide image of products (photo or drawing) for UNICEF's publication in the UNICEF catalogue | Please select as applicable from the drop menu =>
The Bidder/Proposer is aware of the global market environment of this RFP, and in case of award, agrees to manage the need for multi-national electrical plugs and fittings, as applicable | Please select as applicable from the drop menu =>
PROPOSER's QUALITY MANAGEMENT SYSTEM (QMS)
Bidder/Proposer's conformity with ISO 13485 | Please select option and attach valid certificate in English =>
Equivalent or other QMS certification | Please select option and attach valid certificate in English =>
ADDITIONAL ASSETS
Sustainable development goals: | UNICEF and the SDGs ¦ The 2030 Agenda for Sustainable Development ¦ UNICEF
To reduce environmental burden, packaging materials should be chlorine- and PVC-free whenever possible | Please describe the type of packaging used =>
As UNICEF moves towards the implementation of the Sustainable Developmental Goals, it is keenly interested in the efforts made by manufacturers and suppliers towards sustainable initiatives. Thus, we would like to collect information about these initiatives. | Please fill in and attach the questionnaire to your offer =>
Technical Information Sheet

## Schedule 1
Schedule 1 - COVID-2019 Point-of-Care (POC) Diagnostics - RFP-DAN-2020-503168
Item 010 | U481900 COVID-19 POC antibody detection test
Item 020 | U481900 COVID-19 POC antigen detection test
Item 030 | U481900 COVID-19 POC nucleic acid detection test
Item 010: COVID-19 POC antibody detection test
Description | Requirement | Proposer's offer
Rapid diagnostic test for the detection of IgM/IgG antibodies to SARS-CoV-2 in human specimens | Specify name & reference code of the offered product =>
Intended use
Detection of IgM/IgG antibodies to SARS-CoV-2 in human specimens at the point of care | Describe the intended use of the offered product =>
Specifications
Product name | Specify what is offered =>
Manufacturer product code | Specify what is offered =>
Level of operation: Point of care | Specify what is offered =>
Intended user : trained lay or health personnel | Specify what is offered =>
Technology: Lateral flow immunochromatographic assay | Specify what is offered =>
Test format: Dipstick/ cassette with sufficient space to write patient ID) | Specify what is offered =>
Specimen volume: < 50µl | Specify what is offered =>
Specimen type: | Specify what is offered =>
Time to result: < 30 minutes | Specify what is offered =>
Result output: qualitative | Specify what is offered =>
Analytical sensitivity: | Specify what is offered =>
Analytical specifity: | Specify what is offered =>
Clinical sensitivity: | Specify what is offered =>
Clinical specificity: | Specify what is offered =>
Internal quality control measures included in the test kit | Specify what is offered =>
Temperature and relative humidity during transport: Up to 35°C. Should be able to tolerate stress during transport cycles of temperature of 30 to 50°C without affecting the labelled expiry date, Please attach stability studies data | Specify what is offered =>
Temperature and relative humidity during storage: Up to 35°C | Specify what is offered =>
Temperature and relative humidity during operation: 10°C - 40°C | Specify what is offered =>
Relative humidity | Specify what is offered =>
Stability after opening: ≥ 30minutes after opening of individual pouch | Specify what is offered =>
Shelf life: Minimum 12 months | Specify what is offered =>
Kit size | Specify what is offered =>
Supplied with:
Kit contents | Specify what is offered =>
Required accessories, but not supplied:
Please specify, if any =>
Mandatory documentary evidence to be provided by Proposer
Proposer's web catalogue in English describing the offered product with its reference code | Please provide the link or attached a hard copy of the brochure =>
Please attach product technical file | Please attach =>
Instructions for use (IFU) in English as standard; availability of IFU in French, Spanish on request | Please attach =>
Picture of primary and secondary packaging & labels | Please attach =>
Quality standards
Manufacturer's ISO 13485 Please attach copy of certificate | Please specify expiry date and certificate number and attach copy of valid original certificate =>
List of norms and standards followed, as per ISO 13485; Please attach list | Specify what is offered =>
Product compliance (market approval); | Please select option in the tab => Please attach valid certificate
Status of submission to WHO/FDA EUA | Please select option in the tab =>
Please specify any other certification | Specify what is offered =>
Name and country of manufacturer | Please specify =>
Packaging & labelling
Pack size / sales unit: EA | Specify what is offered =>
Unit weight in kg (gross) | Specify what is offered =>
Unit volume in dm³ (gross) | Specify what is offered =>
Dimensions of unit in cm (length x width x height) | Specify what is offered =>
Sales units per box | Specify what is offered =>
Requirement for medical devices & IVD: Labelling of primary/secondary packaging must be in conformity with product market approval | Please select an option in the tab =>
Information to be provided by Proposer
Dangerous goods classification (for applicable products and batteries) | When applicable, please inform UN number, danger class, packing group, or attach manufacturer's MSDS showing the information =>
Shelf life: Minimum 12 months | Please inform total shelf life in months =>
Storage/transportation recommendations (for applicable products) | When applicable, please inform manufacturer's recommendations/requirements =>
Recommended waste disposal of the item | Please inform manufacturer's recommended disposal =>
Recommended waste disposal of the packaging | Please inform manufacturer's recommended disposal =>
Technical Information Sheet
Item 020: COVID-19 POC antigen detection test
Description | Requirement | Proposer's offer
Rapid diagnostic test for the detection SARS-CoV-2 antigens in human specimens | Specify name & reference code of the offered product =>
Intended use
Detection of SARS-CoV-2 antigens in human specimens at the point of care | Describe the intended use of the offered product =>
Specifications
Product name | Specify what is offered =>
Manufacturer product code | Specify what is offered =>
Level of operation: Point of care | Specify what is offered =>
Intended user : lay or trained health personnel | Specify what is offered =>
Technology: Lateral flow immunochromatographic assay | Specify what is offered =>
Test format: Dipstick/ cassette with sufficient space to write patient ID) | Specify what is offered =>
Specimen type: | Specify what is offered =>
Specimen volume: < 50µl | Specify what is offered =>
Time to result: < 30minutes | Specify what is offered =>
Output: qualitative result | Specify what is offered =>
Analytical specificityty: | Specify what is offered =>
Analytical sensitivity: | Specify what is offered =>
Clinical specificity: | Specify what is offered =>
Clinical sensitivity: | Specify what is offered =>
Internal quality control measures included in the test kit | Specify what is offered =>
Temperature and relative humidity during transport: Up to 35°C. Should be able to tolerate stress during transport cycles of temperature of 30 to 50°C without affecting the labelled expiry date, Please attach stability studies data | Specify what is offered =>
Temperature and relative humidity during storage: Up to 35°C | Specify what is offered =>
Temperature and relative humidity during operation: 10°C - 40°C | Specify what is offered =>
Relative humidity | Specify what is offered =>
Stability after opening: ≥ 30minutes after opening of individual pouch | Specify what is offered =>
Kit size | Specify what is offered =>
Supplied with:
Kit contents | Specify what is offered =>
Required accessories, but not supplied:
Please specify, if any =>
Mandatory documentary evidence to be provided by Proposer
Proposer's web catalogue in English describing the offered product with its reference code | Please provide the link or attached a hard copy of the brochure =>
Please attach product technical file | Please provide the link to clinical studies data =>
Instructions for use (IFU) in English as standard; availability of IFU in French, Spanish on request | Please attach =>
Picture of primary and secondary packaging & labels | Please attach =>
Quality standards
Manufacturer's ISO 13485 Please attach copy of certificate | Please specify expiry date and certificate number and attach copy of valid original certificate =>
List of norms and standards followed, as per ISO 13485; Please attach list | Specify what is offered =>
Product compliance (market approval); | Please select option in the tab => Please attach valid certificate
Status of submission to WHO/FDA EUA | Please select option in the tab =>
Please specify any other certification | Specify what is offered =>
Name and country of manufacturer | Please specify =>
Packaging & labelling
Pack size / sales unit: EA | Specify what is offered =>
Unit weight in kg (gross) | Specify what is offered =>
Unit volume in dm³ (gross) | Specify what is offered =>
Dimensions of unit in cm (length x width x height) | Specify what is offered =>
Sales units per box | Specify what is offered =>
Requirement for medical devices & IVD: Labelling of primary/secondary packaging must be in conformity with product market approval | Please select an option in the tab =>
Information to be provided by Proposer
Dangerous goods classification (for applicable products and batteries) | When applicable, please inform UN number, danger class, packing group, or attach manufacturer's MSDS showing the information =>
Shelf life: Minimum 12 months | Please inform total shelf life in months =>
Storage/transportation recommendations (for applicable products) | When applicable, please inform manufacturer's recommendations/requirements =>
Recommended waste disposal of the item | Please inform manufacturer's recommended disposal =>
Recommended waste disposal of the packaging | Please inform manufacturer's recommended disposal =>
Technical Information Sheet
Item 030: COVID-19 POC nucleic acid detection test
Description | Requirement | Proposer's offer
Rapid diagnostic test for the detection of SARS-CoV-2 nucleic acid in human specimens | Specify name & reference code of the offered product =>
Intended use
Detection of SARS-CoV-2 nucleic acid in human specimens at the point of care | Describe the intended use of the offered product =>
Specifications
Product name | Specify what is offered =>
Manufacturer product code | Specify what is offered =>
Level of operation: Point of care | Specify what is offered =>
Intended user : lay or trained health personnel | Specify what is offered =>
Principle: Reverse trasncriptase polymerase chain reaction | Specify what is offered =>
Test format: does not require additional equipment to perfform the test | Specify what is offered =>
Specimen volume: <50µl | Specify what is offered =>
Specimen type: | Specify what is offered =>
Time to result: < 30 mins | Specify what is offered =>
Result output: qualitative/quantitative | Specify what is offered =>
Analytical specificity: | Specify what is offered =>
Analytical sensitivity: | Specify what is offered =>
Clinical specificity: | Specify what is offered =>
Clinical sensitivity: | Specify what is offered =>
Internal quality control to confirm extraction included in the test kit | Specify what is offered =>
Temperature and relative humidity during transport: Up to 35°C. Should be able to tolerate stress during transport cycles of temperature of 30 to 50°C without affecting the labelled expiry date, Please attach stability studies data | Specify what is offered =>
Temperature and relative humidity during storage: Up to 35°C | Specify what is offered =>
Temperature and relative humidity during operation: 10°C - 40°C | Specify what is offered =>
Relative humidity | Specify what is offered =>
Stability after opening: ≥ 30minutes after opening of individual pouch | Specify what is offered =>
Shelf life: Minimum 12 months | Specify what is offered =>
Kit size | Specify what is offered =>
Supplied with:
Kit contents | Specify what is offered =>
Required accessories, but not supplied:
Please specify, if any =>
Mandatory documentary evidence to be provided by Proposer
Proposer's web catalogue in English describing the offered product with its reference code | Please provide the link or attached a hard copy of the brochure =>
Please attach product technical file | Please provide the link to clinical studies data =>
Instructions for use (IFU) in English as standard; availability of IFU in French, Spanish on request | Please attach =>
Picture of primary and secondary packaging & labels | Please attach =>
Quality standards
Manufacturer's ISO 13485 Please attach copy of certificate | Please specify expiry date and certificate number and attach copy of valid original certificate =>
List of norms and standards followed, as per ISO 13485; Please attach list | Specify what is offered =>
Product compliance (market approval); Please attach copy of certificate | Please select option in the tab => Please attach valid certificate
Status of submission to WHO/FDA EUA | Please select option in the tab =>
Please specify any other certification | Specify what is offered =>
Name and country of manufacturer | Please specify =>
Packaging & labelling
Pack size / sales unit: EA | Specify what is offered =>
Unit weight in kg (gross) | Specify what is offered =>
Unit volume in dm³ (gross) | Specify what is offered =>
Dimensions of unit in cm (length x width x height) | Specify what is offered =>
Sales units per box | Specify what is offered =>
Requirement for medical devices & IVD: Labelling of primary/secondary packaging must be in conformity with product market approval | Please select an option in the tab =>
Information to be provided by Proposer
Dangerous goods classification (for applicable products and batteries) | When applicable, please inform UN number, danger class, packing group, or attach manufacturer's MSDS showing the information =>
Shelf life: Minimum 12 months | Please inform total shelf life in months =>
Storage/transportation recommendations (for applicable products) | When applicable, please inform manufacturer's recommendations/requirements =>
Recommended waste disposal of the item | Please inform manufacturer's recommended disposal =>
Recommended waste disposal of the packaging | Please inform manufacturer's recommended disposal =>
Technical Information Sheet

## Schedule 2
Schedule 2 - COVID-2019 Near Point-of-Care (near-POC) Diagnostics - RFP-DAN-2020-503168
Item 040 | U481900 COVID-19 Near-POC antibody detection test
Item 050 | U481900 COVID-19 Near-POC antigen detection test
Item 060 | U481900 COVID-19 Near-POC nucleic acid detection test
Item 040: COVID-19 near-POC antibody detection test
Description | Requirement | Proposer's offer
Near-POC diagnostic test for the detection of IgM/IgG antibodies to SARS-CoV-2 in human specimens | Specify name & reference code of the offered product =>
Intended use
Near-POC detection of IgM/IgG antibodies to SARS-CoV-2 in human specimens | Describe the intended use of the offered product =>
Specifications
Product name | Specify what is offered =>
Manufacturer product code | Specify what is offered =>
Level of operation: Near point of care | Specify what is offered =>
Intended user : trained laboratory personnel | Specify what is offered =>
Technology: Enzyme-linked immunoassay (ELISA) | Specify what is offered =>
Test format: Requires use of equipment | Specify what is offered =>
Specimen volume: ≤ 60µl
Specimen type: | Specify what is offered =>
Time to result: ≤ 1 hour | Specify what is offered =>
Result output: qualitative | Specify what is offered =>
Analytical Sensitivity: | Specify what is offered =>
Analytical Specificity: | Specify what is offered =>
Clinical Sensitivity: | Specify what is offered =>
Clilinical Specificity: | Specify what is offered =>
Kit provided with negative and positive controls | Specify what is offered =>
Temperature and relative humidity during transport: Up to 35°C. Should be able to tolerate stress during transport cycles of temperature of 30 to 50°C without affecting the labelled expiry date, Please attach stability studies data | Specify what is offered =>
Temperature and relative humidity during storage: Up to 35°C | Specify what is offered =>
Temperature and relative humidity during operation: 10°C - 40°C | Specify what is offered =>
Relative humidity | Specify what is offered =>
Stability after opening: | Specify what is offered =>
Shelf life: Minimum 12 months | Specify what is offered =>
Kit size | Specify what is offered =>
Supplied with:
Kit contents | Specify what is offered =>
Required accessories, but not supplied:
Please specify, if any =>
Mandatory documentary evidence to be provided by Proposer
Proposer's web catalogue in English describing the offered product with its reference code | Please provide the link to webcataloque =>
Please attach product technical file | Please attach =>
Instructions for use (IFU) in English as standard; availability of IFU in French, Spanish on request | Please attach =>
Picture of primary and secondary packaging & labels | Please attach =>
Quality standards
Manufacturer's ISO 13485 Please attach copy of certificate | Please specify expiry date and certificate number and attach copy of valid original certificate =>
List of norms and standards followed, as per ISO 13485; Please attach list | Specify what is offered =>
Product compliance (market approval); Please attach copy of certificate | Please select option in the tab => Please attach valid certificate
Status of submission to WHO/FDA EUA | Please select option in the tab =>
Please specify any other certification | Specify what is offered =>
Name and country of manufacturer | Please specify =>
Packaging & labelling
Pack size / sales unit: EA | Specify what is offered =>
Unit weight in kg (gross) | Specify what is offered =>
Unit volume in dm³ (gross) | Specify what is offered =>
Dimensions of unit in cm (length x width x height) | Specify what is offered =>
Sales units per box | Specify what is offered =>
Requirement for medical devices & IVD: Labelling of primary/secondary packaging must be in conformity with product market approval | Please select an option in the tab =>
Information to be provided by Proposer
Dangerous goods classification (for applicable products and batteries) | When applicable, please inform UN number, danger class, packing group, or attach manufacturer's MSDS showing the information =>
Shelf life: Minimum 12 months | Please inform total shelf life in months =>
Storage/transportation recommendations (for applicable products) | When applicable, please inform manufacturer's recommendations/requirements =>
Recommended waste disposal of the item | Please inform manufacturer's recommended disposal =>
Recommended waste disposal of the packaging | Please inform manufacturer's recommended disposal =>
Technical Information Sheet
Item 050: COVID-19 near-POC antigen detection test
Description | Requirement | Proposer's offer
Near-POC diagnostic test for the detection of SARS-CoV-2 antigens in human specimens | Specify name & reference code of the offered product =>
Intended use
Near-POC detection of SARS-CoV-2 antigens in human specimens | Describe the intended use of the offered product =>
Specifications
Product name | Specify what is offered =>
Manufacturer product code | Specify what is offered =>
Level of operation: Near point of care | Specify what is offered =>
Intended user : trained laboratory personnel | Specify what is offered =>
Technology: Enzyme linked Immunoassay (ELISA) | Specify what is offered =>
Test format: Requires use of equipment | Specify what is offered =>
Specimen type: | Specify what is offered =>
Specimen volume: ≤60µl | Specify what is offered =>
Time to result: ≤ 1 hr | Specify what is offered =>
Analytical Sensitivity: | Specify what is offered =>
Analytical Specificity: | Specify what is offered =>
Clinical Sensitivity: | Specify what is offered =>
Clinical Specificity: | Specify what is offered =>
Output: qualitative result | Specify what is offered =>
Internal quality control measures included in the test kit | Specify what is offered =>
Temperature and relative humidity during transport: Up to 35°C. Should be able to tolerate stress during transport cycles of temperature of 30 to 50°C without affecting the labelled expiry date, Please attach stability studies data | Specify what is offered =>
Temperature and relative humidity during storage: Up to 35°C | Specify what is offered =>
Temperature and relative humidity during operation: 10°C - 40°C | Specify what is offered =>
Relative humidity | Specify what is offered =>
Stability after opening: ≥ 5 days after opening of individual kit | Specify what is offered =>
Kit size | Specify what is offered =>
Supplied with:
Kit contents | Specify what is offered =>
Required accessories, but not supplied:
Please specify, if any =>
Mandatory documentary evidence to be provided by Proposer
Proposer's web catalogue in English describing the offered product with its reference code | Please provide the link to webcataloque =>
Please attach product technical file | Please provide the link to clinical studies data =>
Instructions for use (IFU) in English as standard; availability of IFU in French, Spanish on request | Please attach =>
Picture of primary and secondary packaging & labels | Please attach =>
Quality standards
Manufacturer's ISO 13485 Please attach copy of certificate | Please specify expiry date and certificate number and attach copy of valid original certificate =>
List of norms and standards followed, as per ISO 13485; Please attach list | Specify what is offered =>
Product compliance (market approval); Please attach copy of certificate | Please select option in the tab => Please attach valid certificate
Status of submission to WHO/FDA EUA | Please select option in the tab =>
Please specify any other certification | Specify what is offered =>
Name and country of manufacturer | Please specify =>
Packaging & labelling
Pack size / sales unit: EA | Specify what is offered =>
Unit weight in kg (gross) | Specify what is offered =>
Unit volume in dm³ (gross) | Specify what is offered =>
Dimensions of unit in cm (length x width x height) | Specify what is offered =>
Sales units per box | Specify what is offered =>
Requirement for medical devices & IVD: Labelling of primary/secondary packaging must be in conformity with product market approval | Please select an option in the tab =>
Information to be provided by Proposer
Dangerous goods classification (for applicable products and batteries) | When applicable, please inform UN number, danger class, packing group, or attach manufacturer's MSDS showing the information =>
Shelf life: Minimum 12 months | Please inform total shelf life in months =>
Storage/transportation recommendations (for applicable products) | When applicable, please inform manufacturer's recommendations/requirements =>
Recommended waste disposal of the item | Please inform manufacturer's recommended disposal =>
Recommended waste disposal of the packaging | Please inform manufacturer's recommended disposal =>
Technical Information Sheet
Item 060: COVID-19 near-POC nucleic acid detection test
Description | Requirement | Proposer's offer
Near-POC test for the detection of SARS-CoV-2 nucleic acid in human specimens | Specify name & reference code of the offered product =>
Intended use
Near-POC detection of SARS-CoV-2 nucleic acid in human specimens | Describe the intended use of the offered product =>
Specifications
Product name | Specify what is offered =>
Manufacturer product code | Specify what is offered =>
Level of operation: Near Point of care | Specify what is offered =>
Intended user : trained laboratory personnel | Specify what is offered =>
Principle: Reverse trasncriptase polymerase chain reaction | Specify what is offered =>
Test format: does not require additional equipment to perform the test | Specify what is offered =>
Specimen volume: ≤60µl
Specimen type: | Specify what is offered =>
Time to result: ≤ 1 hour | Specify what is offered =>
Result output: qualitative/quantitative | Specify what is offered =>
Internal quality control included in the test kit | Specify what is offered =>
Temperature and relative humidity during transport: Up to 35°C. Should be able to tolerate stress during transport cycles of temperature of 30 to 50°C without affecting the labelled expiry date, Please attach stability studies data | Specify what is offered =>
Temperature and relative humidity during storage: Up to 35°C | Specify what is offered =>
Temperature and relative humidity during operation: 10°C - 40°C | Specify what is offered =>
Relative humidity | Specify what is offered =>
Stability after opening: ≥ 30minutes after opening of individual pouch | Specify what is offered =>
Kit size | Specify what is offered =>
Supplied with:
Kit contents | Specify what is offered =>
Required accessories, but not supplied:
Please specify, if any =>
Mandatory documentary evidence to be provided by Proposer
Proposer's web catalogue in English describing the offered product with its reference code | Please provide the link to webcataloque =>
Please attach product technical file | Please attach =>
Instructions for use (IFU) in English as standard; availability of IFU in French, Spanish on request | Please attach =>
Picture of primary and secondary packaging & labels | Please attach =>
Quality standards
Manufacturer's ISO 13485 Please attach copy of certificate | Please specify expiry date and certificate number and attach copy of valid original certificate =>
List of norms and standards followed, as per ISO 13485; Please attach list | Specify what is offered =>
Product compliance (market approval); Please attach copy of certificate | Please select option in the tab => Please attach valid certificate
Status of submission to WHO/FDA EUA | Please select option in the tab =>
Please specify any other certification | Specify what is offered =>
Name and country of manufacturer | Please specify =>
Packaging & labelling
Pack size / sales unit: EA | Specify what is offered =>
Unit weight in kg (gross) | Specify what is offered =>
Unit volume in dm³ (gross) | Specify what is offered =>
Dimensions of unit in cm (length x width x height) | Specify what is offered =>
Sales units per box | Specify what is offered =>
Requirement for medical devices & IVD: Labelling of primary/secondary packaging must be in conformity with product market approval | Please select an option in the tab =>
Information to be provided by Proposer
Dangerous goods classification (for applicable products and batteries) | When applicable, please inform UN number, danger class, packing group, or attach manufacturer's MSDS showing the information =>
Shelf life: Minimum 12 months | Please inform total shelf life in months =>
Storage/transportation recommendations (for applicable products) | When applicable, please inform manufacturer's recommendations/requirements =>
Recommended waste disposal of the item | Please inform manufacturer's recommended disposal =>
Recommended waste disposal of the packaging | Please inform manufacturer's recommended disposal =>
Technical Information Sheet

## Schedule 3
Schedule 3 - COVID-2019 Laboratory Diagnostics - RFP-DAN-2020-503168
Item 070 | U481900 COVID-19 laboratory-based antibody/antigen detection test
Item 080 | U481900 COVID-19 laboratory-based nucleic acid detection test
Item 070: COVID-19 laboratory-based antibody/antigen detection test
Description | Requirement | Proposer's offer
A laboratory based serological test for detection of IgM/IgG antibodies to SARS-CoV-2/ SARS-CoV-2 antigens in human specimens | Specify name & reference code of the offered product =>
Intended use
Serological detection of IgM/IgG antibodies to SARS-CoV-2/ SARS-CoV-2 antigens in human specimens in laboratory settings | Describe the intended use of the offered product =>
Specifications
Product name | Specify what is offered =>
Manufacturer product code | Specify what is offered =>
Level of operation: Laboratory based | Specify what is offered =>
Intended user: Expert laboratory personnel | Specify what is offered =>
Technology: Enzyme-linked immunoassay (ELISA) | Specify what is offered =>
Test format: Requires well developed laboratory infrastructure as well as additional equipment | Specify what is offered and specify additional equipment required to perform the test=>
Specimen volume: ≤ 60µl
Specimen type: | Specify what is offered =>
Time to result: ≤ 3 hours | Specify what is offered =>
Result output: qualitative | Specify what is offered =>
Analytical Sensitivity: | Specify what is offered =>
Analytical Specificity: | Specify what is offered =>
Clinical Sensitivity: | Specify what is offered =>
Clilinical Specificity: | Specify what is offered =>
Kit provided with negative, low positive and high positive controls | Specify what is offered =>
Temperature and relative humidity during transport: Up to 35°C. Should be able to tolerate stress during transport cycles of temperature of 30 to 50°C without affecting the labelled expiry date, Please attach stability studies data | Specify what is offered =>
Temperature and relative humidity during storage: Up to 35°C | Specify what is offered =>
Temperature and relative humidity during operation: 10°C - 40°C | Specify what is offered =>
Relative humidity | Specify what is offered =>
Stability after opening: | Specify what is offered =>
Kit size | Specify what is offered =>
Supplied with:
Kit contents | Specify what is offered =>
Required accessories, but not supplied:
Please specify, if any =>
Mandatory documentary evidence to be provided by Proposer
Proposer's web catalogue in English describing the offered product with its reference code | Please provide the link to webcataloque =>
Please attach product technical file | Please attach =>
Instructions for use (IFU) in English as standard; availability of IFU in French, Spanish on request | Please attach =>
Picture of primary and secondary packaging & labels | Please attach =>
Quality standards
Manufacturer's ISO 13485 Please attach copy of certificate | Please specify expiry date and certificate number and attach copy of valid original certificate =>
List of norms and standards followed, as per ISO 13485; Please attach list | Specify what is offered =>
Product compliance (market approval); Please attach copy of certificate | Please select option in the tab => Please attach valid certificate
Status of submission to WHO/FDA EUA | Please select option in the tab =>
Please specify any other certification | Specify what is offered =>
Name and country of manufacturer | Please specify =>
Packaging & labelling
Pack size / sales unit: EA | Specify what is offered =>
Unit weight in kg (gross) | Specify what is offered =>
Unit volume in dm³ (gross) | Specify what is offered =>
Dimensions of unit in cm (length x width x height) | Specify what is offered =>
Sales units per box | Specify what is offered =>
Requirement for medical devices & IVD: Labelling of primary/secondary packaging must be in conformity with product market approval | Please select an option in the tab =>
Information to be provided by Proposer
Dangerous goods classification (for applicable products and batteries) | When applicable, please inform UN number, danger class, packing group, or attach manufacturer's MSDS showing the information =>
Shelf life: Minimum 12 months | Please inform total shelf life in months =>
Storage/transportation recommendations (for applicable products) | When applicable, please inform manufacturer's recommendations/requirements =>
Recommended waste disposal of the item | Please inform manufacturer's recommended disposal =>
Recommended waste disposal of the packaging | Please inform manufacturer's recommended disposal =>
Technical Information Sheet
Item 0800: COVID-19 laboratory-based nucleic acid detection test
Description | Requirement | Proposer's offer
Nucleic acid detection test for SARS-CoV-2 in human specimens | Specify name & reference code of the offered product =>
Intended use
Diagnostic assay for detection of SARS-CoV-2 RNA in human specimens in laboratory settings | Describe the intended use of the offered product =>
Specifications
Product name | Specify what is offered =>
Manufacturer product code | Specify what is offered =>
Level of operation: Laboratory | Specify what is offered =>
Intended user: Expert laboratory personnel | Specify what is offered =>
Principle: Reverse trasncriptase polymerase chain reaction | Specify what is offered =>
Test format: Requires well developed laboratory infrastructure as well as additional equipment | Specify what is offered and specify additional equipment required to perform the test=>
Specimen volume: ≤60µl
Specimen type: | Specify what is offered =>
Time to result: ≤ 3 hours | Specify what is offered =>
Result output: qualitative/quantitative | Specify what is offered =>
Internal quality control included in the test kit | Specify what is offered =>
Kit provided with negative, low positive and high positive controls | Specify what is offered =>
Temperature and relative humidity during transport: Up to 35°C. Should be able to tolerate stress during transport cycles of temperature of 30 to 50°C without affecting the labelled expiry date, Please attach stability studies data | Specify what is offered =>
Temperature and relative humidity during storage: Up to 35°C | Specify what is offered =>
Temperature and relative humidity during operation: 10°C - 40°C | Specify what is offered =>
Relative humidity | Specify what is offered =>
Stability after opening: ≥1 month after opening the reagents | Specify what is offered =>
Kit size | Specify what is offered =>
Supplied with:
Kit contents | Specify what is offered =>
Required accessories, but not supplied:
Please specify, if any =>
Mandatory documentary evidence to be provided by Proposer
Proposer's web catalogue in English describing the offered product with its reference code | Please provide the link to webcataloque =>
Please attach product technical file | Please attach =>
Instructions for use (IFU) in English as standard; availability of IFU in French, Spanish on request | Please attach =>
Picture of primary and secondary packaging & labels | Please attach =>
Quality standards
Manufacturer's ISO 13485 Please attach copy of certificate | Please specify expiry date and certificate number and attach copy of valid original certificate =>
List of norms and standards followed, as per ISO 13485; Please attach list | Specify what is offered =>
Product compliance (market approval); Please attach copy of certificate | Please select option in the tab => Please attach valid certificate
Status of submission to WHO/FDA EUA | Please select option in the tab =>
Please specify any other certification | Specify what is offered =>
Name and country of manufacturer | Please specify =>
Packaging & labelling
Pack size / sales unit: EA | Specify what is offered =>
Unit weight in kg (gross) | Specify what is offered =>
Unit volume in dm³ (gross) | Specify what is offered =>
Dimensions of unit in cm (length x width x height) | Specify what is offered =>
Sales units per box | Specify what is offered =>
Requirement for medical devices & IVD: Labelling of primary/secondary packaging must be in conformity with product market approval | Please select an option in the tab =>
Information to be provided by Proposer
Dangerous goods classification (for applicable products and batteries) | When applicable, please inform UN number, danger class, packing group, or attach manufacturer's MSDS showing the information =>
Shelf life: Minimum 12 months | Please inform total shelf life in months =>
Storage/transportation recommendations (for applicable products) | When applicable, please inform manufacturer's recommendations/requirements =>
Recommended waste disposal of the item | Please inform manufacturer's recommended disposal =>
Recommended waste disposal of the packaging | Please inform manufacturer's recommended disposal =>
Technical Information Sheet

## Only for UNICEF
Yes
Not applicable
CE (EU)
GMPALS(Australia)
Device License (Canada, Japan)
510k Device Letter (USA)
NA
Manufacturer
Wholesaler
Distributor
Other
Yes
No
Under Development
In process
No plans of submission
Submitted for WHO EUA
Submitted for FDA EUA
FDA EUAL
WHO EUAL
NA