- Bid Submission Form

Name of Bidder:

Contact Person:

Title:

Email Address:

Telephone Number:

Date of Bid:

Bid No:

Currency of Bid price:

Delivery time (days from receipt of order till dispatch):

(Note: preferred number of days is: 07 days)

Expiration of Validity of Bid/Proposal (The bid shall be

valid for a period of at least 90 days after the Closing date.):

Vendor’s Comments:

I hereby certify that this company, which I am duly authorized to sign for, accepts the General Terms and Conditions of UNFPA http://www.unfpa.org/resources/unfpa-general-conditions-contract  and we will abide by this bid/proposal until it expires.

We undertake, if our bid/proposal is accepted, to commence and complete delivery of all items in the contract within the time frame stipulated.

We understand that you are not bound to accept any bid you may receive and that a bidding contract would result only after final negotiations are concluded on the basis of the technical and price bids proposed.

Name and title					Date and Place

- Bidders Identification Form

Bid No. UNFPA/BGD/ITB/2020/001

- Organization

| Company/Institution Name |  |
| --- | --- |
| Address, City, Country |  |
| Telephone/FAX |  |
| Website |  |
| Date of establishment |  |
| Legal Representative: Name/Surname/Position |  |
| Legal structure: natural person/Co.Ltd, NGO/institution/other (please specify) |  |
| Organizational Type: Manufacturer, Wholesaler, Trader, Service provider, etc. |  |
| Areas of expertise of the organization |  |
| Current Licenses, if any, and permits (with dates, numbers and expiration dates) |  |
| Years supplying to UN organizations |  |
| Years supplying to UNFPA |  |
| Production Capacity |  |
| Subsidiaries in the region (please indicate names of subsidiaries and addresses, if relevant to the bid) |  |
| Commercial Representatives in the country: Name/Address/Phone (for international companies only) |  |

- Quality Assurance Certification

| International Quality Management System (QMS) |  |
| --- | --- |
| List of other ISO certificates or equivalent certificates |  |
| Presence and characteristics of in-house quality control laboratory (if relevant to bid) |  |

- Expertise of Staff

| Total number of staff |  |
| --- | --- |
| Number of staff involved in similar supply contracts |  |

- Client Reference List

Please provide references of main client details.

| Name of company | Contact person | Telephone | E-mail |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |

- Contact details of persons that UNFPA may contact for requests for clarification during bid evaluation

| Name/Surname |  |
| --- | --- |
| Telephone Number (direct) |  |
| Email address (direct) |  |

P.S.: This person must be available during the next two weeks following receipt of bid

- Product Item Overview Form

| Item No. Name and picture | Item description and technical specifications | Mandatory QA requirements And Packaging / labelling remarks | Description of items offered and Bidder’s statements on deviations (To be completed by the bidder) | Bidder’s statement on QA Requirement, and Packaging | Compliant? (Y/N) (To be completed by UNFPA during evaluation) |
| --- | --- | --- | --- | --- | --- |
| - Gloves: examination, nitrile, powder free, non-sterile | Glove for clinical examinations and routine clinical laboratory work. Contains 5 fingers, palm and a sleeve. Disposable, non-powdered and non-sterile nitrile gloves are used to protect both patient, staff and environment from cross-contamination after handling infectious substances. Technical Specifications: Fits either hand (ambidextrous shape). Material: 100% Nitrile. Powder free (non-powdered). Waterproof. Non-sterile. Single-use, disposable. Sizes available: S-50%, L-50% Size Medium dimensions: Total length: minimum 230mm. Width: 95 mm, +/- 10mm. Thickness: fingers:approx. 0.12mm; palm: 0.8mm. Intended use: Strictly single use. A non-powdered glove, allowing the use of hydroalcoholic solution as hand cleanser. Wash hands before and after use of gloves. To be worn only on dry hands. Once removed, the gloves should be disposed of according to waste management rules. Never reuse. Store below 30°C protected from sunlight, heat and humidity. | Conformity requirements (WHO): • EU MDD Directive 93/42/EEC Class I or IIa, • EU PPE Regulation 2016/425 Category III, • EN 455, • EN 374, • ANSI/ISEA 105, • ASTM D6319, or equivalent set of standards Packaging and labeling: Unit presentation: Hundred (100) gloves per box (50 pairs). Symbols used according ISO 15223. CE Mark. Manufacturer name and address. Lot/batch information. Must have words "non-powdered", or equivalent. Must indicate compliance to PPE 2016/425 Category III. Must indicate ‘non-sterile, single use’. Must indicate ‘latex free’. |  |  |  |
| - Gown: Isolation, non-woven, disposable | Gown, isolation, non-woven, disposable. Non-sterile single use garment intended to be worn by healthcare providers or visitors to protect the patient from the transfer of infectious agents. It may also help to protect the healthcare provider or visitor from a contagious agent which has infected the patient. Technical specifications: Isolation gown (opening at the back), with long sleeves, a waist tie that binds at the back or front. Non-woven material, e.g. SMS, SMMS, polyethylene-coated polypropylene. Outer layer liquid penetration resistant in critical areas (full front and arms). Impermeable but breathable, flexible. Minimum average material density: 30 g/m2 Length (measured at front from middle of neckline to bottom): 110 – 150 cm (length mid-calf). Universal size but coverage of the whole upper body till under the knees is required. Width or circumference (measured at waist): minimum of 130 cm. Sleeves finished with double layer cuff, cotton or synthetic, stretchy (elastic) interlocked jersey band, length: 4 - 8 cm. Non-sterile. Single use, disposable. Intended use: To be worn when there is a protection isolation of an immune-depressed patient; or an infectious isolation: contagious diseases transmitting by airborne contact (droplets). Follow the infection control rules of undressing and dressing. | Conformity requirements (WHO): • EU PPE Regulation 2016/425 and EU MDD directive 93/42/EEC • FDA class I or II medical device, or equivalent; • EN 13795 any performance level, or • AAMI PB70 all levels acceptable, or equivalent Packaging and labeling: Packaging: One (1) unit in a plastic bag. Labelling on primary packaging (one unit) must include: - Name and/or trademark of the manufacturer - Manufacturer address - Manufacturer's product reference (product code) - Type of product and main characteristics - If the packaging is not transparent, it must bear a diagram showing the essential parts of the product - Information for particular storage conditions (temperature, pressure, light, humidity, etc.), as appropriate (or equivalent harmonised symbol) - Information for handling, if applicable (or equivalent harmonised symbol) - Words ‘Non-sterile, disposable, single use’ - Word ‘Universal size’ - CE mark (+ EC REP), FDA, and equivalent Secondary packaging: Packaging of multiple units Labelling to be the same as primary packaging. |  |  |  |
| - Mask: Surgical Mask, type IIR, disposable | Mask, surgical, type IIR, tie strap, disposable. Medical mask covering the nose, mouth and chin, designed to limit transmission of infectious agents exhaled by the nose and mouth of the wearer, and additionally to protect the wearer against liquid splashes. Technical specifications: . Splash resistant, type IIR surgical mask. . Bacterial filtering efficiency (BFE): equal to or greater than 98%. . Differential pressure (breathability)/Breathing resistance: equal to or < 49 Pa. . Splash resistance pressure: greater than 120 mmHg (tested in accordance with ASTM F1862 standard). . Fabric, non-woven with outer layer impervious liquid splash resistant material, f.e. polyethylene. . Comprised of 3 or 4 non-woven folded layers, shape completely covering nose, mouth and chin. . Clearly identifiable inner and outer surfaces. . Malleable nose strip, made of aluminum, allowing a snug fit. . With attached 2 x 2 tie-straps, allowing correct fixation and securing at the back of the head. . Size (indicative): 15-19 cm x 9-11 cm (l x w). Unfolded 175 x 175 mm. . Latex-free, glass fibre-free . Non-sterile . Single use, disposable . Conform requirements of EU Medical Devices Directive 93/42 (or equivalent internationally recognized marketing clearance). . In specific, compliant with the EN 14683 standard for type IIR (or equivalent international standard). Intended use: Worn by the medical staff or most typically by the contagious patient. The surgical mask prevents the contamination spread to the people surrounding and the environment (air, surface, products…) around the wearer and protects the wearer against liquid splashes. Not to be reused after removing from the face. The mask must be replaced at least every 3 hours. Always wash hands before fitting and after removing the mask. Note! A surgical mask does not protect the wearer against airborne infectious agents (coronavirus, TB, viral haemorrhagic fever, measles, varicella, SARS, avian influenza, etc.). In such cases, it is advisable to wear a respiratory protective mask rated FFP2 (complies with european standards) or N95 (complies with american standards). | Conformity requirements (WHO): • EU MDD directive 93/42/EEC Class I or IIa ,or equivalent, • EN 14683 Type IIR (or II or IR) • ASTM F2100 minimum level 1 or equivalent. Packaging and labeling: Packaging: One (1) unit in a protective packaging. Manufacturer name and address. ISO 15223 CE mark (+EC REP), FDA and equivalent. Lot/batch, MFD and expiry date. Word ‘non-sterile, single use, disposable.’ Comes with instructions for use. |  |  |  |
| - Goggle: Panoramic, regular nose, indirect ventilation | Goggle, panoramic, regular nose, indirect ventilation. Goggles, or safety glasses, are forms of protective eyewear that usually enclose or protect the area surrounding the eye in order to prevent particulates, water or chemicals from striking the eyes. In haemorrhagic fever contexts it is recommended to use safety wrap around goggles: they protect the eyes from dust and splashing. Technical specifications: Good seal with the skin of the face. Reusable. Markings written on the goggles (frame and lenses) according to the EN 166 specifications: Mechanical class = F = Minimum mechanical resistance (resistance to shocks of low-energy particles): withstands a bead of 6 mm and 0.85 g at 45m/s impact. Optic class 1 or 2 = applicable for intermittent use, for activities with medium visual requirements. K = Anti-Scratch N = Anti-Fog Frame Protection class = 3 Protection against liquid doplets. Lens: Material: mechanically strong but less flexible polycarbonate (PC) or a better chemical resistant acetate type (PA) are equivalent options. Clear lens for protection against UV light. Panoramic view 180° The optical zone for every eye must be at least 32 mm horizontally and 25 mm vertically. Replaceable. Treated against fogging and against scratching. Must be easy to disinfect and resistant to chlorine à.5% solution. Frame: Shape of nose bridge: regular (or alternatively wide) Covers big part of the cheek (important in VHF context: between hood and respirator). Parts that touch the skin are not allergenic or irritating. Easy to combine with personal spectacles/ corrective glasses. Made of thermoplastic elastomer. Flexible PVC frame to easily fit with all face contours with even pressure. Broad and fully adjustable headband. Adjustable band to secure firmly so as not to become loose during clinical activity. Must be easy to disinfect and resistant to chlorine à.5% solution. Indirect ventilation: a venting system that does not allow for direct contact of particles to the interior of the goggles. this is achieved by adding angled vents, (prefereably at the bottom), which face away from the front lens that the wearer looks through. Intended use: Worn during procedures that may expose personnel to eye contamination by infectious or hazardous chemicals. The reusable goggles must be disinfected with chlorine solution and be easy to remove. The ocular should be cleaned regularly. It can be cleaned with water and soap, or cleaning fluid for glasses. In case the goggles should be cleaned with a chlorine solution, it is necessary to clean it afterwards with water and soap, and rinse it thoroughly with clear water. No traces of chlorine should be left over because these traces will quickly result in fogging. Scratched ocular should be replaced. If the elastic strap is damaged, the entire goggle needs to be replaced. | Conformity requirements (WHO): • EU PPE Regulation 2016/425, • EN 166, • ANSI/ISEA Z87.1, or equivalent PPE class 3 EN 166 : 2002 Personal eye-protection – Specification EN 167 : 2002 Personal eye-protection - optical test methods EN 168 : 2002 Personal eye-protection - non-optical test methods Packaging and labeling: Packaging: One (1) unit in a protective packaging. Manufacturer name and address. ISO 15223 CE mark (+EC REP), FDA and equivalent. Lot/batch, MFD and expiry date. |  |  |  |
| - Face Shields reusable | Durable full face length safety shield, fog-resistant. Encloses a wide area of the face ear-to-ear and forehead to chin. Can be worn with glasses or goggles, and with a N95 type respirator. Technical specifications: Durable full face length safety shield, fog-resistant. Encloses a wide area of the face ear-to-ear and forehead to chin. Can be worn with glasses or goggles. Made of clear plastic and provides good visibility to both the wearer and the patient. Material, shield part: clear polycarbonate, thickness approx. 1 mm. Made of robust material which can be cleaned and disinfected. Impermeable to liquids. Antistatic. Flexible. Size shield, from headband down approx.: 25 x 30 cm (w x h) Adjustable length headband, integrated with the shield. Adjustable band to attach firmly around the head and fit snuggly against the forehead. Width headband, approx.: 3 cm Front part of the headband is foam padded (length approx. 25 cm) Shield is anti-fog treated/coated (preferred). Outside is coated to prevent glare from reflection. Non sterile. Reusable. | Conformity requirements (WHO): • EU PPE Regulation 2016/425, • EN 166, • ANSI/ISEA Z87.1, or equivalent set of standards Packaging and labeling: Packaging: One (1) unit in a protective packaging. Manufacturer name and address. ISO 15223 CE mark (+EC REP), FDA and equivalent. Lot/batch, MFD and expiry date. Word ‘non-sterile, single use, disposable.’ Comes with instructions for use, cleaning, decontamination from viral agents. |  |  |  |
| - Head cover, waterproof, disposable, non-sterile | A non-sterile head covering designed as a cap to completely cover the hair and is intended to be worn by surgical staff during an operation to protect both the patient and themselves from the transfer of microorganisms, body fluids, and particulate material. It is an elasticated cap made of non-woven materials. Technical specifications: Non-woven (polypropylene, viscose, etc.) Non-permeable to liquid. Waterproof. For medical use. Weight: 10 to 30 g/m2 (e.g. cap of 6 g = 28 g/m2). Elastic opening permitting complete coverage of all hairstyles (Ø ± 50 cm). Latex-free. One-size-fits-all. Non sterile, single use. Intended use: It is mandatory for all operating theatre staff to wear a surgical cap. Non-woven surgical caps are intended for situations where sterilization is problematic. Dispose after use. | Conformity requirements: • EU PPE Regulation 2016/425, • EU MDD Directive 93/42/EEC • EN 343 for water and breathability or equivalent Packaging: Unit presentation: Hundred (100) Head Covers per box Manufacturer name and address. ISO 15223. CE mark (+EC REP), FDA and equivalent. Lot/batch, MFD and expiry date. Word ‘non-sterile, single use, disposable.’ |  |  |  |
| - Shoe Cover waterproof, disposable | A non-sterile device made of a non-conductive material intended to be used as a physical barrier on a shoe to prevent cross-contamination between the shoe and the environment. This is a single-use device. Material: PVC Non-conductive. Disposable. Non-woven. One-size-fits-all. Elastic in hem at ankle. Non-permeable to liquid. Waterproof. Intended use: Any protective clothing used in the contaminated area must not be worn in the other areas of the facility. After use discard into infectious waste container. | Conformity requirements: • EU PPE Regulation 2016/425, • EU MDD Directive 93/42/EEC • EN 343 for water and breathability or equivalent Packaging & labeling: Manufacturer name and address. ISO 15223 Packaging: Unit presentation: Hundred (100) Shoe Covers per box CE mark (+EC REP), FDA and equivalent. Lot/batch, MFD and expiry date. Word ‘non-sterile, single use, disposable.’ |  |  |  |

- Price Schedule Form

Name of Bidder:

Date of Bid:

ITB/ Bid No:

Currency of Bid price:

Delivery time (days from receipt of order till dispatch):

(Note: Preferred number of days is: 07 days)

Expiration of Validity of Bid/Proposal (The bid shall be

valid for a period of at least 90 Days after the Closing date.):

| Item No. and Name | UOM | Quantity | Price / UOM | Total Price for Each item | Transportation cost to destination (specify mode of transportation) for each item | Total Cost (Destination) |
| --- | --- | --- | --- | --- | --- | --- |

Vendor’s Comments:

PROVIDED THAT A PURCHASE ORDER IS ISSUED BY UNFPA WITHIN THE REQUIRED BID VALIDITY PERIOD, THE UNDERSIGNED HEREBY COMMITS, SUBJECT TO THE TERMS OF SUCH PURCHASE ORDER, TO FURNISH ANY OR ALL ITEMS AT THE PRICES OFFERED AND TO DELIVER SAME TO THE DESIGNATED POINT(S) WITHIN THE DELIVERY TIME STATED ABOVE.

Name and title					Date and Place

- Delivery Schedule Form

Name of the Bidder:                                 ___________________________

Date of Bid:                                              ____________________________

ITB/ Bid No:                                             _____________________________

| Item No. | Quantity | Days |
| --- | --- | --- |
| Specify Item no, and name |  |  |
| Specify Item no, and name |  |  |
| Specify Item no, and name |  |  |

Vendor’s Comments:

Name and title							            Date and Place