## Cover
BILL OF QUANTITIES
Office Building, MAFF Compound, Phnom Penh, Cambodia
FEBRUARY, 2020

## SUMMARY
DATE: 22 July, 2020
BILL OF QUANTITIES - Value Engineering 04
PROJECT : | Office Building, MAFF Compound, Phnom Penh, Cambodia
CLIENT:
SUMMARY
Bill | WORK DESCRIPTION | AMOUNT (USD)
1 | BUILDING | 0
1.1 | PRELIMINARY WORK | 0
1.2 | STRUCTURE WORK | 0
1.3 | ARCHITECTURE WORK | 0
1.4 | MVAC | 0
1.5 | ELECTRICAL | 0
1.6 | PLUMBING and FIRE FIGHTING SYSTEM
2 | EXTERNAL WORK | 0
3 | DEMOLITION WORK | 0
4 | AS-BUILD DRAWING | 0
0
| VAT10% | 0
| GRAND TOTAL | 0

## 1.1 PRELIMINARY
DATE: 21 FEB, 2020
[6 empty] | BILL No. | 1.1 PRELIMINARY WORK
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (USD) |  | AMOUNT | REMARK
|  |  |  | LABOUR | MATERIAL | USD
- | It is the responsibility of the Contractor to refer to all documents provided and allow for all cost implications in connection with the various contractual conditions and requirements referred to therein
- | If the Contractor leaves particular items unpriced it will be deemed that the Contractor has included all associated costs elsewhere in the Contract Bills or that no costs will be incurred in relation to those items, meaning that the Contractor has allowed here for all costs, in reduction or addition, where the Contractor has the reason to believe that the Bill of Quantities is incorrect, making the Contract Sum a Lumpsum amount
A | Measurement - Generally
1 | Bills of Quantities have been measured in accordance with the Principles of Measurement International ( POMI ) for Works of Construction.
2 | The quantities have been measured in accordance with the tender drawings. If there is item missing apart from drawing or as per construction provisional, bidder must raise those additional in different sheet.
3 | Unless otherwise stated quantities have been
measured net as fixed in position
B | Rates and Prices
1 | All rates and prices shall be quoted in the currency
stipulated in accordance with the Contract
2 | Rates and prices shall include for labour and all
costs in connection herewith included but not
limited to:
Labour ( as appropriate )
Materials ( as appropriate )
Square, raking and circular cutting
Drilling
Setting
3 | Rates and prices shall include for labour and all
costs in connection herewith included but not
limited to:
Fixing of materials
Lapping and jointing
Wastage
Consumable materials
Conveyance, delivery, unloading and storage
Hoisting and lowering
Delivery charges
Customs Duties, Taxes and Royalties
Payroll tax, overtime and incentives
Builders premises and administration costs
Processing of variations
Profit
Plant and equipment
Protection of the works
Labour employment costs
Insurances
All costs associated with complying with the terms
and conditions of the Contract and completion in
accordance with the Scope of Works defined
4 | The Contractor shall price every item that has a value
and use realistic rates. Rates contained within the
Contract Bills will be used for the evaluation of
variations in accordance with the terms and
conditions of Contract
C | The Clause numbers and heading of the
Preliminaries section of the Specification Part 1 -
General Specification are listed hereunder to afford
the Contractor the opportunity of allowing against
each Clause number any costs which may be
incurred in complying with the terms of that Clause
Clause
1.1 | Introduction | 1 | Item
1.2 | Standards and Testing | 1 | Item
1.3 | Scope of the Contract | 1 | Item
1.4 | Visit Site | 1 | Item
1.5 | Plant etc | 1 | Item
1.6 | Sheds, Offices etc | 1 | Item
1.7 | Temporary Power | 1 | Item
1.8 | Advertisements | 1 | Item
1.9 | Prevention of Trespass | 1 | Item
1.1 | Unauthorized Persons / ID Badges | 1 | Item
1.11 | Protection of Employers and Public | 1 | Item
Property
1.12 | Protection of Adjacent Structures | 1 | Item
1.13 | Watching and Lighting | 1 | Item
1.14 | Protection of Works | 1 | Item
1.15 | Welfare and Safety | 1 | Item
1.16 | First Aid | 1 | Item
1.17 | Social Security Scheme etc | 1 | Item
1.18 | Water | 1 | Item
1.19 | Temporary Roads | 1 | Item
1.2 | Dimensions | 1 | Item
1.21 | Religious Rites | 1 | Item
1.22 | Permits and Applications | 1 | Item
1.23 | Leave Works Clean and Tidy | 1 | Item
1.24 | Programme of Work and Method of | 1 | Item
Construction
1.25 | Works Diary | 1 | Item
1.26 | Equipment for Testing and Measuring | 1 | Item
1.27 | Assistance to the Consulting Engineer | 1 | Item
1.28 | Requests for Approval | 1 | Item
1.29 | Samples | 1 | Item
1.3 | Inspections and Tests | 1 | Item
1.31 | Proprietory Materials and Articles | 1 | Item
1.32 | Discrepancies between Drawings and | 1 | Item
Specifications
1.33 | Alternatives | 1 | Item
1.34 | Working Drawing on Site | 1 | Item
1.35 | Calculations, Shop Drawings and | 1 | Item
As-Built Drawings
1.36 | Overtime | 1 | Item
1.37 | Pricing | 1 | Item
1.38 | Setting Out and Levelling | 1 | Item
1.39 | Project Meetings | 1 | Item
1.4 | Contractor's Staff | 1 | Item
1.41 | Safety | 1 | Item
1.42 | Attendance upon other contractors, etc. | 1 | Item
1.43 | Liason with other contractors, etc. | 1 | Item
TOTAL

## 1.2 STRUCTURE
DATE: 21 FEB, 2020
[12 empty] | U$ | 8600
[10 empty] | BILL No. | 1.2 STRUCTURE | Thai Bath | 265
ITEM | DESCRIPTION | UNIT |  |  |  |  | QUANTITY | RATE (USD) |  | TOTAL | REMARK | Exchange rate
[8 empty] | LABOR | MATERIAL
S1 | EARTH WORK |  | B | L | Dpth | Qty |  |  |  | 0 |  | 1$ | 1 | Kips
S1.1 | LEVELING AND STAKING | m² | 26 | 36 |  |  | 936 |  |  | 0 |  | Concrete 32MPa | 90.625 | $
S1.2 | SOIL EXCAVATION FOR FOOTING | m³ |  |  |  |  | 271.96 |  |  | 0 |  | Concrete 28MPa | 87.5 | $
| F1 |  | 2.9 | 2.9 | 1.6 | 4 | 53.824 |  |  | 0
| F2 |  | 1.8 | 1.8 | 1.6 | 1 | 5.184 |  |  | 0
| F3 |  | 1.4 | 1.4 | 1.6 | 3 | 9.408 |  |  | 0
| F4 |  | 2 | 3.2 | 1.6 | 1 | 10.24 |  |  | 0
| F5 |  | 1.4 | 2.7 | 1.6 | 1 | 6.048 |  |  | 0
| F6 |  | 1.8 | 2.4 | 1.6 | 1 | 6.912 |  |  | 0
| F7 |  | 103.4 | 1 | 1.6 | 1 | 165.44 |  |  | 0
S1.3 | GRVAEL FILLING AT UNDER FOOTINGS INCLUDING COMPACTION(20CM THK) | m³ |  |  |  |  | 35.71 |  |  | 0 |  | Concrete 25MPa | 78.125 | $
| F1 |  | 2.9 | 2.9 | 0.2 | 4 | 6.728 |  |  | 0
| F2 |  | 1.8 | 1.8 | 0.2 | 1 | 0.648 |  |  | 0
| F3 |  | 1.4 | 1.4 | 0.2 | 3 | 1.176 |  |  | 0
| F4 |  | 2 | 3.2 | 0.2 | 1 | 1.28 |  |  | 0
| F5 |  | 1.4 | 2.7 | 0.2 | 1 | 0.756 |  |  | 0
| F6 |  | 1.8 | 2.4 | 0.2 | 1 | 0.864 |  |  | 0
| F7 |  | 103.4 | 1 | 0.2 | 1 | 20.68 |  |  | 0
S1.4 | SAND FILLING AT UNDER GROUND FLOOR SLAB INCLUDING POURING WATER AND COMPACTION(10CM THK) | m³ |  |  | 0.1 | 272 | 27.2 |  |  | 0 |  | Concrete 15MPa | 65.625 | $
S2 | FOUNDATION WORK | [8 empty] | 0 |  | Steel | 1000 | $
S2.1 | LEAN CONCRETE, GRADE 15MPA COMPRESSIVE STRENGTH | m³ | m | m | m |  | 12.21 |  |  | 0 |  | From work | 8 | $
| F1 |  | 3.1 | 3.1 | 0.05 | 4 | 1.922 |  |  | 0
| F2 |  | 2 | 2 | 0.05 | 1 | 0.2 |  |  | 0
| F3 |  | 1.6 | 1.6 | 0.05 | 3 | 0.384 |  |  | 0
| F4 |  | 2.2 | 3.4 | 0.05 | 1 | 0.374 |  |  | 0
| F5 |  | 1.6 | 2.9 | 0.05 | 1 | 0.232 |  |  | 0
| F6 |  | 2 | 2.6 | 0.05 | 1 | 0.26 |  |  | 0
| F7 |  | 120.223 | 1 | 0.05 | 1 | 6.0112 |  |  | 0
S2.2 | FOUNDATION, CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ | m | m | m |  | 77.53 |  |  | 0 |  | precast lab(m2) | 15 | $/m2
| F1 |  | 2.9 | 2.9 | 0.4 | 4 | 13.456 |  |  | 0
| F2 |  | 1.8 | 1.8 | 0.3 | 1 | 0.972 |  |  | 0
| F3 |  | 1.4 | 1.4 | 0.3 | 3 | 1.764 |  |  | 0
| F4 |  | 2 | 3.2 | 0.35 | 1 | 2.24 |  |  | 0
| F5 |  | 1.4 | 2.7 | 0.35 | 1 | 1.323 |  |  | 0
| F6 |  | 1.8 | 2.4 | 0.35 | 1 | 1.512 |  |  | 0
| F7 |  | 103.4 | 1 | 0.4 | 1 | 41.36 |  |  | 0
S2.3 | REBAR FOR FOUNDATION | tons |  |  |  |  | 9.3036 |  |  | 0 |  | Rust proof | 2.5 | $/m2
S2.4 | FORM WORK | m² | m | m | m | Unit | 104.618 |  |  | 0 |  | Water stop | 125000 | kips
| F1 |  | 2.9 | 2.9 | 0.4 | 4 | 18.56
| F2 |  | 1.8 | 1.8 | 0.3 | 1 | 2.16
| F3 |  | 1.4 | 1.4 | 0.3 | 3 | 5.04
| F4 |  | 2 | 3.2 | 0.35 | 1 | 3.64
| F5 |  | 1.4 | 2.7 | 0.35 | 1 | 2.87
| F6 |  | 1.8 | 2.4 | 0.35 | 1 | 2.94
| F7 |  | 173.52 | 0 | 0.4 | 1 | 69.408
S3 | REINFORCED CONCRETE COLUMN WORK | [8 empty] | 0
S3.1 | STUMP COLUMNS | [8 empty] | 0
S3.1.1 | CONCRETE GRADE FC' ≥ 30 MPA COMPRESSIVE STRENGTH FOR STUMP COLUMN | m³ |  |  |  |  | 2.95 |  |  | 0
S3.1.2 | C1 |  | 0.25 | 0.25 | 0.8 | 18 | 0.9 |  |  | 0
S3.1.3 | C2 |  | 0.2 | 0.2 | 0.8 | 59 | 1.888 |  |  | 0
S3.1.2 | REBAR FOR STUMP COLUMNS | tons |  |  |  |  | 0.354 |  |  | 0
S3.1.3 | FORM WORK STUMP COLUMNS | m² |  |  |  |  | 52.6 |  |  | 0
| C1 |  | 0.25 | 0.25 | 0.8 | 18 | 14.4 |  |  | #REF!
| C2 |  | 0.2 | 0.2 | 0.8 | 59 | 37.76 |  |  | #REF!
S3.2 | GROUND FLOOR COLUMN | [8 empty] | 0
S3.2.1 | CONCRETE GRADE FC' ≥ 30 MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 12.01 |  |  | 0
| C1: 0.25x0.25x(3.5-0.35)x18 |  | 0.25 | 0.25 | 3.15 | 18 | 3.5437 |  |  | 0
| C2: 0.2x0.2x(3.5-0.35)x59 |  | 0.2 | 0.2 | 3.15 | 59 | 7.434 |  |  | 0 |  |  |  |  | .
S3.2.2 | REBAR FOR GROUND COLUMN | tons |  |  |  |  | 1.6 |  |  | 0
S3.2.3 | FORMWORK | m² |  |  |  |  | 231.35 |  |  | 0
| C1: 0.25x0.25x(3.5-0.35)x18 |  | 0.25 | 0.25 | 3.15 | 18 | 56.7 |  |  | #REF!
| C2: 0.2x0.2x(3.15-0.35)x59 |  | 0.2 | 0.2 | 3.5 | 59 | 165.2 |  |  | #REF!
S3.3 | 1ST FLOOR COLUMN | [8 empty] | 0
S3.3.1 | CONCRETE GRADE FC' ≥ 30 MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 11.42 |  |  | 0
| C1: 0.25x0.25x(3.5-0.35)x18 |  | 0.25 | 0.25 | 3.15 | 18 | 3.5437 |  |  | 0
| C2: 0.2x0.2x(3.5-0.35)x59 |  | 0.2 | 0.2 | 3.15 | 59 | 7.434 |  |  | 0
S3.3.2 | REBAR FOR 1ST FLOOR COLUMN | tons |  |  |  |  | 1.52 |  |  | 0
S3.3.3 | FORMWORK | m² |  |  |  |  | 221.9 |  |  | 0
| C1: 0.25x0.25x(3.5-0.35)x18 |  | 0.25 | 0.25 | 3.15 | 18 | 56.7
| C2: 0.2x0.2x(3.15-0.35)x59 |  | 0.2 | 0.2 | 3.5 | 59 | 165.2
S4 | REINFORCED CONCRETE BEAM WORK | [8 empty] | 0
S4.1 | GROUND FLOOR BEAM | [8 empty] | 0
S4.1.1 | CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 15.0901 |  |  | 0
| GB1 |  | 0.25 | 0.35 | 68.85 |  | 6.0244 |  |  | 0
| GB2 |  | 0.25 | 0.35 | 49.68 |  | 4.347 |  |  | 0
| GB3 |  | 0.2 | 0.35 | 67.41 |  | 4.7187 |  |  | 0
S4.1.2 | REBAR FOR GROUND BEAM | tons |  |  |  |  | 2.2635 |  |  | 0
S4.1.3 | LEAN CONCRETE GRADE FC' ≥ 15MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 2.1557 |  |  | 0
| GB1 |  | 0.25 | 0.35 | 68.85 | 0.05 | 0.86062 |  |  | 0
| GB2 |  | 0.25 | 0.35 | 49.68 | 0.05 | 0.621 |  |  | 0
| GB3 |  | 0.2 | 0.35 | 67.41 | 0.05 | 0.6741 |  |  | 0
S4.1.4 | FORM WORK | m² |  |  |  |  | 130.158 |  |  | 0
| GB1 |  | 0.25 | 0.35 | 68.85 |  | 48.195
| GB2 |  | 0.25 | 0.35 | 49.68 |  | 34.776
| GB3 |  | 0.2 | 0.35 | 67.41 |  | 47.187
S4.2 | 1ST FLOOR BEAM | [8 empty] | 0
S4.2.1 | CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 10.6822 |  |  | 0
| CB1 |  | 0.25 | 0.22 | 68.85 |  | 3.7867 |  |  | 0
| CB2 |  | 0.25 | 0.22 | 51.834 |  | 2.8509 |  |  | 0
| CB3 |  | 0.2 | 0.3 | 67.41 |  | 4.0446 |  |  | 0
S4.2.2 | REBAR FOR 1ST FLOOR BEAM | tons |  |  |  |  | 1.6023 |  |  | 0
S4.2.3 | FORMWORK | m² |  |  |  |  | 126.4116 |  |  | 0
| CB1 |  | 0.25 | 0.22 | 68.85 |  | 47.5065 |  |  | #REF!
| CB2 |  | 0.25 | 0.22 | 51.83 |  | 35.7627 |  |  | #REF!
| CB3 |  | 0.2 | 0.22 | 67.41 |  | 43.1424 |  |  | #REF!
S4.3 | 2ND FLOOR BEAM | [8 empty] | 0
S4.3.1 | CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 8.735 |  |  | 0
| CB4 |  | 0.25 | 0.22 | 68.85 |  | 3.7867 |  |  | 0
| CB5 |  | 0.25 | 0.22 | 49.68 |  | 2.7324 |  |  | 0
| CB6 |  | 0.2 | 0.22 | 22.55 |  | 0.9922 |  |  | 0
| CB3 |  | 0.2 | 0.22 | 27.81 |  | 1.2236 |  |  | 0
S4.3.2 | REBAR FOR 2ND FLOOR BEAM | tons |  |  |  |  | 1.3162 |  |  | 0
S4.3.3 | FORM WORK | m² |  |  |  |  | 114.0161 |  |  | 0
| CB4 |  | 0.25 | 0.22 | 68.85 |  | 47.5065
| CB5 |  | 0.25 | 0.22 | 49.68 |  | 34.2792
| CB6 |  | 0.2 | 0.22 | 22.55 |  | 14.432
| CB3 |  | 0.2 | 0.22 | 27.81 |  | 17.7984
S5 | REINFORCED CONCRETE SLAB WORK | [8 empty] | 0
S5.1 | GROUND FLOOR SLAB | [8 empty] | 0
S5.1.1 | CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 49 |  |  | 0
| S2 (130) |  |  | 0.13 | 320 |  | 41.6 |  |  | 0
S5.1.2 | REBAR FOR GROUND FLOOR SLAB | tons |  |  |  |  | 4.9 |  |  | 0
S5.1.3 | PLASTIC SHEET | m² |  |  |  |  | 350 |  |  | 0
S5.2 | 1ST FLOOR SLAB | [8 empty] | 0
S5.2.1 | SLAB, CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ |  | 0.13 | 220 |  | 28.6 |  |  | 0
S5.2.2 | REBAR FOR 1ST FLOOR SLAB | tons |  |  |  |  | 3.432 |  |  | 0
S5.2.3 | FORM WORK | m² |  |  | 220 |  | 220 |  |  | 0
S5.3 | 2ND FLOOR SLAB | [8 empty] | 0
S5.3.1 | CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ |  | 0.13 | 313 |  | 42.64 |  |  | 0
S5.3.2 | REBAR FOR 2ND FLOOR SLAB | tons |  |  |  |  | 5.1168 |  |  | 0
S5.3.3 | FORM WORK | m² |  |  | 328 |  | 328 |  |  | 0
S6 | REINFORCED CONCRETE STAIR WORK | [8 empty] | 0
S6.1 | GROUND - 1ST FLOOR STAIR | [8 empty] | 0
S6.1.1 | CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 2.59 |  |  | 0
[7 empty] | 1.07 |  |  | 0
[7 empty] | 0.82 |  |  | 0
[7 empty] | 0.7 |  |  | 0
S6.1.2 | REBAR FOR STAIR | tons |  |  |  |  | 0.3885 |  |  | 0
S6.1.3 | FORMWORK | m² |  |  |  |  | 17.604 |  |  | 0
6.2 | 1ST - 2ND FLOOR STAIR | [8 empty] | 0
S6.2.1 | CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 2.59 |  |  | 0
[7 empty] | 1.07 |  |  | 0
[7 empty] | 0.82 |  |  | 0
[7 empty] | 0.7 |  |  | 0
S6.2.2 | REBAR FOR STAIR | tons |  |  |  |  | 0.3885 |  |  | 0
S6.2.3 | FORM WORK | m² |  |  |  |  | 17.604 |  |  | 0
6.3 | EXTERNAL STAIR | [8 empty] | 0
S6.3.1 | CONCRETE GRADE FC' ≥ 30MPA COMPRESSIVE STRENGTH | m³ |  |  |  |  | 2.25 |  |  | 0
[7 empty] | 2.25 |  |  | 0
[7 empty] | 0 |  |  | 0
[7 empty] | 0 |  |  | 0
S6.3.2 | REBAR FOR STAIR | tons |  |  |  |  | 0.3375 |  |  | 0
S6.3.3 | FORM WORK | m² |  |  |  |  | 15 |  |  | 0
S7 | STEEL STRUCTURES | [8 empty] | 0
S7.1 | MATAL GRID STRUCTURE | [8 empty] | 0
S7.1.1 | C-80x40x4.5x7.4 | kg |  |  |  |  | 341.28 |  |  | 0
S7.1.2 | HSS 40x80x2 | m |  |  |  |  | 190 |  |  | 0
S7.1.3 | METAL GRAING 25x25 | m² |  |  |  |  | 68.3 |  |  | 0
S7.1.4 | ANCHOR BOLT M12, GRADE 8.8 | Pcs |  |  |  |  | 280 |  |  | 0
S7.1.5 | PLATE AND ACCESSORIES | SET |  |  |  |  | 70 |  |  | 0
S7.2 | STAIR ROOF STRUCTURE | [8 empty] | 0
S7.2.1 | HSS 100x100x2 | m |  |  |  |  | 7.2 |  |  | 0
S7.2.2 | HSS 30x30x2 | m |  |  |  |  | 74 |  |  | 0
S7.2.3 | HSS 30x60x2 | m |  |  |  |  | 23 |  |  | 0
S7.2.4 | HSS 50x100x2 | m |  |  |  |  | 43 |  |  | 0
S7.2.5 | ANCHOR BOLT M14, GRADE 8.8 | Pcs |  |  |  |  | 16 |  |  | 0
S7.2.6 | PLATE AND ACCESSORIES | SET |  |  |  |  | 6 |  |  | 0
S7.2.7 | CLEAR CORRUGATED ROOF PANEL | m² |  |  |  |  | 36 |  |  | 0
S8 | DOMESTIC WATER TANK & SEPTIC TANK | [8 empty] | 0
S8.1 | DOMESTIC WATER TANK | [8 empty] | 0
8.1.1 | SOIL EXCAVATION | m³ | 4.8 | 3.8 | 1.8 | 1 | 47.2 |  |  | 0
8.1.2 | GRVAEL FILLING INCLUDING COMPACTION(20CM THK) |  | 4.8 | 3.8 | 0.2 | 1 | 2.99 |  |  | 0
8.1.3 | LEAN CONCRETE |  | 5 | 4 | 0.05 | 1 | 0.75 |  |  | 0
8.1.4 | CONCRETE | [5 empty] | 11.9101 |  |  | 0
| FOUNDATION |  | 4.8 | 3.8 | 0.25 | 1 | 4.56 |  |  | 0
| WALL | [5 empty] | 4.44 |  |  | 0
| SLAB |  | 4.4 | 3.4 | 0.2 | 1 | 2.9101 |  |  | 0
8.1.5 | REBAR | tons |  |  |  |  | 1.33 |  |  | 0
8.1.6 | FORWORK | m² | 4.8 | 3.8 | 0.25 | 1 | 89.06 |  |  | 0
8.2 | DOMESTIC SEPTIC TANK | [8 empty] | 0
8.2.1 | SOIL EXCAVATION | m³ | 3.3 | 6.9 | 1.8 | 1 | 57.04 |  |  | 0
8.2.2 | GRVAEL FILLING INCLUDING COMPACTION(20CM THK) |  | 3.3 | 6.9 | 0.2 | 1 | 3.77 |  |  | 0
8.2.3 | LEAN CONCRETE |  | 3.5 | 7.1 | 0.05 | 1 | 0.94 |  |  | 0
8.2.4 | CONCRETE | [5 empty] | 14.91 |  |  | 0
| FOUNDATION |  | 3.3 | 6.9 | 0.25 | 1 | 5.6925 |  |  | 0
| WALL | [5 empty] | 6.72 |  |  | 0
| SLAB |  | 2.9 | 6.5 | 0.2 | 1 | 3.476 |  |  | 0
8.2.5 | REBAR | tons |  |  |  |  | 1.7892 |  |  | 0
8.2.6 | FORWORK | m² | 3.3 | 6.9 | 0.25 | 1 | 109.53 |  |  | 0
| TOTAL | [8 empty] | 0

## 1.3 ARCHITECTURE
DATE: 21 FEB, 2020
[6 empty] | BILL No. | 1.3 ARCHITECTURE
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (USD) |  | AMOUNT | REMARK
|  |  |  | LABOUR | MATERIAL | USD
A1 | WALL, PARTITION AND PLASTERING |  |  |  |  | 0
GROUND FLOOR
A1.1 | To suppy and install wall brick thk 100mm 3.5m high included the lintel beam and column as specified in techincal | m2 | 100 |  |  | 0
A1.2 | Plastering 20mm wall brick thk 100mm the both sides | m2 | 200 |  |  | 0
A1.3 | To supply and install wall brick thk 200mm 3.5m high included the lintel beam and column as specified in techincal | m2 | 260 |  |  | 0
A1.4 | Plastering 20mm wall brick thk 200mm the both sides | m2 | 520 |  |  | 0
A1.5 | To supply and install gypsum wall partition thk 100mm with 9mm thk gypsumn board including C-Chanel, U-Chanel, joint skim coat, sanding, rendering, painting finial code white color and other fixation to complete the works. | m2 | 100 |  |  | 0
A1.6 | Plastering thk 20mm column 250x250mm Nos 18 height 3.5m all sides | m2 | 73.08 |  |  | 0
A1.7 | To supply and install ventilaltion block including mortar and rendering. Work including other stiffener to complete the work | m2 | 6 |  |  | 0
A1.8 | To supply and install fire-rated wall in server room 220mm thk with brick wall exterior and inside with 9mm thk gypsumn board and mineral wool insulation including c-chanel, U-chanel, joint skim coat, sanding, rendering, painting final code white color and other fixation to complete the works | m2 | 18.48 |  |  | 0
FIRST FLOOR
A1.7 | To suppy and install wall brick thk 100mm 3.5m high included the lintel beam and column as specified in techincal | m2 | 53 |  |  | 0
A1.8 | Plastering 20mm wall brick thk 100mm the both sides | m2 | 106 |  |  | 0
A1.9 | To supply and install wall brick thk 200mm 3.5m high included the lintel beam and column as specified in techincal | m2 | 326 |  |  | 0
A1.10 | Plastering 20mm wall brick thk 200mm the both sides | m2 | 672 |  |  | 0
A1.11 | To supply and install gypsum wall partition thk 100mm with 9mm thk gypsumn board including C-Chanel, U-Chanel, joint skim coat, sanding, rendering, painting final code white color and other fixation to complete the works. | m2 | 87 |  |  | 0
A1.12 | To supply and install fire-rated wall in server room 120mm thk with 9mm thk gypsumn board and mineral wool insulation including c-chanel, U-chanel, joint skim coat, sanding, rendering, painting final code white color and other fixation to complete the works | m2 | 24.5 |  |  | 0
A1.13 | Plastering thk 20mm column 250x250mm Nos 18 height 3.5m all sides | m2 | 73.08 |  |  | 0
A1.14 | To supply and install ventilaltion block including mortar and rendering. Work including other stiffener to complete the work | m2 | 10 |  |  | 0
0
| SECOND FLOOR |  |  |  |  | 0
A1.14 | Wall brick thk 150mm for railing balcony 1100mm high included the column as specified in techincal | m2 | 63 |  |  | 0
A1.15 | Plastering wall brick thk 150 mm on the both side | m2 | 126 |  |  | 0
A2 | FLOOR AND WALL FINISH |  |  |  |  | 0
GROUND FLOOR
A2.1 | To supply and install Lightweigth light grey polished concrete finishing FF.01 and any fixation to complete the works | m2 | 350 |  |  | 0
FIRST FLOOR
A2.9 | To supply and install Lightweigth light grey polished concrete finishing FF.01 and any fixation to complete the works | m2 | 235 |  |  | 0
SECOND FLOOR
A2.15 | To supply and install Lightweigth light grey polished concrete finishing FF.01 and any fixation to complete the works | m2 | 213.7 |  |  | 0
A2.16
A3 | CEILING WORK |  |  |  |  | 0
GROUND FLOOR
A3.1 | To supply and install ceiling CF.01 Gypsumn board painted white color including ceiling frame, joint skim coat, sanding, rendering, and fixation to complete the works | m2 | 45.51 |  |  | 0
A3.2 | to supply and install ceiling CF.02 Gypsumn board with moisture resistance painted white color including ceiling frame, joint skim coat, sanding, rendering, and fixation to complete the works | m2 | 20.13 |  |  | 0
A3.3 | To supply and install ceiling CF.03 Grid Ceiling as per 3D design, and other fixation to complete the works. | m2 | 98.51 |  |  | 0
A3.5 | To supply and install ceiling mortar plasterring on slab and beam and Painted in white CF.05 | m2 | 33.1 |  |  | 0
0
| FIRST FLOOR |  |  |  |  | 0
A3.6 | To supply and install ceiling CF.01 Gypsumn board painted white color including ceiling frame, joint skim coat, sanding, rendering, and fixation to complete the works | m2 | 25.27 |  |  | 0
A3.7 | to supply and install ceiling CF.02 Gypsumn board with moisture resistance painted white color including ceiling frame, joint skim coat, sanding, rendering, and fixation to complete the works | m2 | 12.64 |  |  | 0
A3.8 | To supply and install ceiling CF.03 Grid Ceiling as per 3D design, and other fixation to complete the works. | m2 | 130.87 |  |  | 0
A3.10 | To supply and install ceiling mortar plasterring on slab and beam and Painted in white CF.05 | m2 | 305.72 |  |  | 0
A4 | DOORS WORK |  |  |  |  | 0
GROUND FLOOR
A4.1 | To supply and install new wooden door WD.01 Left side finishing by laminate and 0874NT hazelnut cherry formica size 2100x900mm, have opening cover by glass 100x1000mm. Installing hinges, handle, lock and other accessories to complete the works | set | 2 |  |  | 0
A4.2 | To supply and install new wooden door WD.01 Right side finishing by laminate and 0874NT hazelnut cherry formica size 2100x900mm, have opening cover by glass 100x1000mm. Installing hinges, handle, lock and other accesories to complete the works | set | 2 |  |  | 0
A4.3 | To supply and install new wooden door WD.02 Left side finishing by laminate and 0874NT hazelnut cherry formica size 2100x800mm, including hinges, handle, lock and other accessories to complete the works | set | 1 |  |  | 0
A4.4 | To supply and install new wooden door WD.02 Right side finishing by laminate and 0874NT hazelnut cherry formica size 2100x800mm, including hinges, handle, lock and other accessories to complete the works | Set | 1 |  |  | 0
A4.5 | To supply and install new wooden door WD.03 finishing by laminate and 0874NT hazelnut cherry formica size 2100x900mm, including hinges, handle, lock and other accessories to complete the works | set | 1 |  |  | 0
A4.8 | To supply and install Door SD.01 Left 2100x800mm finishing by metal, 0486 early rain semigloss as design drawing design and other accessories to complete the works | set | 1 |  |  | 0
A4.10 | To supply and install Door SD.03 2100x764mm as drawing design and other accessories to complete the works | set | 1 |  |  | 0
A4.11 | To supply and install Door SD.01 Right 2100x800mm finishing by metal, 0486 early rain semigloss as design drawing design and other accessories to complete the works | set | 1 |  |  | 0
A4.12 | To supply and install Door SD.05 Right 2100x700mm finishing by metal, 0486 early rain semigloss as design drawing design and other accessories to complete the works | set | 1 |  |  | 0
A4.13 | To supply and install PD.01 right, Acc brushed stainless steel (Malaysia: door handle,door stop,mechanical door lock,hinges, )Single swing door-(made of moisture resistance MC board with HDS FINISHED WITH LAMINATE, 0874NT HAZELNUT CHERRY, FORMICA) 600x1800mm | set | 1 |  |  | 0
A4.14 | To supply and install PD.01 Left, Acc brushed stainless steel (Malaysia: door handle,door stop,mechanical door lock,hinges, )Single swing door-(made of moisture resistance MC board with HDS FINISHED WITH LAMINATE, 0874NT HAZELNUT CHERRY, FORMICA) 600x1800mm | set | 2 |  |  | 0
A4.15 | To supply and install Door SD.07 Right 2100x900mm finishing by metal, 0486 early rain semigloss as design drawing design and other accessories to complete the works | set | 1 |  |  | 0
A4.16 | To supply and install new FIRE RATED door FD.02 finishing by Powder finish in Matte White Color,size 2400X2400mm, Installing hinges, handle, lock and other accessories to complete the works | set | 1 |  |  | 0
FIRST FLOOR
A4.11 | To supply and install new wooden door WD.01 Right side finishing by laminate and 0874NT hazelnut cherry formica size 2100x900mm, have opening cover by glass 100x1000mm. Installing hinges, handle, lock and other accesories to complete the works | set | 3 |  |  | 0
A4.12 | To supply and install new wooden door WD.02 Left side finishing by laminate and 0874NT hazelnut cherry formica size 2100x800mm, including hinges, handle, lock and other accessories to complete the works | set | 1 |  |  | 0
A4.13 | To supply and install new wooden door WD.02 Right side finishing by laminate and 0874NT hazelnut cherry formica size 2100x800mm, including hinges, handle, lock and other accessories to complete the works | set | 1 |  |  | 0
A4.15 | To supply and install new FIRE RATED door FD.01 right finishing by laminate and 0874NT hazelnut cherry formica size 2100x900mm, have opening cover by glass 100x1000mm. Installing hinges, handle, lock and other accessories to complete the works | set | 1 |  |  | 0
A4.16 | To supply and install PD.01 right, Acc brushed stainless steel (Malaysia: door handle,door stop,mechanical door lock,hinges, )Single swing door-(made of moisture resistance MC board with HDS FINISHED WITH LAMINATE, 0874NT HAZELNUT CHERRY, FORMICA) 600x1800mm | set | 2 |  |  | 0
A4.17 | To supply and install PD.01 Left, Acc brushed stainless steel (Malaysia: door handle,door stop,mechanical door lock,hinges, )Single swing door-(made of moisture resistance MC board with HDS FINISHED WITH LAMINATE, 0874NT HAZELNUT CHERRY, FORMICA) 600x1800mm | set | 1 |  |  | 0
A4.18 | To supply and install Door SD.06 2100x900&2100x400mm finishing by metal, 0486 early rain semigloss as design drawing design and other accessories to complete the works | set | 1 |  |  | 0
A4.19 | To supply and install Door SD.07 Right 2100x900mm finishing by metal, 0486 early rain semigloss as design drawing design and other accessories to complete the works | set | 1 |  |  | 0
SECOND FLOOR
A4.17 | To supply and install Door SD.01 right 2100x800mm finishing by metal, 0486 early rain semigloss as design drawing design and other accessories to complete the works | Set | 1 |  |  | 0
A5 | GLASS WORK |  |  |  |  | 0
GROUND FLOOR
A5.1 | To supply and install glass partition and double swing door G01 4210x2700mm using Aluminum profile with 8mm glass as drawing design and other accessories to complete the works | set | 1 |  |  | 0
A5.2 | To supply and install glass partition and door G02 1000x2700mm using Aluminum profile with 8mm glass as drawing design and other accessories to complete the works | set | 2 |  |  | 0
A5.4 | To supply and install Glass partition and door G05 1525x2700mm alumninum U channel profile with 12mm thk clear temered glass as drawing design and other accessories to complete the works | set | 1 |  |  | 0
FIRST FLOOR
A5.5 | To supply and install Glass partition and door G05 1525x2700mm alumninum U channel profile with 12mm thk clear temered glass as drawing design and other accessories to complete the works | set | 6 |  |  | 0
A5.7 | To supply and install Glass partition and door G07 4210x2700mm using Aluminum profile with 8mm glass as drawing design and other accessories to complete the works | set | 1 |  |  | 0
A5.11 | To supply and install Glass partition and door G11 1000x2700&500x2700mm alumninum U channel profile with 12mm thk clear temered glass as drawing design and other accessories to complete the works | set | 1 |  |  | 0
A6 | WINDOWS WORK |  |  |  |  | 0
GROUND FLOOR
A6.1 | To supply and install window W01 1950x900mm using Aluminum profile with 8mm glass as drawing design and other accessories to complete the works | set | 17 |  |  | 0
FIRST FLOOR
A6.3 | To supply and install window W01 1950x900mm using Aluminum profile with 8mm glass as drawing design and other accessories to complete the works | set | 17 |  |  | 0
A7 | RAILING |  |  |  |  | 0
FIRST FLOOR
A7.1 | To supply and install steel screen railing for balcony 1.8m height placed between ground floor and first floor using steel plate width 30mm thk 5mm spray black color | m | 28.5 |  |  | 0
A7.2 | To supply and install steel railing for staircase ground floor to first floor including spray black | m | 10 |  |  | 0
SECOND FLOOR
A7.4 | To supply and install steel railing for staircase ground floor to first floor including spray black | m | 10 |  |  | 0
A8 | ROOF WORK FINISH |  |  |  |  | 0
A8.1 | To supply and install clear zinc roof including steel rafter frame HS: 40x80mm and batten 30x30 mm and other fixation to complete the works. | m2 | 32.7 |  |  | 0
A9 | PAINTING WORK |  |  |  |  | 0 | 0
GROUND FLOOR
A9.1
A9.2 | To make rough cement wall and paint exterior wall as per design including sanding and rendering to compete the works. (WF.02 paint with white color) | m2 | 130.1 |  |  | 0
A9.3 | To supply and paint the new interior brick and gypsum wall as per design including wall sanding, and rendering to compete the works. (WF.03 paint with white color) | m2 | 669.63 |  |  | 0
A9.4 | To supply and paint the new interior brick as per design including wall sanding, and rendering to compete the works. (WF.04 paint with blue color) | m2 | 11.4 |  |  | 0
0
| FIRST FLOOR |  |  |  |  | 0
A9.5 | To paint exterior wall as per desing including sanding and rendering to compete the works. (WF.01 paint with white color) | m2 | 130.1 |  |  | 0
A9.6 | To make rough cement wall and paint exterior wall as per design including sanding and rendering to compete the works. (WF.02 paint with white color) | m2 | 130.1 |  |  | 0
A9.7 | To supply and paint the new interior brick and gypsum wall as per design including wall sanding, and rendering to compete the works. (WF.03 paint with white color) | m2 | 615.27 |  |  | 0
SECOND FLOOR
A9.8 | To paint exterior wall as per desing including sanding and rendering to compete the works. (WF.01 paint with white color) | m2 | 147 |  |  | 0
A10 | SANITARY WARE |  |  |  |  | 0
A10.1 | Supply and install water closet, WC Flush and other accessories | Sets | 8 |  |  | 0
A10.2 | Supply and install Lavatory and other accessories | Sets | 6 |  |  | 0
A10.3 | Supply and install Urinal and other accessories | Sets | 2 |  |  | 0
A10.4 | Suppy and install sink and other accessories | Sets | 2 |  |  | 0
A10.5 | OTHER NECESSARIES EQUIPMENT | LS | 1 |  |  | 0
| TOTAL |  |  |  |  | 0

## 1.4.MVAC
Project: FAO
Subject: MVAC system
Date: October 17, 2019 | [8 empty] | 100% | 860
MVAC BILL OF QUANTITY
Notes: | [8 empty] | 15% | 129 | 989
- All characteristic of component have to be checked in design document and drawings, and shall fully comply with specifications. - This BoQ is issued for general information only and is not according to any specific brand names or models. Any Equipments, components, accessories or devices missing in this BoQ shall be added by the CONTRACTOR to comply with all requirements of their proposed Equipments. - All systems are assumed to be delivered and installed complete and fully functional & the price submitted by the bidders are deemed to be done accordingly. - All unit prices to be inclusive of importing taxes, clearances and delivered on the site. - Contractor should not insert any cells or changes any value directly in the form below but should provide a separate notes for their alternative offer or highlighted changes below with mention reference number to the provided form.
DATE: 21 FEB, 2020
[6 empty] | BILL No. |  | 1.4. MVAC
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (USD) |  | AMOUNT | MANUFACTURER | REFERENCE
|  |  |  | MATERIAL | LABOUR | USD
I. SPLIT INVERTER (R410A) AIR-CONDITIONING SYSTEM | [5 empty] | 0
I.1 | Equipments |  |  |  |  | 0
1 | CDU+FCU Wall Mounted cooling cooling capacity 2.7kW | set | 7 |  |  | 0 | Gree/Equivalent approved
2 | CDU+FCU Wall Mounted cooling cooling capacity 3.6kW | set | 5 |  |  | 0 | Gree/Equivalent approved
3 | CDU+FCU Wall Mounted cooling capacity 5kW | set | 5 |  |  | 0 | Gree/Equivalent approved
4 | CDU+FCU Ceiling cassette cooling capacity 5kW | set | 1 |  |  | 0 | Gree/Equivalent approved
5 | CDU+FCU Ceiling cassette cooling capacity 8.2kW | set | 3 |  |  | 0 | Gree/Equivalent approved
6 | CDU+FCU Wall Mounted cooling cooling capacity 2.5kW | set | 1 |  |  | 0 | Gree/Equivalent approved
A/C Controller
7 | A/C wiered remote controller (included temperature sensor) | set | 20 |  |  | 0
| including wiring to units, PVC pipe protection, installation | lot | 1 |  |  | 0
8 | Fittings, Hangers, supports, accessories and testing | lot | 1 |  |  | 0
I.2 | Refrigerant Pipe |  |  |  |  | 0
1 | Refrigerant pipes Ø15.9mm with minimum wall thickness: 1.00mm | m | 85 |  |  | 0 | Hailiang/Equivalent approved
2 | Refrigerant pipes Ø12.7mm with minimum wall thickness: 0.8 mm | m | 58 |  |  | 0 | Hailiang/Equivalent approved
3 | Refrigerant pipes Ø9.5mm with minimum wall thickness: 0.8 mm | m | 67 |  |  | 0 | Hailiang/Equivalent approved
4 | Refrigerant pipes Ø6.4mm with minimum wall thickness: 0.8 mm | m | 40 |  |  | 0 | Hailiang/Equivalent approved
5 | Refrigerant pipes Y-joints | lot | 1 |  |  | 0
6 | Additional charge of refrigerant - R410A | lps | 1 |  |  | 0
7 | Nitrogen for testing | lps | 1 |  |  | 0
8 | Sleeves and sealant | lot | 1 |  |  | 0
9 | Fitting, Hanger, support, accessories and testing | lot | 1 |  |  | 0
I.3 | Refrigerant Pipes Insulation |  |  |  |  | 0
1 | Insulation 19mm wall thinkness for Refrigerant pipes Ø15.9mm | m | 85 |  |  | 0 | K-flex/Equivalent approved
2 | Insulation 19mm wall thinkness for Refrigerant pipes Ø12.7mm | m | 58 |  |  | 0 | K-flex/Equivalent approved
3 | Insulation 19mm wall thinkness for Refrigerant pipes Ø9.5mm | m | 67 |  |  | 0 | K-flex/Equivalent approved
4 | Insulation13mm wall thinkness for Refrigerant pipes Ø6.4mm | m | 40 |  |  | 0 | K-flex/Equivalent approved
5 | accessories for installation | lot | 1 |  |  | 0
I.4 | Condensate Pipes including insulation 9.5mm thickness |  |  |  |  | 0
1 | Condensate water pipe DN20mm, PVC class 8.5 | m | 34 |  |  | 0 | Elephant/Aeroflex/Equivalent approved
2 | Condensate water pipe DN25mm, PVC class 8.5 | m | 67 |  |  | 0 | Elephant/Aeroflex/Equivalent approved
3 | Condensate water pipe DN32, PVC class 8.5 | m | 60 |  |  | 0 | Elephant/Aeroflex/Equivalent approved
4 | Clean out DN55mm | lot | 1 |  |  | 0 | Elephant/Equivalent approved
5 | Sleeves, sealant and label | lot | 1 |  |  | 0
6 | Fitting, Hanger, support, accessories and testing | lot | 1 |  |  | 0
I.5 | Wiring |  |  |  |  | 0
1 | Power wires and wiring for indoor units and outdoor units (by electrical contractor) | lot | 1 |  |  | 0
II. EXHAUST AND VENTILATION | [5 empty] | 0
II.1 | Equipments |  |  |  |  | 0
1 | Wall exhaust fan 25L/s@10Pa | set | 1 |  |  | 0 | KDK/Equivalent approved
2 | Mixed flow fan 100L/s@150Pa | set | 2 |  |  | 0 | Daikin/Equivalent approved
3 | Mixed flow fan 115L/s@150Pa | set | 2 |  |  | 0 | Daikin/Equivalent approved
4 | Mixed flow fan 160L/s@150Pa | set | 2 |  |  | 0 | Daikin/Equivalent approved
5 | Power wires and wiring (by electrical contractor) | lot | 1 |  |  | 0
6 | Fitting, Hanger, support, accessories and testing | lot | 1 |  |  | 0
II.2 | Ducting |  |  |  |  | 0
1 | Galvanized duct 0.55mm thickness | m2 | 110 |  |  | 0
2 | Acoustic internal insulation (for transfer air duct), 15mm thickness of open cell polyoefin foam | m2 | 11 |  |  | 0
3 | Flexible air duct Ø100mm | m | 24 |  |  | 0
4 | Flexible air duct Ø150mm | m | 10 |  |  | 0
5 | Flexible air duct Ø200mm | m | 5 |  |  | 0
4 | Sleeves, sealant and label | lot | 1 |  |  | 0
5 | Fitting, Hanger, support, accessories and testing | lot | 1 |  |  | 0
II.3 | Louvers |  |  |  |  | 0
1 | Door louver 300x200 (by architect) | nos | 5
2 | External air louver 400x150 with wire mesh bird screen | nos | 2 |  |  | 0 | Flothru/Equivalent approved
3 | External air louver 450x150 with wire mesh bird screen | nos | 1 |  |  | 0 | Flothru/Equivalent approved
4 | External air louver 450x200 with wire mesh bird screen | nos | 1 |  |  | 0 | Flothru/Equivalent approved
5 | External air louver 800x100 with wire mesh bird screen | nos | 1 |  |  | 0 | Flothru/Equivalent approved
6 | External air louver 1150x100 with wire mesh bird screen | nos | 1 |  |  | 0 | Flothru/Equivalent approved
7 | External air louver 600x400 with wire mesh bird screen | nos | 1 |  |  | 0 | Flothru/Equivalent approved
II.4 | Grilles, Dampers |  |  |  |  | 0
1 | Egg crate grille NS:150x150 with opposed blade volume damper | nos | 16 |  |  | 0 | Flothru/Equivalent approved
2 | Egg crate grille NS:200x200 with opposed blade volume damper | nos | 14 |  |  | 0 | Flothru/Equivalent approved
3 | Egg crate grille NS:250x250 with opposed blade volume damper | nos | 2 |  |  | 0 | Flothru/Equivalent approved
4 | Egg crate grille NS:150x150 | nos | 13 |  |  | 0 | Flothru/Equivalent approved
5 | Egg crate grille NS:200x200 | nos | 5 |  |  | 0 | Flothru/Equivalent approved
6 | Egg crate grille NS:300x300 | nos | 1 |  |  | 0 | Flothru/Equivalent approved
6 | Accessories for installation | lot | 1 |  |  | 0
II.5 | Genset room |  |  |  |  | 0
1 | Galvanized duct 0.55mm thickness | m2 | 15 |  |  | 0 | Flothru/Equivalent approved
2 | External air louver 2800x650mm | nos | 1 |  |  | 0 | Flothru/Equivalent approved
3 | Engine exhaust DN100 stanless steel schedule 10 | m | 7 |  |  | 0 | Local
4 | Fuel tank 1100(W)X1300(H)X2000(L)mm | set | 1 |  |  | 0 | Local
5 | Gate valve DN25 | nos | 5 |  |  | 0 | Local
6 | Flow meter | nos | 1 |  |  | 0 | Local
7 | Water seperator | nos | 1 |  |  | 0 | Local
8 | Check valve | nos | 1 |  |  | 0 | Local
9 | GI Pipe DN25 schedule 40 | m | 10 |  |  | 0 | Local
10 | Fittings, Hangers, supports, sleeves, accessories and testing | lot | 1 |  |  | 0 | Local
NOTE:
|  | TOTAL |  |  |  | 0

## 1.5.ELECTRICAL
Project:FAO OFFICE | [7 empty] | Labor installation | 10% | 0.1
Subject: ELECTRICAL
Date: 25/10/2019
BILL OF QUANTITY
Notes: - All characteristic of component have to be checked in design document and drawings, and shall fully comply with specifications. - This BoQ is issued for general information only and specific brands are chosen by client/main contractor. MEP contractor can propose equivalent materials of quality (all green items). Any Equipment, components, accessories or devices missing in this BoQ shall be added by the CONTRACTOR to comply with all requirements of their proposed Equipments. - All systems are assumed to be delivered and installed complete and fully functional & the price submitted by the bidders are deemed to be done accordingly. - All unit prices to be inclusive of importing taxes, clearances and delivered on the site. - Contractor should not insert any cells or changes any value directly in the form below but should provide a separate notes for their alternative offer or highlighted changes below with mention reference number to the provided form.
[8 empty] | Labor installation | 10% | 0.1
DATE: 21 FEB, 2020
[6 empty] | BILL No. | 1.5 Electrical
ITEM | DESCRIPTION | UNIT | QUALITY | RATE (USD) |  | AMOUNT | MANUFACTURER
|  |  |  | MATERIAL | LABOUR | USD
I. | Generator |  |  |  |  | 0
1 | Existing Diesel Generator SDMO Standard soundproofing 50Hz PRP/ESP : 100/110kVA, | set | 1 |  |  |  | FAO will reuse the existing one
2 | Fitting, Support and Accessories | lot | 1 |  |  | 0
II. | Main network |  |  |  |  | 0
II.1. | Underground Conduit |  |  |  |  | 0
1 | Mainhole 400x400 | Set | 3 |  |  |  | By civil
2 | PVC PIPE-Ø50mm | m | 210 |  |  | 0 | Litaplex/Equivalent approved
3 | Fitting, Support and Accessories | lot | 1 |  |  | 0 | Litaplex/Equivalent approved
II.2. | Cable Tray with Cover |  |  |  |  | 0
1 | Cable Tray W150 x H50mm | m | 60 |  |  | 0 | Local
2 | Cable Tray W100 x H50mm | m | 20 |  |  | 0 | Local
2 | Fitting, Support and Accessories | lot | 1 |  |  | 0 | Local
III. | Earthing protection |  |  |  |  | 0
1 | Earth Pit with Access Cover 300(L)x300(W)x300(H) mm | pcs | 4 |  |  | 0 | Axis//Equivalent approved
2 | Earth Rod Ø17.2 mm, Length 3m | pcs | 7 |  |  | 0 | Axis//Equivalent approved
4 | Interconnected Bare Copper Conductor 50mm2 | m | 77 |  |  | 0 | Wilson
5 | Copper Grounding 50mm2 | m | 20 |  |  | 0 | Wilson
6 | Earth Rod Coupling | nos | 3 |  |  | 0 | Axis//Equivalent approved
7 | Earth Rod Connection | nos | 3 |  |  | 0 | Axis//Equivalent approved
8 | Exothermic Welding Power for Cable to Earth Rod | lot | 1 |  |  | 0 | Local
9 | Lightning Protection E.S.E, Level III Air Terminal with radius of protection Rp=38m, H=2m | pcs | 1 |  |  |  | LPI//Equivalent approved
10 | Down conductor 50mm2 | m | 40 |  |  |  | LPI//Equivalent approved
11 | Lightning Flash Counter |  | 1 |  |  |  | LPI//Equivalent approved
12 | Accessories and Fitting | lot | 1
IV. | Lighting and Accessories |  |  |  |  | 0
1 | Down light (Toilet and Technical room) | pcs | 20 |  |  | 0 | MoOod lighing/Equivalent approved
2 | Exit Light with backup 2h | pcs | 4 |  |  | 0 | NVC/Equivalent approved
3 | Emergency Light with backup 2h | pcs | 5 |  |  | 0 | NVC/Equivalent approved
4 | Twin Recessed Downlight | pcs | 47 |  |  | 0 | MoOod lighing/Equivalent approved
5 | Triple Recessed Downlight | pcs | 24 |  |  | 0 | MoOod lighing/Equivalent approved
6 | Pendent Light (Meeting room) | pcs | 4 |  |  | 0 | Paragon/Equivalent approved
7 | Pendent Light (Above work station) | pcs | 14 |  |  | 0 | MoOod lighing/Equivalent approved
8 | Down light (Reception area ) | pcs | 22 |  |  | 0 | Paragon/Equivalent approved
9 | Surface Mounted Fluorescent Light | pcs | 18 |  |  | 0 | Paragon/Equivalent approved
10 | Recessed Fluorescent Light | pcs | 4 |  |  | 0 | Paragon/Equivalent approved
11 | led stip light | m | 3.5 |  |  | 0 | MoOod lighing/Equivalent approved
12 | Flourescent Light(genset&storage room) | pcs | 4 |  |  | 0 | Paragon/Equivalent approved
13 | Uplighter | pcs | 2 |  |  | 0 | Paragon/Equivalent approved
14 | 1 Gang 1 Way Switch | pcs | 11 |  |  | 0 | Schneider/Equivalent approved
15 | 2 Gang 1 Way Switch | pcs | 6 |  |  | 0 | Schneider/Equivalent approved
16 | 3 Gang 1 Way Switch |  | 5 |  |  | 0 | Schneider/Equivalent approved
17 | Wall Mounted | pcs | 31 |  |  | 0 | MoOod lighing/Equivalent approved
18 | Accessories | lot | 1 |  |  | 0
19 | Pendant light(above reception counter) | pcs | 1 |  |  | 0 | Paragon/Equivalent approved
V. | Socket and Accessories |  |  |  |  | 0
1 | Single power Socket | pcs | 14 |  |  | 0 | Schneider/Equivalent approved
2 | Double power Socket | pcs | 56 |  |  | 0 | Schneider/Equivalent approved
3 | Power for Mechanical (Power Point) | pcs | 25 |  |  | 0 | Schneider/Equivalent approved
4 | Motion Detector | pcs | 11 |  |  | 0 | Schneider/Equivalent approved
5 | Accessories | lot | 1 |  |  | 0
VI. | LV Switchboard |  |  |  |  | 0
VI.1 | MDB |  |  |  |  | 0
1 | Indicator Light (Red) | nos. | 3 |  |  | 0 | Schneider/Equivalent approved
2 | Indicator Light (Yellow) | nos. | 3 |  |  | 0 | Schneider/Equivalent approved
3 | Indicator Light (Blue) | nos. | 3 |  |  | 0 | Schneider/Equivalent approved
4 | Fuse c/w Base | nos. | 14 |  |  | 0 | Schneider/Equivalent approved
5 | Surge Arrester 4P Imax = 40kA ,Type 1+2 | no. | 1 |  |  | 0 | Schneider/Equivalent approved
6 | ATS SOCOMEC 4P 250A | no. | 0 |  |  | 0 | Socomec/Equivalent approved
7 | ATS Controller 1 set | set |  |  |  | 0 | Lovato/Equivalent approved
8 | Multi-meter,(V,A,PF, Kwh,Hz,Kva,Kvar,…..,),Cl 0.5, RS485 | no. | 0 |  |  | 0 | Schneider/Equivalent approved
9 | (100/5A)Cl.0.5 5VA Current Transformer | nos. | 3 |  |  | 0 | Schneider/Equivalent approved
10 | ATS Control wiring completed set & Accessories | set | 1 |  |  | 0 | Schneider/Equivalent approved
11 | Direct kWh meter | no. | 1 |  |  | 0 | Schneider/Equivalent approved
12 | Contactor 4P, 60A | nos. | 2 |  |  | 0 | Schneider/Equivalent approved
13 | MCB-Shunt Trip | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
14 | Zero Phases Current transfomer | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
15 | Eath fault relay | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
16 | 160A MCCB 4P 15kA | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
17 | 100A MCCB 4P 15kA | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
18 | 40A MCB 4P 10kA | nos. | 2 |  |  | 0 | Schneider/Equivalent approved
19 | 16A MCB 4P 6kA | nos. | 3 |  |  | 0 | Schneider/Equivalent approved
20 | 25A MCB 2P 6kA | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
21 | Enclosure IP 42 & Accessories | set | 1 |  |  | 0 | Local
VI.2 | FDB-GF |  |  |  |  | 0
1 | Indicator Light (Red) | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
2 | Indicator Light (Yellow) | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
3 | Indicator Light (Green) | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
4 | Fuse c/w Base | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
5 | 40A MCB 4P 10kA | nos. | 0 |  |  | 0 | Schneider/Equivalent approved
6 | 25A MCB 1P 6kA | nos. | 2 |  |  | 0 | Schneider/Equivalent approved
7 | 16A MCB 1P 6kA | nos. | 8 |  |  | 0 | Schneider/Equivalent approved
8 | 10A MCB 1P 6kA | nos. | 12 |  |  | 0 | Schneider/Equivalent approved
9 | 6A MCB 1P 6kA | nos. | 9 |  |  | 0 | Schneider/Equivalent approved
10 | 25A RCCB 4P 30mA | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
11 | 25A RCCB 4P 30mA | nos. | 1 |  |  | 0 | Schneider/Equivalent approved
12 | Contactor iCT 1P 9A | nos. | 4 |  |  | 0 | Schneider/Equivalent approved
13 | Timer Relay 24H | nos. | 1 |  |  | 0 | Hanger/Equivalent approved
14 | Enclosure IP 42 & Accessories | set | 1 |  |  | 0 | Local
VI.3 | FDB-1F |  |  |  |  | 0
1 | Indicator Light (Red) | nos | 1 |  |  | 0 | Schneider/Equivalent approved
2 | Indicator Light (Yellow) | nos | 1 |  |  | 0 | Schneider/Equivalent approved
3 | Indicator Light (Green) | nos | 1 |  |  | 0 | Schneider/Equivalent approved
4 | Fuse c/w Base | nos | 1 |  |  | 0 | Schneider/Equivalent approved
5 | 40A MCB 4P 10kA | nos | 1 |  |  | 0 | Schneider/Equivalent approved
6 | 25A MCB 1P 6kA | nos | 1 |  |  | 0 | Schneider/Equivalent approved
7 | 16A MCB 1P 6kA | nos | 7 |  |  | 0 | Schneider/Equivalent approved
8 | 10A MCB 1P 6kA | nos | 15 |  |  | 0 | Schneider/Equivalent approved
9 | 6A MCB 1P 6kA | nos | 11 |  |  | 0 | Schneider/Equivalent approved
10 | 25A RCCB 4P 30mA | no | 1 |  |  | 0 | Schneider/Equivalent approved
11 | Contactor iCT 1P 9A | no | 5 |  |  | 0 | Schneider/Equivalent approved
12 | Timer Relay 24H | no | 2 |  |  | 0 | Hanger/Equivalent approved
13 | Control wiring completed set & Accessories | set | 1 |  |  | 0 | Schneider/Equivalent approved
14 | Enclosure IP 42 & Accessories | set | 1 |  |  | 0 | Local
VI.4 | FDB-SP ( BY PLUMBING) |  |  |  |  | 0
VII. | Power Cable and Accessories |  |  |  |  | 0
VII.1. | Main Power Cable and Accessories |  |  |  |  | 0
1 | 5C/16mm² Cu XLPE | m | 230 |  |  | 0 | Wilson/Equivalent approved
2 | 5C/10mm² Cu XLPE | m | 30 |  |  | 0 | Wilson/Equivalent approved
3 | 5C/4mm² Cu XLPE | m | 25 |  |  | 0 | Wilson/Equivalent approved
4 | Accessories | lot | 1 |  |  | 0
VII.2. | Power Cable For Lighting and Socket |  |  |  |  | 0
1 | 3C/2.5mm2 Cu PVC/PVC | m | 300 |  |  | 0 | Wilson/Equivalent approved
2 | 3C/1.5mm2 Cu PVC/PVC | m | 600 |  |  | 0 | Wilson/Equivalent approved
3 | Ø25mm PVC Conduit | m | 200 |  |  | 0 | Litaplex/Equivalent approved
4 | Ø20mm PVC Conduit | m | 200 |  |  | 0 | Litaplex/Equivalent approved
5 | Accessories | lot | 1 |  |  | 0
VII.3. | Power Cable For MVAC |  |  |  |  | 0
1 | 3C/4mm² Cu PVC/PVC | m | 70 |  |  | 0 | Wilson/Equivalent approved
1 | 3C/2.5mm² Cu PVC/PVC | m | 300 |  |  | 0 | Wilson/Equivalent approved
2 | 5C/6mm² Cu PVC/PVC | m | 20 |  |  | 0 | Wilson/Equivalent approved
3 | Ø32mm PVC Conduit | m | 20 |  |  | 0 | Litaplex/Equivalent approved
4 | Ø25mm PVC Conduit | m | 150 |  |  | 0 | Litaplex/Equivalent approved
5 | Accessories | lot | 1 |  |  | 0
VII.4. | Power Cable For PLUMBING |  |  |  |  | 0
1 | 3C/2.5mm² Cu PVC/PVC | m | 100 |  |  | 0 | Wilson/Equivalent approved
1 | Ø25mm PVC Conduit | m | 50 |  |  | 0 | Litaplex/Equivalent approved
2 | Accessories | lot | 1 |  |  | 0
VIII. | ELV |  |  |  |  | 0
VIII.1. | Server and Switch at master room |  |  |  |  | 0
1 | Server with Work Station Complete Set | set | 1 |  |  | 0 | Dell/Equivalent approved
2 | Rack sever 24U | pcs | 1 |  |  | 0 | Cisco/Equivalent approved
3 | Main POE manage Switch 24 ports | set | 3 |  |  | 0 | ATI/Equivalent approved
4 | Private Automatic Branch Exchange (PABX) | pcs | 1 |  |  | 0 | Panasonic/Equivalent approved
5 | Router | pcs | 1 |  |  | 0 | MiKroTik/Equivalent approved
6 | UPS 10KVA, 230V | pcs | 1 |  |  | 0 | Eaton/Equivalent approved
7 | Accessories | lot | 1 |  |  | 0
VIII.2. | Data and Accessories |  |  |  |  | 0
1 | UNIFI (Ceiling Type) | pcs | 3 |  |  | 0 | Uniquiti/Equivalent approved
2 | 1 Port Data Point | pcs | 18 |  |  | 0 | AMP/Equivalent approved
3 | 2 Ports Data Point | pcs | 40 |  |  | 0 | AMP/Equivalent approved
4 | Telephone Point | pcs | 40 |  |  | 0 | Schneider/Equivalent approved
5 | HDMI Point | pcs | 5 |  |  | 0 | Schneider/Equivalent approved
6 | Finger Print | pcs | 1 |  |  | 0 | Bosch/Equivalent approved
7 | VGA Point | pcs | 5 |  |  | 0 | Schneider/Equivalent approved
8 | Cat6 Cable | m | 1400 |  |  | 0 | JJLAPP/Equivalent approved
9 | Ø20mm PVC Conduit | m | 200 |  |  | 0 | Litaplex/Equivalent approved
10 | Accessories | lot | 1 |  |  | 0
VIII.3. | Fire Alarm System |  |  |  |  | 0
1 | Fire Alarm control panel (Sever room) | pcs | 1 |  |  | 0 | Bosch/Equivalent approved
2 | Smoke Detector | pcs | 20 |  |  | 0 | Bosch/Equivalent approved
3 | Heat Detector | pcs | 2 |  |  | 0 | Bosch/Equivalent approved
4 | Manual call point | pcs | 2 |  |  | 0 | Bosch/Equivalent approved
5 | Fire Alarm Bell with Flash Light | pcs | 2 |  |  | 0 | Bosch/Equivalent approved
6 | Output module | pcs | 1 |  |  | 0 | Bosch/Equivalent approved
7 | Ø25mm PVC Conduit | m | 200 |  |  | 0 | Litaplex/Equivalent approved
8 | 2Cx1.5mm2 Fire Rated Cable | m | 300 |  |  | 0 | Wilson/Equivalent approved
9 | Accessories | lot | 0 |  |  | 0
VIII.4. | CCTV |  |  |  |  | 0
1 | IP Indoor Dome Camera | pcs | 8 |  |  | 0 | Installed by FAO
2 | Storage 2T | pcs | 1 |  |  | 0 | Installed by FAO
3 | Digital Video Recorder | pcs | 1 |  |  | 0 | Installed by FAO
4 | Ø20mm PVC Conduit | m | 100 |  |  | 0 | Litaplex/Equivalent approved
5 | Cat6 Cable | m | 280 |  |  | 0 | JJLAPP/Equivalent approved
6 | Accessories | lot | 1 |  |  | 0
VIII.5. | Public Addresse System |  |  |  |  | 0
1 | Ceilling Speaker 3W | pcs | 2 |  |  | 0 | TOA/Equivalent approved: VE-Removed
2 | Amplifier 60W | pcs | 1 |  |  | 0 | TOA/Equivalent approved: VE-Removed
3 | Audio DSP | pcs | 1 |  |  | 0 | TOA/Equivalent approved: VE-Removed
4 | Digital Wireless Receiver | pcs | 1 |  |  | 0 | TOA/Equivalent approved: VE-Removed
5 | Coaxial Cable | m | 40 |  |  | 0 | Alantex/Equivalent approved: VE-Removed
6 | Wireless Mic | pcs | 2 |  |  | 0 | TOA/Equivalent approved: VE-Removed
7 | Ø25mm PVC Conduit | m | 40 |  |  | 0 | Litaplex/Equivalent approved: VE-Removed
VIII.6. | ACCESS CONTROL |  |  |  |  | 0
1 | Access Control Panel (Card Reader) | pcs |  |  |  | 0 | Satel/Equivalent approved: VE-Removed
2 | Door Contact | pcs |  |  |  | 0 | Smart Tech/Equivalent approved: VE-Removed
3 | Door Lock | pcs |  |  |  | 0 | Smart Tech/Equivalent approved: VE-Removed
4 | Cat 6 cable | m |  |  |  | 0 | JJLAPP/Equivalent approved: VE-Removed
5 | 1x2C 1.5mm2 PVC | m |  |  |  | 0 | Wilson/Equivalent approved: VE-Removed
6 | 1 Pair 22AWG STP Cable | m |  |  |  | 0 | JJLAPP/Equivalent approved: VE-Removed
7 | Ø25mm PVC Conduit | m | 30 |  |  | 0 | Litaplex/Equivalent approved
8 | Card Reader | pcs |  |  |  | 0 | Satel/Equivalent approved: VE-Removed
9 | Accessories | lot | 1 |  |  | 0
IX. | Other Cost |  |  |  |  | 0
1 | Shop drawings & modifications, printing, submittals | lps | 1
2 | Site office, storage facility, electricity production | lps | 1 |  |  | 0
3 | Site cleaning, others | lps | 1 |  |  | 0
| TOTAL |  |  |  |  | 0

## 1.6.Plumbing & FF System
Project: FAO
Subject: Plumbing & Fire Fighting System
Date: 31-October-2019
PLUMBING, FIRE FIGHTING - BILL OF QUANTITY
Notes:
- All characteristic of component have to be checked in design document and drawings, and shall fully comply with specifications. - This BoQ is issued for general information only and specific brands core chosen by client/main contractor. MEP contractor can propose equivalent materials of quality (all green items) . Any Equipment, components, accessories or devices missing in this BoQ shall be added by the CONTRACTOR to comply with all requirements of their proposed Equipment. - All systems are assumed to be delivered and installed complete and fully functional & the price submitted by the bidders are deemed to be done accordingly. - All unit prices to be inclusive of importing taxes, clearances and delivered on the site. - Contractor should not insert any cells or changes any value directly in the form below but should provide a separate notes for their alternative offer or highlighted changes below with mention reference number to the provided form.
DATE: 21 FEB, 2020
[6 empty] | BILL No. |  | 1.6 Plumbing&Fire Fighting system
ITEM | DESCRIPTION | UNIT | QUALITY | RATE (USD) |  | AMOUNT | MANUFACTURER | REFERENCE
|  |  |  | MATERIAL | LABOUR | USD
I. COLD WATER SYSTEM | [5 empty] | 0
I.1 | Underground pipe, HDPE PN 8 PE100 |  |  |  |  | 0
1 | OD50mm | m | 18 |  |  | 0 | TAP/Equivalent approved
2 | OD40mm | m | 10 |  |  | 0 | TAP/Equivalent approved
3 | Excavation, backfilling and warning tap for underground pipe | m | 28 |  |  | 0 | Local
4 | Pipe sleeves and sealant | lot | 1 |  |  | 0 | Local
5 | Fitting | lot | 1 |  |  | 0 | TAP/Equivalent approved
6 | Hangers, supports and accessories | lot | 1 |  |  | 0 | Local
I.2 | Above ground pipe, PPR PN 12.5 |  |  |  |  | 0
1 | OD50mm | m | 10 |  |  | 0 | Polygon/Equivalent approved
2 | OD40mm | m | 211 |  |  | 0 | Polygon/Equivalent approved
3 | OD32mm | m | 39.6 |  |  | 0 | Polygon/Equivalent approved
4 | OD25mm | m | 104.5 |  |  | 0 | Polygon/Equivalent approved
5 | OD20mm | m | 210 |  |  | 0 | Polygon/Equivalent approved
6 | Pipe sleeves, sealant and label | lot | 1 |  |  | 0 | Local
7 | Fittings | lot | 1 |  |  | 0 | Polygon/Equivalent approved
8 | Hangers, supports and accessories | lot | 1 |  |  | 0 | Local
I.3 | PVC Pipe class 8.5 (Domestic Water Tank Vent) |  |  |  |  | 0
1 | DN55mm | m | 4 |  |  | 0 | Elephant/Equivalent approved
2 | Pipe sleeves, sealant and label | lot | 1 |  |  | 0 | Local
3 | Fittings | lot | 1 |  |  | 0 | Elephant/Equivalent approved
4 | Hangers, supports and accessories | lot | 1 |  |  | 0 | Local
I.4 | Galvanized Steel (Thickness 3.2 mm) |  |  |  |  | 0
1 | DN50mm | m | 2 |  |  | 0 | Melewar/Equivalent approved
2 | Pipe sleeves, sealant and label | lot | 1 |  |  | 0 | Local
3 | Fittings | lot | 1 |  |  | 0 | Melewar/Equivalent approved
4 | Hangers, supports and accessories | lot | 1 |  |  | 0 | Local
I.5 | Equipment, valve and other |  |  |  |  | 0
1 | Gate valve DN20mm | pcs | 3 |  |  | 0 | ITAP/Equivalent approved
2 | Gate valve DN25mm | pcs | 3 |  |  | 0 | ITAP/Equivalent approved
3 | Gate valve DN50mm ( Extension Handle) | pcs | 1 |  |  | 0 | ITAP/Equivalent approved
4 | Flow meter DN32mm c/w 2 gate valves, , 1check valve, 1 union | set | 1 |  |  | 0 | China
5 | Angle stop valve DN15mm (1way) | pcs | 27 |  |  | 0 | American Standard
6 | Hose Bib ( Nozzle) DN15mm | pcs | 6 |  |  | 0 | Kitz/Tozen/Equivalent approved
7 | Automatic air relief valve c/w pressure gauge DN15mm | set | 2 |  |  | 0 | Kitz/Tozen/Equivalent approved
8 | Float Vavle DN32mm ( in water tank) | set | 1 |  |  | 0 | Kitz/Tozen/Equivalent approved
9 | Insect Screen (For Domestic Tank Vent) | pcs | 1 |  |  | 0 | Local
10 | Concrete water storage tank 16m3 (By Civil Work) | set | 1 |  |  | 0 | By Civil
11 | Mahole 1x1x1m (By Civil Work) | set | 1 |  |  | 0 | By Civil
12 | Hangers, supports and accessories | lot | 1 |  |  | 0 | local
13 | Submersibler Pumps, 1 standby, 1 duty | set | 2 |  |  | 0 | Calpeda/Equivalent approved
| > Submersible Pumps(SP-01&02), Q:3.6 m3/h, @ 25m and for each | set | 1 |  |  | 0
| > 1 gate , 1 check valve | set | 1 |  |  | 0
| >Expansion Tank (GV,Pressure Swith…) |  |  |  |  | 0
| > Floatless level switch, control cable and power cable connect with pump to Electrical panel | set | 0 |  |  | 0
14 | Hangers, supports and accessories | lot | 1 |  |  | 0 | local
II. SOIL, WASTE WATER AND VENT SYSTEM | [5 empty] | 0
II.1 | PVC Pipe class 8.5 |  |  |  |  | 0
1 | DN150mm | m | 10 |  |  | 0 | Elephant/Equivalent approved
2 | DN100mm | m | 67.1 |  |  | 0 | Elephant/Equivalent approved
3 | DN80mm | m | 33 |  |  | 0 | Elephant/Equivalent approved
4 | DN65mm | m | 17.6 |  |  | 0 | Elephant/Equivalent approved
5 | DN55mm | m | 116.6 |  |  | 0 | Elephant/Equivalent approved
6 | DN40mm | m | 120 |  |  | 0 | Elephant/Equivalent approved
7 | Pipe sleeves, sealant and label | lot | 1 |  |  | 0 | Local
8 | Fittings | lot | 1 |  |  | 0 | Elephant/Equivalent approved
9 | Hangers, supports and accessories | lot | 1 |  |  | 0 | Local
II.2 | Equipment |  |  |  |  | 0
1 | Floor drain DN50mm | pcs | 8 |  |  | 0 | Cotto/Equivalent approved
2 | Air vent cap c/w carbon air vent DN40mm | pcs | 2 |  |  | 0 | Liansu/Equivalent approved
3 | Air vent cap c/w carbon air vent DN50mm | pcs | 1 |  |  | 0 | Liansu/Equivalent approved
4 | Floor clean out DN50mm | pcs | 2 |  |  | 0 | Liansu/Equivalent approved
5 | Floor clean out DN80mm | pcs | 1 |  |  | 0 | Liansu/Equivalent approved
6 | Floor clean out DN100mm | pcs | 4 |  |  | 0 | Liansu/Equivalent approved
7 | clean out DN50mm | pcs | 1 |  |  | 0 | Liansu/Equivalent approved
8 | clean out DN100mm | pcs | 1 |  |  | 0 | Liansu/Equivalent approved
9 | Manhole2: 0.8x0.8x1.3m (By civil work) | pcs | 2 |  |  | 0 | By Civil
10 | Hangers, supports and accessories | lot | 1 |  |  | 0 | Local/Equivalent approved
III. RAIN WATER SYSTEM | [5 empty] | 0
III.1 | PVC Pipe class 8.5 |  |  |  |  | 0
1 | DN55mm | m | 22 |  |  | 0 | Elephant/Equivalent approved
2 | DN80mm | m | 47.3 |  |  | 0 | Elephant/Equivalent approved
3 | DN100mm | m | 99 |  |  | 0 | Elephant/Equivalent approved
4 | Pipe sleeves, sealant and label | lot | 1 |  |  | 0 | Local
5 | Fittings | lot | 1 |  |  | 0 | Elephant/Equivalent approved
6 | Hangers, supports and accessories | lot | 1 |  |  | 0 | Local
III.2 | Underground Pipe |  |  |  |  | 0
1 | DN300mm | m | 65 |  |  | 0 | KAP/Equivalent approved
2 | DN400mm | m | 45 |  |  | 0 | KAP/Equivalent approved
3 | Excavation, backfilling and warning tap for underground pipe | m | 110 |  |  | 0 | Local
III.3 | Equipment, valve and other |  |  |  |  | 0
1 | Manhole1: 0.6x0.6x1m (By civil work) | pcs | 9 |  |  | 0 | By Civil
2 | Manhole2: 0.8x0.8x1.4m (By civil work) | pcs | 3 |  |  | 0 | By Civil
3 | Gutter 250x200mm | m | 135 |  |  | 0 | By Civil
4 | Floor drain DN50mm | pcs | 6 |  |  | 0 | Knack/Equivalent approved
5 | Roof drain DN50mm | pcs | 1 |  |  | 0 | Knack/Equivalent approved
6 | Roof drain DN80mm | pcs | 6 |  |  | 0 | Knack/Equivalent approved
7 | Hangers, supports and accessories | lot | 1 |  |  | 0 | Local
IV. Fire Fighting System | [5 empty] | 0
IV.1 | Underground pipe, HDPE PN 12.5 PE 80 |  |  |  |  | 0
1 | OD110mm | m | 25 |  |  | 0 | TAP/Equivalent approved
2 | OD63mm | m | 25 |  |  | 0 | TAP/Equivalent approved
3 | OD75mm | m | 220 |  |  | 0 | TAP/Equivalent approved
4 | Excavation, backfilling and warning tap for underground pipe | m | 270 |  |  | 0 | Local
5 | Pipe sleeves, sealant and label | lot | 1 |  |  | 0 | Local
6 | Fittings | lot | 1 |  |  | 0 | TAP/Equivalent approved
IV.2 | BS Pipe (Black Steel Pipe) (Schedule 40 , Class M) |  |  |  |  | 0
1 | DN50mm | m | 20 |  |  | 0 | Youfa/Equivalent approved
2 | DN65mm | m | 2 |  |  | 0 | Youfa/Equivalent approved
3 | DN80mm | m | 12 |  |  | 0 | Youfa/Equivalent approved
4 | Pipe sleeves, sealant and label | lolt | 1 |  |  | 0 | Local
5 | Fittings | lot | 1 |  |  | 0 | Youfa/Equivalent approved
6 | Hangers, supports and accessories | lot | 1 |  |  | 0 | local
IV.3 | Equipment |  |  |  |  | 0
1 | Fire extinguisher type CO2, 5kg with accessories | set | 2 |  |  | 0 | SRI/Equivalent approved
2 | Fire extinguisher type ABC, 6kg with accessories | set | 11 |  |  | 0 | SRI/Equivalent approved
3 | Fire extinguisher type ABC, 35kg with accessories | set | 2 |  |  | 0 | local
4 | Wet Fire Department Connection DN100mm ∅65x65x100mm | set | 1 |  |  | 0 | GALA/Equivalent approved
5 | Landing Valve DN65mm | pcs | 2 |  |  | 0 | GALA/Equivalent approved
6 | Gate Valve DN50mm | pcs | 1 |  |  | 0 | GALA/Equivalent approved
7 | Check Valve DN50mm | pcs | 1 |  |  | 0 | GALA/Equivalent approved
8 | Automatic air relief valve c/w pressure gauge DN15mm | set | 2 |  |  | 0 | Kitz/Tozen/Equivalent approved
9 | FHR Cabinet | set | 2 |  |  | 0 | SRI/Equivalent approved
> Hose Cabinet
>DRUM HR. MANUAL SWING 25MM OUTLET
- Hose HR. NCT CORR - Nozzle HR. J&S BRASS
> Ball Valve DN 1"
> Fire Ext ABC Pressurized MS 6.0KG RED
> Fire Ext CO2 Pressurized MS 5.0KG RED
10 | Manhole (WxLxH: 0.8x0.8x0.8m) | set | 1 |  |  | 0 | By Civil Work
11 | Water meter DN65mm with with Valve and Check Valve | set | 1 |  |  | 0 | By Other
12 | Hangers, supports and accessories | lot | 1 |  |  | 0 | local
V. SANITARY WARE | [5 empty] | 0
1 | Lavatory with p-trap, faucet, pop drain and flexible connection | set | 8 |  |  | 0 |  | by architect
2 | Water closet and flexible connect | set | 8 |  |  | 0 |  | by architect
3 | Rinsing spray/Hand spray | set | 8 |  |  | 0 |  | by architect
4 | Urinal | set | 2 |  |  | 0 |  | by architect
5 | Paper holder,mirror, soap holder, rebar…. | lot | 1 |  |  | 0 |  | by architect
VI. Other Costs
1 | As Build Drawing | lps | 1
2 | Site Cleaning | lps |  |  |  | 0 |  | Included
| TOTAL |  |  |  |  | 0

## 2. EXTERNAL WORK
DATE: 21 FEB, 2020
[6 empty] | BILL No. | 2. External work
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE |  | AMOUNT (USD) | REMARK
|  |  |  | LABOUR | MATERIAL
LS1 | LANDSCAPE SLAB WORK | [5 empty] | PHASE II
LS1.1 | To supply and install concrete curb for garden and any and other fixation to complete the works. | m | 87 |  |  | 0 | PHASE II
LS1.2 | To supply and install concrete bumpstop for parking lot and other fixation to complete the works. | m | 12 |  |  | 0 | PHASE II
LS1.3 | To supply and install concrete ramp way 5.7m long and 0.35m hight and other fixation to complete the works. Connect to existing ground slab wit DB10 @ 200cts using Sikadur32. Grooveline non-slip pattern to detail | lot | 1 |  |  | 0 | PHASE II
LS1.4 | To supply and paint line for parking lot and other fixation to complete the works | m | 80 |  |  | 0 | PHASE II
| TOTAL |  |  |  |  | 0

## 3. Demolition work
DATE: 21 FEB, 2020
[6 empty] | BILL No. | 3. Demolition work
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE |  | AMOUNT (USD) | REMARK
|  |  |  | LABOUR | MATERIAL
| DEMOLITION WORK | LS | 1
FLOOR REMOVAL
WALL REMOVAL
ROOF REMOVAL
CONSTRUCTION WASTE REMOVAL
WASTE TRANSPORT OUT OF THE SITE
*** Items such as window frame, wood frame, rebar(column,slab) roof tile to be returned to demolition team.
| TOTAL |  |  |  |  | 0

## 4. As built drawing
DATE: 21 FEB, 2020
[6 empty] | BILL No. | 4. As built drawing
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE |  | AMOUNT (USD) | REMARK
|  |  |  | LABOUR | MATERIAL
| AS-BUILT DRAWING | LS | 1
Architecture
MEP
| TOTAL |  |  |  |  | 0