## Annex 1
Financial Segment of Medical equipment and materials required for WCO/SYR
All awarded supplier should be registedred company in MOH Syria or should have a local agent that is registered in MOH Syria to conduct neccessery after sales services.
All equipment should have CE quality certification or FDA and should be duly registered in MOH Syria.
All offered items should be warrantied and the supplier should guaranty, installation and training operators and after sale service, if additional cost is neccessery, the prospective supplier should clearly indicate the sam in his offer with offer validity at least 12 months
All prices should include installation, training and operational fee at the final location.
| End User name | MOH, Doummar Hospital and Pediatric Hospital & Others
| End User Location (Governorate) | Different Governorates
| Items needed by | at the soonest
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Total Quantity | UP | Estimated Total Price
Diagnostics Imaging Equipment
1.1 | CT SCAN (16 Slices at least). | as per enclosed annex# 1 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
1.2 | Digital Radiographic/Fluoroscopic X-Ray General purpose Unit with dry laser printer | as per enclosed annex# 1 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
1.3 | Digital Radiographic X-Ray Unit with Floating Table | as per enclosed annex# 1 | Different Locations | Each | 1 | 1 |  | 2 |  | 0
1.4 | C-arm X-Ray Unit – (for operation theater) | as per enclosed annex# 1 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
1.5 | Digital Radiographic X-Ray Unit , Mobile | as per enclosed annex# 1 | Different Locations | Each | 1 | 1 | 1 | 3 |  | 0
1.6 | Multi-purpose color Doppler Ultrasonic equipment | as per enclosed annex# 1 | Different Locations | Each | 1 | 1 | 13 | 15 |  | 0
1.7 | Cardiac color Doppler Ultrasonic equipment | as per enclosed annex# 1 | Different Locations | Each | 1 | 1 |  | 2 |  | 0
1.8 | X-Ray protection materials (clothes& neck) | as per enclosed annex# 1 | Different Locations | Each | 6 | 2 |  | 8 |  | 0
|  | Total Diagnostics Imaging Equipment | [7 empty] | 0
ICU Equipment
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
2.1 | Ventilator Adult/Pediatric | as per enclosed annex# 2 | Different Locations | Each | 8 | 10 | 30 | 48 |  | 0
2.2 | Ventilator Neonatal/infant | as per enclosed annex# 2 | Pediatric Hospital/Aleppo | Each | 20 |  |  | 20 |  | 0
2.3 | Ventilator Portable | as per enclosed annex# 2 | Dummar hospital | Each |  | 2 |  | 2 |  | 0
2.4 | AMBU, adult/child | as per enclosed annex# 2 | Different Locations | Each | 3 | 4 | 180 | 187 |  | 0
2.5 | AMBU child/neonate | as per enclosed annex# 2 | Different Locations | Each |  |  | 50 | 50 |  | 0
2.6 | Defibrillator with Monitor | as per enclosed annex# 2 | Different Locations | Each | 3 | 2 | 31 | 36 |  | 0
2.7 | Electrocardiograph Multi-channels | as per enclosed annex# 2 | Different Locations | Each | 6 | 2 | 30 | 38 |  | 0
2.8 | Physiologic Patient monitor, with accessories | as per enclosed annex# 2 | Different Locations | Each | 12 | 1 | 30 | 43 |  | 0
2.9 | Center station with 7 monitors | as per enclosed annex# 2 | Pediatric Hospital/Aleppo | Each | 1 | 2 |  | 3 |  | 0
2.1 | ICU bed | as per enclosed annex# 2 | Different Locations | Each | 8 | 12 | 60 | 80 |  | 0
2.11 | Resuscitation Trolley | as per enclosed annex# 2 | Different Locations | Each | 3 | 2 |  | 5 |  | 0
2.12 | Syringe pump | as per enclosed annex# 2 | Different Locations | Each | 30 | 10 |  | 40 |  | 0
2.13 | Infusion pump | as per enclosed annex# 2 | Different Locations | Each | 6 | 10 | 75 | 91 |  | 0
2.14 | Pulse Oximeter | as per enclosed annex# 2 | Pediatric Hospital/Aleppo | Each | 5 |  |  | 5 |  | 0
2.15 | Cough Assist | as per enclosed annex# 2 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
2.16 | Bubbles CPAP | as per enclosed annex# 2 | Pediatric Hospital/Aleppo | Each | 15 |  |  | 15 |  | 0
2.17 | Spirometer Unit | as per enclosed annex# 2 | Different Locations | Each | 2 | 2 |  | 4 |  | 0
2.18 | Suction unit install on medical gas | as per enclosed annex# 2 | Dummar hospital | Each |  | 12 |  | 12 |  | 0
2.19 | Suction pump, manual | as per enclosed annex# 2 | Different Locations | Each |  |  | 60 | 60 |  | 0
|  | Total ICU Equipment | [7 empty] | 0
Operating Theatre Equipment
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
3.1 | Anesthesia equipment | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 3 |  |  | 3 |  | 0
3.2 | Electrosurgical (cutary) device | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 2 |  |  | 2 |  | 0
3.3 | Surgical Light (With Satellite) | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 3 |  |  | 3 |  | 0
3.4 | Surgical Light (Mobile) | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
3.5 | Surgical Suction ,Aspirators device | as per enclosed annex# 3 | Different Locations | Each | 3 | 3 | 60 | 66 |  | 0
3.6 | Electrical, General Operating Table | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 2 |  |  | 2 |  | 0
3.7 | Orthopedic Operating Table | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
3.8 | Electro surgical unit with Vessel Sealing | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
3.9 | Nursing Instrument Table | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 6 |  |  | 6 |  | 0
3.1 | Large bone Drill surgery | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
3.11 | Small bone surgery (Drill&saw) | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
3.12 | Ortho saw | as per enclosed annex# 3 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
|  | Total Operating Theater Equipment | [7 empty] | 0
Endoscopy Equipment
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
4.1 | Urologicscopy surgery ,set | as per enclosed annex# 4 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
4.2 | General Endoscope surgery ,set (Laparoscopy) | as per enclosed annex# 4 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
4.3 | G.I.T Endoscopy Unit | as per enclosed annex# 4 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
4.4 | Bronchoscope ,Rigid, (adult, pediatric),operating | as per enclosed annex# 4 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
4.5 | Bronchoscopes , Flexible,video | as per enclosed annex# 4 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
4.6 | Laryngoscope, flexible , pediatric | as per enclosed annex# 4 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
4.7 | Laryngoscope, FO, diameter blades | as per enclosed annex# 4 | Different Locations | Each |  | 3 | 5 | 8 |  | 0
|  | Total Endoscopy Equipment | [7 empty] | 0
Pediatric ward equipment
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
5.1 | Incubators , Infant , Intensive Care | as per enclosed annex# 5 | Pediatric Hospital/Aleppo | Each | 8 |  |  | 8 |  | 0
5.2 | Infant incubator | as per enclosed annex# 5 | Pediatric Hospital/Aleppo | Each | 30 |  |  | 30 |  | 0
5.3 | Transport incubator | as per enclosed annex# 5 | Pediatric Hospital/Aleppo | Each | 2 |  |  | 2 |  | 0
5.4 | Neonatal / infant Warmer unit (resuscitator) | as per enclosed annex# 5 | Pediatric Hospital/Aleppo | Each | 5 |  |  | 5 |  | 0
5.5 | Neonatal Phototherapy device | as per enclosed annex# 5 | Pediatric Hospital/Aleppo | Each | 20 |  |  | 20 |  | 0
5.6 | Reusable manual emergency-resuscitator (Ambo) | as per enclosed annex# 5 | Pediatric Hospital/Aleppo | Each | 4 |  |  | 4 |  | 0
5.7 | Laryngoscope, FO, neonate blades | as per enclosed annex# 5 | Different Locations | Each | 2 |  | 5 | 7 |  | 0
|  | Total Pediatric ward equipment | [7 empty] | 0
Laboratory Equipment
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
6.1 | Water Bath | as per enclosed annex# 6 | Different Locations | Each | 2 | 1 |  | 3 |  | 0
6.2 | Table Top Centrifuge | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 5 | 2 |  | 7 |  | 0
6.3 | Microhematocrit Centrifuge | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 | 1 |  | 3 |  | 0
6.4 | Electronic Balance | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
6.5 | Laboratory Shaker | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 | 1 |  | 3 |  | 0
6.6 | Clinical Chemistry Analyser (spectrophotometer/ photometer) | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 | 1 | 7 | 10 |  | 0
6.7 | Water Distilling Unit (around 4 l/h) | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 | 1 |  | 2 |  | 0
6.8 | Blood Bank Refrigerator -200 bags | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
6.9 | Laboratory Refrigerator | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 4 | 1 |  | 5 |  | 0
6.1 | Bacteria Incubator | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 | 1 |  | 3 |  | 0
6.11 | Binocular Microscope | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 3 | 2 |  | 5 |  | 0
6.12 | Bloods Tubes Shaker | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 | 1 |  | 3 |  | 0
6.13 | Hot Plate / Magnetic Stirrer | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
6.14 | Micropipette different sizes | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 70 | 10 |  | 80 |  | 0
6.15 | Bilirubin meter capillary tube | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 |  |  | 2 |  | 0
6.16 | Pt,Ptt device | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 | 1 |  | 2 |  | 0
6.17 | Automated Hematology Analyzer -3 diff | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 | 1 |  | 3 |  | 0
6.18 | Automated Hematology Analyzer -5 diff | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 |  |  | 2 |  | 0
6.19 | Automated Biochemistry analyzer- 300 test /hour | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
6.2 | Blood Gas and Electrolyte Analyzer | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 | 1 |  | 3 |  | 0
6.21 | Electrolyte Analyzer | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 2 | 1 |  | 3 |  | 0
6.22 | Immunoassay analyzer | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
6.23 | Automated Blood Culture | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
6.24 | Sedimentation rate device | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 | 1 |  | 2 |  | 0
6.25 | Steam sterilizer 60 L (laboratory) | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
6.26 | Platelet shaker | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
6.27 | Timers | as per enclosed annex# 6 | Pediatric Hospital/Aleppo | Each | 5 | 3 |  | 8 |  | 0
6.28 | Differential Blood Cell Counter | as per enclosed annex# 6 | Dummar hospital | Each |  | 1 |  | 1 |  | 0
|  | Total Laboratory Equipment | [7 empty] | 0
Hemodialysis department
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
7.1 | Hemodialysis machine | as per enclosed annex# 7 | Pediatric Hospital/Aleppo | Each | 6 |  |  | 6 |  | 0
7.2 | Water treatment for Hemodialysis machines | as per enclosed annex# 7 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
|  | Total Hemodialysis department | [7 empty] | 0
Sterilization Equipment
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
8.1 | Sterilization Equipment around 2 STU | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 2 |  |  | 2 |  | 0
8.2 | Sterilization Equipment Class B table top (19L) | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 2 | 1 | 4 | 7 |  | 0
8.3 | Disinfection Washing Machine | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 2 |  |  | 2 |  | 0
8.4 | Ultrasonic cleaning systems | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
8.5 | Cleaning Gun | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
8.6 | Disinfection Spray Gun unit | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
8.7 | Sealing Machine | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
8.8 | Sterilization Container (big Size) | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 2 |  |  | 2 |  | 0
8.9 | Sterilization Container (medium Size) | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 2 |  |  | 2 |  | 0
8.1 | Sterilization Container (small Size) | as per enclosed annex# 8 | Pediatric Hospital/Aleppo | Each | 6 |  |  | 6 |  | 0
8.11 | Sterilizer class C 60 L for medical waste | as per enclosed annex# 8 | Dummar hospital | Each |  | 1 |  | 1 |  | 0
8.12 | Steam Sterilizer capacity 90 L | as per enclosed annex# 8 | Different Locations | Each |  | 1 | 4 | 5 |  | 0
|  | Total Sterilization Equipment | [7 empty] | 0
Oxygen Generator.
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
9.1 | Oxygen generator 20m3/h | as per enclosed annex# 9 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
9.2 | Oxygen generator 25 m3/h | as per enclosed annex# 9 | Different Locations | Each |  |  | 3 | 3 |  | 0
9.3 | Oxygen Cylinder 40L | as per enclosed annex# 9 | Different Locations | Each |  |  | 200 | 200 |  | 0
9.4 | Oxygen Pressure Regulator with flow meter | as per enclosed annex# 9 | Different Locations | Each |  |  | 100 | 100 |  | 0
|  | Total Oxygen Generator | [7 empty] | 0
Exercise therapy and functional training equipment
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
10.1 | Chock wave therapy unit | as per enclosed annex# 10 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
10.2 | Infrared therapy Unit | as per enclosed annex# 10 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
10.3 | Ultrasound Therapy unit | as per enclosed annex# 10 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
10.4 | Electrical stimulation unit | as per enclosed annex# 10 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
10.5 | Active and Passive Motion (Four Limbs Active /Passive) | as per enclosed annex# 10 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
|  | Total Exercise therapy and functional training equipment | [7 empty] | 0
Medical Furniture & ENT &Miscellaneous equipment
# | Item Description | Item Specification | End User | Unit Of Measure (UOM) | Pediatric Hospital/Aleppo | Dummar hospital | MOH | Quantity | Estimated Unit Price | Estimated Total Price
11.1 | Hospital/Patient Bed, Orthopedic, Electric | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 4 |  |  | 4 |  | 0
11.2 | Hospital/Patient Bed, children Type# 1 | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 26 |  |  | 26 |  | 0
11.3 | Hospital/Patient Bed, children Type# 2 | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 30 |  |  | 30 |  | 0
11.4 | Hospital/Patient Bed, Adult | as per enclosed annex# 11 | Different Locations |  |  |  | 50 | 50
11.5 | Bed , Baby (cradle) | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 10 |  |  | 10 |  | 0
11.6 | Patients trolley | as per enclosed annex# 11 | Different Locations | Each | 5 | 2 |  | 7 |  | 0
11.7 | Trolley, children | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 5 |  |  | 5 |  | 0
11.8 | dressing table | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 11 |  |  | 11 |  | 0
11.9 | Medicine trolley | as per enclosed annex# 11 | Different Locations | Each | 4 | 2 |  | 6 |  | 0
11.1 | Wheel chair Pediatric | as per enclosed annex# 11 | Different Locations | Each | 4 |  |  | 4 |  | 0
11.11 | Wheel chair Adult | as per enclosed annex# 11 | Dummar hospital |  |  | 2 |  | 2
11.12 | Hemodailysis chair | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 6 |  |  | 6 |  | 0
11.13 | Infusion stand | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 20 |  |  | 20 |  | 0
11.14 | Examination Bed/table/couch with double foot steps | as per enclosed annex# 11 | Different Locations | Each | 8 | 2 |  | 10 |  | 0
11.15 | Mobile examination light | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 4 |  |  | 4 |  | 0
11.16 | Bed separation screen | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 20 |  |  | 20 |  | 0
11.17 | Blood Drawing Chair | as per enclosed annex# 11 | Different Locations | Each | 3 | 2 |  | 5 |  | 0
11.18 | vein detector | as per enclosed annex# 11 | Different Locations | Each | 4 | 2 |  | 6 |  | 0
11.19 | Examination- treatment , E.N.T unit | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
11.2 | OTOACOUSTIC EMISSIONS UNIT portable, battery powdered | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
11.21 | Tympanometry and Audiometer (one machine) | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
11.22 | Electromyography Unit | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
11.23 | EEG Monitors; Electroencephalographs | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
11.24 | Morgue refrigeration unit (with body tray) | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
11.25 | Hydraulic Body Trolley for Morgue | as per enclosed annex# 11 | Pediatric Hospital/Aleppo | Each | 1 |  |  | 1 |  | 0
11.26 | Bed separation baravan | as per enclosed annex# 11 | Dummar hospital | Each |  | 10 |  | 10 |  | 0
11.27 | Pulse oximeter - fingertip | as per enclosed annex# 11 | Different Locations | Each |  |  | 1000 | 1000 |  | 0
11.28 | Concentrator O2, 10 L, with accessories | na | Different Locations | Each |  |  | 40 | 40 |  | 0
11.29 | Ventilator Patient Circuit Single Use For Adult | na | Different Locations | Each |  |  | 1000 | 1000 |  | 0
11.3 | Ventilator Patient Circuit Single Use For Children | na | Different Locations | Each |  |  | 1000 | 1000 |  | 0
11.31 | Peripheral Venous Catheter | as per enclosed annex# 11 | Different Locations | Each |  |  | 1000 | 1000 |  | 0
11.32 | Nebulizer Device | na | Different Locations | Each |  |  | 40 | 40 |  | 0
11.33 | Serum Set | na | Different Locations | Each |  |  | 7000 | 7000 |  | 0
11.34 | Endotracheal Tube | na | Different Locations | Each |  |  | 7000 | 7000 |  | 0
|  | Total Medical Furniture & ENT &Miscellaneous equipment | [7 empty] | 0
|  | Grand Total | [7 empty] | 0