## COVER
United Nations Office for Project Services
BILLS OF QUANTITIES
Office Renovation of the Regional Director for Asia Regional Director and Thailand Operational Hub Office
2020-11-01

## Grand Summary
Office Renovation of the Regional Director for Asia Regional Director and Thailand Operational Hub Office
GRAND SUMMARY
BILL # | DESCRIPTION | TOTAL AMOUNT (THB)
Section I
Section III
Section III
ELECTRICAL WORK
PLUMBLING WORK
SPRINKLER & SMOKE DETECTOR WORK
RELOCATION WORK
ADDITIONAL EQUIPMENT
REINSTATEMWNT WORK
FLOORING
WINDOW/DOOR
NEW PLANTS HANKING, BOX WITH TREES
OTHERS
Grand total | TENDER PRICE |  | 0

## Section I
BILLS OF QUANTITIES
ITEM NO. | ITEM | DIMENSION | DESCRIPTION | QTY | UNIT | RATE (THB) | TOTAL AMOUNT (THB)
Section 1
Director 1
| Wall-gypsum 1 | W1.58xH2.61 m. | Gypsum + Wood Acoustic Insulation : Cylence Zounblock S050 Wall 1 : Double layers fiber cement board 15 mm. Wall 2 : Double layers fiber cement board 15 mm. STUD : Galvanized frame C74, U76 Reference : SCG SmartBoard or equivalent | 4.1238 | Sq.m.
| Wall-glass 1 | W3.18xH2.61 m. | Laminated tempered glass 6+6 mm. | 8.2998 | Sq.m.
| Wall-glass 2 | W3.82xH2.61 m. | Laminated tempered glass 6+6 mm. | 9.9702 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m. |  |  | Notes
| Work desk & Chair | - | - | - | - |  |  | Items in black block does not need to be priced
| Armchair set | - | - | - | -
| Living desk/table | W1.2 x H0.75 M. | Round table - White | 1 | Table
| Living chair |  |  | 4 | Chair
Working Area
| Movable Partition 1 | W2.5XH1.2 m. | Thickness: 2.5 cm, PET plastic + fabric Reference : BEKANT IKEA or equivalent | 1 | Set
| Movable Partition 2 | W2.5XH1.2 m. | Thickness: 2.5 cm, PET plastic + fabric Reference : BEKANT IKEA or equivalent | 1 | Set
| Cabinets + plants box | W1.45 x D0.45 x H1 M. | Particleboard & laminate surface "Formica" | 5 | Set
| Partition desk | W1.5 x H0.5 M. | Mini screen, Thickness: 2.5 cm, PET plastic. | 6 | Set
| Work desk & Chair |  |  | 13 | Set
Living Area
| Bar table (High table) | W0.7 x L1.2 x H1.05 M. | Oak wood | 1 | Set
| Bar stool (Chair) | Width: 40 cm Depth: 46 cm Height: 102 cm Seat width: 39 cm Seat depth: 35 cm Seat height: 75 cm | Oak wood | 4 | Set
| Living table | W1.2 x H0.45 M. | Oak wood | 1 | Table
| Living chair | Width: 60 cm Depth: 72 cm Height: 88 cm Seat width: 57 cm Seat depth: 46 cm Seat height: 44 cm | 100% polyester & leg, Solid birch, | 4 | Chairs
Phone booth (2 rooms)
| Wall-glass 35 | W1.37xH2.61 m. | Laminated tempered glass 6+6 mm. | 3.5757 | Sq.m.
| Wall-gypsum 6 | W1.37xH2.61 m. | Gypsum + Wood Acoustic Insulation : Cylence Zounblock S050 Wall 1 : Double layers fiber cement board 15 mm. Wall 2 : Double layers fiber cement board 15 mm. STUD : Galvanized frame C74, U76 Reference : SCG SmartBoard or equivalent | 3.5757 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.
| Bar table (High table) | W0.45xL0.8xH1.05 M. | Oak wood | 1 | Set
| Bar stool (Chair) | Seat diameter: 39 cm Width: 66 cm Height: 80 cm Seat width: 39 cm Seat depth: 39 cm Min. seat height: 66 cm Max. seat height: 80 cm | Seat:Moulded eucalyptus plywood Cover, underside:Non-woven polypropylene Mechanism/ Gas cylinder/ Foot ring/ Star base leg:Steel, Epoxy powder coating Leg connector:Reinforced polyamide plastic Feet:Synthetic rubber Basematerial:Through dyed grain leather from cattle, with a treated, embossed and pigmented surface. | 1 | Set

## Section II
BILLS OF QUANTITIES
ITEM NO. | ITEM | DIMENSION | DESCRIPTION | QTY | UNIT | RATE (THB) | TOTAL AMOUNT (THB)
SECTION 2
Director
| Wall-glass 11 | W5.15xH2.61 m. | Laminated tempered glass 6+6 mm. | 13.4415 | Sq.m. |  |  | Notes
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m. |  |  | Items in black block does not need to be priced
Work desk & Chair
Sofa
Manager 1
| Wall-glass 9 | W1.44xH2.61 m. | Laminated tempered glass 6+6 mm. | 3.7584 | Sq.m.
| Wall-glass 10 | W3.1xH2.61 m. | Laminated tempered glass 6+6 mm. | 8.091 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.
Work desk & Chair
Manager 2
| Wall-glass 12 | W3.1xH2.61 m. | Laminated tempered glass 6+6 mm. | 8.091 | Sq.m.
| Wall-glass 13 | W1.8xH2.61 m. | Laminated tempered glass 6+6 mm. | 4.698 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.
Work desk & Chair
Manager 3
| Wall-glass 15 | W2.81xH2.61 m. | Laminated tempered glass 6+6 mm. | 7.3341 | Sq.m.
| Wall-glass 17 | W1.12xH2.61 m. | Laminated tempered glass 6+6 mm. | 2.9232 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting | 2.349 | Sq.m.
Work desk & Chair
Manager 4
| Wall-glass 16 | W2.62xH2.61 m. | Laminated tempered glass 6+6 mm. | 6.8382 | Sq.m.
| Wall-glass 18 | W1.12xH2.61 m. | Laminated tempered glass 6+6 mm. | 2.9232 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting | 2.349 | Sq.m.
Work desk & Chair
Manager 5
| Wall-glass 19 | W1.84xH2.61 m. | Laminated tempered glass 6+6 mm. | 4.8024 | Sq.m.
| Wall-glass 20 | W1.3xH2.61 m. | Laminated tempered glass 6+6 mm. | 3.393 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting | 2.349 | Sq.m.
Work desk & Chair
Working area
| Cabinets + plants box | W1.45 x D0.45 x H1 M. | Particleboard & laminate surface "Formica" custom made | 2 | Set
| Partition desk | L1.5 x H 0.5 M. | Mini screen, Thickness: 2.5 cm, PET plastic. custom made | 4 | Set
| Partition desk | L0.7xH0.5 M. | Mini screen, Thickness: 2.5 cm, PET plastic. custom made | 6 | Set
SECTION 3
Director
| Wall-glass 31 | W6.72xH2.61 m. | Laminated tempered glass 6+6 mm. | 17.5392 | Sq.m.
| Wall-glass 29 | W3.4xH2.61 m. | Laminated tempered glass 6+6 mm. | 8.874 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.
Work desk & Chair
| Round table | Height: 75 cm Diameter: 85 cm | White round table | 1 | Table
| Chair | Width: 46 cm Depth: 51 cm Height: 81 cm Seat width: 39 cm Seat depth: 42 cm Seat height: 45 cm | Office chair | 4 | chairs
Manager
| Wall-glass 28 | W4.9xH2.61 m. | Laminated tempered glass | 12.789 | Sq.m.
| Wall-glass 30 | W1.58x2.61 m. | Laminated tempered glass | 4.1238 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting | 2.349 | Sq.m.
Work desk & Chair
Working area
| Cabinets + plants box | W1.45 x D0.45 x H1 M. | Particleboard & laminate surface "Formica" | 5 | Set
| Partition desk | L1.5 x H 0.5 M. | Mini screen, Thickness: 2.5 cm, PET plastic. | 8 | Set
| Partition desk | L0.7xH0.5 M. | Mini screen, Thickness: 2.5 cm, PET plastic. | 9 | Set
Living room
| Movable Partition 3 | W2.6xH1.2 m. | Stand partitions, Tickness:2.5 cm, PET plastic Reference : BEKANT IKEA or equivalent | 1 | Set
| Movable Partition 4 | W2.6xH1.2 m. | Stand partitions, Tickness:2.5 cm, PET plasticReference : BEKANT IKEA or equivalent | 1 | Set
| 1 Stool bar & 3 Stool Chairs |  | Wood | 1 | Set
1 Round table & 4 Armchairs - New

## Section III
BILLS OF QUANTITIES
ITEM NO. | ITEM | DIMENSION | DESCRIPTION | QTY | UNIT | RATE (THB) | TOTAL AMOUNT (THB)
SECTION 3
Director
| Wall-glass 31 | W6.72xH2.61 m. | Laminated tempered glass 6+6 mm. | 17.5392 | Sq.m.
| Wall-glass 29 | W3.4xH2.61 m. | Laminated tempered glass 6+6 mm. | 8.874 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.
| Work desk & Chair | [6 empty] | Notes
| Round table | Height: 75 cm Diameter: 85 cm | White round table | 1 | Table |  |  | Items in black block does not need to be priced
| Chair | Width: 46 cm Depth: 51 cm Height: 81 cm Seat width: 39 cm Seat depth: 42 cm Seat height: 45 cm | Office chair | 4 | chairs
Manager
| Wall-glass 28 | W4.9xH2.61 m. | Laminated tempered glass 6+6 mm. | 12.789 | Sq.m.
| Wall-glass 30 | W1.58x2.61 m. | Laminated tempered glass 6+6 mm. | 4.1238 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.
Work desk & Chair
Working area
| Cabinets + plants box | W1.45 x D0.45 x H1 M. | Particleboard & laminate surface "Formica" custom made | 5 | Set
| Partition desk | L1.5 x H 0.5 M. | Mini screen, Thickness: 2.5 cm, PET plastic. custom made | 8 | Set
| Partition desk | L0.7xH0.5 M. | Mini screen, Thickness: 2.5 cm, PET plastic. custom made | 9 | Set
Living room
| Movable Partition 3 | W2.6xH1.2 m. | Stand partitions, Tickness:2.5 cm, PET plastic Reference : BEKANT IKEA or equivalent | 1 | Set
| Movable Partition 4 | W2.6xH1.2 m. | Stand partitions, Tickness:2.5 cm, PET plastic Reference : BEKANT IKEA or equivalent | 1 | Set
| 1 Stool bar & 3 Stool Chairs |  | Wood | 1 | Set
1 Round table & 4 Armchairs - New
Meeting room 1
| Wall-glass 31 | W6.72xH2.61 m. | Laminated tempered glass Double 6+6 mm. | 17.5392 | Sq.m.
| Wall-gypsum 5 | W4.55xH2.61 m. | Gypsum + Wood Acoustic Insulation : Cylence Zounblock S050 Wall 1 : Double layers fiber cement board 15 mm. Wall 2 : Double layers fiber cement board 15 mm. STUD : Galvanized frame C74, U76 Reference : SCG SmartBoard or equivalent | 11.745 | Sq.m.
| Wall-Building | W6.72xH2.61 m. | Double Teak wood+White | 17.5392 | Sq.m.
| Meeting table | W1xL2.4xH0.75 m. | Oak wood custom made | 1 | table
| Meeting chair | - | Working desk/same current furniture | 20 | chairs
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.
| Ceiling | W4.35x L7.87M. | Plaster smooth / SCG gypsum board standard plus Tapered Edge 9 mm | 34.23 | Sq.m.
| Whiteboard | W4.0xH1.2 m. | Glasskote-white 6 mm. | 4.8 | Sq.m.
Meeting room 2
| Wall-gypsum 2 | W6.27x2.61 m. | Gypsum + Wood Acoustic Insulation : Cylence Zounblock S050 Wall 1 : Double layers fiber cement board 15 mm. Wall 2 : Double layers fiber cement board 15 mm. STUD : Galvanized frame C74, U76 Reference : SCG SmartBoard or equivalent | 16.3647 | Sq.m.
| Wall-glass 6 | W1.78x2.61 m. | Laminated glass Double 6+6 mm. | 4.6458 | Sq.m.
| Wall-glass 5 | W1.10x2.61 m. | Laminated glass Double 6+6 mm. | 2.871 | Sq.m.
| Wall-glass 4 | W3.92x2.61 m. | Laminated glass Double 6+6 mm. | 10.2312 | Sq.m.
| Wall-glass 3 | W0.60x2.61 m. | Laminated glass Double 6+6 mm. | 1.566 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting Double 6+6 mm. | 2.349 | Sq.m.
| Ceiling | W3.8XL6.18M. | Plaster smooth / SCG gypsum board standard plus Tapered Edge 9 mm | 23.48 | Sq.m.
| Whiteboard | W4.0xH1.2 m. | Glasskote-white | 4.8 | Sq.m.
Meeting room table & chair
Meeting room 3
| Wall-glass 27 | W1.93xH2.61 m. | Laminated glass Double 6+6 mm. | 8.06 | Sq.m.
| Wall-glass 26 | W3.2xH2.61 m. | Laminated glass Double 6+6 mm. | 7.8 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting Double 6+6 mm. | 2.349 | Sq.m.
| Whiteboard | W2.0xH1.2 m. | Glasskote-white 6 mm. | 2.4 | Sq.m.
| Meeting table | W1.2 x H0.75 M. | Round table - White | 1 | table
| Meeting chair | Width: 45 cm Depth: 51 cm Height: 81 cm Seat width: 45 cm Seat depth: 41 cm Seat height: 43 cm | Wooking chair | 4 | chairs
Meeting room area
| Meeting table | W1.2 x H0.75 M. | Round table - White | 1 | table
| Meeting chair | Width: 45 cm Depth: 51 cm Height: 81 cm Seat width: 45 cm Seat depth: 41 cm Seat height: 43 cm | Wooking chair | 4 | chairs
PANTRY / KITCHEN
| Wall-gypsum 2 | W6.27xH2.61 m. | Gypsum + Wood Acoustic Insulation : Cylence Zounblock S050 Wall 1 : Double layers fiber cement board 15 mm. Wall 2 : Double layers fiber cement board 15 mm. STUD : Galvanized frame C74, U76 SCG SmartBoard or equivalent | 16.3647 | Sq.m.
| Wall-glass 7 | W2.6xH2.61 m. | Laminated glass 6+6 mm. | 6.786 | Sq.m.
| Wall-glass 8 | W5.15xH2.61 m. | Laminated glass 6+6 mm. | 13.4415 | Sq.m.
| Base-cabinet | W2.6xD0.60xH0.8 m. | Door high-gloss white+2 bowls | 1 | Set
| Hanging-cabinets | W4xD0.60xH1m. | Door high-gloss dark blue | 1 | Set
| Bar table (High table) | W1.8xD0.8xH1.05 m. | Oak wood reference : METOD or equivalent | 1 | Table
| Bar stool (Chair) | Seat diameter: 39 cm Width: 66 cm Height: 80 cm Seat width: 39 cm Seat depth: 39 cm Min. seat height: 66 cm Max. seat height: 80 cm | Seat:Moulded eucalyptus plywood Cover, underside:Non-woven polypropylene Mechanism/ Gas cylinder/ Foot ring/ Star base leg:Steel, Epoxy powder coating Leg connector:Reinforced polyamide plastic Feet:Synthetic rubber Basematerial:Through dyed grain leather from cattle, with a treated, embossed and pigmented surface. Reference: METOD or equivalent | 3 | Chairs
| New sink | 2 bowls, stainless steel75x46 cm | Stainless steel color, Reference: Hafele or equivalent | 1 | Set
| New kitchen tap | - | Stainless steel color, Reference: Hafele or equivalent | 1 | Set
| Round table | W1xD0.75 cm. | Oak wood | 2 | Table
| Chair | Width: 64 cm Depth: 75 cm Height: 75 cm Seat width: 59 cm Seat depth: 46 cm Seat height: 40 cm | Oak wood + 100% polyester | 6 | Chair
RECEPTION AREA
| Cabinets + plants box | W1.45 x D0.45 x H1 m. | Particleboard & laminate surface "Formica" | 1 | Set
| Counter reception | W1.8xD0.70xH0.75 m. | Particleboard & laminate surface "Formica" | 1 | Set
| Ceiling | W3.02xL6.57 M. | Plaster smooth / SCG gypsum board standard plus Tapered Edge 9 mm | 19.84 | Sq.m.
| Counter chair | -
HR ROOM
| Wall-glass 25 | W3.2xH2.61 m. | Laminated tempered glass 6+6 mm. | 8.352 | Sq.m.
| Wall-glass 23 | W2.53xH2.61 m. | Laminated tempered glass 6+6 mm. | 6.6033 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.
IT ROOM
| Wall-glass 24 | W3.2xH2.61 m. | Laminated tempered glass 6+6 mm. | 8.352 | Sq.m.
| Wall-gypsum 4 | W3.2xH2.61 m. | Gypsum + Wood Acoustic Insulation : Cylence Zounblock S050 Wall 1 : Double layers fiber cement board 15 mm. Wall 2 : Double layers fiber cement board 15 mm. STUD : Galvanized frame C74, U76 Reference : SCG SmartBoard or equivalent | 8.352 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.
STORE ROOM
| Wall-gypsum 3 | W3.2xH2.61 m. | Gypsum + Wood Acoustic Insulation : Cylence Zounblock S050 Wall 1 : Double layers fiber cement board 15 mm. Wall 2 : Double layers fiber cement board 15 mm. STUD : Galvanized frame C74, U76 Reference : SCG SmartBoard or equivalent | 8.352 | Sq.m.
| Door | W0.9xH2.61 m. | Swing glass door with fitting 6+6 mm. | 2.349 | Sq.m.

## Electrical
BILLS OF QUANTITIES
ITEM NO. | ITEM | DIMENSION | DESCRIPTION | QTY | UNIT | RATE (THB) | TOTAL AMOUNT (THB)
ELECTRICAL WORK
| LED panel light 36-40 W |  | Reference : Panasonic WIDE Series or equivalent | 84 | units
| Power socket |  |  | 143 | Units
| Lighting Switch |  | สวิทซ์ทางเดียว สีเทาดำ WEG5001HK Metallic Gray Full-Color Wide Series Reference : Panasonic WIDE Series or equivalent | 25 | Units
| Cover plate 1 slot |  | WEG 6801MH Metallic Gray Full-Color Wide Series Reference : Panasonic WIDE Series or equivalent | 30 | Units
| Cover plate 2 slots |  | WEG 6801MH Metallic Gray Full-Color Wide Series Reference : Panasonic WIDE Series or equivalent | 30 | Units
| Cover plate 3 slots |  | WEG 6803MB Metallic Gray Full-Color Wide Series Reference : Panasonic WIDE Series or equivalent | 60 | Units
| LAN outlet |  | ปลั๊กคอมพิวเตอร์ CAT 6 สีเทา WEG24886H Full-Color Wide Series Reference: Panasonic or equivalent | 60 | Units
| LAN cable |  | Reference : Commscope or LINK CAT6 UTP or equivalent | 1 | LOT
| Plastic Wall box |  | Nano กล่องพลาสติกติดผนังลอย - กล่องลอย Plastic Wall Box 2"×4″ Wide Series 403-1 Reference : Panasonic | 72 | Units
| Main line, Miscellenous and support |  | Referece : Thai Yazaki or equivalent | 1 | LOT
| Circuit Breaker & electricity Load |  | Reference: ABB/Schneider or Panasonic | 1 | Set
| Emergency Light |  | ไฟฉุกเฉิน LED Emergency Light LDR400N ไฟฉุกเฉิน พานาโซนิค ใช้งานง่าน สามารถใช้งานได้ทั่วไป เปิดได้ต่อเนื่อง 10 ชั่วโมง ไฟฉุกเฉิน LED 2x6W สว่าง 400 lumen Reference: Panasonic | 3 | Set

## Plumbing
BILLS OF QUANTITIES
ITEM NO. | ITEM | DIMENSION | DESCRIPTION | QTY | UNIT | RATE (THB) | TOTAL AMOUNT (THB)
PLUMBLING WORK
| Water pipe and plumbing |  | PP-R type (Green) Reference: SCG PP-R type (Green) | 1 | Set
| Grease trap ถังดักไขมัน |  | ถังดักไขมันใต้ซิงค์เกรดพรีเมี่ยมรุ่น WGT-20-30 ลิตร Reference : DOS/Wave Water Solution ถังดักไขมันใต้ซิงค์เกรดพรีเมี่ยมรุ่น WGT-20-30 ลิตร or equivalent | 1 | Set
| Submersible Pump ปั๊มชู้ต |  | -Reference : Mitshubishi or equivalent | 1 | Set
| Miscelleous - connector / solvent cement |  | Reference : SCG or equivalent | 1 | Set
| Water meter |  | Water Meter (Single Jet) Reference: Sanwa or equivalent | 1 | Set

## Sprinkler and Smoke Detector Wo
BILLS OF QUANTITIES
ITEM NO. | ITEM | DIMENSION | DESCRIPTION | QTY | UNIT | RATE (THB) | TOTAL AMOUNT (THB)
SPRINKLER & SMOKE DETECTOR WORK
| Smoke Detector |  | GE 700 Series 711U/13122 As Required by the building standard fitting to match current fire alarm system |  |  | 13 | Units
| Sprinkler |  | GE 281B-PL As Required by the building standard fitting to match current fire alarm system |  |  | 1 | Set
* as standard fit out guideline from landlord

## Relocation, Additional Equipmen
BILLS OF QUANTITIES
ITEM NO. | ITEM | DIMENSION | DESCRIPTION | QTY | UNIT | RATE (THB) | TOTAL AMOUNT (THB)
RELOCATION WORK
| Relocate all office furniture from unit 303 |  |  | 1 | Lumpsump
Relocate all office furniture from unit 1602
Relocate and install Cisco VDO Conf system from unit 1602
Relocate and install Projector and motorized screen from unit 1602
Relocate and install Projector and motorized screen from unit 303
Relocate all kitchen appliances from unit 303
Relocate all kitchen appliances from unit 1602
Relocate access control system from unit 1602
ADDITIONAL EQUIPMENT
| 65 inch LED TV for conf room with wall mount |  | 65 inch LED 4K SmartTV with wall mount | 1 | set
| 55 inch LED TV for reception with wall mount |  | 55 inch LED 4K SmartTV with wall mount | 1 | set
| 4 channels HD Analog CCTV system |  | 3 Mega Pixel bullet cameras with 2TB DVR support network . Reference : Hilook with 1000 VA UPS or equivalent | 1 | set

## Floor, Windows, New Plants
BILLS OF QUANTITIES
ITEM NO. | ITEM | DIMENSION | DESCRIPTION | QTY | UNIT | RATE (THB) | TOTAL AMOUNT (THB)
FLOORING
| Vinyl Tires |  | Luxury Click Vinyl Tiles (SPC-Oak) 5-6 mm. Reference: SCF/China | 537.35 | Sq.m.
WINDOW/DOOR
| Emergency door |  | Current door, Swing door | 1 | Set
| New automatic sliding door |  | Temperred glass 12 mm. The automatic sliding door automatic motorized double sliding tempered glass door. Maximum door panel weight for 1 panel sliding door: 160 kg. Maximum opening and closing force: 150 N Opening and closing speed: 10-70 cm/s Program switch (Push button, Keyless Type) to select the operating mode: Up to 5 different function: Off, Automatic, Exit, Partial Opening, Permanent Opening. | 1 | Set
NEW PLANTS HANGKING, BOX WITH TREES
| Install new plan hangking box with tree |  | Artificial trees Small meeting room/Pantry/Relaxing room Reference : Kiddee design or equivalent | 4 | Set
| Install new plan hangking box with tree |  | Indoor trees for Work area Under cabinet with door (Particleboard & laminate surface "Formica" Reference : Kiddee design or equivalent | 9 | Set
| Install new tree walls |  | Artificial trees Big meeting room/Reception area Reference : Kiddee design or equivalent | 3 | Set
| Roller blind |  | Eco friendly PVC, polyester 3-5% | 1 | LOT
| Blast-proof security film |  | Reference : 3M S600 series or equivalent | 209.583 | Sq.M.

## Others
BILLS OF QUANTITIES
ITEM NO. | ITEM | DIMENSION | DESCRIPTION | QTY | UNIT | RATE (THB) | TOTAL AMOUNT (THB)
OTHERS
| Protection works |  | Building's Standard. Please refere to separate document | 1 | Lot
| Finishing works upon completion of all installations |  | - | 537.35 | Sq.m.
| Remove all protection |  | - | 1 | Lot
| Clean-up and handover |  | - | 1 | Lot
| Emergency System demonstration |  | Emergency door exit, fire evacuation, fire protection
| Apply painted covering |  | Reference:TOA 4 SEASON ACRYLIC A 1000 White or equivalent