Ref No: NBO21- NBO21-014

Date:   25.01.2021

REQUEST FOR QUOTATION

Submit your quote ON or before 11am 27.01.2020 on email

Email address

iomnborfq@iom.int copying jkutumbakana@iom.int

NBO21- NBO21-014

Project Name: Covid 19- Booth KCO office

Dear Sir/ Madam,

Please submit your best quotation for the items listed below

- 1pc Supply and Install Temperature / Sanitization Booth as per below Pictures/Specifications in Nairobi, Kenya. INCLUSIVE INSTALLATION.

TYPE 2: FAST – Y-90S-M MODEL

| Dimensions (L x H x W) | 2600×2300×1500mm | FAST-Y-90S-M: |
| --- | --- | --- |
| Thermometer | NON-CONTACT INFRARED thermal imaging thermometer with integrated DISPLAY SCREEN | All Models |
| Voice Alarm | Will give Alarm to abnormal Temperature – (VOICE ALARM AND RED FLICKERING LIGHT) | All Models |
| Hands Sanitizer | NON-CONTACT | All Models |
| Control Method | Manual/ Automatic | All Models |
| Power Voltage | AC: 220 | All Models |
| Device Power | FAST-Y-90S-M: <1.8 |  |
| METAL DETECTION | security metal detection |  |
| TOTAL WEIGHT (kg) | FAST-Y-90S-M: <500 |  |
| BOOTH ENTRY | NON-CONTACT Automatic Ticket gate – traffic control | FAST-Y-90S-M/L |
| DAILY DATA RECORDS | Daily data records and analysis for all users. | All models |
| Disinfection mode | ULTRA SONIC atomization FOGGING – CHEST AND BELOW. | FAST-Y-90S-M/L |
| Sanitizer and Disinfectant Refill alarm | Automatic Red light alarm for refill on the Booth and on the attached Mobile/PC | FAST-Y-90S-M/L |

MAJOR FEATURES OF FAST-Y-90S

HAND SANITIZER (2LT) CAPACITY

INFRA RED TEMPERATURE DETECTOR

FACIAL RECOGNITION DISPLAY MODULE

CONTROL PANEL

.Light switch

. Fogger switch (ON/OFF) - Manual/Auto

. ON/OFF switch

. Low level sanitize and disinfectant indicator

AUTOMATIC GATE

(TICKET GATE) OPENS ONLY TO NORMAL TEMPERATURES

SOLE DISINFECTING MAT

HIGHLY MOBILE

FACE DETECTION, TEMPERATURE, METAL DETECTION, I.D, PASSPORT SCANNER, DATA COLLECTION AND ALARM FUNCTIONS

This is a Six (6) in one integrated function

1. Temperature measurement is done by the UV function

2. Facial recognition is done while the temperature is being taken and picture stored. This allows TRACING (Facial) of unidentified suspects who were not noticed by unsuspecting booth attendants for ISOLATION.

3. Temperature readings determine whether to    continue with the disinfection by fogging both body and shoe soles- TEMPERATURE NORMAL: GATES OPEN; TEMPERATURE ABNORMAL: GATES into the disinfecting chamber remain CLOSED denying you entry. This facilitates DETECTION and suspect ISOLATION.

4. The Equipment uses a VOICE ALARM with RED indicator on the Screen.

5. DAILY DATA collection is collected and stored for reference and analysis; including possible TRACING.

6. Passport and I.D Scanning equipment

7. Metal Detection for security.

- Please submit your quotation with following requirements.

- All prices to be quoted must be valid at least for thirty (30) calendar days from the date of quotation

- Price per unit (where applicable). Total price in Kenya Shillings (KES)

- Indicate Expiry /WARRANTY if applicable

- IOM is VAT Exempted. Please do not include VAT. Please indicate Exclusive Vat your prices

- Total Price

- Payment Terms-30days After delivery

- Indicate Delivery date from date of receiving LPO.

- IOM reserves the right to accept or reject any quotation, and to cancel the procurement process and reject all quotations at any time prior to award of Purchase Order or Contract, without thereby incurring any liability to the affected Supplier/s or any obligation to inform the affected Supplier/s of the ground for IOM’s action.

Thank you.