Ref No: NBO21- 4200038442

Date:   27.01.2021

REQUEST FOR QUOTATION

SUBMIT YOUR QUOTE ON OR BEFORE 10AM 05.02.2021 –Please drop in tender Box located at IOM LAVINGTON OFFICES , OFF MZIMA SPRINGS ROAD –PLEASE INDICATE ON THE SEALED

ENVELOPE THE TENDER NUMBER NBO21- 4200038442

NBO21- 4200038442

Project Name: MHD

Dear Sir/ Madam,

Please submit your best quotation for the items listed below

| Item No. | Description | Qty | Unit | Unit Price KES | Total price |
| --- | --- | --- | --- | --- | --- |
| 1. | Examination gloves (Non-sterile) Powder free, Small-200 Medium-500, Large-300 . .Box of 100 pcs | 1000 | BOXES |  |  |
| 2 | Surgical masks 3ply, with ear loop and nose piece, Vendor to share soft copies of the following quality documents: Product Test reports, COC, ASTM F2100 certification, ISO certification ISO 10993-1&ISO 10993-10, Sample to be availed for evaluation" BOX OF 50s | 1000 | BOXES |  |  |
| 3 | "Coverall Gowns (Tyvek) Moon suits, Small-100, Medium-700 Large-200 Type 5 EN ISO13982-1 dry particle suit • Type 6 EN 13034 low level spray tight suit • EN14126 barrier to infective agents, EN1073-2 barrier to radioactive particulates, EN1149-5 antistatic" | 1000 | PAIRS |  |  |
| 4 | Alcohol Based hand rub(Hand sanitizers) 70% alcohol content, 500mls with pump, Vendor to share KEBS certification, MSDS PUMP TYPE | 1000 | BOTTLES |  |  |
| 5 | "N-95 masks, 1860, 3M CDC NIOSH, FDA Class II, under 21 CFR 878.4040 Vendor to share soft copies of the following quality documents: Product Test reports, COC,COO,COA Sample to be availed for evaluation" | 1000 | PCS |  |  |
| 6 | Infra-red Thermal guns (Non-contact) with AAA OR AA batteries | 200 | PCS |  |  |
| 7 | Face Shield, Fog free, GB 14866-2006, Sample to be availed for evaluation | 2000 | PCS |  |  |
| 8 | Back pack type-Knapsack sprayer 20Liters | 8 | PCS |  |  |
| 9 | HEAVY DUTY Gumboots (White, Sizes 7, 8, 9, 10) | 1000 | PAIRS |  |  |
| 10 | Disposible Surgical gowns (Small-100, Medium-700 Large-200) | 1000 | PCS |  |  |

Please submit your quotation with following requirements.

- Attach All Documents MSDS , Certifications ,COC,COO and COA with your quotations in order to be considered. Each item should have it own required documentations.

- Deliver Samples for Each item to Mr Nicholas Ngunjiri at IOM gigiri before 4th Feb 2021 11am. Clearly labelled. Attach copy of delivered sample Denote when submitting the quotation in Tender.

- All prices to be quoted must be valid at least for thirty (30) calendar days from the date of quotation

- Price per unit (where applicable). Total price in Kenya Shillings (KES)

- Indicate Expiry /WARRANTY if applicable

- IOM is VAT Exempted. Please do not include VAT. Please indicate Exclusive Vat your prices

- Total Price

- Payment Terms-30days After delivery

- Indicate Delivery date from date of receiving LPO.

- IOM reserves the right to accept or reject any quotation, and to cancel the procurement process and reject all quotations at any time prior to award of Purchase Order or Contract, without thereby incurring any liability to the affected Supplier/s or any obligation to inform the affected Supplier/s of the ground for IOM’s action.

Thank you.