United Nations Population Fund

Block 7 Arundel Office Park

Norfolk Rd Mt. Pleasant, Harare,  Zimbabwe

Fax: (263) 4 338 773

Telephone: (263) 4 338 836-44

Email: muzvondiwa@unfpa.org

Website: www.unfpa.org

06 April, 2011

INTERNATIONAL COMPETITIVE BIDDING

ICB No. UNFPA/ZIM5R12/2011/01

MANUFACTURE AND/OR SUPPLY OF LOOP ELECTROSURGERY EXCISION PROCEDURE (LEEP) MACHINE FOR CERVICAL CANCER TREATMENT

Dear Sir/Madam,

- The United Nations Population Fund (UNFPA), an international development agency, invites sealed bids for the supply of Loop Electrosurgery Excision Procedure machines for its programme in Zimbabwe. The specific products solicited are listed in Annex III: Items and Quantities.

- The technical bid (according to Annex II, Annex III and Annex VI) containing the technical product specifications and the financial bid (according to Annex VII) containing price information shall be submitted separately.

- The bidder shall be required to quote for all items.

- To enable you to submit a bid, please read the following attached documents carefully:

- Instructions to bidders….…………………………………….…………….......…….Annex I

- Terms of Reference (TOR)………………………………………………...…...….....Annex II

- Technical Product Specifications………………………………………………….....Annex III

- UNFPA General Terms and Conditions…………………………….. ………………Annex IV

- Bid Submission Form…………………..………………………………….…….........Annex V

- Product Item Overview Form…...………..………………………………....…….......Annex VI

- Price Schedule Form…..…………………………………………………....…...........Annex VII

- The bid shall reach UNFPA’s reception or the email inbox of mailzwe@unfpa.org	 no later than 2 May 2011 at 17:00 hours (Harare time). Bids

- The bid shall be opened on 6 May 2011 at 11:00 hrs (Harare time) at the office of UNFPA, (1st  Floor Block 7, Arundel Office Park, Norfolk Road, Mount Pleasant, Harare. Bidders or their authorized representatives may attend the bid opening. Kindly confirm by e-mail by date whether your company shall be represented at the bid opening.

- Bids received after the stipulated date and time shall not be accepted under any circumstances. Bids delivered through courier and post later than date due shall not be registered and shall be returned unopened. Bids submitted to any other email address than mailzwe@unfpa.org shall be rejected.

- The award of the bid shall be posted at www.ungm.org. The successful bidder shall be notified by UNFPA by email.

- Any questions relating to the attached documents shall be addressed in writing to the following UNFPA personnel no later than 21st April, 2011 at 11:00 (Harare time).

- Agnes Makoni, Programme Officer (email: makoni@unfpa.org) for questions related to technical requirements.

- Wilson Muzvondiwa, Programme Assistant (email: muzvondiwa@unfpa.org) for questions relating to the bidding exercise.

Do not submit your bid to these contacts, or your bid will be disqualified.

- This letter is not to be construed in any way as an offer to contract with your firm.

Yours sincerely,

Wilson Muzvondiwa

UNFPA Zimbabwe Country Office

UNITED NATIONS POPULATION FUND

INTERNATIONAL COMPETITIVE BIDDING

ICB NO.: UNFPA/ZIM5R12B/2011/01

Bid Document for the Manufacture and/or Supply of Loop Electrosurgery Excision Procedure (LEEP) machines

6  April, 2011

Table of Contents

ANNEX I: Instructions to Bidders	5

A.	Introduction	5

1.	Eligible Bidders	5

2.	Cost of Bid	5

B.	Solicitation Documents	5

3.	UNFPA Bid document	5

4.	Clarifications of solicitation document	5

5.	Amendments of UNFPA bid solicitation document	5

C.	Preparation of Bids	6

6.	Language of the Bid	6

7.	Documents to be submitted with Bid	6

8.	Bid Currency and Prices	6

10.	Validity of Bid	7

D.	Submission of Bids	7

11.	Partial Bids	7

12.	Technical and Financial Bids	7

13.	Sealing and Marking of Bids (hard copies)	7

14.	Electronic Submissions	8

15.	Deadline for Submission of Bids/Late Bids	8

16.	Modification and Withdrawal of Bids	9

17.	Storage of Bids	9

E.	Opening and Evaluation of Bids	9

18.	Opening of Bids	9

19.	Preliminary examination of Bids	9

20.	Clarification of Bids	9

21.	Inspection of premises	10

F.	Award of Contract	10

22.	Award Criteria	10

23.	Right to Vary Requirements at Time of Award	10

24.	Signing of the contract	10

ANNEX II: Terms of Reference (TOR)	11

1.	Background	11

2.	Product Information	11

3.	Packing Information	13

4.	Delivery Information	14

5.	Evaluation Criteria	16

ANNEX III: Technical Product Specifications	18

ANNEX IV: UNFPA General Terms and Conditions	20

ANNEX V: Bid Submission Form	21

ANNEX VI: Product Item Overview Form	22

ANNEX VII: Price Schedule Form	23

# ANNEX I: Instructions to Bidders

# Introduction

## Eligible Bidders

This bid is open to primary manufacturers, who are registered in the country where they produce, or their authorized representatives. A “primary manufacturer” is defined as a company that performs all the manufacturing and fabricating operations needed to produce goods in their appropriate dosage forms, including processing, blending, formulating, filling, packing, labelling and quality testing. A bid may be submitted by an authorized agent for and on behalf of the primary manufacturer provided the bid is accompanied by a duly notarized letter of authority from the primary manufacturer authorizing the designated agent to bid solely for and on behalf of the primary manufacturer. Please note that UNFPA prefers to work directly with manufacturers.

Bidders should not be associated, or have been associated in the past, directly or indirectly, with a firm or any of its affiliates which have been engaged by the buyer to provide consulting services for the preparation of the design specifications, and other documents to be used for the procurement of goods to be purchased under this invitation to bids.

## Cost of Bid

The bidder shall bear all costs associated with the preparation and submission of the bid, and the procuring UN entity shall in no case be responsible or liable for those costs, regardless of the conduct or outcome of the solicitation.

# Solicitation Documents

## UNFPA Bid document

Bidders are expected to examine all instructions, forms, specifications, terms and conditions contained in the bid solicitation documents issued by UNFPA. Failure to comply with these documents shall be at the bidder’s risk and may affect the evaluation of the proposals.

## Clarifications of solicitation document

A prospective bidder requiring any clarification on the bid solicitation documents may notify UNFPA in writing within one week from the date of issue of the bid. UNFPA shall respond in writing to any request for clarification received and circulate its response (including an explanation of the query but without identifying the source of enquiry) to all prospective bidders who have received the bid solicitation documents. A copy of UNFPA’s answer shall also be posted in the UNFPA website http://www.unfpa.org/procurement/current_bids.htm and in the UN Global Marketplace http://ungm.org/

## Amendments of UNFPA bid solicitation document

At any time prior to the deadline for submission of proposals, UNFPA may, for any reason whether at its own initiative or in response to a clarification requested by a prospective bidder, modify the bidding documents by amendment.

All prospective bidders that have received the bidding documents shall be notified in writing of all the amendments to the bidding documents. In order to give prospective bidders reasonable time to take the amendments into account in preparing their proposals, UNFPA, may at its discretion, extend the deadline for the submission of proposals.

# Preparation of Bids

## Language of the Bid

The bid prepared by the bidder and all correspondence and documents relating to the bid shall be written in English.

## Documents to be submitted with Bid

For UNFPA’s acceptance of the Bid, the Bidder should furnish documentary evidence of:

- Completed Bid Submission Form (Annex V)

- Completed Product Item Overview Form (Annex VI)

- Completed Price Schedule Form (Annex VII)

- Copies of current certificates such as GMP/quality, FSC/CPP, manufacturer’s ISO certificate for the product, manufacturer’s CE certificate, USA 510k, Japan QS standard, etc., as stated in the TOR.

- Copy of valid manufacturing license from the country of manufacturing and/or a copy of company registration in the country of operation

- Copy of valid authorization letter issued by the manufacturer, if Bidder is not the manufacturer

- Product catalogues containing pictures of the product(s)

- Manufacturer’s technical product specifications or datasheets

- Results of any testing carried out on the products

Failure to furnish all the information required for submission of a bid which does not substantially respond to the UNFPA bid document in every respect shall be at the bidder’s risk and may result in a rejection of the bid.

## Bid Currency and Prices

All prices shall be quoted in US dollars (USD) or any other convertible currency. The bidder shall indicate on the appropriate Price Schedule the unit prices (where applicable) and total bid price of the goods or services it proposes to supply under the contract.

Bidders are requested to quote the following based on INCOTERMS 2000:

- Price of goods FOB/FCA [port of departure]

- Freight cost CPT/CFR [Harare]

Where installation, commissioning, training or other similar services are required to be performed by the bidder, the bidder shall include the prices for these services breakdown into itemized prices.

Bidders shall be requested by the buyer to arrange for ocean and/or other transportation from any reliable freight forwarders. This arrangement shall be made only after award or a corresponding purchase order is issued.

- Conversion to Single Currency

To facilitate evaluation and comparison, the buyer will convert all bid prices expressed in the amounts in various currencies in which the bid prices are payable to US dollars at the official UN exchange rate on the last day for submission of bids.

## Validity of Bid

- The prices of the bid shall be valid for 90 days after the closing date of bid submission as specified by UNFPA. A proposal valid for a shorter period shall be rejected by UNFPA on the grounds that it is non-responsive. UNFPA may solicit the bidder's consent for an extension of the period of validity under exceptional circumstances.

# Submission of Bids

## Partial Bids

- Partial bids are not allowed under this tender. UNFPA reserves the right to select and accept a part of parts of any bid.

## Technical and Financial Bids

A bid shall consist of two parts: the technical bid and the financial bid.

The technical bid containing the technical product specifications and the financial bid containing price information shall be submitted separately and in two different envelopes or transmitted in two separate emails to the email address designated by UNFPA.

- The Technical Bid shall be prepared in accordance to Annex IV: Technical Product Specifications of the bidding document.

- The Financial Bid shall be prepared in accordance to Annex VIII: Price Schedule of the bidding document.

Bids shall be signed by the bidder or a person or persons duly authorized to bind the bidder to the contract. A bid shall contain no interlineations, erasures, or overwriting except, as necessary to correct errors made by the bidder, in which case such corrections shall be initialled by the person or persons signing the bid.

## Sealing and Marking of Bids (hard copies)

When submitting in hard copies, the bidder shall prepare one set of sealed bids containing one set of the technical bid and one set of the financial bid, one stamped as “Original” and the other one stamped as “Copy”. In the event of a discrepancy between them, the original shall govern.

The outer envelope must be clearly marked with the following:

UNITED NATIONS POPULATION FUND (UNFPA)

Block 7 Arundel Office Park

Norfolk Rd, Mt Pleasant, Harare

Zimbabwe

Invitation to Bid No. UNFPA/ZIM5R12B/2011/01`

Attention: Wilson Muzvondiwa – Programme Assistant

ONLY TO BE OPENED BY AUTHORISED UNFPA PERSONNEL

The inner envelopes must be clearly marked with the following:

UNITED NATIONS POPULATION FUND (UNFPA)

Block 7 Arundel Office Park

Norfolk Rd, Mt Pleasant, Harare

Zimbabwe

Submission 1 of 2: “UNFPA/ZIM5R12B/2011/01` Company name, Technical Proposal”

UNITED NATIONS POPULATION FUND (UNFPA)

Block 7 Arundel Office Park

Norfolk Rd, Mt Pleasant, Harare

Zimbabwe

Submission 2 of 2: “UNFPA/ZIM5R12B/2011/01`, Financial Proposal”

The envelope shall also indicate the name and address of the Bidder to enable the Bid to be returned unopened in case it is declared “late”.

If the outer envelope is not sealed and marked as required, the Buyer shall assume no responsibility for the Bid’s misplacement or premature opening.

## Electronic Submissions

Please note the following guidelines for electronic submissions:

Bidders shall make clear reference to the specific proposal in the subject field as instructed, otherwise proposals may be rejected. Clearly specify: ICB No. UNFPA/ZIM5R12B/2011/01, company name and specify “Technical Proposal” or “Financial Proposal” in the subject field. I.e.:

Submission 1 of 2: “UNFPA/ZIM5R12B/2011/01, Company name, Technical Proposal”

Submission 2 of 2: “UNFPA/ZIM5R12B/2011/01, Company name, Financial proposal”

The Technical Proposal and the Financial Proposal shall be submitted in separate emails to mailzwe@unfpa.org. Proposals received at mailzwe@unfpa.org mailbox are kept undisclosed and shall not be opened before the scheduled opening date.

E-mail submission shall not exceed 10 MB. It is recommended that all the bidding documents are consolidated into as few attachments as possible which shall be in commonly used file formats. Where the technical details are in large electronic files, it is recommended that these shall be sent separately before the deadline.

It shall be the bidder’s responsibility to ensure that Bids sent by e-mail are received by the deadline.

All bidders shall receive an auto-reply acknowledging the receipt of their email. Bidders shall not receive responses to questions sent to mailzwe@unfpa.org since it is a secure mailbox.

## Deadline for Submission of Bids/Late Bids

Bids must be delivered to the office on or before the date and time specified in section I of these Solicitation Documents.

UNFPA may, under special and exceptional circumstances, extend this deadline for the submission of the bids and such changes shall be notified to all Bidders before the expiration of the original period.

Any bid received by UNFPA after the deadline for submission of bids shall be rejected and returned unopened to the bidder. UNFPA shall not be legally responsible for bids that arrived late due to the bidder’s problems with transmission of bid submissions via email and/or with the courier company.

## Modification and Withdrawal of Bids

The bidder may withdraw its bid after submission, provided that written notice of the withdrawal is received by UNFPA prior to the deadline for submission. No Bid may be modified after passing of the deadline for submission of bids. No bid may be withdrawn in the interval between the deadline for submission of bids and the expiration of the period of bid validity.

## Storage of Bids

Bids received prior to the deadline of submission and the time of opening shall be securely kept unopened until the specified bid opening date stated in the UNFPA’s bid solicitation document. No responsibility shall be attached to UNFPA for the premature opening of a proposal not properly addressed and identified.

# Opening and Evaluation of Bids

## Opening of Bids

The buyer shall open all bids in the presence of two witnesses.

There shall be two separate technical and financial bid openings. This “two envelope system” ensures that the technical evaluation can focus solely on the contents of the technical proposals without bias from the financial aspects of the proposals. The bidders’ names and their technical bids shall be announced at the technical bid opening. The financial bids are opened in a separate opening session after completion of the technical evaluation.

No bid shall be rejected at bid opening, except for late bids, which shall be returned unopened to the bidder pursuant to clause 14 of instructions to bidders.

Bids that are not opened and read out at bid opening shall not be considered further for evaluation, irrespective of the circumstances. Withdrawn bids shall be returned unopened to the bidders.

## Preliminary examination of Bids

UNFPA shall examine the bids to determine whether they are complete, whether any computational errors have been made, whether the documents are properly signed and whether the proposals are generally in order.

Arithmetical errors shall be rectified on the following basis: If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If the bidder does not accept the correction of errors, its proposal shall be rejected. If there is a discrepancy between words and figures, the amount in words shall prevail.

## Clarification of Bids

To assist in the examination, evaluation and comparison of bids, UNFPA may ask bidders for clarification of their bids. The request for clarification and the response shall be in writing by UNFPA and no change in price or substance of the proposal shall be sought, offered or permitted.

## Inspection of premises

If required, the bidder shall permit UNFPA representatives access to their facilities at any reasonable time to inspect the premises that shall be used for the production, testing and packaging of the products, and shall provide reasonable assistance to the representatives for such inspection, including copies of any test results or quality control reports as may be necessary.

# Award of Contract

## Award Criteria

UNFPA shall award the Purchase Order(s) to the lowest priced bidder whose bid complies with all the conditions and technical specifications of this invitation to bid.

UNFPA reserves the right to make multiple arrangements for any item(s) where, in the opinion of UNFPA, the lowest bidder cannot fully meet the delivery requirements or if it is deemed to be in UNFPA’s best interest to do so.  Any arrangement under this condition shall be made on the basis of the lowest, second lowest, third lowest, etc bid which meets all the requirements in the above paragraph.

UNFPA reserves the right to reject any bid if a bidder has previously failed to perform properly or complete on time in accordance with contracts or the bidder who in UNFPA’s perspective is not in a position to perform the contract.

UNFPA reserves the right to annul the solicitation process and reject all bids at any time prior to award of purchase order, without thereby incurring any liability to the affected bidder(s) or any obligation to provide information on the grounds for the buyer’s action.

A bid that is rejected by UNFPA may not be made responsive by the bidder by correction of the non-conformity. A responsive bid is defined as one which conforms to all the terms and conditions of the UNFPA’s bid solicitation documents without material deviations. UNFPA shall determine the responsiveness of each bid with the UNFPA’s bid solicitation documents.

The Bidders waive all rights to appeal against the decision made by UNFPA.

## Right to Vary Requirements at Time of Award

UNFPA reserves the right at the time of award of contract to increase or decrease by up to 15% the quantity of goods specified in this bid without any change in price or other terms and conditions.

## Signing of the contract

The buyer shall send the successful bidder the Purchase Order/Contract/Long Term Agreement, which constitutes the Notification of Award. The successful bidder shall sign, date the contract and return it to UNFPA within 30 days of receipt of the contract.  After receipt of the Purchase Order, the successful bidder shall deliver the commodities in accordance with the delivery schedule outlined in its proposal.

# ANNEX II: Terms of Reference (TOR)

## Background

The United Nations Population Fund (UNFPA) wishes to appoint one or more vendors to supply medical equipment in support of UNFPA’s programme throughout the world.  The winner(s) of this bidding exercise shall be invited to enter into negotiation one or several non-exclusive (Purchase Orders/Long Term Agreement) with UNFPA.

## Product Information

  - Items and quantities

The following shows the items and quantities solicited:

| S/N | Description | Sub-category | Sales UOM | Total quantity |
| --- | --- | --- | --- | --- |
| 1 | Loop Electrosurgery Excision Procedure (LEEP) Machine with the following features: - Foot controlled handpiece for 1/16" and 3/32" electrodes - Coated Antenna Plate - Handpiece Clip - Operating Manual - Standard Electrode set, 1/16" shaft - Smoke Evacuation System - Pneumatic footswitch - Quad Filter 7/8" Diameter - Plastic Hose 7/8" Diameter, Reusable | Hospital Equipment | Pack | 10 |

  - Product documentation

The Bidder shall complete the attached Product Item Overview Form. Furthermore, product documentation provided shall include the following information:

  - Product name short description

  - Manufacturer’s name

  - Country of manufacturer

  - Product certifications

  - Product reference or model numbers

  - Product adherence with UNFPA specifications

  - Countries the product is registered in

  - Languages available for usage instruction inserts

  - Product shelf life in months (if applicable)

  - Product production batch size (if applicable)

  - Product hazardous classification (if applicable)

  - Recommended storage conditions (if applicable) and

  - Complete technical specification, including technical data sheet, brochures and catalogues.

  - Manufacturer and product conformity with quality management system standards

The product(s) supplied from manufacturers (and vendors if different from manufacturer) shall conform to the UNFPA technical specifications and shall meet requirements of latest version of the relevant quality management systems and product certifications as listed below:

(a) ISO 9001

(b) ISO 13485 / ISO 13488

(c) EN 46001 / EN 46002

(d) Japan QS standard for medical devices # 1128

(e) United States QS (21 CFR part 820)

Medical Devices supplied to UNFPA programmes shall comply with regulatory requirements for marketing clearance and be cleared by at least one of the regulatory authorities indicating applicable licence as listed below;

(a) Australia: GMPALS Licence or CE mark

(b) Canada: Device Licence

(c) European Union: CE mark

(d) Japan: Device licence

(e) United States: 510k device letter

Bidders shall provide copies of valid certificates from certification bodies accredited by internationally recognized accreditation bodies.

Certificates provided for quality management systems and products shall indicate:

  - Manufacturer’s name

  - Specific facility and location

  - Date of issuance

  - Date of expiration

  - Free sale certificate

All goods offered under this Bid shall have a current free sale certificate or equivalent from the health or regulatory authority of the country of origin, where applicable.

  - Product’s adherence with specifications

The certificates shall be supported with the following to ensure compliance with UNFPA specifications:

  - Product technical datasheets, catalogues and any other technical information;

  - Results of any testing carried out on these products;

  - Any other supporting documentation to ensure compliance of products specified with UNFPA specifications.

  - Changes from Specification

Wherever items offered are not in compliance with specifications indicated by UNFPA, or wherever alternatives are offered, it is the Bidders responsibility to provide the Bid full descriptive specification and documentation of such items. In such instances the item or items must be clearly marked as an alternate and not being in compliance with specifications.

  - Raw materials

Raw materials used shall be of good quality, from approved sources and in compliance with the marketing authorization in the country of origin.

For all instrument sets, all items in set shall be made of stainless steel in accordance to SUS304 or equivalent or higher.

  - Product components

All components shall be compatible to guarantee adequate and efficient work. The vendor shall supply Serial Numbers of the equipment components.

  - Country of origin

The country of origin for each product shall be clearly stated in the Bid.

  - Power source

All equipment shall be 220V or Auto Voltage. Standard European plug.

  - Warranty

All equipment shall have the following warranty:

  - Full warranty for all components, according to the manufacturer’s standards, for at least two years;

  - At least one preventive maintenance services before the end of warranty;

  - Technical support through vendor’s/agent’s local or regional offices.

  - Training, installation and technical support

Installation and configuration services, start up services, training and technical support shall be included in the Bid offer.

A local representation in the country of destination shall be preferred in order to provide training, technical support, maintenance and warranty service. The vendor shall have certified personnel for technical support.

Equipment shall include all supporting materials such as manuals, installation drivers (CD ROM) and accessories for optimum performance.

## Packing Information

  - Packing of goods

The packing of the product(s) shall be suitably over-packed for shipment in strong triple-wall cardboard boxes and in a manner that shall provide adequate protection of the goods for carriage by air, sea, and road to final destination including remote location, subsequent in-land distribution. The packing shall take into account any special requirements for dangerous or hazardous goods or cold chain items.  Export packing shall be included in the price offered in the Bid.

  - Marking and labelling

Bidders shall strictly adhere to the requirements of marking and labelling:

UNFPA logo

UNFPA/Project No.

Contents: Item

Country of destination

UNFPA PO No. Number

Vendor name

Lot/Batch/Serial numbers

Case / Carton number

Manufacturing date

Expiry date

Weight

Volume

Max. pressure allowed, if applicable

Max. temperature, if applicable

Specific instructions (if any)

Special storage conditions, if any, shall be specified on the cartons and all shipping documents.

  - Shelf life requirements (if applicable)

Products shall be recently manufactured and have at least 80% of its shelf life remaining at the time of delivery to country of destination.

  - Storage conditions

Particular storage conditions (temperature, pressure, humidity, etc.) shall be clearly stated, if applicable.

  - Samples

UNFPA reserves the right to request free, non-returnable product, packing and/or packaging samples for evaluation of the item prior to any award. Samples shall be subject to technical review and laboratory analysis where appropriate.

## Delivery Information

  - Delivery lead time

If awarded with a purchase order, delivery shall be made based on INCOTERMS 2000 CPT (Harare) or as per instructions in UNFPA’s purchase orders. Bidders shall indicate the guaranteed minimum lead time for delivery of each item offered. Delivery lead time is defined as from the time the vendor received the UNFPA’s purchase order  until the goods arrived to the final destination.

Bidders are requested to state realistic lead times since UNFPA shall monitor and measure delivery performance in comparison with guaranteed minimum lead time indicated in this Bid. Lead time of less than 12 weeks is preferred.

  - Freight forwarding

Once contracted, the vendor shall be responsible for selecting and arranging freight forwarding to the final destination at competitive market prices and shall pay the freight costs to the freight forwarder directly.

Freight forwarding costs shall be reflected in the corresponding UNFPA’s purchase order and only the actual freight cost shall be invoiced to UNFPA accordingly. Freight invoice from freight forwarder shall be attached to the vendor’s invoice as proof of actual freight cost.

No partial deliveries shall take place unless expressly confirmed by UNFPA. Individual delivery instructions shall be contained in the purchase orders.

The vendor is responsible for obtaining at its own risk and expenses any export license or other official authorization and carry out all customs formalities necessary for the exportation of the goods.

Difficult/war torn countries: UNFPA may decide to assign the transportation to its own appointed freight forwarder. In such cases, the vendor shall be informed accordingly. Details of such arrangements shall be provided in the purchase orders.

  - Order Tracking System (OTS)

The vendor shall regularly update specific shipment tracking information related to any issued purchase order in the UNFPA Order Tracking System.

The vendor shall ensure that delivery details are communicated to UNFPA at least 7 days prior to arrival of goods at the final destination.

  - Shipping advice note

If awarded with a purchase order, a shipping advice note shall be sent by fax or e-mail at the time for dispatching the cargo and the note shall contain the following information:

  - PO reference;

  - Quantity and type of Goods;

  - Invoiced value of the Goods;

  - Name of freight forwarder;

  - Date of departure from port of shipment;

  - Name of vessel or carrier;

  - Bills of Lading number(s);

  - Expected time of arrival at port of discharge;

  - Shipping documents

If awarded with a Purchase Order, immediately upon shipment of the contracted Goods, the vendor shall dispatch one set of original and two sets of signed copies of the following documents by courier service to UNFPA and the Consignee:

  - One negotiable copy of the Bill of Lading/CMR/AWB (marked "freight prepaid")

  - Original of commercial invoice

  - Original of packing list

  - One certified copy of the certificate of origin

  - One copy of certificate of analysis for each of the batches, according to appropriate standards

  - One certified copy of registration in the country of origin / WHO free sales certificate

  - Copy of shipping advice

  - Copy of the freight invoice

  - Any other specific document (if applicable)

  - Sets of shipping documents

Three sets of documents consisting of 1) Invoice, 2) Bill of Lading/Airway Bill and 3) Packing list, 4) Freight Invoice shall be sent as follows:

  - 1 set of ORIGINAL documents (Invoice, Bill of Lading/Airway Bill, Packing List and Freight Invoice) is to be sent to the respective Buyer for procurement purposes and for payment purposes.

  - 1 set of ORIGINAL documents (Invoice, Bill of Lading/Airway Bill, Packing List and Freight Invoice) is to be sent to the consignee for customs clearance of goods (corresponding address to be provided in Purchase Orders accordingly).

  - Pre-shipment and post-shipment inspection

UNFPA reserves the right to conduct pre-shipment and/or post-shipment inspection of the goods if an award is issued. UNFPA shall be given reasonable and sufficient time before delivery of the goods to inspect them and to reject or refuse acceptance of any item not conforming to this technical specifications or the specifications stated in the UNFPA’s purchase order. Payment for the goods pursuant to the purchase order shall not be deemed an acceptance of the goods. Inspection prior to shipment or post-shipment shall not relieve the vendor from any contractual obligations.

  - Delay of delivery

- In the event of a delay in the delivery time of a purchase order, the vendor shall immediately and not later than one week from the acknowledgement of such delay, notify the UNFPA Buyer in writing,  requesting an extension of the delivery date, clearly stating the nature of the delay (including supporting documentation) and the proposed new delivery date.

- The corresponding UNFPA Buyer shall ascertain the facts and extent of delay, and extend time for performance when in its judgment the facts justify such an extension. The Buyer's findings thereon shall be final and conclusive subject only to the vendor's right of appeal under the arbitration clause of the contract.

  - Vendor’s responsibility for rejected or returned products

Should any goods fail in the post shipment inspection and testing, the vendor/manufacturer shall be responsible for disposal and/or the return of the rejected goods from the country of destination to the country of origin.  The vendor/manufacturer shall bear the cost of all related activities.

Should any product fail to meet the requirements of the specifications, the vendor shall replace the items within the time specified for delivery, or the extended time period granted by UNFPA.

Whenever products fail the quality inspection, either during the sampling or testing, the vendor is responsible for the payment of the costs in relation to the re-inspection.

The inspection does not relieve the vendor from his contractual obligations or from goods being subject to final acceptance after delivery.

## Evaluation Criteria

Determination of compliance with the Bid solicitation documents is based on the content of the Bid itself without recourse to extrinsic evidence.

All compliant Bids shall meet the following:

  - Compliance with the technical requirements specified by the bid solicitation documents

  - Compliance with the special and general conditions specified by the Bid solicitation documents

  - Compliance with start-up, delivery and installation deadlines set by the procuring entity

  - Proof of after-sales service capacity, warranty and appropriateness of service network.

  - The supporting documents required

  - Delivery lead time

  - Other conditions requested in the Bid solicitation documents.

The winner of the Bid shall be selected based on the best offer for technical specifications, delivery lead time and price. If all requirements are met, the Bid with the lowest price shall be selected.

Furthermore, UNFPA may select more than one vendor for the award of contract.

# ANNEX III: Technical Product Specifications

- Loop Electrosurgery Excision Procedure (LEEP) Machine

I. Composition: - Main unit: 10 sets - Standard accessory completed: 10 sets II. Specification: - Foot controlled handpiece for 1/16" and 3/32" electrodes - Coated Antenna Plate - Handpiece Clip - Operating Manual - Standard Electrode set, 1/16" shaft - Smoke Evacuation System - Pneumatic footswitch - Quad Filter 7/8" Diameter - Plastic Hose 7/8" Diameter, Reusable

# ANNEX IV: UNFPA General Terms and Conditions

United Nations Population Fund

Block 7 Arundel Office Park

Norfolk Rd Mt. Pleasant, Harare,  Zimbabwe

Fax: (263) 4 338 773

Telephone: (263) 4 338 836-44

Email: muzvondiwa@unfpa.org Website: www.unfpa.org

# ANNEX V: Bid Submission Form

To: UNFPA

Dear Sir / Madam,

The Undersigned, having read the Bidding Document of Invitation to Bid No. UNFPA/ZIM5R12B/2011/01, hereby offers to supply the goods specified in the schedule at the price or prices quoted, in accordance with any specifications stated and subject to the Terms and Conditions set out or specified in the document

We agree to abide by this Bid for a period of three months from the date fixed for opening of Bids in the Invitation to Bid, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

We understand that you are not bound to accept any Bid you may receive.

Dated this . . . . .day of . . . . .[year].

Signature:	……………………………………..

Name:		……………………………………..

Title: 		……………………………………..

Company:	……………………………………..

Postal Address ……………………………………...

Telephone No. ……………………………………...

Fax No.	……………………………………..

Email address	……………………………………..

Validity of Offer	…………………………….

# ANNEX VI: Product Item Overview Form

(Please see attached Excel spreadsheet Annex VI – Product Item Overview Form.xls)

# ANNEX VII: Price Schedule Form

(Please see attached Excel spreadsheet Annex VII – Price Schedule form.xls)