**Section III: Returnable Bidding Forms**

**eSourcing reference:** Supply of Medical Consumable and Commodities [ITB/2021/19741]

Note to Bidders: The following returnable forms are part of this ITB and must be completed and returned by bidders as part of their Bid. Instructions to complete each Form are highlighted in blue in each Form. Please complete the Returnable Biding Forms as instructed and return them as part of your bid by uploading them against their specific Document Checklist in the UNOPS eSourcing system.

This Section comprises the following Returnable Bidding Forms:

* Form A: Joint Venture Partner Information Form
* Form B: Bid Submission Form
* Form C: Price Schedule Form
* Form D: Technical Bid Form
* Form E: Performance Statement Form

**Form A: Joint Venture Partner Information Form**

The Bidder shall fill in this Form in accordance with the instructions indicated below.

ITB reference no: Supply of Medical Consumable and Commodities [ITB/2021/19741]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To be completed and returned with your Bid if the Bid is submitted as a Joint Venture/Consortium/Association.

|  |  |
| --- | --- |
| **JV / Consortium/ Association Information** | |
| **Name** | [complete] |
| **Names of each partner and contact information**  (address, telephone numbers, fax numbers, e-mail address) | [complete] |
| **Name of leading** partner (with authority to bind the JV, Consortium, Association during the Bidding process and, in the event a Contract is awarded, during contract execution) | [complete] |
| **Proposed proportion of responsibilities between partners (in %) with indication of the type of the goods/services to be delivered by each** | [complete] |

**Signatures of all partners of the JV:**

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Form B: Bid Submission Form**

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]

**Subject: Bid for the supply of** [***Insert a brief description of goods/services*]****in**[***Name of country/city*],** ITB Case No. **[Insert ITB ref number],** dated **[insert date]**

We, the undersigned, declare that:

* 1. We have examined and have no reservations to the bidding documents, including amendments No.: [Insert the number and issuing date of each amendment];
  2. We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract, and in accordance with the delivery schedules specified in the Schedule of Requirements
  3. The total price of our bid, excluding any discounts offered in item (d) below, is: [Insert the total bid price in words and figures, indicating the various amounts and the respective currencies];
  4. The discounts offered and the methodology for their application are:
* **Discounts**: If our bid is accepted, the following discounts shall apply. [Specify in detail each discount offered and the specific item of the Schedule of Requirements to which it applies, including if applicable discounts for accelerated payment.]
* **Methodology of application of the discounts**: The discounts shall be applied using the following method: [Specify in detail the method that shall be used to apply the discounts];
  1. Our bid shall be valid for the period of time of [insert number of days which shall not be less than the specified in the Tender Particulars section, Period of Validity of Bids] from the date fixed for the bid submission deadline as set out in the ITB, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;
  2. If our bid is accepted, and if so requested in the Tender Particulars section, we commit to obtain a performance security in accordance with Instructions to Bidders Article 34 and the General Conditions of Contract;
  3. We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS;
  4. We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future;
  5. Our firm confirms that the Bidder and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;
  6. We embrace the principles of the United Nations Supplier Code of Conduct and adhere to the principles of the United Nations Global Compact;
  7. Our firm, its affiliates or subsidiaries – including any subcontractors or suppliers for any part of the contract – has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 4, Eligibility;
  8. We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this ITB and will not engage in any such activity during the performance of any contract awarded;
  9. We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.

I, the undersigned, certify that I am duly authorized by [***insert full name of bidder***] to sign this bid and bind [***insert full name of bidder***] should UNOPS accept this bid:

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**[***Stamp form of bid with official stamp of the bidder***]**

**Form C: Price Schedule Form**

ITB reference no: Supply of Medical Consumable and Commodities [ITB/2021/19741]

Name of Bidder: [insert name of bidder]

Bidders shall fill in these Price Schedule Forms in accordance with the instructions indicated.

**Prices for Goods**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Lot No.** | **Item no.** | **Item Description** | **Unit** | **Total Quantity in Unit** | **Currency [USD/MMK]** | |
| **Unit price DAP (b)** | **Total price**  **DAP(a)x(b)** |
| **1** | 1.1 | BAG (envelope), plastic, for drugs, 10 x 15cm | Pieces | 1,003,200 |  |  |
|  | 1.2 | BAG, tablets, reseable, 80x100x0.05mm | Pieces | 3,000 |  |  |
|  | 1.3 | BANDAGE, hydrophilic 10cm x 5m, selfedged | Pieces | 29,282 |  |  |
|  | 1.4 | BASIN, kidney, stainless steel, 475ml | Pieces | 1,097 |  |  |
|  | 1.5 | BLADE, scalpel, sterile, single use, no. 20 | Pieces | 22,100 |  |  |
|  | 1.6 | CLAMP, towel, Jones, 5cm | Pieces | 1,573 |  |  |
|  | 1.7 | COTTON WOOL, absorbent, 500g, non-sterile, roll | Roll | 9,277 |  |  |
|  | 1.8 | CUFFS, for sphygmomanometer, set/4, different sizes | Set | 505 |  |  |
|  | 1.9 | DRESSING SET, 3 instruments+instrument case 8"x3", pcs. | Set | 768 |  |  |
|  | 1.10 | FORCEPS, dressing, standard, 15.5cm, straight | Pieces | 700 |  |  |
|  | 1.11 | LANCET, auto-disable, blood, sterile, single use | Pieces | 4,770 |  |  |
|  | 1.12 | SCISSORS, Mayo, 14cm, curved, blunt/blunt | Pieces | 625 |  |  |
|  | 1.13 | SCISSORS, Mayo, 17cm, curved, blunt/blunt | Pieces | 615 |  |  |
|  | 1.14 | SCISSORS, Mayo, 17cm, straight, blunt/blunt | Pieces | 60 |  |  |
|  | 1.15 | Steel tray with lid (8\*11") | Pieces | 4 |  |  |
|  | 1.16 | SWAB, alcohol, sterile, single use | Pieces | 25,300 |  |  |
|  | 1.17 | TAPE, adhesive, 2½cm x 5m | Pieces | 11,200 |  |  |
|  | 1.18 | THERMOMETER, clinical, oral/rectal, Fahrenheit/Celsius, pcs. | Pieces | 2,586 |  |  |
|  | 1.19 | Triangular bandages 40"\*40"\*56'' | Pieces | 10 |  |  |
| **2** | 2.1 | DISH, for soap | Pieces | 60 |  |  |
|  | 2.2 | NAIL BRUSH , pcs. | Pieces | 60 |  |  |
|  | 2.3 | NAIL CLIPPER, file, pcs. | Pieces | 60 |  |  |
|  | 2.4 | SOAP, toilet, wrapped, 100g | Pieces | 660 |  |  |
|  | 2.5 | TORCH/FLASHLIGHT, pre-focused | Pieces | 60 |  |  |
| **3** | 3.1 | ETHANOL, 85% denaturised, 100ml | bottle | 32,607 |  |  |
|  | 3.2 | Methylated Spirit, 100ml | bottle | 10,932 |  |  |
|  | 3.3 | USG Gel (250 ml bottle ) | bottle | 30 |  |  |
| **4** | 4.1 | GLOVES, EXAMINATION, latex, large, non-sterile, single use | Pieces | 91,900 |  |  |
|  | 4.2 | GLOVES, EXAMINATION, latex, medium, non-sterile, single use | Pieces | 376,600 |  |  |
|  | 4.3 | GLOVES, EXAMINATION, latex, small, non-sterile, single use | Pieces | 119,100 |  |  |
|  | 4.4 | MASK, surgical, non-sterile, single use | Pieces | 1,011,600 |  |  |
| **5** | 5.1 | SCALE, bathroom type, 120kg, mechanical | Pieces | 639 |  |  |
|  | 5.2 | SCALE, bathroom type, 150kg, electronic | Pieces | 2 |  |  |
| **6** | 6.1 | SYRINGE, luer, 20ml, with needle, 21G (0.8x40mm), sterile, single use | Pieces | 40,900 |  |  |
|  | 6.2 | SYRINGE, luer, 3ml, with needle, 23G x (0.80x32mm), sterile, single use | Pieces | 82,200 |  |  |

I, the undersigned, certify that I am duly authorized by [***insert full name of bidder***] to sign this bid and bind [***insert full name of bidder***] should UNOPS accept this bid:

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Form D: Technical Bid Form**

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Bidders are required to complete the **Comparative Data Tables** included in Section II: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your bid.

**Technical specifications for Goods – Comparative Data Table**

**Lot No 1: Medical Consumables**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No** | **UNOPS minimum technical requirements** | **Quantity** | **Is bid compliant?** Bidder to complete | **Details of goods offered.** Bidder to complete |
| 1.1 | BAG (envelope), plastic, for drugs, 10 x 15cm  Zipper bag, plastic , for drugs 10x15 cm | 1,003,200 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.2 | BAG, tablets, resealable, 80x100x0.05mm  Zipper Bag, plastic, for drugs, resealable, 80x120 x0.05mm | 3,000 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.3 | BANDAGE, hydrophilic 10cm x 5m, selfedged | 29,282 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.4 | BASIN, kidney, stainless steel, 475ml  Material: stainless steel  Length: approx. 205mm  Width: approx. 95mm  Height: approx. 45mm  Capacity: approx. 475ml | 1,097 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.5 | BLADE, scalpel, sterile, single use, no. 20  Hardness: 50 HRC to 58 HRC.  Material: Martensitic steel (quenched, magnetic steel). Martensitic steel: 0.40% carbon; 14% chromium. Disposable. Sterile. Individually wrapped. Initial sterilisation method: Ethylene oxide gas. | 22,100 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.6 | CLAMP, towel, Jones, 5cm  Jones Towel Clamps to use for securing towels and drapes.  The forceps shall be inward curved, sharp-pointed tips which overlap each other.  Material: Stainless steel, resistant to corrosion and rust  Size: 5cm | 1,573 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.7 | COTTON WOOL, absorbent, 500g, non-sterile, roll  High absorbent surgical grade cotton wool, not pre-cut, single use, non-sterile  Material: 100% cotton surgical grade, purified, bleached, and carded.  Net weight: 500g.  Roll presentation | 9,277 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.8 | CUFFS, for sphygmomanometer, set/4, different sizes  Design: two tubes, Tube length 50-80cm  Composed of cloth containing an inflatable bag connected via a tube to a flexible bulb with valve and integrated manometer needle gauge.  The bag is inflated by means of the flexible bulb connected via a tube.  Four different sizes of inflatable bags in cm:  1) 20 - 30 x ~ 5.5 cm  2) 25 - 35 x ~ 7 cm  3) 35 - 43 x ~ 11 cm  4) 50 - 58 x ~ 14.5 cm  *Documentary evidence of Product Qualification as requested shall be included along with the bid* | 505 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.9 | DRESSING SET, 3 instruments+instrument case 8"x3", pcs.  1 x Forceps,artery,Kocher,140mm, straight teeth  1 x Forceps,dressing, standard, 140mm, straight  1 x Scissors,Deaver,140mm, straight Type, Sharp/Blunt  All made of medical grade stainless steel with instrument case made of steel, approx.size- 8"x3" inches | 768 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.10 | FORCEPS, dressing, standard, 15.5cm, straight  Dissecting forceps, springy, without teeth, flexible arms, good gripping of the jaws  Length: 15.5 cm  Material: Martensitic steel (quenched, magnetic steel) | 700 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.11 | LANCET, auto-disable, blood, sterile, single use  Plastic blood lancet with 30 gauge needle, sharp and easy penetration tip, Sterile by GAMMA radiation  *Documentary evidence of Product Qualification as requested shall be included along with the bid* | 4,770 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.12 | SCISSORS, Mayo, 14cm, curved, blunt/blunt Instrument that cuts by shearing: operating, dissecting scissors.  Curved, with blunt end blades.  Length: 14 cm  Material: Martensitic steel (quenched, magnetic steel) | 625 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.13 | SCISSORS, Mayo, 17cm, curved, blunt/blunt  Instrument that cuts by shearing: operating, dissecting scissors.  Curved, with blunt end blades.  Length: 17 cm  Material: Martensitic steel (quenched, magnetic steel) | 615 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.14 | SCISSORS, Mayo, 17cm, straight, blunt/blunt  Straight, with both blunt end blades.  Length: 17 cm  Material: Martensitic steel (quenched, magnetic steel) | 60 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.15 | Steel tray with lid (8\*11")  Seamless steel tray, with cover/lid rectangular with rounded corners, smooth surface.  Material: stainless steel  Length: approx. 11 inches  Width: approx. 8 inches  Height: approx. 3 inches | 4 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.16 | SWAB, alcohol, sterile, single use  Sterile Alcohol Pad for disinfection and well suited for skin preparation before needle insertion.  Materials – Non-Woven Cotton  Contents - 70% isopropyl alcohol  Size - Approx. 3 x 3 cm (folded size – 2 ply) | 25,300 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.17 | TAPE, adhesive, 2½cm x 5m  Medical adhesive tape, roll  Width: 2 - 2.5cm  Length: 5m  Single use, non-sterile  High cutaneous tolerance, non-stretch, can be torn by hand, impermeable to water  Must adhere strongly when applied to the skin, but can be removed without causing significant lesions.  Colour: White or flesh coloured.  Components: Aerated and/or perforated textile strip impregnated with adhesive.  Material: Textile strip: woven acetate taffeta  Adhesive: Mixture of rubber, resins and lanolin or incorporates zinc oxide. | 11,200 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.18 | THERMOMETER, clinical, oral/rectal, Fahrenheit/Celsius, pcs.  Clinical thermometer, electronic, digital, glass and mercury free  Fahrenheit/Celsius temperature scale  Temperature measurement range 34 – 42 °C  Accuracy ± 0.1 °C in the range 35 – 41 °C  Liquid crystal display  Beep audio alert  Automatic switch-off  Low battery indicator  Water proof, suitable for cleaning and disinfection | 2,586 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 1.19 | Triangular bandages 40"\*40"\*56''  Materials: 100% cotton, woven fabric, calico type, unbleached or mixed with viscose fibres. Fabric relatively free from weaving defects, not starched, high tearing strength, does not cause allergy and smooth texture.  Can be used fully unrolled as a sling, folded as a normal bandage or for specialized applications  Size: 40”x40”x56” (+/- 2.5%)  Unit presentation:  One triangular bandage, medically clean, in a protective plastic bag, and preferably delivered with a safety pin. | 10 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |

**Lot No 2: Medical Commodity**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No** | **UNOPS minimum technical requirements** | **Quantity** | **Is bid compliant?** Bidder to complete | **Details of goods offered.** Bidder to complete |
| 2.1 | DISH, for soap  Soap Box, two-piece  A two-piece Plastic box for soap made of boilable plastic. Suitable size for 100g soap bar. | 60 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 2.2 | NAIL BRUSH , pcs.  Nylon brush with soft bristles for scrubbing hands prior to surgical intervention  Bristles: Minimum 5 rows  Material: Head: Polypropylene. Bristles: Nylon  Length: head, approx. 7 – 9 cm  Width: approx. 3 - 4 cm  Height: approx. 1 cm  Reusable  Non-sterile | 60 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 2.3 | NAIL CLIPPER, file, pcs.  Nail clipper of medium size (approx. 60-70mm long), include a file  Material: stainless steel or chromium plated  Design: ergonomic design, and smooth action | 60 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 2.4 | SOAP, toilet, wrapped, 100g  Soap bar suitable for all skin types even the most dry and sensitive, wrapped, 100g  Hand soap for personal hygiene, suitable for all skin types even the most dry and sensitive.  Weight: approx. 100 g  Enriched with natural humectants and natural moisturizing ingredients.  100% biodegradable | 660 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 2.5 | TORCH/FLASHLIGHT, pre-focused  Flashlight, pre-focused  Material: plastic or metal housing  Mechanical switch with material that is resistant to corrosion and rust  Batteries: AA  Battery life: at least 3 hours  Supplied with batteries | 60 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |

**Lot 3: Disinfectant & Gel**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No** | **UNOPS minimum technical requirements** | **Quantity** | **Is bid compliant?** Bidder to complete | **Details of goods offered.** Bidder to complete |
| 3.1 | ETHANOL, 85% denaturised, 100ml  Ethanol, Minimum 85%  Molecular Weight 32.04.  Product Character: lightweight, odourless, fiberglass free, non-irritating to the skin,  fluid resistant, 100 ml | 32,607 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 3.2 | Methylated Spirit, 100ml  Methylated Alcohol  Ethanol 70%, Methanol 2% | 10,392 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 3.3 | USG Gel (250 ml bottle )  Clear gel, water soluble, hypoallergenic, odorless, harmless to skin, non-irritating and non-staining,  Applicable for all ultrasonic diagnostic procedures  Easily removable with a towel or tissue paper  *Documentary evidence of Product Qualification as requested shall be included along with the bid* | 30 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |

**Lot 4: Gloves & Masks**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No** | **UNOPS minimum technical requirements** | **Quantity** | **Is bid compliant?** Bidder to complete | **Details of goods offered.** Bidder to complete |
| 4.1 | GLOVES, EXAMINATION, latex, large, non-sterile, single use  Glove, examination, disposable, non-sterile, latex (natural high quality rubber), Palm, Ambidextrous; Smooth or fully textured;  off-white to yellow; stretchable & durable, waterproof, powder free, low protein, Beaded cuff, textured fingers, polymer  coated.  Size: Large size  *Documentary evidence of Product Qualification as requested shall be included along with the bid* | 91,900 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 4.2 | GLOVES, EXAMINATION, latex, medium, non-sterile, single use  Glove, examination, disposable, non-sterile, latex (natural high quality rubber), Palm, Ambidextrous; Smooth or fully textured; off-white to yellow; stretchable & durable, waterproof, powder free,  low protein, Beaded cuff, textured fingers, polymer  coated.  Size: Medium size  *Documentary evidence of Product Qualification as requested shall be included along with the bid* | 376,600 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 4.3 | GLOVES, EXAMINATION, latex, small, non-sterile, single use  Glove, examination, disposable, non-sterile, latex (natural high quality rubber), Palm, Ambidextrous; Smooth or fully textured;  off-white to yellow; stretchable & durable, waterproof, powder-free, low protein, Beaded cuff, textured fingers, polymer  coated.  Size : Small size  *Documentary evidence of Product Qualification as requested shall be included along with the bid* | 119,100 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 4.4 | MASK, surgical, non-sterile, single use  Surgical mask, good breathability; internal and external faces should be clearly identified  Type I. 3 ply  *Documentary evidence of Product Qualification as requested shall be included along with the bid* | 1,011,600 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |

**Lot 5: Scales**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No** | **UNOPS minimum technical requirements** | **Quantity** | **Is bid compliant?** Bidder to complete | **Details of goods offered.** Bidder to complete |
| 5.1 | SCALE, bathroom type, 120kg, mechanical  Minimum range: 0 ~ 120 kg  Minimum graduation: 1kg  Display Panel: Yes, in any shape  Display Unit: both Kg and lb  Material: durable plastic is preferred  Surface: Anti-slip surface, easy to clean  Colour: any colour | 639 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 5.2 | SCALE, bathroom type, 150kg, electronic  Minimum range: 0 ~ 150 kg  Minimum graduation: 100g  Display Panel: digital display  Display Unit: Kg/lb (exchangeable)  Power: batteries included, user replaceable  Material: durable plastic is prefened  Surface Anti-slip surface, easy to clean  Colour: Any colour  Other Features Low battery and overload indication | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |

**Lot 6: Syringes**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No** | **UNOPS minimum technical requirements** | **Quantity** | **Is bid compliant?** Bidder to complete | **Details of goods offered.** Bidder to complete |
| 6.1 | SYRINGE, luer, 20ml, with needle, 21G (0.8x40mm), sterile, single use  Disposable, single use  *Documentary evidence of Product Qualification as requested in Quality Assurance criteria shall be included along with the bid* | 40,900 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 6.2 | SYRINGE, luer, 3ml, with needle, 23G x (0.80x32mm), sterile, single use  Disposable  All syringes will be in two/three pieces: barrel with Luer nozzle and piston or barrel with Luer  nozzle, plunger and piston. The Luer nozzle shall be situated centrally.  Needle material - Stainless steel  Needle with base (Luer slip Style) and protecting cap plastic  Needle Fixation- Fixed or detachable  Primary packaging: Paper blister pack  Material of syringes: Polyethylene (PE) or polypropylene (PP).  Graduated scale on the barrel, easy to read, with graduations intervals 0.1 ml.  Syringes must be Sterile, non –toxic, pyrogenic free and disposable.  *Documentary evidence of Product Qualification as requested in Quality Assurance criteria shall be included along with the bid* | 82,200 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |

|  |  |
| --- | --- |
| **Quality Assurance Requirements** | **Is quotation compliant?**  **Bidder to complete** |
| The offered products shall be complied with the following quality standards.  **Documentary evidence of Product Qualification as requested shall be included along with the bid.**  **For Lot 1**  **(item 1.8 & 1.11):** ISO 13485:2003/CE or equivalent  **For Lot 3 (item 3.3):** ISO 9001:2015 or an equivalent  **For Lot 4**  **(item 4.1, 4.2 & 4.3):** EN455, ASTM D6319, D3578, D5250 or D6977, EN 374, optional additional or alternative equivalent set of standards  **(items 4.4):** EN 14683 any type including Type I, • ASTM F2100 minimum level 1  or equivalent  **For Lot 6**  **(both items):** Compliance to International standards- ISO 7886-1. The product shall be manufactured at a site compliant with the requirements of ISO 13485: or European Medical Devices Directive 93/42/EEC or 21 CFR 820  **For all lots:**  On request from UNOPS, Bidder shall provide the product sample to UNOPS for technical evaluation within 7 days of closing of bids at the address as mentioned in Section II of the document section and in Section III. Bidders who fail to submit samples will be disqualified.  **Access to Health Fund, Procurement Unit (ITB ref no: ITB/2021/19741)**  **No.12 (O), Pyi Thu Street, 7-Mile, Mayangone Township, Yangon, Myanmar.** | ☐ Yes ☐ No |
| The vendor shall pack the Goods for delivery with the best materials that are adequate to safeguard the Goods while in transit and with all due care and according to the highest standards of export packaging for the type and quantities of the Goods.  The supplier shall indicate the manufacturing and expiry date on outer packaging where applicable.  **Primary packaging:** should be sufficiently strong to safeguard the sterility of the contents (where applicable).  **Secondary packaging:**  should be sufficiently strong to contain all commodities and not easily tear or damage in any other way and/or should be packed in sufficiently strong corrugated cartons to withstand rough handling, exposure to extreme tropical temperatures and moisture.  Special packing and notification is required for fragile items.  The vendor shall follow packaging requirements specified in technical specifications under each items, else:  For Lot 1 (items 1.6, 1.10, 1.13, 1,14, 1.19, 1.20) and Lot 2 (item 2.3, 2.4): Individually packed with a box/bag  For Lot1 (item 1.7): 1) one (1) roll of cotton wool properly packed in a plastic or paper bag  2) Labelling on the primary packaging:  3) Name and/or trademark of the manufacturer:  4) Lot number:  5) Expiry date:  6)The word "NON sterile" (or equivalent harmonised symbol)  For Lot 1 (item 1.15): packed both tray and lid/cover as a set  For Lot 1 (items 1.16): Individually sealed in water resistant packs  For Lot 2 (items 2.5): individually packed torch with separately packed batteries or packed with batteries as a set  For Lot 5 (item 5.1 & 5.2): one piece per carton, instruction for use, preventive, maintenance and troubleshooting in English, appropriately illustrated with pictograms and graphics.  For Lot 6: 1) Primary packaging: Paper blister pack 2) Material of syringes: Polyethylene (PE) or polypropylene (PP) 3) Graduated scale on the barrel, easy to read, with graduations intervals 0.1 ml. 4) Syringes must be Sterile, non –toxic, pyrogenic free and disposable. | ☐ Yes ☐ No |
| **Shelf life:** | **Is quotation compliant?**  **Bidder to complete** |
| For Lot 1 (item 1.7, 1.19), Lot 2 (item 2.4), Lots 3, Lot 4: Offered product shall have a minimum 75% remaining shelf life on arrival at final destination. The supplier shall indicate the manufacturing and expiry date on outer packaging | ☐ Yes ☐ No |
| **Defect** | **Is quotation compliant?**  **Bidder to complete** |
| On reception, in case of the detection of a defective product either in the quality of a product or in any other aspects such as packaging, the Supplier will be requested to replace the complete batch at its own cost. | ☐ Yes ☐ No |
| **Complaints** | **Is quotation compliant?**  **Bidder to complete** |
| Any complaint from UNOPS or the recipient countries will be handled by the Supplier according to its internal standard operating procedures, and pursuant to the provisions relating to provisions as set out in the General Conditions. | ☐ Yes ☐ No |

**Delivery requirements –– Comparative Data Table**

|  |  |  |  |
| --- | --- | --- | --- |
| **UNOPS Requirements** | | **Is bid compliant?** Bidder to complete | **Details**  Bidder to complete |
| **Delivery time** | Bidder shall deliver the 1st delivery 60% of required quantity within 45 days after Contract signature and the rest quantity shall be delivered within 90 days from the date of contract signature | ☐ Yes ☐ No | Insert details |
| **Delivery place and Incoterms rules** | DAP (Incoterm 2010)  *South Dagon or Dagon Seikkan Industrial Zone*  *Yangon, Myanmar* | ☐ Yes ☐ No | Insert details |
| **Consignee details** | UNOPS Myanmar | ☐ Yes ☐ No | Insert details |
| **UNOPS Right to vary requirements** | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 20%, without any change in the unit prices or other terms and conditions of the ITB. | ☐ Yes ☐ No | Insert details |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in **Section II: Schedule of Requirements**.

☐ Yes ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

I, the undersigned, certify that I am duly authorized by [***insert full name of bidder***] to sign this bid and bind [***insert full name of bidder***] should UNOPS accept this bid:

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Form E: Performance Statement Form**

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Order placed by (Full address of purchaser)** | **Order no & date** | **Description & quantity of ordered items** | **Value of Order** | **Date of completion of Delivery** | | **Remarks indicating reasons of late delivery, if any** | **Was the supplies of goods satisfactory?** |
| **As per Contract** | **Actual** |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_