Ref No: NBO21- 4200081514

Date: 24.05.2021

REQUEST FOR QUOTATION

Submit your quote ON or before 9.00 AM 31.05.2021 VIA email iomnborfq@iom.int

Dear Sir/ Madam,

Please submit your best quotation for the items listed below

| Item No. | Description | Qty | Unit | Unit Price KES | Total price KES |
| --- | --- | --- | --- | --- | --- |
| 1. | Radiation Safety Assessment for Nairobi Clinic X-ray Machines | 2 |  |  |  |
| 2. | Radiation Safety Compliance Assessment for Kakuma X-ray Machine | 1 |  |  |  |

AS PER TERMS OF REFERENCE BELOW

Radiation Safety Compliance Assessment

I. ORGANIZATIONAL CONTEXT AND SCOPE

The International Organization for Migration (IOM) is committed to the principle that humane and orderly migration benefits migrants and society. As the leading international organization for migration, IOM acts with its partners in the international community to: assist in meeting the growing operational challenges of migration management; advance understanding of migration issues; encourage social and economic development through migration, and; uphold the human dignity and well-being of migrants.

In Kenya, IOM has three Diagnostic X-ray facilities that is one in Kakuma and two in IOM clinic Nairobi, the  diagnostic facilities are equipped with three X-ray machines, The make of the machines are Two Shimadzu and One RADMax serviced annually.

II. RESPONSIBILITIES AND ACCOUNTABILITIES

They will provide a detailed report on conformance and/or any non-conformance in the X-ray facilities and equipment to produce radiographs (x-rays) in accordance with the medical/health requirements of the Government of Kenya and the resettlement countries.

- Carry out Quality Assurance assessment procedures on the X-ray equipment

- Carry out Radiation safety fitness for use inspection of the facility and report any non-conformances

- Perform Radiation safety status tests of both x-ray machine and facility and report any anomalies

- Carry out Performance tests on an X-Ray unit and report any anomalies

- Verification of Radiation Protection (RP), Quality Control (QC) of equipment and facility

- Provide Follow up report for necessary corrective actions to be taken in response from the site evaluation.

- Provide reports to both IOM and Kenya Radiation Board for issuance of new licenses

III. DOCUMENTATION AND EXPERIENCE

- Government of Kenya certification or license to carry out inspection of Medical X-ray equipment and facilities

- Registered to work as Radiation Safety Inspector with Kenya Radiation Protection Board

- Knowledge of appropriate x-ray exposure times and safety parameters.

- Minimum of five years working experience as Radiation Inspectors preferably within busy Radiology Facilities, International organization and or NGOs running refugee programs.

- Demonstrated ability to follow and enforce safety procedures.

- Demonstrated ability to calibrate, configure, and adjust x-ray equipment in accordance with procedures and standards,

- Demonstrated ability to maintain accuracy and confidentiality in data and record keeping.