## Public Toilet (hidden)
Item | Description | Qty | Unit | Unit Price to Site | Total Amount | Brand | Delivery Time
PUBLIC BIOFILL TOILET
MATERIALS SUMMARY
SUBSTRUCTURE MATERIALS
1 | CEM 32 Ordinary portland cement, bag 50 kgs | 173 | Bag |  | 0
2 | Sand-Approved quality fine river | 18 | Ton |  | 0
3 | Aggregates-Approved quality 20-25mm | 20 | Ton |  | 0
4 | Hardcores- Approved quality crusshed natural stones | 26 | Ton |  | 0
5 | Murram -Approved quality selected fine murram | 3 | Ton |  | 0
6 | Selected Quarry waste for backfilling | 45 | Ton |  | 0
7 | 1000mm gauge polythene as Damp proof course-72m roll | 55 | S.m |  | 0
8 | BRC Mesh reinforcement ; B.S. 4483 Ref A142 weighing 2.22 kgs per square meter -roll width-2.1m | 55 | S.m |  | 0
9 | Anti-termite treatment as Premise 200SC-125ml pack | 1 | Pack |  | 0
10 | 150mm Thick Machine cut natural stones | 1692 | Piece |  | 0
11 | Bituminous paint | 5 | Litre |  | 0
12 | High tensile steel reinforcement to B.S. 4461 in structural 12m long bars |  |  |  | 0
| 8mm diameter bars-12m long bar | 47 | No |  | 0
| 10mm diameter bars-12m long bar | 47 | No |  | 0
| 12mm diameter bars-12m long bar | 4 | No |  | 0
| 16mm diameter bars-12m long bar | 12 | No |  | 0
13 | 18 Gauge Galvanized SWG Binding Wire-25kg roll | 1 | No |  | 0
14 | Hoop irons | 1.89 | Roll |  | 0
| Shuttering materials |  |  |  | 0
15 | 2.4x1.2 marine Ply boards | 15 | No |  | 0
16 | Sawn cypress treated timber 2"x2" | 400 | Fts |  | 0
17 | Sawn cypress treated timber 4"x2" | 150 | Fts |  | 0
18 | Ordinary Wire Nails 4" 10 Kgs | 1 | Bag |  | 0
19 | Ordinary Wire Nails 3"5 Kgs | 1 | Bag |  | 0
| Total for SUBSTRUCTURE Carried to summary |  |  |  | 0
SUPERSTRUCTURE MATERIALS
1 | CEM 32 Ordinary portland cement, bag 50 kgs | 89 | Bag |  | 0
2 | Approved quality fine river sand | 12.3 | Ton |  | 0
3 | Approved quality 20-25mm aggregates | 4 | Ton |  | 0
5 | 150mm Thick Machine cut natural stones | 1080 | Piece |  | 0
6 | 300x50mm Thick precast coping-1M Long |  | Piece |  | 0
7 | High tensile steel reinforcement to B.S. 4461 in structural 12m long bars |  |  |  | 0
| 8mm diameter bars-12m long bar | 47 | No |  | 0
| 16mm diameter bars-12m long bar | 15 | No |  | 0
8 | 18 Gauge Galvanized SWG Binding Wire-25kg roll | 2 | Roll |  | 0
9 | Hoop irons | 1.0526 | Roll |  | 0
10 | 300x50mm Thick precast coping | 17 | Piece |  | 0
11 | EPDM water proofing sheet | 10 | S.m |  | 0
12 | First grade soft white undercoat emulsion paint-20 Ltrs Can | 2 | No |  | 0
13 | First grade soft white undercoat emulsion paint-4 Ltrs Can | 1 | No |  | 0
15 | First grade Silk Vinyl Emulsion paint-20Litres can | 1 | No |  | 0
15 | First grade Silk Vinyl Emulsion paint-4Litres can | 1 | No |  | 0
16 | First grade textured acrylic cementious paint -20Litres can | 1 | No |  | 0
17 | First grade textured acrylic cementious paint -4Litres can | 1 | No |  | 0
18 | First grade clear varnish paint -4Litres can | 1 | No |  | 0
19 | 100mm diameterUPVC grey heavy duty high pressure pipes- 6m long | 1 | No |  | 0
20 | Upvc pipe vent cap-100mm diameter | 2 | No |  | 0
21 | Squatting type bottom pit latrine toilet pan of approximate size 660x530mm as ''SATO'' or any other equal and approved complete with self sealing trap door and any other associated accessories for fixing | 5 | No |  | 0
21 | Doors- |  |  |  | 0
| 700x2000mm High Solid core, hardwood veneer laminated door leaf | 5 | No |  | 0
22 | Heavy duty stainless steel single action butt hinges,102 x 67mm, approved from samples | 6 | No |  | 0
23 | Indicator Bolt Toilet Door lock | 2 | No |  | 0
24 | 200x100mm Aluminium Push plate | 2 | No |  | 0
25 | 19mm Diameter , 225mm long, stainless steel door handles on both sides | 2 | No |  | 0
26 | 4x2 Hardwood Mahogany Timber Frame,Product Size(WxH) Specify 800mm by 2250mm,Thickness of frame 50mm,Width of frame 100mm | 5 | No |  | 0
27 | 150mm thick precast decorative clay vent block -Louvred size,600 x 600 mm high | 5 | No |  | 0
| Shuttering materials |  |  |  | 0
28 | 2.4x1.2 marine Ply boards | 15 | No |  | 0
29 | Sawn cypress treated timber 2"x2" | 300 | Fts |  | 0
30 | Sawn cypress treated timber 4"x2" | 120 | Fts |  | 0
31 | Ordinary Wire Nails 4" 10 Kgs | 1 | Bag |  | 0
32 | Ordinary Wire Nails 3"5 Kgs | 1 | Bag |  | 0
| Total for SUBSTRUCTURE Carried to summary |  |  |  | 0
SUMMARY
A | SUBSTRUCTURE MATERIALS |  |  |  | 0
B | SUPERSTRUCTURE MATERIALS |  |  |  | 0
| TOTAL FOR MATERIALS FOR PUBLIC BIOFILL TOILET CARRIED TO MAIN SUMMARY |  |  |  | 0

## Household Toilet (hidden)
Item | Description | Qty | Unit | Unit Price to Site | Total Amount | Brand | Delivery Time
HOUSEHOLD BIOFILL TOILET
MATERIALS SUMMARY
SUBSTRUCTURE MATERIALS
1 | CEM 32 Ordinary portland cement, bag 50 kgs | 80 | Bag |  | 0
2 | Sand-Approved quality fine river | 8 | Ton |  | 0
3 | Aggregates-Approved quality 20-25mm | 9 | Ton |  | 0
4 | Hardcores- Approved quality crusshed natural stones | 8 | Ton |  | 0
5 | Murram -Approved quality selected fine murram | 2 | Ton |  | 0
6 | Selected Quarry waste for backfilling | 3 | Ton |  | 0
7 | 1000mm gauge polythene as Damp proof course-72m roll | 20 | S.m |  | 0
8 | BRC Mesh reinforcement ; B.S. 4483 Ref A142 weighing 2.22 kgs per square meter -roll width-2.1m | 16 | S.m |  | 0
9 | Anti-termite treatment as Premise 200SC-125ml pack | 1 | Pack |  | 0
10 | 150mm Thick Machine cut natural stones | 600 | Piece |  | 0
11 | Bituminous paint | 2 | Litre |  | 0
12 | High tensile steel reinforcement to B.S. 4461 in structural 12m long bars |  |  |  | 0
| 8mm diameter bars-12m long bar | 30 | No |  | 0
| 10mm diameter bars-12m long bar | 20 | No |  | 0
| 12mm diameter bars-12m long bar | 2 | No |  | 0
| 16mm diameter bars-12m long bar | 5 | No |  | 0
13 | 18 Gauge Galvanized SWG Binding Wire-25kg roll | 1 | No |  | 0
14 | Hoop irons | 0.66 | Roll |  | 0
| Shuttering materials |  |  |  | 0
15 | 2.4x1.2 marine Ply boards | 15 | No |  | 0
16 | Sawn cypress treated timber 2"x2" | 800 | Fts |  | 0
17 | Sawn cypress treated timber 6"x2" | 150 | Fts |  | 0
18 | Ordinary Wire Nails 4" 10 Kgs | 10 | Kg |  | 0
19 | Ordinary Wire Nails 3"5 Kgs | 5 | Kg |  | 0
| Total for SUBSTRUCTURE Carried to summary |  |  |  | 0
SUPERSTRUCTURE MATERIALS
1 | CEM 32 Ordinary portland cement, bag 50 kgs | 53 | Bag |  | 0
2 | Approved quality fine river sand | 8.3 | Ton |  | 0
3 | Approved quality 20-25mm aggregates | 2 | Ton |  | 0
5 | 150mm Thick Machine cut natural stones | 769 | Piece |  | 0
6 | 300x50mm Thick precast coping-1M Long |  | Piece |  | 0
7 | High tensile steel reinforcement to B.S. 4461 in structural 12m long bars |  |  |  | 0
| 8mm diameter bars-12m long bar | 24 | No |  | 0
| 16mm diameter bars-12m long bar | 7 | No |  | 0
8 | 18 Gauge Galvanized SWG Binding Wire-25kg roll | 2 | Roll |  | 0
9 | Hoop irons | 0.75 | Roll |  | 0
10 | 300x50mm Thick precast coping | 13 | Piece |  | 0
11 | EPDM water proofing sheet | 10 | S.m |  | 0
12 | First grade soft white undercoat emulsion paint-20 Ltrs Can | 1 | No |  | 0
13 | First grade soft white undercoat emulsion paint-4 Ltrs Can | 3 | No |  | 0
15 | First grade Silk Vinyl Emulsion paint-4Litres can | 2 | No |  | 0
16 | First grade textured acrylic cementious paint -20Litres can | 1 | No |  | 0
17 | First grade textured acrylic cementious paint -4Litres can | 2 | No |  | 0
18 | First grade clear varnish paint -4Litres can | 1 | No |  | 0
19 | 100mm diameterUPVC grey heavy duty high pressure pipes- 6m long | 1 | No |  | 0
20 | Upvc pipe vent cap-100mm diameter | 2 | No |  | 0
21 | Squatting type bottom pit latrine toilet pan of approximate size 660x530mm as ''SATO'' or any other equal and approved complete with self sealing trap door and any other associated accessories for fixing | 2 | No |  | 0
| Shuttering materials |  |  |  | 0
15 | 2.4x1.2 marine Ply boards | 6 | No |  | 0
16 | Sawn cypress treated timber 2"x2" | 120 | Fts |  | 0
17 | Sawn cypress treated timber 6"x2" | 170 | Fts |  | 0
18 | Ordinary Wire Nails 4" 10 Kgs | 10 | Kg |  | 0
19 | Ordinary Wire Nails 3"5 Kgs | 5 | Kg |  | 0
0
| Total for SUBSTRUCTURE Carried to summary |  |  |  | 0
SUMMARY
A | SUBSTRUCTURE MATERIALS |  |  |  | 0
B | SUPERSTRUCTURE MATERIALS |  |  |  | 0
| TOTAL FOR MATERIALS FOR HOUSEHOLD BIOFILL TOILET CARRIED TO MAIN SUMMARY |  |  |  | 0

## Electricals (hidden)
Item | Description | Qty | Unit | Unit Price to Site | Total Amount | Brand | Delivery Time
ELECTRICAL MATERIALS
1 |  | 1 | No |  | 0
0
0
0
2 |  | 1 | No |  | 0
3 |  | 1 | No |  | 0
0
0
0
4 |  | 1 | No |  | 0
5 |  | 4 | No |  | 0
| TOTAL FOR MATERIALS FOR HOUSEHOLD AND PUBLIC BIOFILL TOILET CARRIED TO MAIN SUMMARY |  |  |  | 0

## Lot 02 - IT Equipment
Lot 02 - IT Equipment
# | Item Descriptions | UNOPS Minimum Technical specifications | Quantity Required | Unit of measurements | Bidders product specifications | Brand/ Make/ Model | Unit price in USD | Total Cost (Unit Price * Quantity) in USD
1 | Desk Top computers complete with Processing Unit | All-in-One Desktop Computer, I7 8th generation; 21.5" FHD IPS Display, Intel Celeron G5900T Processor(Up to 3.20Ghz), 8 GB RAM, 256 GB SSD, Pop-up Webcam, WiFi, DVD, Win10, Midnight Blue+Oydisen Cloth | 4 | unit |  |  |  | 0
2 | Laptop | 15.6 HD LED-Backlit Display, Intel Celeron Processor N4020, 16GB DDR4 RAM, 512GB PCIe Solid State Drive, Online Meeting Ready, Webcam, HDMI, Win10 | 1 | unit |  |  |  | 0
3 | Printer | All in one functionality allows you to print, scan, copy and fax. Print at speeds of up to 24 pages per minute. 250-sheet maximum paper capacity. Print on-the-go with Canon PRINT Business, Apple AirPrint, Morea Print Service, and Google Cloud Print. Low energy consumption; uses 2 W or less in energy saver mode. Connectivity technology: Ethernet Paper size: 8.5 inch x 14 - A printer which can be enabled to print in black and white and in color and to print in different sizes including A4, A3, A1 and A0. The printer should also enable PIN set up for users. Should have a scanner as well | 1 | unit |  |  |  | 0
4 | Flip Chart Stand | Dry Erase Easel 24" x 36"¦Height Adjustable Magnetic White Board Easel with Tripod Stand¦Office Presentation Board w/Flipchart Pad, Magnets & Eraser, Black. Fast 2 Minute Setup; no tools needed Adjustable Height: There are scale markings on the tripod legs, which help adjust the height and balance easily. Whether seating or standing, kids or adults, you can find the most comfortable height you like. Lightweight and Sturdy to Travel with: Dry Erase Easel is foldable and lightweight for easy installation and carrying, | 2 | unit |  |  |  | 0
5 | LCD Screen | Board Room TV LCD screen; 75inches. Complete with its accessories - HDMI Cable, USDP Cable, has bluetooth, two audio speakers, high resolution, | 1 | unit |  |  |  | 0
6 | Demonstrational Projector | Generic YG200European Standard Portable Projector 1080P | 1 | unit |  |  |  | 0
7 | Office landline - phone | Generic Novelty "Retro" Corded / Wired Land Line Phone. Functions: Redial function, Mute function, Flash function Plug into Wall. | 1 | unit |  |  |  | 0
8 | Generator | AC three phase silent 100kva diesel generator 100kva electric generator portable with cable of 20 meters | 1 | unit |  |  |  | 0
9 | Camera | Professional home use SUPER 4k DIGITAL VIDEO CAMERA with 3.0'' Touch display wifi digital camcorder | 1 | Unit |  |  |  | 0
10 | Temperature Gun | Temperature Gun Non Contact Infrared Forehead Thermometer Body Temperature Measure | 5 | unit |  |  |  | 0
11 | Masks | Generic 100Pcs 4 Layer Disposable Protective Face Mouth Masks - Blue. | 24 | Box |  |  |  | 0
12 | Hand sanitizer | 5 boxes (12 containers in each) - Saraya anti bacterial Hand disinfectant-Alsoft V) | 5 | BOX |  |  |  | 0
13 | Public Address system | AMP Mixer - (Includes Speaker cable of 50 meters for two speakers) | 1 | Package |  |  |  | 0
13a | 2 big speaker | 450watts speaker | 2 | unit |  |  |  | 0
13b | PA System Power Cables | Power Cable for the public Adresss System | 20 | meters |  |  |  | 0
13c | PA System Accessories | ( Speakon Pins 6, Power plugs 6, signal cables 6) - Set | 1 | units |  |  |  | 0
13d | PA System microphone | Cordless microphone reciever set with atleast two cordless microphones with a capacity of signal range of 30meters; with ability to use double AA type batteries | 1 | unit |  |  |  | 0
13e | Microphone | wireless microphone MC8 Handheld. Portable Audio Player, made from metal, Light-weight, connection distance: 10m. Handheld. Plug: 3.5mm Jack Plug. Power supply: 5V USB. Frequency Range: 60Hz~16KHz, Battery: 1200mAh | 2 | unit |  |  |  | 0
13f | Mega Phones | Generic Megaphone CM-006 Public Address System. High quality megaphone. Maximum public address system. Maximum power: 50W. | 5 | units |  |  |  | 0
13g | Power Extension Cables | 4Way Extension Cable- 3Metres | 5 | unit |  |  |  | 0
14 | Used cables fitted with 10A | Generic AC 3 Pin Computer Adapter Power Cord Cable with Fuse | 5 | unit |  |  |  | 0
[7 empty] | Lot 02 | 0
Note on D4: Mugisa: Laptop for Manager

## Branding (hidden)
Procurement for Items required - FCDO – Includes activities in AWP – Ensure that all the activities are completed by 30th June 2019(USD 40k)
Procurement of tools, Furniture and ICT – US$40k
Office Stationary
| Item | Description | Quantity Required | Unit of measurements | Estimated Price | Comment
1 | Books | 4 quire manuscript books 8mm single ruled | 5 | Dozen
2 | Note Books to be used during workshop sessions | Open note books A5 size | 5 | Dozen
3 | Desk Top computers | 24 inch monitor Computers with full HD 1080-pixel resolution, inputs (DVI, HDMI) that match video outputs on your desktop PC, low-end (60 Hz) refresh rate | 10 | unit
4 | static Notice Board | 1meter long 2meter wide notice board with a lockable glass, a wooden frame and a soft board for pinning notices. Also has a placement to hold notice board Pins. | 1 | unit
5 | visitors books | Standard A4 Visitor sign in books with a hard cover. | 10 | units
6 | suggestion boxes | A wooden 10x8x4 Inches suggestion box | 1 | Unit
7 | Flip chats | A1 size flip charts | 30
8 | Markers | Non Permanent markers with mixed colors Red Blue, Black and Green | 5 | Dozen
9 | Marker Duster | Marker duster Used to rub off marker writings off a flip chart board | 5 | unit
10 | Reams of paper - white. | Print paper white in color | 5 | dozen
11 | Colored print paper | Print paper white in color pink | 2 | dozen
12 | Colored print paper | Print paper white in color blue | 2 | dozen
13 | Colored print paper | Print paper white in color yellow | 2 | dozen
14 | Sticky note papers | 3 by 3(7.6 by 7.6 cm) - containing 500 sheets - Dolphin | 10 | piece
15 | Sticky note papers | 3 by 5(7.6 by 12.7cm) - containing 100 sheets - Dolphin | 10 | piece
16 | Big size Stapplers | Generic heavy duty stappling machine. Sheet Capacity : 210 sheets. deli 0395 plastic stapler. Package Size: 40.0 * 30.0 * 10.0 ( cm ) Gross Weight/Package: 2.5 ( kg ) | 2 | piece
17 | Small size Stapplers | Generic office desktop stappling machine. All metal construction with plastic handle and quick loading, Stapling capacity of 30 sheets , loading capacity 50/100 pins, Staple use 24/6, 26/6, Ideal for Use on a Desk or Any Flat Surface. This Stapler Holds a Full Strip of 210 Staples | 2 | piece
18 | Punching machines small | Punching Capacity : 25 Sheets, Punching Distance: 80 mm, Punching Dia: 5.50 mm, FEATURES. Medium size punch with guide bar, All metal construction. Removable chip tray. | 2
20 | Staple Pins | Generic staple pins | 5
21 | Paper Clips | Paper Clips; Size: 50-22mm, Material: metal wire + plastic wire, to enable paper file storage. 50 pieces per box Uses: learning materials storage, office writing and painting
23 | Ball point Pens Blue | Water-proof gel ink Fine tip for dark and clear writing Fine (0.6mm)Stainless Steel tip Superior non- fading Japanese ink Smooth and non spreading ink flow Long capoff drying time Ergonomic non-slip grip Airplane Safe: Automatic pressure equalization prevents pen leakage. | 5 | Dozen
24 | Ball point Pens Blue | Water-proof gel ink Fine tip for dark and clear writing Fine (0.6mm)Stainless Steel tip Superior non- fading Japanese ink Smooth and non spreading ink flow Long capoff drying time Ergonomic non-slip grip Airplane Safe: Automatic pressure equalization prevents pen leakage. | 5 | dozen
25 | Ball point Pens Black | Water-proof gel ink Fine tip for dark and clear writing Fine (0.6mm)Stainless Steel tip Superior non- fading Japanese ink Smooth and non spreading ink flow Long capoff drying time Ergonomic non-slip grip Airplane Safe: Automatic pressure equalization prevents pen leakage. | 5 | dozen
26 | Ball point Pens Red | Water-proof gel ink Fine tip for dark and clear writing Fine (0.6mm)Stainless Steel tip Superior non- fading Japanese ink Smooth and non spreading ink flow Long capoff drying time Ergonomic non-slip grip Airplane Safe: Automatic pressure equalization prevents pen leakage. | 5 | dozen
27 | Pencils | Nitaraj pencils | 5 | dozen
28 | Box Files | A4 and Foolscap box files, ideal for storing important papers and documents securely - Hard cover board, Can hold up to 500 papers Keeps paperwork for as long as you need it, Premium Quality Cardboard Perfect for Storing Letter Size File, Smaller Magazines, Publication, Catalogs and Paper Premium Quality Cardboard Label area for easy indenification | 30 | piece
29 | Pen holders | Generic Table Desk organisers, solid on the table and can hold upto 10 pens | 5 | piece
30 | Paper Shredder | High-security, micro-cut shredder, 5 minute continuous run time, and thermal protection with auto shut-off. Light and portable, easy to use, durable and clean. 5*40MM small pieces, safe and secrecy. Nitride steel knife, long use time. Automatically sleep when it doesn`t work, save power; automatically work when there is a paper. Lift the top automatic power off to avoid danger. | 1 | unit | 900000
31 | Water Dispenser | Hot/Cold Water Cooler is made with innovation and style. The easy-to-use paddle spouts make it so much more convenient to use. Simply press your cup against the paddle to let the flow of water to come out. The machines highly efficient compressor makes the cold water crisp and ice cold at approximately 47° F without the need of adding ice cubes to your drink. The hot faucet is hot enough to cook one's tea or coffee or any other steaming hot beverage at approximately 185° F. Due to the extremely hot water, we've added a child safety lock on the hot water faucet.
Furniture
1 | Board room Chairs | Stackable Visitors/ Waiting/Conference Chairs. Weight 1kg. | 50 |  | 350000
2 | Board room Table | Rectangular board room table seating upto 12 people minimum at a time. 12ft wide, 2 power modules. Modern Conference Room Table. The table should come with its 12 chairs. | 1
3 | Filing Cabinets | Fire resistant Metallic lockable filing cabinets with 4 drawers. | 3
4 | Storage cabinets | Metalllic storage File Cabinet with Lock and Wheels, Metal Portable Filing Cabinet with 3-Drawer, Pre-Built Office Storage Cabinet for A4/Letter/Legal (White). 18.5 x 22.04 x 25.59 inches | 2
5 | Desk Tables | Desk tables with drawers. Simple but nice counter table suitable for office work. with two drawers where you can keep your things with one drawer secured with a locker, made from beech MDF board wood. Easy to shift from one place to another though it is still durable. | 3
6 | 40 plastic chairs | Legend Plastic chairs with arm rests. Weight 0.2kg. | 50
7 | Tents | 10 Seater | 10
8 | I big Tent | 50 seater | 1
9 | Hot water kettle/Percolator | Large capacity electric water kettle. 5 liters of water. | 1
10 | Hand washing facility | Simple Hand washing facility with a capacity of 15-20 liters of water. Complete with a soap dish holder and stand | 4
11 | cups | 1 dozen 250ml Tea/coffee porcelain cup set. | 12
12 | side plates | Generic 6-3/4 inch appetizer/snack plates. lightweight and easy to handle | 12
13 | Large plates | 10 inch Microwave, Oven, and Dishwasher Safe, Scratch Resistant dinner plates | 10
14 | Tea spoons | Teaspoons Stainless Steel 18/0 Tea Spoons 6 Pcs, 6.29 Inches | 8
15 | Table knives | Stainless Steel Table Knives - 12 set dinner knives 9.2''. | 5
16 | Forks | Stainless Steel Silverware Forks/Table Forks. Dishwasher Safe | 12
17 | Large Trays | Wooden Nested Serving Trays; made of wood in the size of 0.32 inch/0.8cm, - 35 x 19 x 4 cm | 12
18 | Sugar storage containers | 3pc Glass Canisters Set for Kitchen Counter with Airtight Lids | 5
11 | coffee | 8 tins, 100grams each. | 8 | Tins | 17000
12 | Milk powder - | Powder milk - 2.5kg containers. 12 containers per box | 5 | Box | 960000
13 | Drinking Water | contianers | 50
14 | Sugar | sugar - with a rich golden sweet color - 25kiogram package. | 3 | bag | 70000

## Electricals (hidden)
ELECTRICAL MATERIALS
Item | Description | Qty | Unit | Unit Price to Site | Total Amount | Brand | Delivery Time | Comment
Materials for trianing
| 4.0mm2 Armored cable wire or any other equal :1red, 1black,1 green.- 100m roll | 10 | metres
1 | 2.5mm2 Armored cable wire or any other equal- :2 red,2black,2green.- 100m roll | 2 | R0lls |  | 0
| 1.5mm2 Armored cable wire or any other equal- : 2red,2black,2green. | 4 | R0lls |  | 0
| Higher 2 way circuit breakers amps. | 2 | Unit |  | 0
| Higher single circuit breakers 13 amps | 2 | Unit |  | 0
2 | Switches one way (5amp) one gang | 5 | Unit |  | 0
3 | switches one Way (5amp) two gang | 5 | Unit |  | 0
| Switches one way (5 amp) three gang | 5 | Unit |  | 0
| 2 way double switch 13 AMPS 600VAC | 5 | Unit |  | 0
| 3 way doube switch 13 AMPS 600VAC | 5 | Unit |  | 0
4 | 13A 3-pin power socket single | 4 | Unit |  | 0
5 | 13A 3-pin power socket duplex (twin) | 4 | Unit |  | 0
| Black electrical installation tape | 20 | Unit |  | 0
| Light bulb LEC type including all necessaty fixing /anchoring accessories /screw |  | Unit |  | 0
| 3 w | 5 | Unit
| 5 w | 5 | Unit
| 7 w | 5 | Unit
| 3 U LED energy saving shape light bulb-screw type 18 w | 5 | Unit
| Screw type round light bulb holder | 5 | Unit
| 40 ft flouresect lamps | 5 | Unit
| High lumen Bridgelux COB Waterproof Outdoor 100w 120w led flood light |  | Unit
| 3 way switch 5Amps 240V | 10 | Unit
| 3 way double switch 5AMPS 240V | 10 | Unit
| 5A 3-pin power socket duplex(Twin) . | 10 | Unit
| 40mm 2-way Junction Box | 10 | Unit
| 40 mm 3-way Junction Box | 10 | Unit
| 2.5mm diameter electric wire 100m long | 3 | Rolls
Tools for Training
| Tape measure (7.5)m | 5 | Unit
| Harmer claw | 5 | Unit
| Torpedo Level | 5 | Unit
| Flash light (Torch) | 3 | Unit
| untility knife | 5 | Unit
| Phillips screw driver(In a set which includes all the different sizes.) | 3 | Set
| Straight Block screw driver | 3 | set
| Allen wrench set (Hex set) | 5 | set
| Tongue & Groove pliers | 5 | Unit
| Nove- contact voltage tester | 10 | Unit
| wire strippers | 5 | Unit
| Needle - nose pliers | 5 | Unit
| lives man pliers | 5 | Unit
| Diagonal catting pliers | 5 | Unit
| Fish tape | 5 | Unit
| Voltmeter/multimeter | 2 | Unit
| Wire crimpers | 5 | Unit
| Cordless Harmer kit (528V) with 6.0AH Littium battery | 2 | Set
Note on C18: Mugisa: see quatities for 18-20
Note on C25: Mugisa: quantities 25-29

## Welding (hidden)
WELDING
ITEM | DESCRIPTION | QTTY | UNIT
WELDING MATERIALS & EQUIPMENT
| Hand Tool Steel Files (flat) 1” width & 12”length | 2 | Unit
| Vise grip locking pliers. Length 10”, Jaw opening 1”- 7/8”, Fast release type handle | 1 | Unit
WELDING ELECTRODES
| Welding electrodes 2mm, 350mm long Packing – 2.5 mm dia. (5 kg pack) | 10 | PKTS
| Welding electrodes 2mm, 350mm long Packing–4.0 mm dia. (5 kg pack) | 10 | PKTS
| Welding electrodes 2mm, 350mm long Packing: 5.0kgs/box | 10 | PKTS
| Welding electrodes 1.5 mm, 350mm long Packing: 2.5kgs/box | 10 | PKTS
CUTTING& GRINDING
| Portable power saw;Bench mounted & wheel size 14”Power supply: 230 V 50Hz single phaseRecommended: Makita, Milwaukee, Dewalt or Bosch product | 2 | Unit
| Abrasive wheel/disc for metal 14” diameter | 10 | Unit
| Hacksaw blade frame for 12”blade with adjustable length | 5 | Unit
| Hacksaw blades (HSS) 12”length | 10 | dozen
| Spare blades to the planers (3-1/4” width) for Portable hand planer, Dewalt D26676 | 10 | Unit
Hard steel mash heavy gauge 1*2M 3millimiters or similar
| 5 inches stainless steel expansion bolt/50 pieces packets | 10 | PKTS
| 2 inches hex bolt assembly/50 pieces packets | 10 | PKTS
MILD STEEL SHEETS
| 1.2 mm Thick mild steel plates , 8 feet x 4 feet | 10 | Pcs
| 2 mm Thick mild steel plates , 8 feet x 4 feet | 10 | Pcs
| 5mm Thick mild steel plates , 8 feet x 4 feet | 5 | Pcs
| 8mm Thick Mild steel plates 8 feet x 4 feet | 5 | Pcs
ANGLE SECTIONS
| Unframed steel 1/2'' x 1/2''x 1/8'' angle section (Mild steel) | 20 | Unit
| Unframed steel 1''x1''x1/4'' angle section (Mild steel) | 40 | Unit
| Unframed steel 2 x 2 x 1/4'' angle section (Mild steel) | 40 | Unit
| Unframed steel Flat bar 1/4'' x 2 (Mild steel) | 40
| Hand Tool Steel Files (flat) (flat) 1'' width & 12'' length | 2 | Set
| Vise grip locking pliers . Length 10'' jaw opening 1'' 7/8, fast realse type handle | 2 | Unit
| Portable Power saw: Bench mounted & wheel size 14'' power supply 230V 50Hz sngle phase Recommended brands Mikita ,Milwaukwee,Dewalt or Bosch Product | 2 | Unit
| Abrasive wheel/disc for metal 14” diameter | 10 | Unit
| WELDING MACHINE |  | Unit
| Single phase (Air cool) portable welding transformer. Primary-converting 230V-24v, 50hz | 1 | Unit
| Duty cycle 60% (Air cool)portable welding transformer Secondary-converting 250V, 50hz welding current 10-250A | 1 | Unit
| 150mm2 double insulation Rubber PVC multi Stranded flexible Welding Cable 10 metres roll | 4 | Rolls
| Stainless steel earth clamp. | 2 | Unit
| Heavey duty welding gloves | 5 | Pairs
| Heavy duty plastic welding helmet | 7 | Unit
| High quality Ball pin Hammer with wood handles | 5 | Unit
GRINDING MACHINE
| 500W/600w/710w Angle Grinder 115mm/125mm Electric Grinder ( 230av, 50 hz,) | 2 | Unit
| Top quality all in one 4.5" 115 *1 mm angle grinder cutting discs | 10 | Unit
| Top quality all in one 4.5" 115 *1 mm gruinding grinder cutting discs | 10 | Unit
| Multipurpose bench vise – 6” (6” jaw width & 6” opening) | 2 | Unit
| High quality Stainless Steel Ball Peen Hammer; Die forged; Incorrodible - 1.5 kg | 4 | Unit
HANDTOOLS
| Chrome plated Adjustable Wrench Spanner 8” | 2 | Unit
| 5m long steel made Measuring tapes | 4 | Unit
| BENCH VISE – 6” (6” JAW WIDTH & 6” OPENING) | 2 | Unit
| BALL PEEN HAMMER – 1Kg | 4 | Unit
| BALL PEEN HAMMER - 1.5 Kg | 4 | Unit
| ADJUSTABLE SPANNER 8” | 4 | Unit
| STEEL MEASURING TAPE – 7.5mts | 4 | Unit
| T SQUARE (RIGHT-ANGLE) | 4 | Unit
| Printed steel tri square with plastic handle (right-angle) | 4 | Unit
DRILL
| Electrical Hammer Drill – 230 v, 50hz (13 mm chuck) | 3 | Unit
| High speed drill bit set | 3 | Unit

## Carpentry (hidden)
CARPENTRY
Item | Description | Qtty | Unit | Price
Carpentry tools for training
| Block Plain | 4 | Unit
| Clamp | 4 | Unit
| Hand saw | 4 | Unit
| Tape measure 7.5m | 5 | Unit
| Claw hummer | 5 | Unit
| Carpentry square | 5 | Unit
| Utility knife | 5 | Unit
| Set of screwdrivers | 5 | Set
| Chisel set | 5 | Set
| Portable sander | 2 | Unit
| Spirit level | 4 | Unit
| C+B4:B15aliper | 3 | Unit
| Hand Jig saw | 4 | Unit
| Table saw | 4 | Unit
| Cordless Drill | 2 | Unit
| Band saw | 4 | Unit
| Circular saw | 4 | Unit
| Meter saw | 4 | Unit
| Thickness plainer | 4 | Unit
| Pocket hole Jigs | 4 | Unit
| Reciprocating saw | 4 | Unit
| Router tool | 4 | Unit
| Hand plainer | 4 | Unit
| Wood Jointer | 4 | Unit
| Drower slide Jig | 4 | Unit
| Rotary tool | 2 | Unit
| Work bench | 2 | Unit
| Drill press | 2 | Unit
| Rondom orbital sander | 3 | Unit
| Reciprocating spindle sander | 3 | Unit
| Beet sander | 4 | Unit
| Framing Nailer | 10 | Unit
| Lock mortiser | 2 | Unit
| Wood moisture meter tool | 2 | Unit
| Tape measure | 5 | Unit
| Multi-angle measuring ruler | 5 | Unit
| Power hand saw | 2 | Unit
Materials for Training
PLYWOOD SHEETS
| 1200mm x 2400x 12mm Plywood sheets | 10 | Pcs
| 1200mm x 2400x 9mm Plywood sheets | 10 | Pcs
| 1200mm x 2400x 6mm Plywood sheets | 10 | Pcs
| 1200mm x 2400x 4mm Plywood sheets | 10 | Pcs
TIMBER
| 6"x6"Sawn cypress treated timber, 4m long | 30 | Pcs
| 8" x 4"Sawn cypress treated timber, 4m long | 30 | Pcs
| 4" x 2"Sawn cypress treated timber, 4m long | 30 | Pcs
| 1200 x 2400x12mm thick one side veneered MDF board | 30 | Pcs
| 150x150mm Sawn cypress treated timber, 4m long | 30 | Pcs
| 200 x 120mm Sawn cypress treated timber, 4m long | 30 | Pcs
| 100 x 60mm Sawn cypress treated timber, 4m long | 30 | Pcs
| 100 x 200mm Sawn cypress treated timber, 4m long | 30 | Pcs
SAND PAPER
| Sanding paper medium 60 grit 80m/s -50 pcs per polybag. | 200 | Metres
| Sanding paper medium 60 grit 100m/s -50 pcs per polybag. | 200 | Metres
| Abrasive Sand cloth medium 60 grit --5m x150mm roll | 10 | Rolls
| First drying general purpose thinner -5 Litres Can | 50 | Litres
NAILS
| Nails, sizes 1'', 1.5", 2", 2.5",3" ,4" 0f 50kgs carton/bag each | 300 | Kgs
SCREWS
| Screws-, 2", 2.5" ,3" sizes in 1kg box | 30 | Boxes
| Stuccio filler -4 kg Can | 10 | Cans
| White first quality wood glue, 1kg can | 10 | Cans
DOOR HINGES
| 100mm Galvanized steel butt hinges | 15 | Pairs
| 150mm Galvanized steel D-handles | 15 | Pairs
DOOR HANDLES
| Three lever mortise lock complete with a set of lever furniture | 10 | Pcs
| Electrical router as 'CISCO" or any other and equivalent complete with accessories | 2 | Pcs
| 1800 x 1200mm Aluminium framed white board | 20 | Pcs
| 2.5mm diameter electric wire twin core with earth (pvc coated - : 500m roll | 2 | Rolls
POWERED SAWS
| Saw blades (Dewalt jig saw ) for compact jig saw , Dewalt DW317-fine wood | 12 | Pcs
| Saw blades (Dewalt jig saw ) for compact jig saw , Dewalt DW317-fine wood - coarse wood | 12 | Pcs
| Saw blades (Dewalt jig saw ) for compact jig saw , Dewalt DW317-fine wood - coarse wood- fine metal/ iron ( or equal in sets) | 12 | Pcs
| Spare saw blade 10'' for jobsit table saw, Dewalt DWE7499GD -10'' blade wood coarse (medium/ standard) | 10 | Pcs
SANDERS
| Sanding sheets / paper for 4-1/2 in x 9-1/8 Fine wood- 50 pieces pack | 100 | Metres
| Sanding sheets / paper for 4-1/2 in x 9-1/8 -Medium wood - 50 pieces pack | 100 | Metres
| Sanding sheets / paper for 4-1/2 in x 9-1/8 coarse wood - 50 pieces pack | 100 | Metres
| Sand paper 60 grit 80 m/s | 100 | Metres
| Abrasive Sand cloth/ 60 grit | 100 | Metres
| Sand paper 50 grit | 100 | Metres
FASTENERS
| Nails, assorted sizes-25kgs carton | 100 | Kgs
| Screws-, assorted sizes -1kg box | 10 | pkts
ADHESIVES
| White wood glue, 1kg tin | 10 | Tins

## Masonry (hidden)
MASONARY WORKS
Item | Description | Qty | Unit | Price
Masonry tools for training
| Trowel | 10 | Unit
| Corner trowel | 5 | Unit
| Outside corner trowel | 5 | Unit
| Inside corner trowel | 5 | Unit
| Setting out square or mason square | 5 | Unit
| Plumb rule & Bob | 10 | Unit
| Wheel barrows | 4 | Unit
| Spirit level | 5 | Set
| Line & Pines | 10 | Rolls
| Water level | 200 | Metres
| Boning rods | 10 | Rolls
| Spades (Phavadas) | 10 | Unit
| Mortar pan/Ghamela | 10 | Unit
| Jointer | 5 | Unit
| Bevel | 5 | Unit
| Pick Axe | 10 | Unit
| Chisel | 4 | Unit
| Wood handled chisel | 4 | Unit
| Drafting chisel | 4 | Unit
| Tooth chisel | 4 | Unit
| Boaster | 4 | Unit
| Spalling Hammer | 4 | Unit
| Mash Hammer | 5 | Unit
| Mallet (wooden hammer) | 5 | Unit
| Dummy (Iron Hammer) | 5 | Unit
| Punch | 4 | Unit
| Brick Hammer | 5 | Unit
| Lump hammer & bolster | 5 | Unit
| Double-end Comb Hammer or Skutch | 5 | Unit
| Straight edge | 5 | Unit
| Brickwork gauge rod | 5 | Unit
| Bricklaying trowel | 10 | Unit
| Wood moisture meter tool | 4 | Unit
| Table measure | 5 | Unit
| Multi-angle measuring ruler | 5 | Unit
| Power hand saw | 2 | Unit
| Carpentry square | 5 | Unit
Materials for Training
| CEM 32 Ordinary portland cement, bag 50 kgs | 120 | Bags
| Approved quality fine river sand | 60 | Tons
| Approved quality coarse sand | 96 | Tons
| Approved quality 20-25mm aggregates | 32 | Tons
| Approved quality 12-16mm aggregates | 32 | Tons
| Approved quality crusshed natural stones as hardcores | 32 | Tons
| Approved quality selected fine quarry dust and blinding to hardcores | 32 | Tons
| 1000mm gauge polythene as Damp proof membrane -100m roll | 2 | Rolls
| Bitumen damp proof course membrane 4mm thick- 100m roll | 2 | Rolls
| 7mm Ring bars-12m long bar | 148 | Unit
| 10mm diameter bars-12m long bar | 120 | Unit
| 12mm diameter bars-12m long bar | 120 | Unit
| 16mm diameter bars-12m long bar | 64 | Unit
| Hoop irons (roll) | 5 | Rolls
| Binding wires (roll) | 5 | Rolls
| BRC Mesh reinforcement ; B.S. 4483 Ref A142 weighing 2.22 kgs per square meter -1.2X2.4m roll | 2 | Rolls
| Rain water gutters-3m long | 20 | Unit
| Stop end | 8 | Unit
| Outlet | 8 | Unit
| Downpipe-3m long | 4 | Unit
| Shoe | 120 | Unit
| Clips | 120 | Unit
| Sawn cypress treated timber 6" x 2" | 36 | Unit
| Sawn cypress treated timber 4" x 2" | 64 | Unit
| Wrot and grooved cypress timber 4" x 1" (T&G) | 16 | Unit
| Wrot cypress timber 8" x 1" ( fascia boards) | 16 | Unit
| Ordinary Wire Nails 6" | 50 | Kgs
| Ordinary Wire Nails 5" | 50 | Kgs
| Ordinary Wire Nails 4" | 50 | Kgs
| Ordinary Wire Nails 3" | 50 | Kgs
| Ordinary Wire Nails 2" | 50 | Kgs
| Ordinary Wire Nails 1" | 50 | Kgs
| Corrugated Roofing Sheets: gauge G28 in 3m lenthgs in portery clay colour Uganda Bati | 32 | Unit
| Ridges 2m long | 20 | Unit
| Wood Adhesive | 10 | Tins
| Wall tiles | 60 | SM
| Floor Tiles | 30 | SM
| Tile Adhesive in 25Kg bag | 15 | Bags

## PPE (hidden)
Personal Protective Gear
Item | Description | Qty | Unit | Unit Price to Site | Total Amount | Brand | Delivery Time | Comment
| Welding Hand gloves | 10 | Pairs
1 | Workwear overall safety orange coveralls (Blue) 100% cotton made Size: Large | 15 | Pairs |  | 0
| Workwear overall safety orange coveralls (Blue) 100% cotton made Size(Blue) Size: Medium | 15 | Pcs |  | 0
| Workwear overall safety orange coveralls (Blue) 100% cotton made Size (Blue) Size: Small | 15 | Unit |  | 0
2 | High quality genuine leather Breathable and Abrasion resistant sandwich mesh Safety shoes Safety shoes, Assorted sizes | 40 | Pcs
| Long Sleeves Rubber Gloves | 40 | Pairs |  | 0

## Plumbing materials (hidden)
PLUMBING
Item | Description | Qty | Unit | Unit Price to Site | Total Amount | Brand | Delivery Time | Comment
Materials for training
1 | PPR Pipes
2 | 50 mm diameter pipe | 20 | Unit |  | 0
3 | 32mm diameter pipe | 20 | Unit |  | 0
4 | 25mm diameter pipe | 20 | Unit |  | 0
5 | 20mm diameter pipe | 20 | Unit |  | 0
6 | 12.5mm diameter pipe | 20 | Unit |  | 0
7 | Extra over tubbing for: PPRTee |  | Unit |  | 0
8 | 50 X 32 X 40 mm dia | 20 | Unit |  | 0
9 | 32 X 25 X 32 mm dia | 20 | Unit |  | 0
10 | 25 X 20 X 25mm dia | 20 | Unit |  | 0
11 | PPR Reducer |  | Unit |  | 0
12 | 50 X 32 mm dia | 20 | Unit |  | 0
13 | 32 X 25 mm dia | 20 | Unit
14 | 25 X 20 mm dia | 20 | Unit |  | 0
15 | PPrGate Valve
16 | 50 mm dia | 20 | Unit
17 | 25mm dia | 20 | Unit
18 | 20mm dia | 20 | Unit
19 | 12.5mm dia | 20 | Unit
20 | 90 Degree PPR Bends | 10
21 | 50mm dia | 10 | Unit
22 | 32mm dia | 10 | Unit
23 | 25mm dia | 10 | Unit
24 | 20mm dia | 10 | Unit
25 | 12.5mm dia | 10 | Unit
26 | PVC Grey heavy duty high pressure pipes
27 | 100mm diameter pipes of approved size | 5 | Unit
28 | 50mm diameter pipes of approved size | 5 | Unit
29 | 40mm diameter pipes of approved size | 5 | Unit
30 | 32mm diameter pipes of approved size | 5 | Unit
31 | Pcv U Bends
32 | 100mm diameter pipes | 5 | Unit
33 | 50mm diameter pipes | 5 | Unit
34 | 40mm diameter pipes . | 5 | Unit
35 | 32mm diameter pipes | 5 | Unit
36 | PVC Connectors
37 | 100mm diameter pipes | 5 | Unit
38 | 50mm diametre pipes | 5 | Unit
39 | 40mm diameter pipes | 5 | Unit
40 | 32mm diameter pipes | 5 | Unit
41 | Water Tap
42 | 1/2 stainless steel water tap including all fixing accessories | 4 | Unit
43 | Stainless steel wall mounted cold water taps Water Pressure: 0.05-0.6mpa | 4 | Unit
44 | 600x600 mm heavy duty lockable cast iron covers | 4 | Unit
PLUMBING TOOLS for training
1 | Heavy duty straight pipe wrench 300mm diameter- 6m long | 2 | Unit
2 | Chrome plated Adjustable Wrench Spanner 15” | 2 | Unit
3 | 8'' pliers with rubber /pvc handles | 2 | Unit
4 | 5'' die stock set of (2 inch,1inch,3/4inch and 1/2 inch die ) | 2 | Unit
5 | Plumbers hemp | 2 | Unit
6 | Thread tapes , 50meter roll | 10 | Rolls
7 | Heavy duty 6'' 150mm bench vice | 2 | Unit
8 | Tangit pipe adhesive | 5 | Tins
| Portable PPR pipe heat fashion | 3 | Unit
| Head light | 3 | Unit
| Ratchet pipe threader | 3 | Unit
| Knee pads | 8 | Unit
| Gloves | 8 | Prs
| Plumbers Goggles | 5 | Unit
| Pipe & Tube benders | 2 | Unit
| Tabe & plastic pipe cutters | 3 | Unit
| Hole saw kit | 3 | Unit
| Junior Hack saw | 5 | Unit
| Hack saw | 5 | Unit
| Hex keys | 5 | Prs
| Faucet keys | 5 | Prs
| Faucet seat wrench | 5 | Unit
| Basin wrench | 5 | Unit
| Pipe wrench (adjustable) | 5 | Unit
| Vise grip pliers | 5 | Unit
| Split joint pliers | 5 | Unit

## Painting (hidden)
Painting Materials
Item | Description | Qty | Unit | Unit Price to Site | Total Amount | Brand | Delivery Time | Comment
Materials for training
1 | First quality oil emulsion white paint,(5 Litres) | 5 | Jericans
2 | First grade silk vinyl paint (5 litres) | 5 | Tins
3 | Wood clear matt varnish, , 5 litres tin | 5 | Tins
5 | Exterior emulsion paint (5litres) | 5 | Tins
6 | Interior textured paint (5litres) | 5 | Tins
7 | Red oxide concrete floor paint (5litres) | 5 | Tins
8 | two pack epoxy wood finish | 5 | Tins
9 | wood Clear Varnish paint | 5 | Tins
10 | Universal Undercoat 20 Litre Jerican | 2 | Tins
11 | Wood Primer |  | Tins
12 | Two Pack Epoxy Zinc Phosphate Primer | 3 | Tins
14 | Black Bituminous Paint 4 litre tin | 2 | Tins
15 | Polyfiler | 10 | Kgs
16 | White Spirit thiner I Litre jerican | 5 | Jericans
Painting Tools/Equipment (See attached pictures in Annex C)
1 | Brushes 2'', 4'' 5'' 6'' | 10 | No.
2 | Paint Kit | 5 | Prs
3 | 3M x 2" Paint Tape | 10 | Prs
4 | Spray Paint Protection Mask | 10 | No.
| Roller Brushes | 5 | No.
| Sanding machine | 2 | No.
| Sanding Sponges | 10 | No.
| Knives & Blades | 10 | No.
| Scrapers | 5 | No.
| Putty/joint knives | 5 | No.
| Spackling & Patching compound | 5 | No.
| Texture steel Float repairs | 5 | No.
| Metalic scaffolds | 2 | No.
| Ladders (Aluminium) | 2 | No.
| Drywall tools | 5 | No.
| Joint compound | 5 | No.
| Pressure washers | 5 | Prs
| Hand held spayer | 5 | No.
| Electirc Airless sprayer | 2 | No.

## ACTogether Rv (hidden)
Office Equipement | PRICE | TOOLS AND EQUIPMENTS | PRICE | CONSTRUCTION MATERIALS | PRICE | WELDING MATERIALS & EQUIPMENT | PRICE | CAPENTRY MATERIALS | PRICE | ELECTRICAL MATERIALS | PRICE | BODY WEARS | PRICE | PLUMBING MATERIALS | PRICE | PAINTING | PRICE | GLAZING | PRICE
stationary |  | Fork Jembe complete with wooden handle |  | CEM 32 Ordinary portland cement, bag 50 kgs |  |  |  | PLYWOOD SHEETS |  | 4.0mm2 Armored cable wire or any other equal :1red, 1black,1 green.- 100m roll |  | Welding Hand gloves |  | G.I cass 8 '' pipes |  | First quality oil emulsion white paint,(5 Litres) |  | 4mm thick Glazing (clear)
3 computers - 2 desktops & 1 laptop |  | Spades-metalic handle |  | Approved quality fine river sand |  | Hand Tool Steel Files (flat) 1” width & 12”length |  | 1200mm x 2400x 12mm Plywood sheets |  | 2.5mm2 Armored cable wire or any other equal- :2 red,2black,2green.- 100m roll |  | Workwear overall safety orange coveralls (Blue) 100% cotton made Size: Large |  | 50 mm diameter pipe 6m long |  | First grade silk vinyl paint (5 litres) |  | 5mm thick Glazing (clear)
Notice Board |  | Mattock complete with wooden handle |  | Approved quality 20-25mm aggregates |  | Vise grip locking pliers. Length 10”, Jaw opening 1”- 7/8”, Fast release type handle |  | 1200mm x 2400x 9mm Plywood sheets |  | 1.5mm2 Armored cable wire or any other equal- : 2red,2black,2green. |  | Workwear overall safety orange coveralls (Blue) 100% cotton made Size(Blue) Size: Medium |  | 32mm diameter pipe 6m long |  | Wood clear matt varnish, , 5 litres tin |  | 6mm thick Glazing (clear)
visitors books |  | Wheel barrows (with wide wheel) |  | Approved quality crusshed natural stones as hardcores |  | WELDING ELECTRODES |  | 1200mm x 2400x 6mm Plywood sheets |  | Higher 2 way circuit breakers amps. |  | Workwear overall safety orange coveralls (Blue) 100% cotton made Size (Blue) Size: Small |  | 25mm diameter pipe 6m long |  | Short pile rollers sleeve for emulsion with handle (Used for oil painting on equipment or wall surface) |  | 4mm thick Glazing (tinted)
suggestion boxes |  | Tape measure - 50 meters |  | Approved quality selected fine quarry dust and blinding to hardcores |  | Welding electrodes 2mm, 350mm long Packing – 2.5 mm dia. (5 kg pack) |  | 1200mm x 2400x 4mm Plywood sheets |  | Higher single circuit breakers 13 amps |  | High quality genuine leather Breathable and Abrasion resistant sandwich mesh Safety shoes, Size: 41 |  | 20mm diameter pipe 6m long |  | Exterior emulsion paint (5litres) |  | 5mm thick Glazing (tinted)
clip chats |  | Tape measure - 30 meters |  | DAMP PROOF MATERIAL |  | Welding electrodes 2mm, 350mm long Packing–4.0 mm dia. (5 kg pack) |  | TIMBER |  | Switches one way (5amp) one gang |  | High quality genuine leather Breathable and Abrasion resistant sandwich mesh Safety shoesSafety shoes, Size: 42 |  | 12.5mm diameter pipe 6m long |  | Interior emulsion paint (5litres) |  | 6mm thick Glazing (tinted)
Markers |  | Tape measure - 7.5 meters |  | 1000mm gauge polythene as Damp proof membrane -76m roll |  | Welding electrodes 2mm, 350mm long Packing: 5.0kgs/box |  | 6"x6"Sawn cypress treated timber, 4m long |  | switches one gang (5amp) one gang |  | High quality genuine leather Breathable and Abrasion resistant sandwich mesh Safety shoesSafety shoes, Size: 43 |  | Extra over tubbing for: G.I Unequal Tee |  | Red oxide concrete floor paint (5litres) |  | 4mm thick Glazing (patterened/transluscent)
demostrational Projector |  | Masons hammer complete with wooden handle |  | Bitumen damp proof course membrane 4mm thick- 10m roll |  | Welding electrodes 1.5 mm, 350mm long Packing: 2.5kgs/box |  | 8" x 4"Sawn cypress treated timber, 4m long |  | Switches one way (5 amp) three gang |  | Long Sleeves Rubber Gloves |  | 50 X 32 X 40 mm dia |  | two pack epoxy wood finish |  | 5mm thick Glazing (patterened/transluscent)
3 Tents |  | Standard claw hammer with a timber handle |  | High tensile steel reinforcement to B.S. 4461 in structural 12m long bars |  |  |  | 4" x 2"Sawn cypress treated timber, 4m long |  | 2 way double switch 13 AMPS 600VAC |  |  |  | 32 X 25 X 32 mm dia |  | wood Clear Varnish paint |  | 6mm thick Glazing (patterened/transluscent)
40 plastic chairs |  | Plumb bob |  | 8mm diameter bars-12m long bar |  | CUTTING& GRINDING |  | 4" x 8" Sawn cypress treated timber, 4m long |  | 3 way doube switch 13 AMPS 600VAC |  |  |  | 25 X 20 X 25mm dia |  | Universal Undercoat |  | Metal Putty
office landline - phone |  | 12-Inch/300mm Aluminium mansonry/Carpenters Square |  | 10mm diameter bars-12m long bar |  | Portable power saw;Bench mounted & wheel size 14”Power supply: 230 V 50Hz single phaseRecommended: Makita, Milwaukee, Dewalt or Bosch product |  | 1200 x 2400x12mm thick one side veneered MDF board |  | 13A 3-pin power socket single |  |  |  | G.I Reducer |  | Wood Primer
1 big speaker & micrphone |  | Cold Chiesels |  | 12mm diameter bars-12m long bar |  | Abrasive wheel/disc for metal 14” diameter |  | 150x150mm Sawn cypress treated timber, 4m long |  | 13A 3-pin power socket duplex (twin) |  |  |  | 50 X 32 mm dia |  | Two Pack Epoxy Zinc Phosphate Primer
Water dispensor |  | Building line (Manila) |  | 16mm diameter bars-12m long bar |  | Hacksaw blade frame for 12”blade with adjustable length |  | 200 x 120mm Sawn cypress treated timber, 4m long |  | Black electrical installation tape |  |  |  | 32 X 25 mm dia |  | Grey 6,628 C20AQ Crown Two Pack Epoxy Zinc Rich Primer
Furniture |  | Hand saw with a high impact plastic handle and a blade measuring 21" with 7 TPI (Threads Per Inch) |  | Hoop irons (roll) |  | Hacksaw blades (HSS) 12”length |  | 100 x 60mm Sawn cypress treated timber, 4m long |  | Light bulb LEC type including all necessaty fixing /anchoring accessories /screw |  |  |  | 25 X 20 mm dia |  | Black Bituminous Paint
|  | Standard spirit Level-aluminium |  | Binding wires (roll) |  | Spare blades to the planers (3-1/4” width) for Portable hand planer, Dewalt D26676 |  | 100 x 200mm Sawn cypress treated timber, 4m long |  | 3 w |  |  |  | G.I Gate Valve |  | Polyfiler
|  | 7" regular taper saw file |  | BRC Mesh reinforcement ; B.S. 4483 Ref A142 weighing 2.22 kgs per square meter -1.2X2.4m roll |  | Hard steel mash heavy gauge 1*2M 3millimiters or similar |  | SAND PAPER |  | 5 w |  |  |  | 50 mm dia |  | Gyproc
|  | Plastic handle steel tri-square |  | ROOFING MATERIAL & CEILING |  | 5 inches stainless steel expansion bolt/50 pieces packets |  | Sanding paper medium 60 grit 80m/s -50 pcs per polybag. |  | 7 w |  |  |  | 25mm dia
|  | Bricks Trowels |  | Rain water gutters-3m long |  | 2 inches hex bolt assembly/50 pieces packets |  | Sanding paper medium 60 grit 100m/s -50 pcs per polybag. |  | 3 U LED energy saving shape light bulb-screw type 18 w |  |  |  | 20mm dia |  | THINNERS
|  | Finishing Trowels |  | Stop end |  | MILD STEEL SHEETS |  | Abrasive Sand cloth medium 60 grit --5m x150mm roll |  | Screw type round light bulb holder |  |  |  | 12.5mm dia |  | White Spirit
|  |  |  | Outlet |  | 1.2 mm Thick mild steel plates , 8 feet x 4 feet |  | First drying general purpose thinner -5 Litres Can |  | 40 ft flouresect lamps |  |  |  | 90 Degree G.I Bend |  | PAINT BRUSHES
|  | Porker Vibrator -Honda petrol engine 5.5 hp complete with 45mm shaft coupling type |  | Downpipe-3m long |  | 2 mm Thick mild steel plates , 8 feet x 4 feet |  | NAILS |  | High lumen Bridgelux COB Waterproof Outdoor 100w 120w led flood light |  |  |  | 50mm dia |  | Standard Brushes
|  | Drum Cement Mixer -400L |  | Outlet |  | 5mm Thick mild steel plates , 8 feet x 4 feet |  | Nails, sizes 1'', 1.5", 2", 2.5",3" ,4"-25kgs carton/bag each |  | 3 way switch 5Amps 240V |  |  |  | 32mm dia |  | Paint Brushes Green Tip
|  | Overhead Crane Concrete Construction Hoist, Load Capacity: 300 KG |  | Shoe |  | 8mm Thick Mild steel plates 8 feet x 4 feet |  | SCREWS |  | 3 way double switch 5AMPS 240V |  |  |  | 25mm dia |  | 9’’ High Quality Textured Roller with Tray
|  | Tower Hoist Concrete Lift, Load Capacity: 300 KG |  | Clips |  | ANGLE SECTIONS |  | Screws-, 2"-4kgs 2.5"-5Kgs ,3"-4kgs sizes -1kg box |  | 5A 3-pin power socket duplex(Twin) . |  |  |  | 20mm dia |  | Quick Coater Roller
|  | Metalic Buckets |  | Sawn cypress treated timber 6" x 2" |  | Unframed steel 1/2'' x 1/2''x 1/8'' angle section (Mild steel) |  |  |  | 40mm 2-way Junction Box |  |  |  | 12.5mm dia |  | Paint Tray
|  | Linesman/ Universal Pliers, 8-3/4 In, plastic Handle |  | Sawn cypress treated timber 4" x 2" |  | Unframed steel 1''x1''x1/4'' angle section (Mild steel) |  | Stuccio filler -4 kg Can |  | 40 mm 3-way Junction Box |  |  |  | UPVC Grey heavy duty high pressure pipes |  | Painting Tools/Equipment (See attached pictures in Annex C)
|  | 20ft containers |  | Wrot and grooved cypress timber 4" x 1" (T&G) |  | Unframed steel 2 x 2 x 1/4'' angle section (Mild steel) |  | White first quality wood glue, 1kg can |  | 2.5mm diameter electric wire 100m long |  |  |  | 100mm diameter pipes 6m long |  | Brushes
|  | 5,000 litres plastic water tanks |  | Wrot cypress timber 8" x 1" ( fascia boards) |  | Unframed steel Flat bar 1/4'' x 2 (Mild steel) |  | DOOR HINGES |  | Higher 2 way circuit breakers 5 amps |  |  |  | 50mm diameter pipes 6m long |  | Paint Kit
|  | 12 1/2 Gauge galvanized barbed wire (150m roll) |  | Ordinary Wire Nails 4" per Kgs |  | Hand Tool Steel Files (flat) (flat) 1'' width & 12'' length |  | 100mm Galvanized steel butt hinges |  | Higher single circuit breakers 5 amps |  |  |  | 40mm diameter pipes 6m long
|  | Bar bending keys for N0.12,10,8,and 6 |  | Ordinary Wire Nails 3" per Kgs |  | Vise grip locking pliers . Length 10'' jaw opening 1'' 7/8, fast realse type handle |  | 150mm Galvanized steel D-handles |  | Black electrical Insulation tape |  |  |  | 32mm diameter pipes 6m long |  | 3M x 2" Paint Tape
|  | Crow Bar 18" |  | Ordinary Wire Nails 2 1/2 " per Kgs |  | Portable Power saw: Bench mounted & wheel size 14'' power supply 230V 50Hz sngle phase Recommended brands Mikita ,Milwaukwee,Dewalt or Bosch Product |  | DOOR HANDLES | [5 empty] | Pcv U Bends |  | Spray Paint Protection Mask
|  | Spirit/ Buble level (40cm, 60cm and 1 meter lengths) |  | Side flash-2m long |  | Abrasive wheel/disc for metal 14” diameter |  | Three lever mortise lock complete with a set of lever furniture | [5 empty] | 100mm diameter pipes
|  | 3mm vinyl Strings 50m long roll (use for setting out purposes) |  | Corrugated Roofing Sheets: gauge 26 in 2m lenthgs in approved colour |  | CUTTING MACHINE & TOOLS |  | Electrical router as 'CISCO" or any other and equivalent complete with accessories | [5 empty] | 50mm diameter pipes
|  | Masonry Tools/Equipment (See attached pictures in Annex C) |  | Box Profiled Roofing Sheets: gauge 26 in 2m lenthgs in approved colour |  | 500W/600w/710w Angle Grinder 115mm/125mm Electric Grinder ( 230av, 50 hz,) |  | 1800 x 1200mm Aluminium framed white board | [5 empty] | 40mm diameter pipes .
|  | Mason Hammer with wooden handle |  | Ridge caps |  | Top quality all in one 4.5" 115 *1 mm angle grinder cutting discs |  | 2.5mm diameter electric wire twin core with earth (pvc coated - : 500m roll | [5 empty] | 32mm diameter pipes
|  | 1500W Mason Levels wood framed . |  | HOARDING |  | Top quality all in one 4.5" 115 *1 mm gruinding grinder cutting discs |  | Gauge 14 hexagonal chainlink fencing mesh-15m roll | [5 empty] | PVC Connectors
|  | Notched Trowel, Length (11", Width (In.) 4-1/2, Stainless Steel Materia |  | Wooden props average 12 feet high |  | Hacksaw blade frame for 12'' blade with adjustable length |  | POWERED SAWS | [5 empty] | 100mm diameter pipes
|  | 200mm Carbon s Steel Gauging Trowel with a plastic handle |  | 3m Corrugated Iron sheets gauge 32 (Reject for hoarding) |  | Hacksaw blades (HSS) 12'' length |  | Saw blades (Dewalt jig saw ) for compact jig saw , Dewalt DW317-fine wood | [5 empty] | 50mm diametre pipes
|  | Concrete Hand Float Trowel 1 |  | ADHESIVE |  | WELDING MACHINE |  | Saw blades (Dewalt jig saw ) for compact jig saw , Dewalt DW317-fine wood - coarse wood | [5 empty] | 40mm diameter pipes
|  | 3" Plastic Handle Wall Scraper |  | Wood Adhesive |  | Single phase (Air cool) portable welding transformer. Primary-converting 230V-24v, 50hz |  | Saw blades (Dewalt jig saw ) for compact jig saw , Dewalt DW317-fine wood - coarse wood- fine metal/ iron ( or equal in sets) | [5 empty] | 32mm diameter pipes
|  | 3mm vinyl Strings 50m long roll (use for setting out purposes) |  | Tile Adhesive |  | Duty cycle 60% (Air cool)portable welding transformer Secondary-converting 250V, 50hz welding current 10-250A |  | Spare saw blade 10'' for jobsit table saw, Dewalt DWE7499GD -10'' blade wood coarse (medium/ standard) | [5 empty] | Water Tap
|  | 3 1/2"BRASS manson's Plum bob (for levelling vertical walls) |  | Parquet Adhesive |  | 150mm2 double insulation Rubber PVC multi Stranded flexible Welding Cable 10 metres roll |  | SANDERS | [5 empty] | 1/2 stainless steel water tap including all fixing accessories
|  | Chipping hammer with rubber handle |  |  |  | Stainless steel earth clamp. |  | Sanding sheets / paper for 4-1/2 in x 9-1/8 Fine wood- 50 pieces pack | [5 empty] | Stainless steel wall mounted cold water taps Water Pressure: 0.05-0.6mpa
|  | 1HP Water pump, electric/ diesel (portable) |  | 12 1/2 Gauge galvanized barbed wire |  | Heavey duty welding gloves |  | Sanding sheets / paper for 4-1/2 in x 9-1/8 -Medium wood - 50 pieces pack | [5 empty] | 600x600 mm heavy duty lockable cast iron covers
[6 empty] | Heavy duty plastic welding helmet |  | Sanding sheets / paper for 4-1/2 in x 9-1/8 coarse wood - 50 pieces pack | [5 empty] | PLUMBING TOOLS
[6 empty] | High quality Ball pin Hammer with wood handles |  | Sand paper 60 grit 80 m/s | [5 empty] | Heavy duty straight pipe wrench 300mm diameter- 6m long
[6 empty] | GRINDING MACHINE |  | Abrasive Sand cloth/ 60 grit | [5 empty] | Chrome plated Adjustable Wrench Spanner 15”
[6 empty] | 500W/600w/710w Angle Grinder 115mm/125mm Electric Grinder ( 230av, 50 hz,) |  | Sand paper 50 grit | [5 empty] | 8'' pliers with rubber /pvc handles
[6 empty] | Top quality all in one 4.5" 115 *1 mm angle grinder cutting discs |  | FASTENERS | [5 empty] | 5'' die stock set of (2 inch,1inch,3/4inch and 1/2 inch die )
[6 empty] | Top quality all in one 4.5" 115 *1 mm gruinding grinder cutting discs |  | Nails, assorted sizes-25kgs carton | [5 empty] | Plumbers hemp
[6 empty] | Multipurpose bench vise – 6” (6” jaw width & 6” opening) |  | Screws-, assorted sizes -1kg box | [5 empty] | Thread tapes , 50meter roll
[6 empty] | High quality Stainless Steel Ball Peen Hammer; Die forged; Incorrodible - 1.5 kg |  | ADHESIVES | [5 empty] | Heavy duty 6'' 150mm bench vice
[6 empty] | HANDTOOLS |  | White wood glue, 1kg tin | [5 empty] | Tangit pipe adhesive
Chrome plated Adjustable Wrench Spanner 8”
5m long steel made Measuring tapes
BENCH VISE – 6” (6” JAW WIDTH & 6” OPENING)
BALL PEEN HAMMER – 1Kg
BALL PEEN HAMMER - 1.5 Kg
ADJUSTABLE SPANNER 8”
STEEL MEASURING TAPE – 5mts
T SQUARE (RIGHT-ANGLE)
Printed steel tri square with plastic handle (right-angle)
DRILL
Electrical Hammer Drill – 230 v, 50hz (13 mm chuck)
High speed drill bit set