**Section II - Schedule of Requirements**

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

Bidders are required to complete the **Comparative Data Tables** included in Section II: Schedule of Requirements to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

**Technical specifications for goods – Comparative Data Table**

**Specify Brand Offered: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No** | **UNOPS minimum technical requirements** | **Quantity** | **Is quotation compliant?** Bidder to complete | **Details of goods offered.** Bidder to complete |
| 1. | DIVAR with license for 48 IP Cameras and 8\*4TB hard drives.  Model #: DIVAR IP all-in-one 7000 2U | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 2. | 5 Megapixel intelligent high sensitivity IP camera.  Model #: NBN-80052-BA Fixed camera 5MP. | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 3. | 5 MegaPixel IP camera  Model #: NBE-3503-A | 12 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 4. | High-performance HD outdoor PTZ dome camera with 30x optical zoom  Model #: NDP-5502-Z30L | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 5. | USB keyboard for controlling PTZ Camera with joystick.  Model #: KBD-UXF-KEYBOARD USB CCTV | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 6. | Workstation with the following specs:   * Intel CoreTM i7-9700 processor (3.0GHz, up to 4.7GHz with Intel Turbo Boost,12MB cache, 8 cores) * 16 GB DDR4 2666 UDIMM * NVIDIA Quadro P620 (2 GB) * 256GB M.2 2280 PCIe NVMe TLC SSD * 1TB 7200 SATA-6G 3.5" | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 7. | Installation  (without Cabling because network is already installed) | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |

**Delivery requirements –– Comparative Data Table**

|  |  |  |  |
| --- | --- | --- | --- |
| **UNOPS Requirements** | | **Is quotation compliant?** Bidder to complete | **Details**  Bidder to complete |
| **Delivery time** | Bidder shall deliver the goods within **4-6 weeks** after Contract signature. | ☐ Yes ☐ No | Insert details |
| **Delivery place and Incoterms rules** | The Quartet Office in E. Jerusalem. | ☐ Yes ☐ No | Insert details |
| **Consignee details** | UNOPS/OQ | ☐ Yes ☐ No | Insert details |
| **Warranty** | Three (3) years comprehensive warranty (including Labor and Parts) | ☐ Yes ☐ No | Insert details |
| **After Sale Services and Onsite Support** | After sale services including onsite support when needed on the same day or within 24 hours during the 3 years warranty period. | ☐ Yes ☐ No | Insert details |
| **UNOPS Right to vary requirements** | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 30% , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

**0**

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in **Section II: Schedule of Requirements**.

☐ Yes ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

# Form D: Previous Experience Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

List similar contracts within the last three (3) years your company completed successfully for the same required products.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Description of services/goods** | **Country** | **Total amount of Contract** | **Contract Identification and Title and**  **Contact details of Client**  **(Name, Address, telephone, email, fax)** | **Year project was undertaken** |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Additional Qualification Requirements:**

1. Bidder shall have and submit valid business registrations certificates.
2. Bidder must have a physical presence or representative in the country for the after sales services. Thereof, Bidder shall provide the address and contract information in the country where the CCTV system will be installed.