**ANNEX A**

**TECHINICAL SPECIFICATIONS**

Request for Quotation No: RFQ/HCR/NIG/21-13

**Supplies Delivery and Installation of Covid 19 Medical Furnitures for Health facilities in Cross Rivers, Benue and Taraba State**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| No# | **Item** | **MINIMUM ACCEPTABLE SPECIFICATIONS** | **QTY** |  |
| 1 | **Hospital Bed** | * **Function**: One (1) Crank Function medical bed, * **Size**: Length-2050mm, width-900mm, Height 500mm * **Guardrail (Side rails):** collapsible 750mm five or 6 gear aluminum alloy fence. * **Back rest lifting:** 0o-75o * **Head and foot board**: ABS injection moulded easy to clean * **Wheels (Castor)**: 5-inch(125 mm diameter) PU universal wheel (with independent brake) * **Accessories:** Overbed feeding table and Drip stand * **Bed material:** 1.2mm cold-rolled carbon steel * **Crank material**: 304 stainless steel * **Coating (Painting)-** Non-toxic high performance Epoxy coating   ***Please submit pictures (Mandatory)*** | 22 | Single Crank Manual Hospital Bed With Castors – Apical Med |
| 2 | **Hospital mattress** | * Mattress: high density polyurethane foam, * Dimensions: Length 190cm x width 90 cm * Thickness: 12cm. * Density: 30kg/m3 * Covered with white mackintosh removable by side zip | 22 | Drive Medical Extra Firm Innerspring Hospital Bed Mattress |
| 3 | **Pillows** | Color: White  Interior: Soft Fibre,  Outer covering: White cotton  Dimension: 73 x 48 cm  Weight: 950g   * Standard: Vitafoam Jumbo or Equivalent | 22 | Hospital Pillows, Size: 17 X 27 Inches, Fly Inc. | ID: 12499257755 |
| 4 | **Bedside locker** | * Material: ABS plastic * Size: Length 450-460mm x width 450-460mm x Height 750-760mm * Wheels: 4 plastic caster wheels * Colour: Blue and Gray * Space: One Drawer and one big cabinet * Side towel racks: two * Sliding side shelf: one.   ***Please submit pictures (Mandatory)*** | 22 | ABS Plastic Movable Hospital Bedside Locker As Hospital Furniture For Ward  Room |
| 5 | **Swivel labortaory work stool** | * Type; Swivel with Height adjusting lever * Material: stainless steel corrosive resistant metal * Wheels: five castor wheels * Height: adjustable height * Arms: Preferably armless * Colour; Black * Upholstery (Sit): high-density polyurethane foam, density is 27-33kg/m3. * Back rest present * Cover (Sit and back rest): plastic, flexible highly tear resistant, anti-static, flame retardant, disinfectant- and liquid proof, washable. * Leg rest: stainless steel ring * ***Please submit pictures (Mandatory)*** | 10 | Millennium Laboratory Stool - Brewer Company |
| 6 | **Office Table** | * Material: MDF material ¾’’ thickness * Edges re-enforced with double thickness * Color: White or Cream * Dimensions: Hight 3ft length 4 ft width by 2 ft * Drawers: 3No. fixed to table with locks and stainless-steel runners and handles * Preferably Locally manufactured | 20 | Max woody tech makurdi, No 65 J S Tarka Way, Makurdi (2020) |
| 7 | **Office Chair** | Other name: Admin Office chair, Mid Back Mesh Ergonomic Computer Desk Office Chair. Ergonomic office chair  * Frame: stainless steel * Wheels: 5 castor wheels * Seat cover: black fabric * Seat depth: 47-50 CM * Seat width: (Max) 60 CM * Seat height 96-100 CM * Back rest: Mesh blue color * Max weight 8-10 KG * Adjustable arms NO. * Adjustable height: YES * ***Please submit pictures (Mandatory)*** | 20 | Ergonomic Mesh Swivel Office Chair - Vigor-BP364 – HOG Furniture |
| 8 | **waiting seats** | * Other names: 3in1 reception waiting chair or 3in1 waiting room beam chair * Dimensions: 1750x680x780mm * Seat: 1.5mm thickness perforated cold-rolled steel * Seat width: 50 Cm * Color: Blue, powder coated epoxy * Armrest: Stainless steel   ***Please submit pictures (Mandatory)*** | 22 | Waiting Chair in Accra Metropolitan - Furniture, Nathaniel Pappoe |  Jiji.com.gh |

|  |  |
| --- | --- |
| Required Quantity | As specified in Annex B |
| Delivery time | Immediately |
| **TERMS OF WARRANTY** | |
| Warranty accepted | Minimum one (1) year |
| **DELIVERY TERMS** | |
| Applicable INCOTERMS: | DAP |
| Final Delivery Place: | UNHCR Health Facilities in Cross Rivers, Taraba and Benue State |

**General requirements:**

1. **Pictures used above are indicative only and don’t represent the requested items. Are used only to better illustrate and given an idea to the requested items.**
2. **transportation: transportation, assembly and installation loading and offloading and any other miscellanea cost shall be quoted all-inclusive in the offer.**