## Cover Sheet
UNOPS
UNITED NATIONS OFFICE FOR PROJECT SERVICES
BILL OF QUANTITIES FOR
KABUL MILITARY TRAINING CENTER
KABUL, AFGHANISTAN
FOUNDATION AND BASE STRUCTURE
NOTICE TO ALL BIDDERS - COMPLETE PROJECT PRICE:
| 1 | All bidders MUST examine the complete project documents. These documents include the Drawings, BOQ, Schedules and Specifications.
| 2 | Costs given on this BOQ are to cover any and all additional materials, labor or associated costs to complete the works as documented on the complete project documents.
| 3 | Claims for extra works that are documented on any of the project documents but not specifically identified in the BOQ will be INVALID and not paid to the contractor.
Prepared by type team leader name here
Vertical Structures Unit
Kabul, APIF
| First Issue: |  | 2005-08-29
| Current Revision: |  | 01

## Detailed Sheet
OECRC
Omar & Emal Construction & Road Construction Company
Detailed Estimated Bill of Quantities
Project Name: Jabel Serage Work Shop
Parwaon, Afghanistan
S.No | Description of Work/Items | Unit | Quantity | Unit Cost | Total Cost
|  |  |  | in $ | in $
Starting
1 | Pre-construction work, mobilisation activities including paper / documentation tasks. | LS | 1
2 | Post construction works and clean up. | LS | 1
3 | Surface prepartion form temporay stone and extra matirals | LS | 1
4 | Testing and Operation/Maintenance Manuals. | LS | 1
5 | compaction of all site area for Construction | LS | 1
6 | Backfilling for the excavated and low part of the ground | LS | 1
Structure
7 | Plain Lean Concrete (M-100) | CU.M | 40
8 | RCC Slab with the thickness of 20 cm , ground floor | CU.M | 84
9 | RCC Foundation (both stages of pouring) | CU.M | 9
10 | Expansion joint, with filler board | Lin M | 130
11 | RCC for the Ramp | CU.M | 7.3
12 | K-span curve sheets with steel thickness of 1.1mm (roof) steel should have ISO certificate , this include all work, labor and machinery need to complete the job as per satisfaction of incharged engineer | SQ.M | 520
13 | Flat K-span sheets with thickness of 1.1mm (front and back side of the K-Span building)steel should have ISO certificate , this include all work, labor and machinery need to complete the job as per satisfaction of incharged enginee | SQ.M | 190
14 | Insulation for the ceiling of the K-Span building with the thickness of 50mm spray system | SQ.M | 520
15 | Supply and installtion of sliding metal door with size of ( 4mx4.5m) | No | 1
16 | Supply and installtion of PVC doors (1.00x2.60) including skylight | No | 2
17 | MS Plate 150x150x8mm inc anchor bar Ø10mm at 400mm c/c | No | 130
18 | Angle iron 75x75x5mm | Lin M | 85
19 | Ventilation system for K-span on the Roof | No | 2
Electrical
20 | Main Panel Distribution Board MPDB (90x100x60cm) | LS | 1
21 | Sub Panel SB (20x20x15cm) Flood light switch box | LS | 1
22 | Sub Panel PB (10x10x10cm) bay light switch box | LS | 6
23 | 3x200 Amp automatic ABB main switch | LS | 1
24 | 3x32 Amp automatic ABB main switch | LS | 2
25 | 1x32 Amp flood light automatic fuse | No | 3
26 | 1x25 Amp socket outlet automatic fuse | No | 5
27 | 1x16 Amp lighting automatic fuse | No | 4
Distribution cabling
28 | 4x6+1x2.5mm²flood light wire | Lin M | 150
29 | 3x4mm² bay light wire | Lin M | 350
30 | 3x4mm² socket outlet wire | Lin M | 300
31 | 3x4mm²lighting wire | Lin M | 100
Fittings
32 | Single pole 25 Amps circuit breaker | No | 6
33 | Single pole external IP56 light switch | No | 13
34 | 400W external floodlight | No | 2
35 | 250 Watts bay light | No | 4
36 | 2x40W wall mounted water proof fluorescent light | No | 6
37 | Emergency evacuation exit light | No | 6
38 | Installation of Smoke detector No 10 with central signalization information system. | LS | 1
39 | 25 Amp Ordinary outlet sockets | No | 15
40 | Joint boxes/Terminal boxes | No | 20
41 | Iron pipe 1 inch with clamps in 1 m for hinging bay light | Lin M | 30
42 | Iron chain for hinging bay light | Lin M | 30
43 | Supply and installation of heater | No | 2
Labeling & Installation
44 | Cable circuit drawings, cable and switchboard labeling | LS | 1
45 | Wage for Installation cabling, wiring and other electrical equipments and 4 electrical air heater and connected to MPDB. | LS | 1
46 | grounding system | LS | 1
All material should be submitted for approval before purchase,
Grand total |  |  |  |  | 0

## Summary Sheet
UNOPS
United Nations Office for Project Services
Summary Bill of Quantities
Project Name: Jabel Serage Work Shop
Parwaon, Afghanistan
#REF!
Work Type
Total for General |  |  | #REF!
Total for Site |  |  | 0
Total for Structure |  |  | 0
Total for Bill of Quantities |  | #REF!
Total for Bill of Quantities in words:
#REF!
Agreed on behalf of Contractor | UNOPS
Name | Name
Position | Position
Signature | Signature
Address and Mobile Number