## BOQ final
Project Design: |  | BILL OF QUANTITIES HAMMAM DURRËS | PREVENTIV HAMAMI DURRËS
|  | SUMMARY | PERMBLEDHJE
| 1 | CONSTRUCTION WORKS | PUNIME NDERTIMI | Lekë/All |  |  | 0
| 2 | MECHANICAL INSTALLATION | INSTALIME MEKANIKE | Lekë/All |  |  | 0
| 3 | ELECTRICAL INSTALLATION | INSTALIME ELEKTRIKE | Lekë/All |  |  | 0
|  | Grant TOTAL (1+2+3) | SHUMA Totale(1+2+3) | Lekë/All |  |  | 0
Ref to TS | Ref. to Albanian Technical Prices Manual/ Ref. Manualit te Cmimeve | WORK DESCRIPTION | PËRSHKRIMI I PUNIMIT | UNIT / NJËSIA | ESTIMATED QUANTITIES / SASIA | UNIT PRICE / ÇMIMI | AMOUNT / SHUMA
|  | SITE CONSTRUCTION | NDËRTIM KANTIERI
| analize | Installation of the office container | Vendosje kontenier për personelin | LS | 1 |  | 0
| analize | Installation of the toilets | Vendosje kontenier WC
| analize | Site board | Tabela e objektit
|  | Preparation of the construction site (warehouse, temporary contractor office) | Pergatitja e sheshit te ndertimit
|  | Identification of a public landfil where waste will be disposed of during and after construction | Identifikimi i vend-depozitimit te mbetjeve te ngurta ku do te depozitohen mbetjet gjate dhe pas ndertimit
|  | Guards | Ruajtja e kantierit
|  | Installation of Environment and Health and Safety warning signs | Instalimi i sinjalistikes per Mbrojtjen e Mjedisit, Shendetit dhe Sigurise ne Pune
|  | Preparation and Instalation of the project information Board (3x3m) | Pergatitja dhe instalimi i tabeles informuese te projektit (3x3m)
|  | Establishment of an infromation board (2x1.2m), where rules and regulations regarding environment & health and safetyat work | Vendosja e nje tabele informuese (2X1.2m), ku vendosen rregullat dhe rregulloret e mbrojtjes se mjedisit shendetit dhe sigurise ne pune
|  | Personal Protection Equipment (PPE) for all staf: (helmets, gloves, boots, etc) and other protective materials | Pajisjet Mbrojtese Personal per te gjithe stafin: helmeta, dorashka, kepuce pune etj.)
| analize | Site fencing and safety signs | Rrethimi I kantierit dhe sinjalistika | ml | 1702 |  | 0
|  | Sum 01 | SHUMA 01 | Lekë/All |  |  | 0
|  | RESTORATION CONSTRUCTION WORKS | PUNIME RESTAURUESE NDËRTIMI
|  | PRELIMINARY WORKS | PUNIME PARAPRAKE
| R.124/1 | Detailed design of the scaffolding structure and Implementation S.P. Metal scaffolding with facade pipes ~ 8m | Projektim I struktures se skelerise dhe F.V. Skele metalike me tubo fasade ~8m | m² | 44 |  | 0
Description |  | All scaffolding shall be designed and erected in accordance with the relevant standards. Only experienced and competent scaffolding erectors shall carry out erection. The Contractor shall ensure that any necessary modifications to the scaffolding during the course of the works shall be accepted by the scaffolding erector so that scaffolds shall remain suitable for the purpose for which they are intended throughout the works. The signed approval of the scaffolding shall be made visible at each ground level access point to the scaffolding. Working on unapproved scaffolding is strictly forbidden. Care shall be taken that the load of any debris collecting on a scaffold does not exceed the loading for the design. The maximum permissible loading of the scaffolding shall be clearly visible at all ground level access points. All measures necessary shall be taken to prevent debris from being accidentally dislodged from the platform. Steel scaffolding of trestle type, in accordance with local standards and regulations, including the supply of supports, maintenance, assembly, anchorage, dismantling etc. 15 cm toe boards shall be provided on all levels. Weatherproof sheeting or at least protective netting shall be provided on the outside of the scaffolding. PRIOR TO THE WORKS COMMENCING THE CONTRACTOR SHOULD CONSULT THE DESIGN TEAM AND THE UNOPS SUPERVISOR IN ORDER TO DECIDE (on site) WHERE IS THE SCAFFOLDING GOING TO BE ERECTED!
| analize | Facade covering piece of plastic with holes for air penetration, printed with the appearance of the facade of the building | Mbulim i fasadave cope plastike me vrima per depertimin e ajrit, e printuar me pamjen e fasades se objektit | m² | 355 |  | 0
| R.124 | Detailed design of the scaffolding structure and Implementation S.P. Metal scaffolding with ceiling pipes ~ 8m | Projektim I struktures se skelerise dhe F.V. Skele metalike me tubo tavani ~ 8m | m² | 36 |  | 0
Description |  | All scaffolding shall be designed and erected in accordance with the relevant standards. Only experienced and competent scaffolding erectors shall carry out erection. The Contractor shall ensure that any necessary modifications to the scaffolding during the course of the works shall be accepted by the scaffolding erector so that scaffolds shall remain suitable for the purpose for which they are intended throughout the works. The signed approval of the scaffolding shall be made visible at each ground level access point to the scaffolding. Working on unapproved scaffolding is strictly forbidden. Care shall be taken that the load of any debris collecting on a scaffold does not exceed the loading for the design. The maximum permissible loading of the scaffolding shall be clearly visible at all ground level access points. All measures necessary shall be taken to prevent debris from being accidentally dislodged from the platform. Steel scaffolding of trestle type, in accordance with local standards and regulations, including the supply of supports, maintenance, assembly, anchorage, dismantling etc. 15 cm toe boards shall be provided on all levels. Weatherproof sheeting or at least protective netting shall be provided on the outside of the scaffolding. PRIOR TO THE WORKS COMMENCING THE CONTRACTOR SHOULD CONSULT THE DESIGN TEAM AND THE UNOPS SUPERVISOR IN ORDER TO DECIDE (on site) WHERE IS THE SCAFFOLDING GOING TO BE ERECTED!
| R.98/1 | Removal of doors and windows | Heqje dyer e dritare | m² | 4.4 |  | 0
Description |  | The existing windows and doors should be removed carefully, using manual tools in order not to create any damage to the authentic masonry
| R.121/1 | Brick wall demolition without cleaning | Prishje mur tulle pa pastrim | m³ | 0.35 |  | 0
Description |  | This process will be applied for the removal of the window inappropriately opened on the dome during previous interventions. The brick wall fragment removal should be done using manual tools (including chisels and hammers). The process should be performed carefully in order to avoid transmitting strong vibrations to the dome.
| analize | Removal of the mortar layer in the dome | Heqje e shtreses se llaçit ne kupole | m² | 56.5 |  | 0
Description |  | During various interventions in time, the patching of degraded surfaces or damaged joints with cement has started to be applied in historic buildings, which is a material that does not match traditional materials and original construction techniques of the building. They must be removed very carefully to avoid further damage and displacement of the original materials. Excecution : A small test area should be selected for removal to determine the difficultly of removing this mortar. Only hand tools should be used and only on the Portland cement mortar – not on the original stone. Care must be taken in these areas as the mortar joints are not large and work must proceed from the centre of the joint using a pointed hand chisel creating a grove up the centre of the joint working upward. This grove can then be expanded inward until the original lime mortar is encountered and outward toward the stone. Chiselling upward in the centre of the joint prevents slips and damages to the original stone. After this initial cut the grove can be expanded. It the mortar breaks away freely without harming the original stone then work may proceed. If the mortar breaks away with large pieces (3-4cm) of original stone, then the work must be stopped and the conservation architect notified. In this case that the mortar cannot be removed then additional instructions will be issued. If the mortar is easy to remove, then work should progress around the area to be consolidated. Areas of urgent consolidation must be addressed first and the Portland cement mortar must be removed from the back and sides of all original stone if that stone is removed. The Portland cement mortar must be removed from an area larger than the consolidation zone in order that the new lime mortar may be ́blended ́ into the surrounding area. This is to prevent obvious visual ́patches ́ of work. Once the mortar is removed the area must be cleaned of loose material and disposed of with water. High pressure water hoses may not be used nor an excessive amount of water.
| 2.426/3 | Removal of the concrete layer on the cover | Heqje e shtreses betoni ne mbulese | m³ | 2.5 |  | 0
Description |  | The concrete layer should be removed using manual tools (chisel and hammer) in order to avoid transmitting strong vibrations to the cover structure.
| analize | Removal of local tile layer | Heqje e shtrese tjegulla vendi | m² | 14 |  | 0
Description |  | Each ceramic roof tile should be revomed carefully and stored in two different storage areas. The differentiatiation will be in base of physical conditions of the tiles. While removing the tiles they should be checked if the are in satisfactory good conditions to be reused on the roof. The unbroken and uncracked should be cleaned with brushes and water so to remove any residue that might be attached to it. The broken or cracked tiles can be stored at the waste storage.
| analize | Removal of layers on the floor | Heqje e shtresave ne dysheme | m² | 60 |  | 0
Description |  | The layers on the floor should be removed using manual tools only. The process should be very cautious in order not to damage the authentic layers that are underneath. A layers survey and a sample of layers removing should be done under the supervision of the architect from the design team, supervisor from the MoC and the supervisor from UNOPS, in order to understand where to stop removing layers and the methodolgy of removing them. Only then, the regular process can commence.
| R.121 | Removal of damaged plastering on facades | Heqje e suvatimit te demtuar ne fasada | m² | 160 |  | 0
Description |  | The removal of the damaged facade plaster should follow these steps. 1- In presence of the architect from the design team, supervisor from the MoC and the supervisor from UNOPS a survey should be carried on to define the methodology of inspection of the damaged plaster: make light strokes from the center of the damaged area and then expand toward the surface to find the boundary between damaged and non damaged plaster. The damaged plaster due to the light strokes can fall down easily, or be cracked easily or the strokes may have a different sound when there is a void under the plaster layer. 2- inspect if the plaster is authentic or it belongs to some previous restoration intervention. 3- make laboratory analisys of the plaster and get the composition ratio of it. 4- if the plaster belongs to previous interventions and its composition contains cement, it should be all removed using manual tools and being cautious not to cause damage to the authentic layers that might be underneeth. 5- if the plaster is authentic (no cement is found in its composition) remove the plaster that is prone to fell or cracks easily from the strokes done on it and the plaster that has voids under the surface. 6- clean the lacunaes with brushes and clean water. 7- fill the lacunaes with new plaster. The new plaster should have the same composition as the identified authentic one and the thickness of the applied layer should be exactly like the identified authentic one.
| R.121 | Removal of damaged plastering on interior walls | Heqje e suvatimit e demtuar ne muret e brendeshme | m² | 172 |  | 0
| analize | Cleaning and restoration of water channels | Pastrim e restaurim i kanaleve të ujit | ml | 66 |  | 0
| analize | Transport of material in an authorized public place up to 45 km | Transport materiali ne vend te autorizuar publik deri 45 km | m³ | 46.7 |  | 0
|  | Sum a | SHUMA a | Lekë/All |  |  | 0
|  | STRUCTURAL RETROFIT WORKS | PUNIME PERFORCIMI STRUKTURE
| R.13 | Solid brick wall up to 3m, lime mortar 1: 2 | Mur me tulla të plota deri 3m, llaç gëlqere 1:2 | m3 | 0.4 |  | 0
Description |  | "This process will be applied for the closure of the inappropriate window opened in the dome. Mix ingredients in clean mechanical batcher for 5-10 minutes. Mix materials in a clean mechanical batch mixer. Use mortar within 1.5 hours of initial remixing. Discard left-over mortar. Do not remix. The brick need to be full, with dimensions as the one in the dome; Recreate the same measures of brick; the Brick should be baked on the temperatures up to 800C "
| AN | Injections with seasoned lime mortar 1: 3 | Injektime me Llaç gëlqere e stazhionuar 1:3 | m3 | 2 |  | 0
Description |  | Take samples from the inner core of the wall; Only after understanding the segregation of the original mortar, one can define the ratio of the mortar to be used for the injection. For the grouting process the needed steps shall be undertaken: Take samples from the inner core of the wall; Only after understanding the segregation of the original mortar, one can define the ratio of the mortar to be used for the injection. After defining the mortar compound mix and ratio will start the process of grouting This process should be implemented in the following steps: 1. Setting the grouting net. The frequency of the grouting points (net) need to be decided according to the level of deterioration and to the wall thickness. The perforation process of the walls can now start: 2-4 perforation for 1 sqm (positioned like in equilateral triangles net) and the diameters of the perforation holes need to be φ1.5-2.5 cm. 2. The grouting elastic plastic tubes (φ 1-2 cm) positioning should be done until the tubes go 25-30 cm deep in the inner side of the masonry and 20 cm at the outer side of the masonry. 3. Washing and wettening of the masonry proces which aims: washing through the grouting tubes in order to remove the dust and the debris' particles created during the perforation process; inspection of the grouting lines; reduction of the absorbtion of the grouting mixture's moisture in order not to reduct the hydration and the fluidity of the grouting mixture. 4. The grouting process using low preassure to the grouting mixture. The mortar mixture of the grouting should be of traditional materials and its final strength should not be higher that the strength of the authentic not deteriorated mortar of the masonry. In order to avoid the formation of the rigid nucleus of mortar within the masonry, the grouting should be done relying on gravity, free fall leakage in one direction only, starting from the lowest level of the injection tubes. 5. Tubes removal and the plastering of the perforation holes.
| R.172 | Stainless Steel Helicoidal Rebars Installation Ø 8 + Accessories | Vendosje shufrash inoksi helikoidal Ø 8 + Aksesore | ml | 6 |  | 0
Description |  | Austenitic stainless steel Grade 304 (1.4301) or 316 (1.4401)
| R.203 | Restoration, completion of brick decoration in masonry | Restaurimi, plotesimi I dekoracionit me tulla ne murature | ml | 2.5 |  | 0
Description |  | The brick need to be full, with dimensions as the one found on site; Recreate the same measures of brick and work with profiling; Recreate the same pattern of brick decoration.
|  | Sum b | SHUMA b | Leke/All |  |  | 0
|  | RESTORATION WORKS ON COVERS | PUNIME RESTAURIMI E MBULESËS
| R.89 + analize | Horosan mortar additives (with lime porridge, goat hair, straw, brick powder, egg whites) on the dome | Shtese llaçi horosan (me qull gëlqere, lesh dhie, kashte, pluhur tulle, te bardhe veze) mbi kupole | m² | 56.5 |  | 0
Description |  | "Layer1: 5 Brick dust (the brick to be used should be a full brick baked at up to 800C): 4 NHL3.5 thickness ± 1.5 - 2 cm depending on the layers Layer 2: 5 Brick dust (the brick to be used should be a full brick baked at up to 800C): 3 NHL3.5 thickness ± 1.5 - 2 cm depending on the layers"
| analize | Cement-free lime chandelier layer | Shtrese lluster gelqere pa çimento | m² | 77 |  | 0
Description |  | The limecrete layer shall be prepared using 2(sand):1(NHL5) ratio. The layer thickness should range from 50-75mm. The limecrete adition should take place in a way that it fills the eventual voids in the base and its flattened smooth on the surface
| analize | Waterproofing and evaporating membranes | Membrane hidroizoluese dhe avullizoluese | m² | 77 |  | 0
| analize | Geotextile protective layer | Shtrese mbrojtese Gjeotekstil | m² | 77 |  | 0
Description |  | Geotextile to be a non-woven synthetic polymer with various small holes with a minimum size of .211 mm # 70 with an open surface of 4% and a tensile strength of 100 kg. Be from an ISO 9001: 2008 certified manufacturer and be resistant to ultraviolet degradation and biological, chemical and salt environments.
| R.52/ an | Old type place tile cover with wooden slats | Mbulese me tjegulla vendi tip i vjeter me listela druri | m² | 77 |  | 0
Description |  | The existing ceramic tiles should be inspected during the dismanteling process in order to select the ones that can be reused. The ones that will need to be added can be found in the old buildings (not cultural monuments) in order to have as many of authentic traditional tiles as possible, or inf this is not possible, the new ones should be produced with the same dimensions and shape as the tiles found on site
| R.44 | Copper discharge tape | Kasetë shkarkimi me bakër | copë | 2 |  | 0
Description |  | All the rain water discharges elements (vertical or horizontal gutters and discharge cassettes) should be installed on the monument's structure through the fixating elements which itself will be fixed only on the wall joints with screws. No screws should be fixated on the stones.
| R.46 | Horizontal discharge gutter with copper 33cm | Ulluk shkarkimi horizontal me bakër 33cm | ml | 30 |  | 0
Description |  | Metal components against corrosion with a 5-year production warrant. Vertical cast iron gutters, galvanized ignition, anchors, partition bolts and clamps. All the rain water discharges elements (vertical or horizontal gutters and discharge cassettes) should be installed on the monument's structure through the fixating elements which itself will be fixed only on the wall joints with screws. No screws should be fixated on the stones.
| R.45 | Vertical copper discharge gutter Φ100 | Ulluk shkarkimi vertikal bakër Φ100 | ml | 6 |  | 0
Description |  | Metal components against corrosion with a 5-year production warranty. All the rain water discharges elements (vertical or horizontal gutters and discharge cassettes) should be installed on the monument's structure through the fixating elements which itself will be fixed only on the wall joints with screws. No screws should be fixated on the stones.
| R.43 | Ventilation hoods fitted with copper sheet hoods | Oxhake ajrimi vendosen kapuçe llamarine bakri | m² | 3 |  | 0
| 2.375/1 | Lighting chimneys glass closure and metal frame | Oxhake ndriçimi mbyllje me xham e kornize metalike | m² | 2 |  | 0
|  | Sum c | SHUMA c | Leke/All |  |  | 0
|  | RESTORATION WORKS ON FAÇADES | PUNIME RESTAURIMI NË FASADË
|  | Window closure with stone masonry (northen facade as shown in the drawings) | Mbyllje e dritares ne fasaden veriore (si tregohet ne vizatimet teknike) me murature guri | m³ | 0.5
Description |  | The small fragment of wall should have the same characteristics as the authentic wall: wall thicknes, stones (colur, shape and dimensions), the building patern, mortar and plaster.
| R.89 + analize | Horosan mortar additives (with lime porridge, goat hair, straw, brick powder, egg whites) | Shtese llaçi horosan (me qull gëlqere, lesh dhie, kashte, pluhur tulle, te bardhe veze) | m² | 160 |  | 0
Description |  | "Layer1: 1NHL 2:1Pozzolane:1 river sand 1.5 - 2 cm depending on layers Layer 2: 1NHL 2:1 river sand 1.5 - 2 cm depending on layers
| R.105 +analize | Facade painting with white lime | Lyerje fasade me gelqere te bardhe | m² | 160 |  | 0
| R.103 | Restoration of entrance gate | Restaurim i Portes hyrese | m² | 1.5 |  | 0
Description |  | To be decided on site if the door is the from some previous restoration interventions and if it is compatible with the building typology, thus worthy to be restored. If yes, to be consulted a wooden restorer
| R.99 /1+ analize 1 | Restoration of wooden window | Restaurim dritare druri | m² | 2.4 |  | 0
Description |  | To be decided on site if the window is the from some previous restoration interventions and if it is compatible with the building typology, thus worthy to be restored. If yes, to be consulted a wooden restorer
| R.Analize | Restoration of decorative metal grills on windows and main gate | Restaurim zgara metalike dekorative ne dritare dhe porten kryesore | m² | 0.4 |  | 0
Description |  | To be decided on site if the decorative metal grill is the from some previous restoration interventions and if it is compatible with the building typology, thus worthy to be restored. If yes, to be consulted a metal restorer.
|  | Sum d | SHUMA d | Leke/All |  |  | 0
|  | RESTORATION ACTVITITES IN THE INTERNAL SPACES | PUNIME RESTAURUESE NË AMBJENTET E BRENDSHME
| R.89 + analize | Horosan mortar additives (with lime porridge, goat hair, straw, brick powder, egg whites) on the dome | Shtese llaçi horosan (me qull gëlqere, lesh dhie, kashte, pluhur tulle, te bardhe veze) mbi kupole | m² | 172 |  | 0
Description |  | "Layer1: 5 Brick dust (the brick to be used should be a full brick baked at up to 800C): 4 NHL3.5 thickness ± 1.5 - 2 cm depending on the layers Layer 2: 5 Brick dust (the brick to be used should be a full brick baked at up to 800C): 3 NHL3.5 thickness ± 1.5 - 2 cm depending on the layers"
| analize | Painting of the interior walls with white lime | Lyerje e mureve te brendeshme me gelqere te bardhe | m² | 172 |  | 0
| analize | Cement-free lime chandelier layer | Shtrese lluster gelqere pa çimento | m² | 60 |  | 0
Description |  | The limecrete layer shall be prepared using 2(sand):1(NHL5) ratio. The layer thickness should range from 50-75mm. The limecrete adition should take place in a way that it fills the eventual voids in the base and its flattened smooth on the surface
| 2.196/b | Waterproofing the floor with a map layer | Hidroizolim i dyshemese me nje shtrese mapej | m² | 60 |  | 0
Description |  | The limecrete layer shall be prepared using 2(sand):1(NHL5) ratio. The layer thickness should range from 50-75mm. The limecrete adition should take place in a way that it fills the eventual voids in the base and its flattened smooth on the surface
| analize | Lightened concrete leveling layer t = 4 cm | Shtrese niveluese beton i lehtesuar t = 4 cm | m³ | 2.4 |  | 0
Description |  | The limecrete layer shall be prepared using 2(sand):1(NHL5) ratio. The layer thickness should range from 50-75mm. The limecrete adition should take place in a way that it fills the eventual voids in the base and its flattened smooth on the surface
|  | Restoration of the authentic floor layers that can be discovered after removing the added floor layers in the internal areas of the hamam. | Restaurim i shtreses autentike te dyshemese qe mund te ekspozohet pas heqjes se shtresave aktuale ne dysheme ne ambientet e brendshme. | m² | 70
Description |  | After the astual floor layers, the floor restoration process should be decided on site after a site consultation with the design team architect, UNOPS supervisor and the MoC supervisor.
| analize | Layer with wheat slabs t = 4 cm | Shtrese me pllaka guri t=4 cm | m² | 60 |  | 0
Description |  | The stone slabs should be placed on the floor over a sand layer and preesed against each other and against the sand layer. No binder should be used.
| analize | S.I. Tempered glass cover and metal frame on the floor, according to T.D. | F.V. Mbulese me xham te temperuar dhe kornize metalike ne dysheme, sipas T.V. | m² | 0.6 |  | 0
| analize | S.I. Glass lids with metal frames on the walls, according to T.D. | F.V. Kapake xhami me kornize metalike ne mure, sipas T.V. | m² | 1.7 |  | 0
| analize | Restoration of existing stone sink | Restaurim i lavamanit ekzistues prej guri | cope | 1 |  | 0
Description |  | To be consulted a stone artefacts conservator.
|  | Sum e | SHUMA e | Leke/All |  |  | 0
|  | INSTALLATION OF EXPOSITOR AND EQUIPMENT | VENDOSJE EKSPOZITORE DHE PAJISJE
| oferte | Reception metal structure lined with wood and Led lighting | Recepsion strukture metalike e veshur me dru dhe ndriçim Led | ml | 2.5 |  | 0
| oferte | Reception seat with back and arms | Ndenjese recepsioni me shpinore dhe krahe | cope | 1 |  | 0
| oferte | Low furniture h = 74 cm, for tea and coffee | Mobilje e ulet h=74 cm, per çaj dhe kafe | ml | 1.75 |  | 0
| analize | Seat with metal structure and travertine layer t = 5 cm | Ndenjese me strukture metalike dhe shtrese travertine t=5 cm | ml | 4 |  | 0
| oferte | Installation of Tourist Boards Type A_40 x 120 cm, h=2.1 m ( Galvanized metalic construction, covering with corten sheet t=5mm, 2 corten plates t=10mm, print of text, symbols and images). | F.V. Tabela orjentuese turistike Tipi A_40 x 120 cm, h=2.1 meter (realizuar : Konstruksione metalike te galvanizuar; Veshje me flete Korteni t=5 mm; Dy pllaka Korteni t= 10 mm; Printim teks, simbole dhe imazhe) | cope | 1 |  | 0
|  | Sum f | SHUMA f | Leke/All |  |  | 0
|  | Sum 02 | SHUMA 02 | Lekë/All |  |  | 0
|  | WORKS EXTERNAL SYSTEMS | PUNIME SISTEMIME TE JASHTME
| analize | Removal of enclosed gates | Heqje porte e kangjella te rrethimit | m² | 15 |  | 0
| 2.426 | Demolition of brick wall without cleaning | Prishje mur te rrethimit tulle pa pastrim | m³ | 2.7 |  | 0
| 2.426/2 | Demolition of fencing wall with concrete blocks | Prishje mur te rrethimit me blloqe betoni | m³ | 5.1 |  | 0
| 2.426/6 | Demolition of reinforced concrete in the surrounding walls | Prishje beton arme ne mure rrethuese | m³ | 0.4 |  | 0
| 2.1 | Manual Excavation of soil in the territory | Germim dheu me krah ne territor | m³ | 27 |  | 0
| analize | Transport of material in an authorized public place up to 45 km | Transport materiali ne vend te autorizuar publik deri 45 km | m³ | 37 |  | 0
| analize | Primer layer for waterproofing foundations | Shtrese Prajmer per hidroizolimin e themeleve | m² | 17.4 |  | 0
| 2.197 | Perimeter waterproofing of foundations h = 40 cm, with bitumen emulsion and 2 layers of tar | Hidroizolim perimetral i themeleve h= 40 cm,me emulsion bitumi dhe 2 shtrese k katrama | m² | 30.5 |  | 0
| analize | Protective layer "Protofon" of waterproofing | Shtrese mbrojtese "Protofon" e hidroizolimit | m² | 17.4 |  | 0
| 2.258 | Gravel layer t = 20cm | Shtrese zhavori t = 20cm | m³ | 2.4 |  | 0
| 2.262/3 | Concrete layer C-12/15, t = 10 cm | Shtrese betoni C-12/15, t=10 cm | m³ | 1.2 |  | 0
| analize | Alley construction with stone slabs | Ndertimi rrugice me pllaka guri | m² | 12 |  | 0
| analize | S.I. Stone border 15x30 cm | F.V. Bordure guri 15x30 cm | ml | 21.7 |  | 0
| analize | Green area | Siperfaqe me gjelberim | m² | 56 |  | 0
|  | Sum 03 | SHUMA 03 | Lekë/All |  |  | 0
|  | TOTAL 1 | SHUMA 1 | Leke/All |  |  | 0
|  | INSTALLATION WORKS FOR MECHANICAL SYSTEM | PUNIME PER INSTALIMIN I SISTEMEVE MEKANIKE
15.1 |  | FIRE FIGHTING SIGNALIZATION | KARTELA SINJALIZIMI
15.1.4 | An | P.I Emergency Exit (AL-5107-B) | F.V Drejtim dalje emergjence (AL-5107-B) | copë | 4 |  | 0
15.1.4 | An | P.I Fire extinguisher with CO2 (AL-5206-B) | F.V Fikese zjarri me CO2 (AL-5206-B) | copë | 1 |  | 0
15.1.4 | An | P.I Fire extinguisher with dry powder (AL-5203-B) | F.V Fikese zjarri me pluhur (AL-5203-B) | copë | 1 |  | 0
|  | Sum 01 | SHUMA 01 | Lekë/All |  |  | 0
15.2 |  | SANITARY WATER SUPPLY SYSTEM | SISTEMI I FURNIZIMIT ME UJI SANITAR
|  | SANITARY WATER DISTRIBUTION NETWORK | RRJETI I SHPERNDARJES SE UJIT SANITAR
15.2.1 | An | P.I PEX/al pipe,DN 12 (Ø16 X 2.0) mm, insulated δ= 6mm | F.V Tubo PEX/al,DN 12 (Ø16 X 2.0) mm, i termoizoluar δ= 6mm | ml | 22 |  | 0
15.2.1 | An | P.I PEX/al pipe,DN 12 (Ø20 X 2.2) mm, insulated δ= 6mm | F.V Tuba PEX/al,DN 12 (Ø20 X 2.2) mm, i termoizoluar δ= 6mm | ml | 15 |  | 0
15.2.2 | An | P.I AL-PEX elbow Ø20x1/2 F, with press | F.V Bryla AL-PEX Ø20x1/2 F, me prese | copë | 2 |  | 0
15.1.3 | An | P.I Mounting and fixing elements. (metalik tape,nail, clamps) | F.V Elemente montimi dhe mberthimi. (Shirit metalik, gozhde, fasheta) | komplet | 1 |  | 0
15.2.4 | An | P.I Intersection mini valve for sanitary equipment | F.V Minivalvula nderprerese per pajisjet hidrosanitare | copë | 4 |  | 0
|  | Sum 02 | SHUMA 02 | Lekë/All |  |  | 0
15.3 |  | WASTEWATER DISCHARGE SYSTEM | SISTEMI I SHKARKIMIT TE UJRAVE TE ZEZA
|  | DISCHANGES IN THE WC's PLAN | SHKARKIMET NE PLANIMETRI TE WC-ve
| 2.1 | P.I. Pipe ground excavations and transports | F.V Germim dhe transport dheu per kanalet e tubave | m³ | 39 |  | 0
| 2.258/2 | P.I. Gravel layer | F.V Shtrese cakulli | m³ | 18 |  | 0
15.2.6 | An | P.I PP-R pipe , Ø50 X 6.9 mm PN 16 | F.V Tub PP-R , Ø50 X 8,3 mm PN 16 | ml | 10 |  | 0
15.3.1 | An | P.I Dischange pipe + fittings PP Ø 50 | F.V Tuba shkarkimi + rakorderi PP Ø 50 | ml | 25 |  | 0
15.3.6 | An | P.I Drainage Pipe Ø 160 | F.V Tub drenazhimi Ø 160 | ml | 45 |  | 0
15.3.6 | An | P.I Drainage Pipe Ø 200 | F.V Tub drenazhimi Ø 200 | ml | 11 |  | 0
15.1.3 | An | P.I Mounting and fixing elements. | F.V Elemente montimi dhe mberthimi. | komplet | 1 | 0 | 0
15.3.7 | An | P.I Control manhole R/C (40 x 40) cm, R/C cover 40x40cm | F.V Puseta Kontrolli B/A (40 x 40 ) cm, me kapak B/A 40x40cm, klasa C250 40 x 40 | copë | 4 |  | 0
15.3.8 | An | P.I High density geotecstil | F.V Gjeotekstil me densitet te larte | €/m² | 23 |  | 0
|  | Sum 03 | SHUMA 03 | Lekë/All |  |  | 0
|  | TOTAL SUM A | SHUMA TOTALE A | Lekë/All |  |  | 0
15.5 |  | MACHINERY AND EQUIPMENT | MAKINERI E PAJISJE
|  | FIRE FIGHTING SYSTEM | SISTEMI I MBROJTJES NGA ZJARRI
15.5.3 | An | S Dry powder fire extinguisher, for electric equipment protection type. Fire class 55A-233BC , Normal Capacity 5 kg , Weight 13.6 kg, Dimensions Ø 140 x 765 mm | F Fikse zjarri me pluhur . Tip bombel (e levizshem). Klasa e zjarrit A-B1-C, kapaciteti normal 6 kg, pesha 10 kg. Diametri 160mm, lartesia 560 mm. | copë | 1 |  | 0
15.5.4 | An | S CO2 fire extinguisher, for electric equipment protection type. Fire class 55A-233BC , Normal Capacity 5 kg , Weight 13.6 kg, Dimensions Ø 140 x 765 mm | F Fikse zjarri me CO2 destinacioni per mbrojtjen e paisjeve elektrike ne ndertes. Tip bombel (e levizshem). Klasa e zjarrit 55A-233BC, kapaciteti normal 5 kg, pesha 13.6 kg. Diametri 140mm, lartesia 765 mm. | copë | 1 |  | 0
|  | Sum 04 | SHUMA 04 | Lekë/All |  |  | 0
|  | SANITARY WATER SUPPLY SYSTEM | SISTEMI I FURNIZIMIT ME UJI SANITAR
15.5.11 | An | S. Supplay Technical characteristics: -Electric power : 550 W, -Current : 2.8 A, -Voltage : F 1 x 200x240V, 50Hz -Flow : 3 m³ / h -Head: 27 mkH2O -Connection: Ø 1" / PN 10, -Completed with the necessary fittings (pressure reducer, intersection valve, non-return valve, etc.) | F.Pompe furnizimi me uje karakteristikat teknike: -Fuqia e instaluar : 550 W, -Intensiteti i rrymës : 2.8 A, -Tensioni i dhenë :F 1 x 200x240V, 50Hz -Prurja: 3 m³ / h -Prevalenca: 27 mkH2O -Lidhjet: Ø 1" / PN 10, -Kompletuar me rakorderite e nevojshme ( reduktor presioni, saracineska,valvol moskthimi etj.) | copë | 1 |  | 0
|  | Sum 04 | SHUMA 04 | Lekë/All |  |  | 0
|  | HVAC SYSTEM | SISTEMI HVAC
15.5.8 | An | S. Radiant pannel for floor heating system with auto temperature regulation | F. Panel radiant per ngrohje nga dyshemeja me vete rregullim temperature | m² | 51 |  | 0
|  | Sum 04 | SHUMA 04 | Lekë/All |  |  | 0
|  | TOTAL SUM B | SHUMA TOTALE B | Lekë/All |  |  | 0
.
|  | 2-TOTAL SUM A + B | 2-SHUMA TOTALE A + B | Lekë/All |  |  | 0
| Ref. 16 01 05 | Electrical distribution | Kuadrot Elektrik |  |  |  | 0
|  | Sum 01 | SHUMA 01 | Lekë/All |  |  | 0
|  | Low voltage cable for power and lighting network | Kabllot T.U per rrjetin e fuqise dhe ndricimit
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type FG16OR16-0,6/1 kV ; S=3(1x120)+1(1x120) +1(1x70) mm2 | F.V. Kabell bakri me izolim dhe veshje EPR , tip . FG16OR16-0,6/1 kV ; S=3(1x120)+1(1x120) +1(1x70) mm2 | ml | 30 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type FG16R16-0,6/1 kV , S=4(1x95)+1(1x50) mm2 | F.V. Kabell bakri me izolim dhe veshje EPR , tip . FG16R16-0,6/1 kV ; S=4(1x95)+1(1x50) mm2 | ml | 10 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type FG16R16-0,6/1 kV , S=4x70+1x50 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm ,;K.Z. FG16R16-0,6/1 kV ; S=4x70+1x50 mm2 | ml | 10 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=4x50+1x35 mm2 | F.V. Kabell bakri kunder djegjes me izolim dhe veshje , FG16R16-0,6/1 kV ; S=4x50+1x35 mm2 | ml | 12 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=4x35+1x16 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm ,;K.Z. FG16R16-0,6/1 kV ; S=4x35+1x16 mm2 | ml | 10 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=4x25+1x16 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm ,;K.Z. FG16R16-0,6/1 kV ; S=4x25+1x16 mm2 | ml | 35 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=5x16 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm ,;K.Z. FG16R16-0,6/1 kV ; S=5x16 mm2 | ml | 20 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=S=5x10 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm ,;K.Z. FG16R16-0,6/1 kV ; S=5x10 mm2 | ml | 20 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=5x6 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm ,;K.Z. FG16R16-0,6/1 kV ; S=5x6 mm2 | ml | 15 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=5x4 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm ,;K.Z. FG16R16-0,6/1 kV ; S=5x4 mm2 | ml | 15 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type FG16R16-0,6/1 kV S=5x2.5 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm;K.Z. FG16R16-0,6/1 kV ; S=5x2.5 mm2 | ml | 20 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=5x1.5 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm;K.Z. FG16R16-0,6/1 kV ; S=5x1.5 mm2 | ml | 30 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=3x4 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm;K.Z. FG16R16-0,6/1 kV ; S=3x4 mm2 | ml | 20 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=3x2.5 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm;K.Z. FG16R16-0,6/1 kV ; S=3x2.5 mm2 | ml | 20 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type, FG16R16-0,6/1 kV S=3x1.5 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm;K.Z. FG16R16-0,6/1 kV ; S=3x1.5 mm2 | ml | 20 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated conductor, fire retardant, under PVC sheath,Type NO7V-K, S = 1* 1.5 mm² | F.V. Percjelles T.U , izolim PVC ,Tip NO7V-K, S = 1* 1.5 mm² | ml | 120 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated conductor, fire retardant, under PVC sheath ,Type NO7V-K, S = 1* 2.5 mm² | F.V. Percjelles T.U , izolim PVC ,Tip NO7V-K, S = 1* 2.5 mm² | ml | 20 |  | 0
| Ref.16 03 03 05 | S.I. Copper PVC Insulated conductor, fire retardant, under PVC sheath,Type NO7V-K, S = 1* 4 mm² | F.V. Percjelles T.U , izolim PVC ,Tip NO7V-K, S = 1*4mm² | ml | 20 |  | 0
| Ref.16 03 03 05 | S.I. Cable head with Cable Lugs & Terminals (120 - 300) mm2, for 4 conduits. | F.V. Koka kabllore me kapikorda & terminale (120 - 300) mm2, per 4 deje. | ml | 12 |  | 0
| Ref.16 03 03 05 | S.I. Cable head with Cable Lugs & Terminals (35 - 95) mm2, for 4 conductors. | F.V. Koka kabllore me kapikorda & terminale (35 - 95) mm2, per 4 deje. | ml | 8 |  | 0
| Ref.16 03 03 05 | S.I. Cable head with Cable Lugs & Terminals (10 - 25) mm2, for 4 conductors. | F.V. Koka kabllore me kapikorda & terminale (10 - 25) mm2, per 4 deje. | ml | 12 |  | 0
| Ref.16 03 03 05 | S.I. Cable head with Cable Lugs & Terminals (1,5-6) mm2, for 4 conductors. | F.V. Koka kabllore me kapikorda & terminale (1,5-6) mm2, per 4 deje. | ml | 100 |  | 0
| Ref.16 03 04 | S.I. PVC flexible pipe, fire retardant emitting Heavy Type , Ø 16 mm, a low of corrosive gas with accessories. | F.V. Tub PVC fleksibel vetshuares i forte Ø 16 mm, | ml | 100 |  | 0
| Ref.16 03 04 | S.I. PVC flexible pipe, fire retardant emitting Heavy Type , Ø 20 mm, a low of corrosive gas with accessories. | F.V. Tub PVC fleksibel vetshuares i forte Ø 20 mm, | ml | 100 |  | 0
| Ref.16 03 04 | S.I. PVC flexible pipe, fire retardant emitting Heavy Type , Ø 25 mm, a low of corrosive gas with accessories. | F.V. Tub PVC fleksibel vetshuares i forte Ø 25 mm, | ml | 80 |  | 0
| Ref.16 03 04 | S.I. PVC flexible pipe, fire retardant emitting Heavy Type , Ø 32 mm, a low of corrosive gas with accessories. | F.V. Tub PVC fleksibel vetshuares i forte Ø 32 mm, | ml | 100 |  | 0
| Ref.16 03 04 | S.I. Hard flexible PVC pipe fire proof, with instalation outside wall (d 16) dj = 25m/m | F.V. Tub PVC rigid I forte vetshuares, per instalime jashte murit (d 16) dj = 25m/m me aksesore montimi | ml | 20 |  | 0
| Ref.16 03 04 | S.I. PVC flexible corrugated pipe, fire retardant emitting Heavy Type , Ø 63 mm, a low of corrosive gas with accessories | F.V. Tub PVC fleksibel i korruguar, zjarrdurues dhe me emetim gazi , tip I rende, Ø 63 mm, me te gjithe aksesoret | ml | 20 |  | 0
| Ref.16 03 04 | S.I. PVC flexible corrugated pipe, fire retardant emitting Heavy Type , Ø 100 mm, a low of corrosive gas with accessories | F.V. Tub PVC fleksibel i korruguar, zjarrdurues dhe me emetim gazi , tip I rende, Ø 100 mm, me te gjithe aksesoret | ml | 60 |  | 0
|  | Sum 02 | SHUMA 02 | Lekë/All |  |  | 0
|  | Power network system | Rrjeti i fuqise
| Ref. 16 03 07 | S.I. Box for plugs and switchers 3 modul-support-sheet-cover | F.V. Kuti per celesa e priza 3-module, suport , kapak & tapa etj | pcs | 13 |  | 0
| Ref. 16 03 07 | S.I. Box for plugs and switchers 4 modul-support-sheet-cover | F.V. Kuti per celesa e priza 4-module, suport , kapak & tapa etj | pcs | 2 |  | 0
| Ref. 16 03 05 | S.I. Distribution boxes with support PT-2-4 dim. 150*100*50 mm | F.V. Kuti shperndarese j/m. me kapak PT-2-4 dim. 150*100*50 mm | pcs | 4 |  | 0
| Ref. 16 03 05 | S.I. Distribution boxes with support PT-7 dim. 198*152*70 mm | F.V. Kuti shperndarese b/m. me kapak PT-7 dim. 198*152*70 mm | pcs | 3 |  | 0
|  | Sum 03 | SHUMA 03 | Lekë/All |  |  | 0
|  | Lighting network system | Rrjeti i ndricimit
| Ref. 16 03 07 | S.I. Switch 1 polar , 1 modular ,10 A ,250V | F.V. Frut çeles 1 polare, 1 modular, 10A, 250V | pcs | 4 |  | 0
| Ref. 16 03 07 | S.I. Box for plugs and switchers 3 modul-support-sheet-cover | F.V. Kuti per celesa e priza 3-module, suport , kapak & tapa | pcs | 4 |  | 0
| Ref. 16 03 05 | S.I. Distribution boxes b/m with support PT-7 dim. 150*100*50 mm | F.V. Kuti shperndarese b/m. me kapak PT-2-4 dim. 150*100*50 mm | pcs | 5 |  | 0
| Ref. 16 03 05 | S.I. Distribution boxes b/m with support PT-7 dim. 198*152*70 mm | F.V. Kuti shperndarese b/m. me kapak PT-7 dim. 198*152*70 mm | pcs | 3 |  | 0
|  | Sum 04 | SHUMA 04 | Lekë/All |  |  | 0
|  | LAN system | Sistemi LAN
| Ref. 16 03 05 | S.I. Distribution boxes b/m with support PT-7 dim. 150*100*50 mm | F.V. Kuti shperndarese j/m. me kapak PT-2-4 dim. 150*100*50 mm | pcs | 4 |  | 0
| Ref. 16 03 05 | S.I. Distribution boxes b/m with support PT-7 dim. 198*152*70 mm | F.V. Kuti shperndarese b/m. me kapak PT-7 dim. 198*152*70 mm | pcs | 3 |  | 0
| Ref. 16 04 05 | S.I. Lan cable, Type FTP-cat6 L.S.ZH, 250MHz up to 350 MHz Flame retardant | F.V. Kabllo rrjeti kompjuterik, Tip FTP-cat6 LSZH, 250MHz up to 350 MHz Flame retardant | ml | 275 |  | 0
| Ref. 16 04 05 | S.I. Lan cable, Type UTP-cat5 L.S.ZH, 250MHz up to 350 MHz Flame retardant | F.V. Kabllo rrjeti kompjuterik, Tip UTP-cat5 LSZH, 250MHz up to 350 MHz Flame retardant | ml | 220 |  | 0
| Ref. 16 04 05 | S.I. Lan cable Type outdoor, optic-fibre 12 copy, singel mode, SLT-SA-SJ. & Accessories, converter, fiber, FTP | F.V. Kabllo rrjeti, Tip outdoor fiber optike 12 kopje, singel mode, SLT-SA-SJ. Perfshire aksesoret e montimit, konverter Fiber/FTP etj | ml | 120 |  | 0
| Ref.16 03 04 | S.I. PVC flexible pipe, fire retardant emitting Heavy Type , Ø 20 mm, a low of corrosive gas with accessories. | F.V. Tub PVC fleksibel vetshuares i forte Ø 20 mm, | ml | 300 |  | 0
|  | Sum 05 | SHUMA 05 | Lekë/All |  |  | 0
|  | Fire Alarm System | Sistemi i alarmit te zjarrit
| Ref. 16 04 05. | S.I. PVC Insulated cable, fire retardant, under PVC sheath Type, Type RG-59, S=2x0,8 mm², red colour | F.V. Kabell me izolim PVC, Tip RG-59,S=2x0,8 mm², red colour | ml | 50 |  | 0
| Ref. 16 04 05. | S.I. Copper PVC Insulated cable, Type RG-59,S=2x1 mm², red colour | F.V. Kabell me izolim PVC, Tip RG-59,S=2x1 mm², red colour | ml | 50 |  | 0
| Ref. 16 04 05. | S.I. Copper PVC Insulated cable, fire retardant, under PVC sheath Type FG16R16-0,6/1 kV S=2x4 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm;K.Z. FG16R16-0,6/1 kV ; S=2x4 mm2 | ml | 40 |  | 0
| Ref. 16 04 05. | S.I. Copper PVC Insulated cable, Type RG-59, S=6x08+3x4 mm², red colour for air contional command | F.V. Kabell me izolim PVC, Tip RG-59,S=6x08+3x4 mm², red colour per komandimin | ml | 40 |  | 0
| Ref. 16 04 05. | S.I. Copper PVC Insulated cable, Type RG-59,S=6x1 mm², red colour, for door holders command. | F.V. Kabell me izolim PVC, Tip RG-59,S=6x1 mm², red colour per komandimin e kontakteve magnetike te dyerve | ml | 40 |  | 0
| Ref.16 03 04 | S.I. PVC flexible pipe, fire retardant emitting Heavy Type , Ø 20 mm, a low of corrosive gas with accessories. | F.V. Tub PVC fleksibel vetshuares i forte Ø 20 mm, | ml | 40 |  | 0
|  | Sum 06 | SHUMA 06 | Lekë/All |  |  | 0
|  | Public Adress System | Sistemi i lajmerimit zanor
|  | S.I. Cable refractory, 2x1.5 mm2 [FRS15 FE 180 PH 90] | F.V. Kabllo zjarr durues 2x1.5 mm2 [FRS15 FE 180 PH 90] | ml | 50 |  | 0
|  | S.I. Cable refractory, 2x1 mm2 [FRS15 FE 180 PH 90] | F.V. Kabllo zjarr durues 2x1 mm2 [FRS15 FE 180 PH 90] | ml | 40 |  | 0
|  | S.I. Lan cable, Tip FTP-cat6 L.S.ZH, 250MHz up to 350 MHz Flame retardant, connection of microphones with central | F.V. Kabllo rrjeti kompjuterik, Tip FTP-cat6 LSZH, 250MHz up to 350 MHz Flame retardant, lidhja e mikrofoneve me centralin | ml | 50 |  | 0
|  | S.I. Prefabricated cable for comunication central-amplifier | F.V. Kabell i parafabrikuar per komunikim central-amplifikator | ml | 1 |  | 0
|  | S.I. Prefabricated cable for comunication central-microfon | F.V. Kabell i parafabrikuar per komunikim central-mikrofon | ml | 1 |  | 0
| Ref.16 03 04 | S.I. PVC flexible pipe, fire retardant emitting Heavy Type , Ø 20 mm, a low of corrosive gas with accessories. | F.V. Tub PVC fleksibel vetshuares i forte Ø 20 mm | ml | 50 |  | 0
| Ref.16 03 04 | S.I. Distribution boxes 100x100 mm IP40 | F.V. Kuti shperndarese 100x100 mm IP40 | pcs | 1 |  | 0
|  | Sum 07 | SHUMA 07 | Lekë/All |  |  | 0
|  | CCTV System | Sistemi CCTV
|  | S.I. Lan cable, Tip FTP-cat6 L.S.ZH, 250MHz up to 350 MHz Flame retardant, connection of microphones with central | F.V. Kabllo rrjeti kompjuterik, Tip FTP-cat6 LSZH, 250MHz up to 350 MHz Flame retardant, lidhja e mikrofoneve me centralin | ml | 130 |  | 0
|  | S.I. Lan cable Type outdoor, optic-fibre 12 copy, singel mode, SLT-SA-SJ. | F.V. Kabllo rrjeti, Tip outdoor fiber optike 12 kopje, singel mode, SLT-SA-SJ. Perfshire aksesoret e montimit, konverter Fiber/FTP etj | ml | 2 |  | 0
|  | S.I. Cu Cable, insulated and clothing PVC, FG16R16-0,6/1 kV S=2x1.5 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm;K.Z. FG16R16-0,6/1 kV ; S=2x1.5 mm2 | ml | 105 |  | 0
| Ref. 16 03 05 | S.I. Distribution boxes 100x100 mm IP40 | F.V. Kuti shperndarese 100x100 mm IP40 | pcs | 1 |  | 0
| Ref.16 03 04 | S.I. PVC flexible pipe, fire retardant emitting Heavy Type , Ø 20 mm, a low of corrosive gas with accessories. | F.V. Tub PVC fleksibel vetshuares i forte Ø 20 mm, | pcs | 40 |  | 0
|  | Sum 08 | SHUMA 08 | Lekë/All |  |  | 0
|  | Alarm system | Sistemi I alarmit
|  | S.I. Lan cable, Tip FTP-cat6 L.S.ZH, 250MHz up to 350 MHz Flame retardant, connection of microphones with central | F.V. Kabllo rrjeti kompjuterik, Tip FTP-cat6 LSZH, 250MHz up to 350 MHz Flame retardant, lidhja e mikrofoneve me centralin | ml | 50 |  | 0
|  | S.I. Bus Cable , 2x2,5+2x1,5 mm2 [FRS15 FE 180 PH 90] | F.V. Kabell BUS 2x2,5+2x1,5 mm². | ml | 30 |  | 0
|  | S.I. Alarm Cable , 4x0.22+ ( 2 x 0.75) mm2 [FRS15 FE 180 PH 90] | F.V. Kabell alarmi 4x0.22+ ( 2 x 0.75) mm². | ml | 70 |  | 0
|  | S.I. Alarm Cable , 4x1 mm2 [FRS15 FE 180 PH 90] | F.V. Kabell alarmi 4 x 1 mm². | ml | 40 |  | 0
|  | S.I. Alarm Cable , 6x1 mm2 [FRS15 FE 180 PH 90] | F.V. Kabell alarmi 6 x 1 mm². | ml | 20 |  | 0
|  | S.I. Cu Cable, insulated and clothing PVC, FG16R16-0,6/1 kV S=2x1.5 mm2 | F.V. Kabell bakri me izolim dhe veshje PVCm;K.Z. FG16R16-0,6/1 kV ; S=2x1.5 mm2 | ml | 40 |  | 0
|  | S.I. Distribution boxes 100x100 mm IP40 | F.V. Kuti shperndarese 100x100 mm IP40 | pcs | 3 |  | 0
| Ref.16 03 04 | S.I. PVC flexible pipe, fire retardant emitting Heavy Type , Ø 20 mm, a low of corrosive gas with accessories. | F.V. Tub PVC fleksibel vetshuares i forte Ø 20 mm, | ml | 70 |  | 0
|  | Sum 09 | SHUMA 09 | Lekë/All |  |  | 0
Lighting protection and equipotential protection network
| Ref. 16 07 00 | S.I. Zincated grounding electrodes L = 1.5m | F.V. Elektroda tokezimi te zinguara L = 1.5m | ml | 4 |  | 0
| Ref. 16 07 00 | S.I. Zincated band Zn.30*3mm | F.V. Shirit Zink dim 30*3 mm | ml | 150 |  | 0
| Ref. 16 07 00 | S.I. Bare copper flexible conductor CU , 1x90 mm² | F.V. Percjelles bakri i I zhveshur 1x 90mm2 | ml | 20 |  | 0
| Ref. 16 07 00 | S.I. Bare copper flexible conductor CU , 1x50 mm² | F.V. Percjelles bakri i I zhveshur 1x 50mm2 | ml | 70 |  | 0
| Ref. 16 07 00 | S.I. Cable head with Cable Lugs & Terminals (35 - 95) mm2, for 4 conductors. | F.V. Koka kabllore me kapikorda & terminale (35 - 95) mm2. | ml | 10 |  | 0
| Ref. 16 07 00 | S.I. Electrode pits 0.5x0.5x0.5 | F.V. Puseta per elektroda 0.5x0.5x0.5 | pcs | 10 |  | 0
| Ref. 16 07 00 | S.I. Excavation, transport and covering earthing | F.V. Germim, transport dhe mbushje dheu | m3 | 6 |  | 0
| Ref. 16 07 00 | S.I. Total measurement dis-joiner & Distribution Box, PT-5, IP-65, with earth symbol. | F.V. Shkeputes per matje komplet & kuti PT-5;Ip-65 , me shenje "toke" | pcs | 4 |  | 0
| Ref. 16 07 00 | S.I. Concrete cubes 40/40/40 cm | F.V. Kubike te gatshem betoni 40/40/40 mm | pcs | 35 |  | 0
| Ref. 16 07 00 | S.I. Universal coupling T-I and cross clamps | F.V. Morseta bashkuese T-I & kryq universale | pcs | 35 |  | 0
| Ref. 16 07 00 | S.I. Clamps with lowering suport for Zn 30*3 mm | F.V. Morseta suporte me zbritje me bulon kapje e mberthimi per Zn.30*3mm | pcs | 33 |  | 0
| Ref. 16 07 00 | S.I. Lightning rod d=16 mm ; L=0,6 ml | F.V. Shtiza me maje te zinguara d=16 mm ; L=0,6 ml | pcs | 2 |  | 0
|  | Sum 10 | SHUMA 10 | Lekë/All |  |  | 0
|  | Earthing network | Sistemi I tokezimit
| Ref. 16 07 00 | S.I. Ground electrodes L=1.5 | F.V. Elektroda tokezimi te zinguara L = 1.5m | pcs | 6 |  | 0
| Ref. 16 07 00 | S.I. Bare copper flexible conductor CU , 1x50 mm² | F.V. Percjelles bakri i I zhveshur 1x 50mm2 | ml | 50 |  | 0
| Ref. 16 07 00 | S.I. Copper cable shoes Cu 1 x 50mm2 | F.V. Kapikorda bakri 1 x 50mm2 | pcs | 12 |  | 0
| Ref. 16 07 00 | S.I. Manhole with electrodes 0.5x0.5x0.5 | F.V. Puseta per elektroda 0.5x0.5x0.5 | pcs | 6 |  | 0
| Ref. 16 07 00 | S.I. Excavation, transport and covering earthing | F.V. Germim, transport dhe mbushje dheu | m3 | 0.5 |  | 0
| Ref. 16 07 00 | S.I. Total measurement dis-joiner & Distribution Box, PT-5, IP-65, with symbol of earth | F.V. Shkeputes per matje komplet & kuti PT-5;Ip-65 , me shenje "toke" | pcs | 1 |  | 0
|  | Sum 11 | SHUMA 11 | Lekë/All |  |  | 0
| 3.a | TOTAL SUM OF ELECTRICAL INSTALLATIONS | SHUMA TOTALE E INSTALIMEVE ELEKTRIKE | Lekë/All |  |  | 0
|  | ELECTRICAL EQUIPMENTS | PAJISJET ELEKTRIKE
|  | Lighting system | Sistemi I ndricimit
| Ref.16 02 00 | S.I. Type 01_ Linear luminaires with symetrycal optics | F.V. Tipi 01_Ndricues Lineare me optike simetrike | pcs | 10 |  | 0
| Ref.16 02 00 | S.I. Type 02_Projektor instaluar ne toke, me optike difuse | F.V. Tipi 02_Projector installed on the ground, with diffuse optics | pcs | 11 |  | 0
| Ref.16 02 00 | S.I. Emergency lighting, fire retardant sipas (EN 60695-2-10) until to temp 850⁰ C, IP-42, IK 07, Led 2,4 VA, life expectancy 10 years, bat.NiCd with 1 h autonomy, 220/230V, 50 Hz | F.V. Ndriçuesa emergjence, rezistent ndaj zjarrit sipas (EN 60695-2-10) deri ne temperaturen 850⁰ C, IP-42, IK 07, Led 2,4 VA, jetegjatesia mbi 10 vjet, bat.NiCd me autonomi 1 ore, 220/230V, 50 Hz | pcs | 5 |  | 0
| Ref.16 02 00 | S.I. Evacuation lighting(EXIT), fire retardant by (EN 60695-2-10) until to temp 850⁰ C, IP-40, IK 07, Led 8,5 VA, 100 000 working hours, bat.NiCd with 1 h autonomy, 220/230V, 50 Hz | F.V. Ndriçuesa evakuimi (EXIT), rezistent ndaj zjarrit sipas (EN 60695-2-10) deri ne temperaturen 850⁰ C, IP-40, IK 07, Led 8,5 VA, 100 000 ore pune, bat.NiCd me autonomi 1 ore, 220/230V, 50 Hz | pcs | 1 |  | 0
|  | Sum 12 | SHUMA 12 | Lekë/All |  |  | 0
|  | Lan network | Sistemi LAN
| Ref. 16 04 01 | S.I. Telephony Central Type PAB x 4 entrance/80 exit | F.V. Central telefonik PABX 2 hyrje / 10 dalje | pcs | 1 |  | 0
| Ref. 16 04 02. | S.I. Rack, 24 HU dim. 120*700*700 mm STAND ALONE with controler opportiunity | F.V. Rack, 24 HU dim. 120*700*700 mm STAND ALONE me mundesi kontrolli | pcs | 1 |  | 0
| Ref.16 04 00 | S.I. Patch panel 24 porte RJ-45, UTP cat 6e | F.V. Patch panel me 24 porta RJ-45, UTP cat 6e | pcs | 4 |  | 0
| Ref.16 04 00 | S.I. Switch 24 porte RJ 45, 100/1000 POE, with 2 ports optic-fiber | F.V. Switch me 24 porta RJ-45, 100/1000 POE, me 2 porta fiber optike. Komplet me nderfaqesin e fibres te perfshire, FTP cat 6e | pcs | 3 |  | 0
| Ref.16 04 00 | S.I. Patch guide | F.V. Drejtues kabllosh | pcs | 4 |  | 0
| Ref.16 04 00 | S.I. Patch cords with FTP-cat-6, L=1.5m | F.V. Patch corda me FTP-cat-6 me dy koka konektoriale, L=1.5 m | pcs | 70 |  | 0
| Ref.16 04 00 | S.I. Patch cords with FTP-cat-6, L=1m | F.V. Patch corda me FTP-cat-6 me dy koka konektoriale, L=1 m | pcs | 20 |  | 0
| Ref.16 04 00 | S.I. WI-FI Antenna 4 pc with the management central | F.V. Antena WI-FI 4 cope bashke me centralin e manaxhimit | pcs | 1 |  | 0
| Ref.16 04 00 | S.I. Ventilation Fan with 2 speed for Rack. | F.V. Grup ventilatoresh me 2 FAN per rack | pcs | 4 |  | 0
| Ref.16 04 00 | S.I. Set sockets with 8 "shuko" for Rack. | F.V. Set 8 shuko per rack | pcs | 4 |  | 0
|  | Sum 13 | SHUMA 13 | Lekë/All |  |  | 0
|  | Fire Alarm System | Sistemi i alarmit te zjarrit
| Ref. 16 06 02 01 | F.V. Fire Alarm Control Panel Control M / Intelligent Addressable, network communication options through the cards, power stations, 230V / 12V, 24 h / aut. 127 elements per loop (complete with operating module, LCD panel, Loop Card, etc. RL Card. | F.V. Central zjarri [Fire Alarm Panel Control M Control/Intelligent Addressable], me mundesi komunikimi ne rrjet centralesh nepermjet kartave , i adresueshem ,230V /12V, 24 h/aut. 127 elemente per loop (komplet centrali, modul operimi, LCD panel, Karte Loop, Karte RL etj. | pcs | 1 |  | 0
| Ref. 16 06 02 02 | S.I. Base +Addressed smoke & heat detectors optical -ionic - thermic with loop isolator | F.V. Baze dhe Dedektor tymi & nxehtesie te adresuar, optik -jonik - termik komplet me lup te izoluar | pcs | 4 |  | 0
| Ref.16 04 00 | S.I. Communication card 4IN/2OUT for different commands | F.V. Karte komunikimit 4IN/2OUT per komandime te ndryshme | pcs | 1 |  | 0
| Ref. 16 06 02 05 | S.I. Outside syren with battery, 24 h autonomy | F.V. Sirena lajmeruese te jashtme | pcs | 1 |  | 0
| Ref. 16 06 02 06 | S.I. Manual push button ( glass breaking ) , IP-65 | F.V. Pulsant alarm zjarri me thyerje xhami, kapak etj, IP-65 aktivizimi | pcs | 1 |  | 0
| Ref. 16 06 02 08 | S.I. Electromagnetic door holder 24V, DC, P 1,5 w, Dim Ø: 50 mm H: 30 mm with release button and flexible anchor | F.V. Kontakte magnetike per komandimin e dyerve antizjarr, tensioni i punes 24V, DC, P 1,5 w, Dimensionet Ø: 50 mm H: 30 mm | pcs | 1 |  | 0
| Ref. 16 06 02 07 | S.I. Telephonic combinator | F.V. Kombinator telefonik | pcs | 1 |  | 0
|  | Sum 14 | SHUMA 14 | Lekë/All |  |  | 0
|  | Public Adress System | Sistemi I lajmerimit zanor
| Ref. 16 08 03 01 | S.I. Central controlling unit [Digital Int. System Manager] EN 54-16 certified and EN 60849 compliant. 12 zones and the expansion possibility , 9 audio entrance/4 audio exit, with the possibility to communicate wit fore alarm central etc. | F.V. Central controlling unit [Digital Int. System Manager] EN 54-16 certified and EN 60849 compliant 8 zona dhe me mundesi zgjerimi, 9 hyrje audio, 4 dalje audio, me mundesi komunikimi ne rrjet me centrralin e zjarrit etj. | pcs | 1 |  | 0
| Ref. 16 08 03 03 | S.I. Multi-channel Power Amplifier 1x1000 W, EN 54-16 certified and EN 60849 compliant | F.V. Amplifikator zeri me shume kanale 1x200 W, certifikuar sipas EN 54-16 dhe ne pershtatje me EN 60849 | pcs | 1 |  | 0
| Ref. 16 08 03 01 | S.I.Tuner/CD Player with comunication to central speaker | F.V. Tuner/CD Player me komunikim me centralin e fonise | pcs | 1 |  | 0
| Ref. 16 08 03 04 | S.I. Microfon EN 54-16 certified and EN 60849 compliant, Touchscreen and with oportunity comandation | F.V. Mikrofon EN 54-16 certified and EN 60849 compliant, Touchscreen dhe me mundesi komandimi te te gjitha zonave | pcs | 1 |  | 0
| Ref. 16 08 03 05 | S.I. Wall Speaker 6-10 W | F.V. Boks muror 6-10 W | pcs | 4 |  | 0
|  | Sum 15 | SHUMA 15 | Lekë/All |  |  | 0
|  | CCTV System | Sistemi CCTV
| Ref. 16 10 02 03 | S.I. NVR 24, IP Kanale, Up to 24-ch IP cameras input, Third-party network cameras supported, ONVIF protokoll, Up to 5 Megapixels resolution recording, HDMI and VGA output at up to 1920×1080P resolution, HDD quota and group management, RAID Function, 4 SATA, 2 USB2.0, RS-232 interface, LAN interface, RS-485 interface, Controller port, Alarm in and Alarm out, Ground, AC 100V ~ 240V, | S.I. NVR 24, IP Kanale, Up me 24-ch IP hyrje kamerash, Third-party network cameras supported, ONVIF protokoll, Up to 5 Megapixels rezulucioni i regjistrimit, HDMI and VGA output at up to 1920×1080P resolution, HDD quota and group management, RAID Function, 4 SATA, 2 USB2.0, RS-232 interface, LAN interface, RS-485 interface, Controller port, Alarm in and Alarm out, Ground, AC 100V ~ 240V, | pcs | 1 |  | 0
| Ref. 16 10 02 01 | S.I. Indoor Camera ,IR Dome kamera 3MP 2.8mm, 3MP high resolution, HD real-time video, 3D DNR & DWDR & BLC, IR LEDs: up to 30m, IP66, Vandal-proof, PoE | F.V. Kamera te brendshme, IR Dome kamera 3MP 2.8mm, 3MP high resolution, HD real-time video, 3D DNR & DWDR & BLC, IR LEDs: up to 30m, IP66, Vandal-proof, PoE | pcs | 4 |  | 0
| Ref. 16 10 02 02 | S.I. Outdoor cameras, IR Bullet kamera 3MP 2.8mm, 3MP high resolution, HD real-time video, 3D DNR & DWDR & BLC, IR LEDs: up to 30m, IP66, Vandal-proof, PoE | F.V. Kamera te jashtme, IR Bullet kamera 3MP 2.8mm, 3MP high resolution, HD real-time video, 3D DNR & DWDR & BLC, IR LEDs: up to 30m, IP66, Vandal-proof, PoE | pcs | 4 |  | 0
| Ref. 16 10 00 | S.I. Harddisc 3 TB for recording information from NVR with the recording time up 2 weeks | F.V. 2 Harddisk 3 TB per regjistrimin e informacionit nga NVR me kohe regjistrimi deri 2 jave | pcs | 1 |  | 0
| Ref. 16 10 00 | F.V. Patch panel me 24 porta RJ-45, FTP cat 6e | F.V. Patch panel me 24 porta RJ-45, FTP cat 6e | pcs | 1 |  | 0
| Ref. 16 10 00 | S.I. Switch with 24 port RJ-45, 100/1000 POE , | F.V. Switch me 24 porta RJ-45, 100/1000 POE, | pcs | 1 |  | 0
|  | S.I. PC for controler and system monitoration | F.V. PC per kontrollin dhe monitorimin e sistemit | pcs | 1 |  | 0
| Ref. 16 10 02 04 | S.I. Monitor 32 " LCD | F.V. Monitor 32 " LCD | pcs | 1 |  | 0
| Ref. 16 10 00 | S.I. Patch cord with FTP-cat-6 with double headed conectorial, L=0,5m | F.V. Patch corda me FTP-cat-6 me dy koka konektoriale, L=0,5 m | pcs | 2 |  | 0
| Ref. 16 10 00 | S.I. Monitoring program + Licens for programing system | F.V. Program monitorimi + License e programimit te sistemit | pcs | 1 |  | 0
|  | Sum 16 | SHUMA 16 | Lekë/All |  |  | 0
|  | Alarm System | Sistemi i alarmit
| Ref. 16 11 01 | S.I. Alarm and access control central with network communication expansion possibility. | F.V. Centrali I alarmit per menaxhim te hyrjes se kontrolluar dhe alarmit per hyrje te padeshiruar me mundesi komunikimi ne rrjet dhe zgjerimi te mevonshem | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Expansion card until 8 zone | F.V. Karte zgjerimi deri 8 zona | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Motion sensors 90⁰ | F.V. Sensore volumetrike 90⁰ | pcs | 4 |  | 0
| Ref. 16 09 00 | S.I. Magnetic contact for door and window installations | F.V. Kontakte magnetike incaso per montime ne dyer dhe dritare | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Card 5 IN, for communication between dhe sensors and alarm central | F.V. Karte 5 IN, me 5 hyrje per komunikimin e sensoreve volumetrike me centralin | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Keypad | F.V. Tastiere komandimi ne distance | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Telephonic combinator | F.V. Kombinator telefonik GSM | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Indoor syren | F.V. Sirena te brendshme | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Outdoor syren | F.V. Sirena te jashtme | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Silent push buton | F.V. Pulsant silencioze | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Batery 7A/h for 48 h autonomy | F.V. Bateri 7A/h me autonomi 48 ore | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Communication modul for reader and push buton with central | F.V. Modul komunikimi I lexuesit dhe butonit te dyerve me centralin | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Communication card 4IN/2OUT for outdoor syren with central | F.V. Karte komunikimit 4IN/2OUT per komunikimin e sirenave me centralin | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Electric lock | F.V. Kundra Brave elektrike | pcs | 2 |  | 0
| Ref. 16 11 02 | S.I. Intelligent Card reader | F.V. Lexues afersie te kartave te komandimit te dyerve | pcs | 2 |  | 0
| Ref. 16 09 00 | S.I. Push button for door command | F.V. Buton komandimi per hapjen e dyerve | pcs | 2 |  | 0
| Ref. 16 09 00 | S.I. Proximity card | F.V. Karte afersie per hapjen e dyerve | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Switch with 24porta RJ-45, FTP cat 6e | F.V. Switch me 24 porta RJ-45, FTP cat 6e | pcs | 1 |  | 0
| Ref. 16 09 00 | S.I. Bateri 1.2A/h for 48h autonomy for outdoor syrene | F.V. Bateri 1.2A/h me autonomi 48 ore per sirene te jashtme | pcs | 2 |  | 0
|  | Sum 17 | SHUMA 17 | Lekë/All |  |  | 0
|  | Back-up, Reservation of electrical energy | Back-up, Ruajtja e energjise elektrike
|  | S.I. Diesel Genset S = 20VA / , Un =400V, silent until 60db from distance 7m, complet with Automatik transfer Switch and all neccesary accessories according the standarts. | F.V. Gjenerator diesel S = 20kVA / , Un =400V, silencioze, deri 60db per 7m, komplet me kuadrin automatik dhe gjithcka te nevojshme sipas standartit. | pcs | 1 |  | 0
| Ref. 16 01 03 | S.I. Supply, Installation, Testing and commissioning of 10 KVA 3Ph input, 3 Ph output, double converssation online UPS, 60 min autonomy with battery XP12V3400 with necessary connector, lead try/stand and any other component required for installation and commissioning. Include Battery Breaker switch with enclosure, DC cables and other accessories as per site | F.V . Testim, komisionim te U.P.S. 10 KVA, tension 3 fazor hyrje dhe 3 fazor dalje , dopio konvertim online, 60 min auotonomi me bateri XP12V3400 ose te ngjashme me te gjithe lidhjet e nevojshme fleksibel dhe cdo komponent tjeter qe kerkohet pe instalimin dhe komisionimin. Perfshire automatin e baterive ne panel, Kballot DC dhe cdo aksesor tjeter per instalim. | pcs | 1 |  | 0
|  | Sum 18 | SHUMA 18 | Lekë/All |  |  | 0
|  | Digital Equipments | Pajisje dixhitale
The elements of the digital equipment including all the cable work would have to bae coordinated with company responsible for multimedia production of content
| Ref. 16 12 00 | S.I. Screens | F.V. Ekranet | pcs | 18 |  | 0
| Ref. 16 12 00 | S.I. Media Player | F.V. Media player | pcs | 6 |  | 0
| Ref. 16 12 00 | S.I. PC-Room 1 | F.V. PC-Dhoma 1 | pcs | 1 |  | 0
| Ref. 16 12 00 | S.I. PC-Room 2 | F.V. PC-Dhoma 2 | pcs | 1 |  | 0
| Ref. 16 12 00 | S.I. Interactive sensor | F.V. Sensor interaktive | pcs | 3 |  | 0
| Ref. 16 12 00 | S.I. Custom designed columns | F.V. Kolona te dizenjuara me porosi | pcs | 1 |  | 0
| Ref. 16 12 00 | S.I. Custom designed sink and tap | F.V. Lavaman dhe rubinet me te projektuar me porosi | pcs | 1 |  | 0
| Ref. 16 12 00 | S.I. Custom designed doors | F.V. Dere e krijuar me porosi | pcs | 1 |  | 0
| Ref. 16 12 00 | S.I. Fog machine | F.V. Makine tymi | pcs | 1 |  | 0
| Ref. 16 12 00 | S.I. Special Fluid | F.V. Leng special | l | 50 |  | 0
| Ref. 16 12 00 | S.I. Led lights and/or strips | F.V. Ndricues LED dhe/ose shirita | pcs | 22 |  | 0
| Ref. 16 12 00 | S.I. Speakers | F.V. Bokse | pcs | 12 |  | 0
| Ref. 16 12 00 | S.I. Controller | F.V. Kontroller | pcs | 1 |  | 0
| Ref. 16 12 00 | S.I. Cable | F.V. Kabell | ml | 100 |  | 0
| Ref. 16 12 00 | S.I. Mirrors | F.V. Pasqyre | pcs | 1 |  | 0
|  | Sum 19 | SHUMA 19 | Lekë/All |  |  | 0
| 3.b | TOTAL SUM OF ELECTRICAL EQUIPMENTS | SHUMA TOTALE E PAJISJEVE | Lekë/All |  |  | 0
|  | TOTAL 3 (a+b) | TOTALI 3(a+b) | ALL |  |  | 0
VO! Materialet e mesiperme ose ekuivalentet e tyre qe do te perdoren gjate instalimeve, duhet te respektojne specifikimet teknike-elektrike pa marre parasysh prodhuesin ose market.
VO! The above materials or their equivalents that will be used during installations, must comply the technical-electrical specifications regardless of the manufacturer or bands.