## Lo1 List of items - Lab
UNOPS - ETMCO - Sudan
ITB# ITB/2021/34798
Supply and Delivery of Laboratory Equipment & Consumables, K-IPC, Stationery, Smart Devices and Drugs to Khartoum - Sudan
Lot (1) Supply and Delivery of Laboratory Equipment & Consumables to Khartoum - Sudan.
No | Item | Unit | Quantity | Unit cost USD | Total amount USD | Specification | Illustrative picture | Or similar product | At least two years warrantee against manufacturer's defects | Energy efficiency and/or conservation | Is bid compliant? Bidder to complete | Details of goods offered. Bidder to complete Insert details of goods offered, including specifications and brand/model offered if applicable
1 | Slide glass | EA | 49500 |  | 0 | Twdrer10 0pcs+square glass 22mm*22mm |  | Or similar to Renon Lab product |  |  | ☐ Yes ☐ No
2 | Slide glass tray | EA | 120 |  | 0 | 50cm*50cm | For specimen drying and speculum preparation and storage | Or similar to Renon Lab product |  |  | ☐ Yes ☐ No
3 | Stool container | EA | 16500 |  | 0 | Diameter 30mm translucent bottle with cover and spoon lid type/Local factory production for make order |  | Or similar to Renon Lab product |  |  | ☐ Yes ☐ No
4 | Stool bottle | EA | 250 |  | 0 | Plastic or glass type diameter 50mm*h100mm |  | Or similar to Renon Lab product |  |  | ☐ Yes ☐ No
5 | Tube rack | EA | 660 |  | 0 | Conical tube input 28 holes type plastic rack |  | Or similar to Renon Lab product |  |  | ☐ Yes ☐ No
6 | Urine container | EA | 16500 |  | 0 | 40ml Conical tube type or diameter 40mm plastic bottle with cover type/Local factory production for make order |  | Or similar to Renon Lab product |  |  | ☐ Yes ☐ No
7 | Vial | EA | 42 |  | 0 | SE 1-3/4" x 9/16" Leak-Proof Glass Vial Set (12 PC.) - GB3-12 |  | Or similar to Renon Lab product |  |  | ☐ Yes ☐ No
8 | Vortex mixer | EA | 18 |  | 0 | C-VT 2,000rpm/made by korea model | C-VT 2,000rpm/made by korea model | Jet-Biofiltration | ☐ Yes ☐ No |  | ☐ Yes ☐ No
9 | Water boots | EA | 60 |  | 0 | Wellington type long boots |  |  |  |  | ☐ Yes ☐ No
10 | Water meter(ph) | EA | 18 |  | 0 | EZ-9909(salinity,conductivity, turbidity, velocity, oxygen content)+PH tester 2 kinds |  |  |  |  | ☐ Yes ☐ No
11 | Wooden stick | EA | 16500 |  | 0 | Disposable Wooden Beverage Coffee Stirrers Sticks |  | ZMC |  |  | ☐ Yes ☐ No
12 | Mesh net | EA | 36 |  | 0 | Diameter 30mm round or square type o.1mm less of voids |  | ZMC |  |  | ☐ Yes ☐ No
13 | Microscope | EA | 33 |  | 0 | OPTIKA B-192, 1,000* scope | Include maintenance kits and reserve part 2000* scope more | AXL Binocular Microscope Labovision or similar | ☐ Yes ☐ No |  | ☐ Yes ☐ No
14 | Dissect microscope | EA | 12 |  | 0 | (Dissect microscope) |  | KSZ2000 Labovision or similar | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
15 | Malachite Green | Bottle(30ml) | 283 |  | 0 | for Malachite Green Stain |  |  | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
16 | Ice box | EA | 138 |  | 0 | H50*W50*R70 20L Box type |  |  |  |  | ☐ Yes ☐ No
17 | Ice pack | EA | 516 |  | 0 | mini ice pak |  |  |  |  | ☐ Yes ☐ No
18 | KK test kit | EA | 30000 |  | 0 | customizing order product local company | Mold application for Customizing product | Kato-katz stool test, kit of 400 tests |  |  | ☐ Yes ☐ No
19 | Hudson sprayers | EA | 18 |  | 0 | Manual portable backpack type - 4 Gallon |  | Hudson X-Pert, Stainless Steel Compression Sprayer, 10 Liters or similar product |  |  | ☐ Yes ☐ No
20 | Lab coat | EA | 100 |  | 0 | White Laboratory Coats S-XXL Size Chest Shoulder Length (inch) S 43.7 18.3 36.3 M 44.5 18.7 37.4 L 45.2 19.1 39.0 XL 46.0 19.5 40.2 XXL46.8 19.9 41.7 ASIN ‏ : ‎ B08BF3SSQH |  |  |  | Organic Cotton fibres: The bidder shall ensure that between 30-100% of cotton of the lab coat must be organic, and have a valid third party environmental label such as Global Organic Textile Standard (GOTS), or simila ☐ Yes ☐ No | ☐ Yes ☐ No
21 | Lamp of feeding sample | EA | 18 |  | 0 | LED Desk Table Lamp LED Desk Table Lamp Brand:Ambertronix Color :White Headphones Jack:USB Cable Feature: Retractable Item Weight:3.22 Pounds Brand ‎Ambertronix Manufacturer ‎Ambertronix Part Number ‎AT-258-w Item Weight ‎3.22 pounds Product Dimensions ‎12.5 x 8 x 16.5 inches Item model number ‎AT-258-W Is Discontinued By Manufacturer ‎No Assembled Height ‎16.5 inches Assembled Length ‎12.5 inches Assembled Width ‎8 inches Style ‎Contemporary Color ‎White Shape ‎Round Material ‎Plastic Finish Types ‎Plastics Number of Lights ‎27 Included Components ‎AC Adapter Voltage ‎2 Volts Special Features ‎Dimmable, Adjustable Shade Color ‎Black Light Direction ‎Adjustable Power Source ‎Corded-electric Switch Style ‎Touch Batteries Included? ‎No Batteries Required? ‎No Type of Bulb ‎LED Luminous Flux ‎530 Lumen Wattage ‎14 watts (or similar product) |  |  |  |  | ☐ Yes ☐ No
22 | Latex glove (L) | Box | 36 |  | 0 | 100ea*1box/local market |  |  |  |  | ☐ Yes ☐ No
23 | Latex gloves (M) | Box | 66 |  | 0 | 100ea*1box/local market |  |  |  |  | ☐ Yes ☐ No
24 | Latex gloves (S) | Box | 66 |  | 0 | 100ea*1box/local market |  |  |  |  | ☐ Yes ☐ No
25 | Glass bottle | EA | 1800 |  | 0 | Digital Camera |  |  |  |  | ☐ Yes ☐ No
26 | Glycerin | Liter | 250 |  | 0 | for molecular biology, ≥99.0% |  |  |  |  | ☐ Yes ☐ No
27 | 3ml disposable pipette | EA | 1650 |  | 0 | 3 ml Plastic Disposable Transfer Pipette, Pack of 100 - 3 milliliters capacity , Great for transferring Liquids, Measuring Out Essential Oils. Mixing Acrylic Paints |  |  |  |  | ☐ Yes ☐ No
28 | 5 kinds measurable water tester | EA | 18 |  | 0 | PENPH pH Pen Fully Waterproof Pocket Tester Product Dimensions:8 x 2.16 x 0.98 inches Item Weight:4.3 ounces Manufacturer:Bluelab Corporation Limited - Import (NZ) ASIN:B005POOJHG Domestic Shipping:Item can be shipped within U.S. International Shipping:This item can be shipped to select countries outside of the U.S. Learn More Country of Origin:New Zealand Item model number:PENPH |  |  |  |  | ☐ Yes ☐ No
29 | Plastic Bowl | EA | 180 |  | 0 | local market | plastic type diameter 40cm white color/use clean to sample |  |  |  | ☐ Yes ☐ No
30 | Urine-CCA Test kit (1box*25ea) | Box | 49 |  | 0 | Schisto POC-CCA cassette based test |  |  |  |  | ☐ Yes ☐ No
31 | Cellulite paper | EA | 6 |  | 0 | 25mm*25mm customized size cutting or role type the linked item is 16 inch*100 feet (about 40cm*30m) |  |  |  |  | ☐ Yes ☐ No
32 | Centrifugal tube | EA | 3300 |  | 0 | 15ml Bekith 200pcs fiber glass Brand Name:Bekith Cap Type:Screw Cap Capacity : 15.0 milliliters Material: fiber glass Number of Items :200 Part Number:CentrifugeTubes-200pc UNSPSC Code:41120000 |  |  |  |  | ☐ Yes ☐ No
33 | Centrifuge | EA | 33 |  | 0 | PLC-03/4,500rpm/timer/12hole/timer autostop replacement fixed-angle rotor for use with DM0412 clinical centrifuge Holds up to eight 15mL test tubes (sold separately) 4,500 rpm maximum rotation speed Plastic for durability and light weight centrifuge ( 6 tubes ) hassan check PLC-03/4,500rpm/timer/12hole/timer autostop |  |  |  |  | ☐ Yes ☐ No
34 | Tweezer(Pincette) | EA | 150 |  | 0 | Tweezer(Pincette) |  |  |  |  | ☐ Yes ☐ No
35 | Plastic box | EA | 12 |  | 0 | H50*W50*R70 20L Box type/local market |  |  |  |  | ☐ Yes ☐ No
36 | Pots tray | EA | 36 |  | 0 | Clear Plastic Plant Saucer Drip Trays(6,8,10 inch) |  |  |  |  | ☐ Yes ☐ No
37 | Powder for markings | Kg | 250 |  | 0 | Lime powder | White powder to mark a certain area as per FMoH (Lime powder) |  |  |  | ☐ Yes ☐ No
38 | Protective cloth | EA | 60 |  | 0 | Full Body Protective, Chemical Protection, Automotive Cleaning, Mining, Spray Printing Safety Clothes |  |  |  |  | ☐ Yes ☐ No
39 | Quatrats | EA | 18 |  | 0 | Ecological Inspection Metal Frame Quadrat - 19.75" x 19.75" with 25 Equal Squares (3.5" x 3.5") - Heavy Duty - Eisco Labs |  |  |  |  | ☐ Yes ☐ No
40 | Refrigerator | EA | 12 |  | 0 | Refrigerator |  |  | ☐ Yes ☐ No |  | ☐ Yes ☐ No
41 | Hand Sanitizer | EA | 200 |  | 0 | Hand Sanitizer |  |  |  |  | ☐ Yes ☐ No
42 | TOB test kit | EA | 4400 |  | 0 | Fecal Occult Blood Test and Stool Test for Colorectal Diseases |  |  |  |  | ☐ Yes ☐ No
43 | Phenol | Bottle (500 ml) | 66 |  | 0 | Laboratory-Grade 1.0% Phenol Red Solution, 500mL |  |  |  |  | ☐ Yes ☐ No
44 | Soap set | EA | 66 |  | 0 | Antiseptic soap Ditol 75g |  |  |  | ☐ Yes ☐ No | ☐ Yes ☐ No
45 | Mass-cylinder | EA | 66 |  | 0 | 100 mL, Plastic |  |  |  |  | ☐ Yes ☐ No
46 | Dental mask 3 kinds of size(s,m,l) | Box | 266 |  | 0 | Dental mask 50ea*1 box/local market |  |  |  |  | ☐ Yes ☐ No
47 | Digital Scales(weight) | EA | 36 |  | 0 | ACCUTECK W-8250 or similar product |  |  |  |  | ☐ Yes ☐ No
48 | Dose pole | EA | 360 |  | 0 | Tape measure type |  |  |  |  | ☐ Yes ☐ No
49 | Cover glass | EA | 16500 |  | 0 | Local market product |  |  |  |  | ☐ Yes ☐ No
Grand Total in USD |  |  |  |  | 0

## Lot2 list of items - K-IPC
UNOPS - ETMCO - Sudan
ITB# ITB/2021/34798
Supply and Delivery of Laboratory Equipment & Consumables, K-IPC, Stationery, Smart Devices and Drugs to Khartoum - Sudan
Lot (2) Supply and Delivery of K-IPC to Khartoum - Sudan.
No | Item | Unit | Qty | Unit Cost in USD | Total amount in USD | Description | At least two years warrantee against manufacturer's defects | Energy efficiency and/or conservation | Is bid compliant? Bidder to complete | Details of goods offered. Bidder to complete Insert details of goods offered, including specifications and brand/model offered if applicable
1 | QuantStudio™ 5 (R-time PCR) (or similar product) | EA | 1 |  | 0 | thermofisher (or similar product) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
2 | Foum hoods Frontier® Acela™ Fume Hoods (Or similar product) | EA | 1 |  | 0 | EFA-4UDR_W (or Similar product) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
3 | Automated Micropipette set | EA | 2 |  | 0 | JET PIP |  |  | ☐ Yes ☐ No
4 | Gel documentation SmartView Pro Imager, CCD | EA | 1 |  | 0 | UVCI-2100 series (or similar product) |  |  | ☐ Yes ☐ No
5 | Gel electrophoresis SYS Midi plus Electrophoresis System | EA | 2 |  | 0 | ME10-7-10 (or similar product) |  |  | ☐ Yes ☐ No
6 | Electrophoresis chambers | EA | 2 |  | 0 | ME26- (or similar product) |  | ☐ Yes ☐ No | ☐ Yes ☐ No
7 | Nano-Spectrophotometer N50-Touch NanoPhotometer® N50 UV/Vis | EA | 1 |  | 0 | N50 (or similar product) |  | ☐ Yes ☐ No | ☐ Yes ☐ No
8 | Vortex and multi-vortex | EA | 3 |  | 0 | JET-VEX (or similar product) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
9 | CO2 Incubator | EA | 2 |  | 0 | HCP-168 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
10 | Bio-safety cabinet | EA | 2 |  | 0 | HR30-IIA2 (or similar product) |  | ☐ Yes ☐ No | ☐ Yes ☐ No
11 | Autoclave | EA | 1 |  | 0 | 18L | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
12 | Liquid nitrogen tank | EA | 1 |  | 0 | YDS-65-216-FZ (or similar product) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
13 | Ice machine | EA | 1 |  | 0 | ICE-CUB | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
14 | Shaker/incubator | EA | 1 |  | 0 | MO-AOR (or similar product) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
15 | Orbital shaker | EA | 1 |  | 0 | MS-NOR-30 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
16 | Sonicator Ultrasonic Sonicator | EA | 1 |  | 0 | US-900 (or similar product) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
17 | Eppendorf thermomixer Ultimate Dry Bath Incubator | EA | 1 |  | 0 | MC-01N (or similar product) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
18 | GeNeiTm | EA | 2 |  | 0 | GeNeiTm (or similar product) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
19 | Distiller Equipment | EA | 1 |  | 0 | Liston 4L (or similar product) |  | ☐ Yes ☐ No | ☐ Yes ☐ No
20 | Microplate ELISA machine Reader | EA | 1 |  | 0 | DAS-Reader (or similar product) | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
21 | Thermal Cycler Labcycler 96 | EA | 1 |  | 0 | Labcycler 96 |  | ☐ Yes ☐ No | ☐ Yes ☐ No
22 | Magnetic stirrer with hot plate | EA | 1 |  | 0 | M-plate |  | ☐ Yes ☐ No | ☐ Yes ☐ No
23 | Digital PH meter Benchtop | EA | 1 |  | 0 | B-pH (or similar product) |  | ☐ Yes ☐ No | ☐ Yes ☐ No
24 | Volume Flasks | EA | 10 |  | 0 | VL |  | ☐ Yes ☐ No | ☐ Yes ☐ No
25 | Graduated cylinders above 50 ML | EA | 10 |  | 0 | MC |  |  | ☐ Yes ☐ No
26 | Fine Forceps | EA | 10 |  | 0 | FI-ForSET |  |  | ☐ Yes ☐ No
27 | Scissors | EA | 10 |  | 0 | Sci-SET |  |  | ☐ Yes ☐ No
28 | Analytical Balance | EA | 1 |  | 0 | 4D |  | ☐ Yes ☐ No | ☐ Yes ☐ No
29 | Water paths | EA | 1 |  | 0 | 20LL |  | ☐ Yes ☐ No | ☐ Yes ☐ No
30 | Lab coats | EA | 20 |  | 0 | LABCOT |  | Organic Cotton fibres: The bidder shall ensure that between 30-100% of cotton of the lab coat must be organic, and have a valid third party environmental label such as Global Organic Textile Standard (GOTS), or simila ☐ Yes ☐ No | ☐ Yes ☐ No
31 | Gloves | Box | 100 |  | 0 | LATEX |  |  | ☐ Yes ☐ No
32 | Protect apron | EA | 5 |  | 0 | ABRON |  |  | ☐ Yes ☐ No
33 | Boots | EA | 100 |  | 0 | Z-Boot |  |  | ☐ Yes ☐ No
34 | Dissecting microscope | EA | 2 |  | 0 | LABOM | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
35 | Bench microscopes binuclear | EA | 10 |  | 0 | LABOX | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
36 | Inverted microscope | EA | 2 |  | 0 | IVM | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
37 | Infinite Biological Multi Viewing Head Microscope for teaching | EA | 2 |  | 0 | IBMV | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
38 | Centrifuge | EA | 10 |  | 0 | 29221 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
39 | Bench centrifuge/tube | EA | 1 |  | 0 | 44378 | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
40 | Micro centrifuge/tube | EA | 1 |  | 0 | 44210 |  | ☐ Yes ☐ No | ☐ Yes ☐ No
41 | Refrigerating centrifuge | EA | 2 |  | 0 | 14-1K | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
Grant total in USD |  |  |  |  | 0

## Lot3 list of items - Statinory
UNOPS - ETMCO - Sudan
ITB# ITB/2021/34798
Supply and Delivery of Laboratory Equipment & Consumables, K-IPC, Stationery, Smart Devices and Drugs to Khartoum - Sudan
Lot (3) Supply and Delivery of Stationery to Khartoum - Sudan.
No | Item | Unit | Quantity | Unit Cost in USD | Total amount in USD | Specification | Similar to the product in the illustrative picture.
1 | Backpack | EA | 1295 |  | 0 | W30*H40*L20
2 | Ballpen | EA | 1300 |  | 0 | 0.7mm stationary use for record of all kinds
3 | Color card | EA | 250 |  | 0 | 10cm*10cm 5color sorts color card sample and specs to be provided by UNOPS/KOIKA
4 | Eraser | EA | 60 |  | 0 | w 2cm*3cm
5 | Flip chart | EA | 250 |  | 0 | LARGE WHITE PREMIUM PAPER - 25 in. x 30 in., 30 Sheets/Pad, 4 Pad/Pack
6 | Hand held GPS | EA | 18 |  | 0 | GAMIN GPSMAP 78S
7 | GPS battery | EA | 18 |  | 0 | aaa size, specs to be provide by elrofaay
8 | markerpen | EA | 430 |  | 0 | color black use for lavel
9 | Notebook | EA | 138 |  | 0 | b5 less size
10 | Paper tape | EA | 310 |  | 0 | Basics Masking Tape - 0.7 Inch x 180 Feet
11 | Pencil sharpener | EA | 60 |  | 0 | Pencil sharpener
12 | Nail clipper | EA | 3750 |  | 0 | standard nail clipper
13 | Scissors | EA | 280 |  | 0 | Stationary Scissors as per FMoH of different sizes ( big, small, medium)
14 | Tape measure | EA | 18 |  | 0 | Tape measure, forcep, note, pen, be metal tape 5m
Grand total in USD |  |  |  |  | 0

## Lot4 list of - Smart Devices
UNOPS - ETMCO - Sudan
ITB# ITB/2021/34798
Supply and Delivery of Laboratory Equipment & Consumables, K-IPC, Stationery, Smart Devices and Drugs to Khartoum - Sudan
Lot (4) Supply and Delivery of IT Items to Khartoum - Sudan.
No | Item | Unit | Quantity | Unit cost in USD | Total amount in USD | Specification | Similar to the product in illustrative picture | At least two years warrantee against manufacturer's defects | Energy efficiency and/or conservation | Is bid compliant? Bidder to complete | Details of goods offered. Bidder to complete Insert details of goods offered, including specifications and brand/model offered if applicable
1 | Laptop PC | EA | 6 |  | 0 | G7 CPU I5, HDD 1T, RAM 8 |  | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
2 | Tablet PC | EA | 18 |  | 0 | Taclast 128G, 6RAM, 3G NETWORK USIM, 8inch |  | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
3 | Tablet PC | EA | 30 |  | 0 | Wi Fi , 64G ,USIM, 3G network ,3 RAM |  | ☐ Yes ☐ No | ☐ Yes ☐ No | ☐ Yes ☐ No
4 | Cover for tablet PC | EA | 30 |  | 0 | Normal Cover protector for tablet PC |  |  |  | ☐ Yes ☐ No
5 | Portable Charger | EA |  |  | 0 | Portable Charger Power Bank 26800mAh |  |  |  | ☐ Yes ☐ No
6 | 4g Data voucher for PHC/PHU | 1 voucher | 360 |  | 0 | Each 1 month 10usd*community health worker support |  |  |  | ☐ Yes ☐ No
7 | 4g Data voucher for Hotspot | 2 voucher | 42 |  | 0 | Zain mobille company
Grand Total in USD |  |  |  |  | 0

## Lot 5 list of items - Drugs
UNOPS - ETMCO - Sudan
ITB# ITB/2021/34798
Supply and Delivery of Laboratory Equipment & Consumables, K-IPC, Stationery, Smart Devices and Drugs to Khartoum - Sudan
Lot (5) Supply and Delivery of Drugs to Khartoum - Sudan.
No | Item | Unit | Quantity | Unit cost | Total cost | The expiry period at the time of delivery must be no less than two years (02 years) | Specification | Is bid compliant? Bidder to complete
1 | Praziquantel | Box(40T) | 2085 |  | 0 | ☐ Yes ☐ No | Praziquantel 1 Box (40T) | ☐ Yes ☐ No
2 | Praziquantel | Bottle(1000T) | 2045 |  | 0 | ☐ Yes ☐ No | Praziquantel 1 Bottle (1000T) | ☐ Yes ☐ No
Grand Total in USD |  |  |  |  | 0