Ref No: NBO21- 23/012

Date:   23.12.2021

REQUEST FOR QUOTATION- FUEL TANK CALIBRATION SERVICES

Dear Sir/ Madam,

Please submit your best quotation for the items listed below to iomnborfq@iom.int and copy jkutumbakana@iom.int and kosengo@iom.int  Submit quote on or before 10:00am 31 December 2021

| s/No | Description | Qty | Unit | Unit Price (Specify Currency) | Total price |
| --- | --- | --- | --- | --- | --- |
| 1 | Calibration Of 23,000ltrs Overground Diesel Fuel Tank At IOM Kakuma (Tank Sketch Attached) | 1 | Lot |  |  |
| 2 | Supply Of Dipstick For The 23,000ltr Tank In Kakuma | 1 | Pc |  |  |
| 3 | Supply And Install Digital Fuel Dispensing Pump In Kakuma with single automatic nozzle for diesel | 1 | Pc |  |  |
| 4 | Retainer for periodic maintenance services as per equipment specifications | 1 | Lot |  |  |

NOTE:

- All prices to be quoted must be valid at least for thirty (30) calendar days from the date of quotation

- Price per unit (where applicable). Total price in Kenya Shillings (specify currency)

- Indicate Expiry /WARRANTY if applicable

- IOM is VAT Exempted. Please Zero-Rate your quotation

- Payment Terms-30days After delivery

- Indicate Realistic Delivery date on your quotation (Late deliveries will attract a penalty)

- See Attached Terms of Reference and tank sketch for your information

- IOM reserves the right to accept or reject any quotation, and to cancel the procurement process and reject all quotations at any time prior to award of Purchase Order or Contract, without thereby incurring any liability to the affected Supplier/s or any obligation to inform the affected Supplier/s of the ground for IOM’s action.

- SEE MR WILLIAM LOKEWE ON SITE FOR SURVEY OF TANK IN KAKUMA Mobile Tel 0701-051-468

Thank you.

TERMS OF REFERENCE (TOR)

FOR THE PROVISION OF FUEL DISPENSING PUMP AND

FUEL TANK CALIBRATION SERVICES FOR IOM KENYA

AT KAKUMA FIELD OFFICE

1.	INTRODUCTION

  - International Organization for Migration in Kenya, (hereinafter referred as IOM), seeks to establish a Service Level Agreement (SLA) with a recognized firm in Kenya for the provision of fuel pumps and fuel tank calibration services for its operations.

  - To qualify for this requirement, the prospective contractor should be a fully registered and licensed volumetric calibration services provider in Kenya.

  - IOM intends to contract a calibration services vendor, (hereinafter referred to as “the Contractor”), to calibrate the diesel fuel tanks in IOM Kakuma field office.

2. 	OBJECTIVE

2.1. The main objective is to ensure prompt, effective and efficient management of fuel dispensing for IOM official operations. This will eventually lead to avoidance of unnecessary fuel loses that would result from defective measuring and or dispensing devices.

3.      DESCRIPTION OF REQUIREMENT

3.1 The contractor will be under the direct supervision of the head of sub office and within the overall guidance of the Logistics and Procurement Unit of IOM.

3.2 In particular, the contractor will:

- Supply digital fuel dispensing pumps for IOM offices as required, where needed;

- Ensure that all IOM fuel tanks and dipsticks are well calibrated and compliant with the minimum acceptable quality standards for measuring devices;

- Ensure that IOM Fuel dispensing pumps are well calibrated and strictly compliant with the minimum acceptable quality standards for measuring devices;

- Provide periodic maintenance and after sales services for all supplied fuel dispensing pumps as and when required, including emergency maintenance/repairs as per equipment specifications;