## **ANNEX 3: TECHNICAL AND FINANCIAL OFFER – GOODS AND WORKS**

*Bidders are requested to complete this form, sign it and return it as part of their bid along with Annex 2: Quotation Submission Form. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |  |
| --- | --- | --- |
| Name of Bidder: | Click or tap here to enter text. | |
| RFQ reference: | RFQ-2022-006 Procurement of a sprinkler irrigation system with installation within the framework of the "Alley of Peace" project | Date: Click or tap to enter a date. |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Currency of the Quotation: KZT**  **INCOTERMS: DDP** | | | | | |
| **Item No** | **Description** | **UOM** | **Qty** | **Unit price, KZT** | **Total price, KZT** |
| 1. | 1 (one) unit of sprinkler irrigation system with installation | Unit | 1 |  |  |
| 2. | Commissioning works | Works | 1 |  |  |
| Total Price | | | | |  |
| Transportation Price | | | | |  |
| VAT | | | | |  |
| **Total Final and All-inclusive Price** | | | | |  |

**Compliance with Technical Requirements:**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | **Name** | **Requirements** | **Unit** | **Quantity** | **You Responses** | | |
| **Yes, we will comply** | **No, we cannot comply** | **If you cannot comply, pls. indicate counter - offer** |
| **Sprinkler irrigation system:** | | |  |  |  |  |  |
| 1 | Tube | PE Ø50мм. SDR 17 | Running meter | 565 |  |  | Click or tap here to enter text. |
| 2 | Tube | PE Ø63мм. SDR 17 | Running meter | 400 |  |  | Click or tap here to enter text. |
| 3 | Tube | PE Ø20мм. SDR 11 | Running meter | 1000 |  |  | Click or tap here to enter text. |
| 4 | Tube (cable runner) | For usage under the cable Ø32мм | Running meter | 420 |  |  | Click or tap here to enter text. |
| 5 | Cartridge | Ø100мм | Running meter | 18 |  |  | Click or tap here to enter text. |
| 6 | Stub | Ø50мм | Piece | 12 |  |  | Click or tap here to enter text. |
| 7 | Stub | Ø63мм | Piece | 2 |  |  | Click or tap here to enter text. |
| 8 | Pipe connection | Ø50мм | Piece | 12 |  |  | Click or tap here to enter text. |
| 9 | Pipe connection | Ø63мм | Piece | 13 |  |  | Click or tap here to enter text. |
| 10 | Collar | Ø50х1/2" | Piece | 212 |  |  | Click or tap here to enter text. |
| 11 | Threaded coupling | Ø20х1/2" | Piece | 212 |  |  | Click or tap here to enter text. |
| 12 | Threaded coupling | Ø50х 1 1/2" | Piece | 6 |  |  | Click or tap here to enter text. |
| 13 | Threaded coupling | Ø63х 1 1/2" | Piece | 6 |  |  | Click or tap here to enter text. |
| 14 | Tee | Ø50мм | Piece | 6 |  |  | Click or tap here to enter text. |
| 15 | Tee | Ø63мм | Piece | 8 |  |  | Click or tap here to enter text. |
| 16 | Diversion | Ø20 х 1/2" | Piece | 212 |  |  | Click or tap here to enter text. |
| 17 | Diversion | Ø50мм | Piece | 18 |  |  | Click or tap here to enter text. |
| 18 | Diversion | Ø63мм | Piece | 10 |  |  | Click or tap here to enter text. |
| 19 | Sprinkler | PROS-12 | Piece | 80 |  |  | Click or tap here to enter text. |
| 20 | Sprinkler | PSU-04 | Piece | 132 |  |  | Click or tap here to enter text. |
| 21 | Electromagnetic valve | PGV-151B | Piece | 6 |  |  | Click or tap here to enter text. |
| 22 | Valve box | STANDART | Piece | 6 |  |  | Click or tap here to enter text. |
| 23 | Valve chest | Mini (VB-610) | Piece | 9 |  |  | Click or tap here to enter text. |
| 24 | Ball crane | Ø 3/4" | Piece | 9 |  |  | Click or tap here to enter text. |
| 25 | Water outlet | rapid access valve | Piece | 5 |  |  | Click or tap here to enter text. |
| 26 | Decoder | DUAL-1 | Piece | 6 |  |  | Click or tap here to enter text. |
| 27 | Cable | ВВГ 2х2,6 | Running meter | 420 |  |  | Click or tap here to enter text. |
| 28 | Soil exploitation |  | м³ | 165 |  |  | Click or tap here to enter text. |
| **System installation and Commissioning works** | | |  |  |  |  |  |
| 29 | Installation and commissioning works costs should be included in the total cost of the system | | zones | 6 |  |  | Click or tap here to enter text. |
| **Delivery Term (DDP INCOTERMS 2020)** | | |  |  |  |  | Click or tap here to enter text. |
| **Guidance for the further use of the system** | | |  |  |  |  |  |
| 30 | Manual of equipment management | printed form or CD in Russian |  |  |  |  | Click or tap here to enter text. |
| **Warranty and post-warranty services** | | |  |  |  |  |  |
| 31 | Specify the name, telephone/fax number and e-mail address or postal address of your service agents in Kazakhstan. | | Click or tap here to enter text. | | | | |
| 32 | Guarantee of at least 12 months | |  |  |  |  | Click or tap here to enter text. |
| **Delivery Lead Time** | | |  |  |  |  |  |
| 31 | 1 (one) unit of sprinkler irrigation system with installation | Stage 1) 30 calendar days from the moment of official request from FAO to start the installation process | | |  |  | Click or tap here to enter text. |
| 32 | Commissioning works | Stage 2) 30 calendar days from the date of completion of the construction of the walking path | | |  |  | Click or tap here to enter text. |

|  |  |
| --- | --- |
| I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted. | |
| *Exact name and address of company*  Company NameClick or tap here to enter text.  Address: Click or tap here to enter text.  Click or tap here to enter text.  Phone No.: Click or tap here to enter text.  Email Address: Click or tap here to enter text. | Authorized Signature:  Date: Click or tap here to enter text.  Name: Click or tap here to enter text.  Functional Title of Authorised  Signatory: Click or tap here to enter text.  Email Address: Click or tap here to enter text. |

## 