**Form C: Technical Quotation Form**

RFQ reference no: RFQ/2022/38081

Name of Bidder: [insert name of Bidder]

Bidders are required to complete the **Comparative Data Tables** included below to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS Minimum Technical Requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

***Technical specifications for good – Comparative Data Table***

**Lot No. 1- Spinal Needles**

| **Item No.** | **UNOPS minimum technical requirements** | | **Is quotation**  **compliant? (Yes/No)** | **Details of goods offered**  **(Please don't copy our requirement)** |
| --- | --- | --- | --- | --- |
| **Bidder to**  **complete** | **Bidder to complete** |
| i | Spinal Needle 25GX90mm (transparent hub) | 25G X 90mm pencil point spinal needles with introducer | ☐ Yes ☐ No |  |
| Pencil point design will not hurt the hard spinal theca, close puncture hole automatically and reduce cerebrospinal fluid discharge. | ☐ Yes ☐ No |  |
| Medical grade stainless steel. | ☐ Yes ☐ No |  |
| Pencil point enables smooth, sharpness ,maximize, patient comfort. | ☐ Yes ☐ No |  |
| Color coded hub by size for clear recognition. | ☐ Yes ☐ No |  |
| Model No./Catalog No. |  |  |
| ii | Spinal Needle 25GX120mm (transparent hub) | 25G X 120mm Pencil Point Spinal Needles With Introducer | ☐ Yes ☐ No |  |
| Pencil point design will not hurt the hard spinal theca, close puncture hole automatically and reduce cerebrospinal fluid discharge. | ☐ Yes ☐ No |  |
| Medical grade stainless steel. | ☐ Yes ☐ No |  |
| Pencil point enables smooth, sharpness, maximize, patient comfort. | ☐ Yes ☐ No |  |
| Color coded hub by size for clear recognition.cil Point Spinal Needles With Introducer | ☐ Yes ☐ No |  |
| Model No./Catalog No. |  |  |
| iii | Spinal Needle 20GX120mm (transparent hub) | 20G X 120mm Pencil Point Spinal Needles With Introducer | ☐ Yes ☐ No |  |
| Pencil point design will not hurt the hard spinal theca, close puncture hole automatically and reduce cerebrospinal fluid discharge. | ☐ Yes ☐ No |  |
| Medical grade stainless steel. | ☐ Yes ☐ No |  |
| Pencil point enables smooth, sharpness, maximize, patient comfort. | ☐ Yes ☐ No |  |
| Color coded hub by size for clear recognition.cil Point Spinal Needles With Introducer | ☐ Yes ☐ No |  |
| Model No./Catalog No. |  |  |
| iv | Spinal Needle 20GX90mm | spinal needle size 20G x 90mm, | ☐ Yes ☐ No |  |
| pencil point or quincke point ( either of these two are acceptable) | ☐ Yes ☐ No |  |
| Material: medical macromolecule material, Stainless steel | ☐ Yes ☐ No |  |
| Sterile product for single use | ☐ Yes ☐ No |  |
| Needle material: Stainless steel | ☐ Yes ☐ No |  |
| Needle hub: transparent PP | ☐ Yes ☐ No |  |
| Model No./Catalog No. |  |  |
| v | Spinal Needle 25GX90mm | spinal needle size 25G x 90mm, | ☐ Yes ☐ No |  |
| pencil point or quincke point ( either of these two are acceptable) | ☐ Yes ☐ No |  |
| Material: medical macromolecule material, Stainless steel | ☐ Yes ☐ No |  |
| Sterile product for single use | ☐ Yes ☐ No |  |
| Needle material: Stainless steel | ☐ Yes ☐ No |  |
| Needle hub: transparent PP | ☐ Yes ☐ No |  |
| Model No./Catalog No. |  |  |
| Packaging and Labelling Requirements | | Intended use, warnings, direction for use and storage condition | ☐ Yes ☐ No |  |

**Lot No. 2- Mucous Extractor**

| **Item No.** | **UNOPS minimum technical requirements** | | **Is quotation**  **compliant? (Yes/No)** | **Details of goods offered**  **(Please don't copy our requirement)** |
| --- | --- | --- | --- | --- |
| **Bidder to**  **complete** | **Bidder to complete** |
| i | Mucous extractor, 14FG | Mucous extractor size - 14FG | ☐ Yes ☐ No |  |
| Clear container, separate screw top lid for safe sealing and handling of aspirate | ☐ Yes ☐ No |  |
| Either with or without filter | ☐ Yes ☐ No |  |
| With thumb control suction catheter. | ☐ Yes ☐ No |  |
| Spare plug cap for safe transportation of specimen to laboratory or aspectic disposal of container. | ☐ Yes ☐ No |  |
| Container Volume - 100 mL | ☐ Yes ☐ No |  |
| Components  - 1 Clear and strong specimen container  - 1 tracheal suction tube  - 1 PVC extension tube with small or large funnel to connect the mucus extractor to the suction source  - 1 separate lid for safe sealing and transport of the aspirate.  Sterilized by Ethylene Oxide (EtO). | ☐ Yes ☐ No |  |
| Model No./Catalog No. |  |  |
| ii | Mucous extractor, 10FG | Mucous extractor size-10FG | ☐ Yes ☐ No |  |
| Clear transparent container permits immediate visual examination of the aspirate, suitable for obtaining mucus specimen for microbiology examination. | ☐ Yes ☐ No |  |
| Spare plug cap for safe transportation of specimen to laboratory or aspectic disposal of container. | ☐ Yes ☐ No |  |
| Low friction surface catheter is provided with open end silk smooth round tip, for trauma free insertion. sterile for use with or without filter | ☐ Yes ☐ No |  |
| Container Volume - 100 mL | ☐ Yes ☐ No |  |
| Components  - 1 Clear and strong specimen container  - 1 tracheal suction tube  - 1 PVC extension tube with small or large funnel to connect the mucus extractor to the suction source  - 1 separate lid for safe sealing and transport of the aspirate.  Sterilized by Ethylene Oxide (EtO). | ☐ Yes ☐ No |  |
| Model No./Catalog No. |  |  |
| Packaging and Labelling Requirements | | Individually peel packed, Sterile, Ready for use. | ☐ Yes ☐ No |  |

**Lot No. 3 - Synth.Absorb (PGA)**

| **Item No.** | **UNOPS minimum technical requirements** | | **Is quotation**  **compliant? (Yes/No)** | **Details of goods offered**  **(Please don't copy our requirement)** |
| --- | --- | --- | --- | --- |
| **Bidder to complete** | **Bidder to complete** |
| i | Synth.Absorb (PGA) 0 Cut | Synth absorb polyglycolic acid, with needle length of 30mm, reverse cutting, | ☐ Yes ☐ No |  |
| Diameter of 0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: Glycolide | ☐ Yes ☐ No |  |
| COLOUR: undyed and violet colour | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION: Polyethylene oxide | ☐ Yes ☐ No |  |
| SHELF LIFE: (Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| ii | Synth.Absorb (PGA) 0 R/B | Synth absorb polyglycolic acid, with needle length of 30mm, round bodied taper point, | ☐ Yes ☐ No |  |
| Diameter of 0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: Glycolide | ☐ Yes ☐ No |  |
| COLOUR: Undyed and violet colour | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION: Polyethylene oxide | ☐ Yes ☐ No |  |
| SHELF LIFE:(Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| iii | Synth.Absorb (PGA) 1/0 Cut | Synth absorb polyglycolic acid, with needle length of 30mm, reverse cutting, | ☐ Yes ☐ No |  |
| Diameter of 1/0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: Glycolide | ☐ Yes ☐ No |  |
| COLOUR: Undyed and violet colour | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION: Polyethylene oxide | ☐ Yes ☐ No |  |
| SHELF LIFE: (Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| iv | Synth. Absorb. (PGA) 1/0 R/B | Synth absorb polyglycolic acid, with needle length of 30mm, round bodied taper point, | ☐ Yes ☐ No |  |
| Diameter of 1/0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: glycolide | ☐ Yes ☐ No |  |
| COLOUR: undyed and violet colour | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION: Polyethylene oxide | ☐ Yes ☐ No |  |
| SHELF LIFE: (Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| v | Synth. Absorb. (PGA) 2/0 Cut | Synth absorb polyglycolic acid, with needle length of 30mm, reverse cutting, | ☐ Yes ☐ No |  |
| Diameter of 2/0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: glycolide | ☐ Yes ☐ No |  |
| COLOUR: undyed and violet | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION: Polyethylene oxide | ☐ Yes ☐ No |  |
| SHELF LIFE: (Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| vi | Synth. Absorb. (PGA) 2/0 R/B | Synth absorb polyglycolic acid, with needle length of 30mm, round bodied taper point, | ☐ Yes ☐ No |  |
| Diameter of 2/0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: Glycolide | ☐ Yes ☐ No |  |
| COLOUR: undyed and violet | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION: Polyethylene oxide | ☐ Yes ☐ No |  |
| SHELF LIFE: (Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| vii | Synth. Absorb. (PGA) 3/0 Cut | Synth absorb polyglycolic acid, with needle length of 30mm, reverse cutting, | ☐ Yes ☐ No |  |
| Diameter of 3/0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: Glycolide | ☐ Yes ☐ No |  |
| COLOUR: Undyed and violet colour | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION: Polyethylene oxide | ☐ Yes ☐ No |  |
| SHELF LIFE: (Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| viii | Synth. Absorb. (PGA) 3/0 R/B | Synth absorb polyglycolic acid, with needle length of 30mm, round bodied taper point, | ☐ Yes ☐ No |  |
| Diameter of 3/0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: Glycolide | ☐ Yes ☐ No |  |
| COLOUR: Undyed and violet | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION : Polyethylene oxide | ☐ Yes ☐ No |  |
| SHELF LIFE: (Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| ix | Synth. Absorb. (PGA) 4/0 Cut | Synth absorb polyglycolic acid, with needle length of 30mm, reverse cutting, | ☐ Yes ☐ No |  |
| Diameter of 4/0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: Glycolide | ☐ Yes ☐ No |  |
| COLOUR: Undyed and violet | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION:Polyethylene oxide | ☐ Yes ☐ No |  |
| SHELF LIFE: (Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| x | Synth. Absorb. (PGA) 4/0 R/B | Synth absorb polyglycolic acid, with needle length of 30mm, round bodied taper point, | ☐ Yes ☐ No |  |
| Diameter of 4/0, 3/8 shape, 70-75mm suture length | ☐ Yes ☐ No |  |
| MATERIAL USED: Glycolide | ☐ Yes ☐ No |  |
| COLOUR: Undyed and violet | ☐ Yes ☐ No |  |
| COATING: Polycaprolactone and calcium stearate. | ☐ Yes ☐ No |  |
| STERILIZATION: Polyethylene oxide. | ☐ Yes ☐ No |  |
| SHELF LIFE: (Please mention the shelf life of the offered product) |  |  |
| Model No./Catalog No. |  |  |
| Packaging and Labelling Requirements | | Intended use, warnings, direction for use and storage condition | ☐ Yes ☐ No |  |

**Lot No. 4- Echogenic Needles**

| **UNOPS minimum technical requirements** | | **Is quotation**  **compliant? (Yes/No)** | **Details of goods offered**  **(Please don't copy our requirement)** |
| --- | --- | --- | --- |
| **Bidder to complete** | **Bidder to complete** |
| Technical Specifications | Echogenic needles: 22G 100mm & 20G 150mm. | ☐ Yes ☐ No |  |
| Needle Material - highest tensile strength 304 stainless steel | ☐ Yes ☐ No |  |
| Single use, not reusable | ☐ Yes ☐ No |  |
| insulated needle | ☐ Yes ☐ No |  |
| Bevel Type :30deg bevel Luer | ☐ Yes ☐ No |  |
| Hub Connecting Type : Attached Extension Tubing | ☐ Yes ☐ No |  |
| Model No./Catalog No. |  |  |
| Needle Sizes | (i) Size - 20G 150mm  (ii) Size - 22G 100mm | ☐ Yes ☐ No |  |
| Packaging and Labelling Requirements | Intended use, warnings, direction for use and storage condition | ☐ Yes ☐ No |  |

| **Other Requirements for all lots** | **Is the quotation**  **compliant?**  **Bidder to complete** | **If No, Provide**  **comments** |
| --- | --- | --- |
| **Quality standards requirement:**  The product shall comply with UNOPS QA policy, as applicable, which can be seen at the link:  [**https://content.unops.org/service-Line-Documents/Procurement/UNOPS-Procurement-Manual-Annex-2-2021\_EN.pdf**](https://content.unops.org/service-Line-Documents/Procurement/UNOPS-Procurement-Manual-Annex-2-2021_EN.pdf)  Hence,  The Quality Management system of the manufacturer of the offered product under each lot must be certified against the requirements of ISO 13485 or 9001 as applicable or the quality management system of one of the founding members of GHTF.  Bidders shall enclose the copies of such certification for the offered product along with the submission.  Registration of products in Tuvalu is not a requirement and UNOPS will import products based on tax exemption and importation permit issued by the Government. | ☐ Yes ☐ No  Please provide the Valid and relevant document |  |
| **Product Catalog**  The bidder shall provide the product catalog indicating the offered product name, catalogue number, product photos and related product information. | ☐ Yes ☐ No  Please provide the Valid and relevant document |  |
| **Packaging and Labelling Specifications**  a) Should be standard as per the regulations applicable.  b) Special packaging and notification is required for easily breakable material.  c) All Labelling and packaging inserts shall be in English.  d) Should be strong enough for transport and to resist any mishandling. | ☐ Yes ☐ No |  |
| **Quality Control:**  On reception, in case of the detection of a defective product either in the quality of a product or in any other aspects such as packaging, the Supplier will be requested to replace the complete batch at its own cost including removal, shipping and destruction of the defective product as appropriate. | ☐ Yes ☐ No |  |
| **Defect:**  On reception, in case of the detection of a defective product either in the quality of a product or in any other aspects such as packaging, the Supplier will be requested to replace the complete batch at its own cost. | ☐ Yes ☐ No |  |
| **Complaints:**  Any complaint from UNOPS or its Sub-Recipients will be handled by the Supplier according to its internal standard operating procedures, and pursuant to the provisions relating to provisions as set out in the General Conditions. | ☐ Yes ☐ No |  |