Section III: Returnable Bidding Forms

eSourcing reference: [Insert UNOPS tender reference number]

Note to Bidders: The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their quotation. Instructions to complete each Form are highlighted in blue in each Form. Please complete the Returnable Biding Forms as instructed and return them as part of your quotation by uploading them against their specific Document Checklist in the UNOPS eSourcing system.

This Section comprises the following Returnable Bidding Forms:

- Form A: Quotation Submission Form

- Form B: Price Schedule Form

- Form C: Technical Quotation Form

- Form D: Previous Experience Form

- Form E: Joint Venture Partner Information Form

- Form G:  Bid Securing Declaration

- Form H: INDEPENDENT BID DECLARATION

- FORM I: UNITED NATIONS SUPPLIER CODE OF CONDUCT DECLARATION OF ELIGIBILITY

Form A: Quotation submission form

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]

Subject: Quotation for the supply of [Insert a brief description of goods/services] in [Name of country/city], RFQ Case No. [Insert RFQ ref number], dated [insert date]

We, the undersigned, declare that:

  - We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract;

  - Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in the Tender Particulars section, Period of Validity of Quotations] from the date fixed for the submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

  - We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS[If you have any actual or potential conflict of interest as defined in Article 3 of Section II: Instructions to Bidders, please disclose it here];;

  - Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;

  - Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;

  - We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact;

  - We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future;

  - We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this quotation and bind [insert full name of bidder] should UNOPS accept this quotation:

Name: [complete]

Title: [complete]

Date: [complete]

Signature: _____________________________________________________________

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]

Title: [complete]

Email address: [complete]

Telephone: [complete]

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

**Please fill in all your prices in the attached excel sheet and send it as (excel book) along with the below table**

RFQ reference no: [Insert UNOPS tender reference number]

Bills of quantity Lot# 6:  Supply and delivery of medical waste equipment for Several Hospitals – Multi Cities in Yemen as shown below.

| Item | Ibn Khaldoun Hospital - Lahj | Al Salam Rural Hospital - Lahj | Al Ra'zi General Hospital- Abyan | Sayoun Hospital - Sayoun | Shibam Hospital - Mahweet |
| --- | --- | --- | --- | --- | --- |
| Garbage Containers, large ,Yellow | 4 | 1 | 2 | 3 | 1 |
| Garbage Containers – large - Blue | 4 | 1 | 2 | 3 | 1 |
| Garbage Containers - large - Green | 4 | 1 | 2 | 3 | 1 |
| Garbage Containers - large - Red | 4 | 1 | 2 | 3 | 1 |
| Hand wheel barrow Carts - large | 12 | 1 | 6 | 8 | 1 |
| Rectangular Waste Bins - (20-25) litres - Blue - Plastic | 509 | 55 | 250 | 340 | 61 |
| Mobile Garbage Bins - (50- 80) litres – Green - Plastic | 122 | 13 | 60 | 82 | 15 |
| Rectangular Waste Bins, (15-25) litres - Medical Waste Type – Red - Plastic | 102 | 11 | 50 | 68 | 12 |
| Mobile Garbage Bins, (50- 80) litres - Medical Waste Type - Red - Plastic | 20 | 2 | 10 | 14 | 3 |
| Rectangular Waste Bins, (15-25) litres - Medical Waste Type – Yellow - Plastic | 102 | 11 | 50 | 68 | 12 |
| Mobile Garbage Bins, (50- 80) litres – Medical Waste Type – Yellow - Plastic | 20 | 2 | 10 | 14 | 3 |

| Currency | USD |
| --- | --- |

| No. | Item | Unit | QYT | Unit Price DAP | Total Price DAP |
| --- | --- | --- | --- | --- | --- |
| 6.1 | Garbage Containers, large ,Yellow | Each | 11 | insert | insert |
| 6.2 | Garbage Containers – large - Blue | Each | 11 | insert | insert |
| 6.3 | Garbage Containers - large - Green | Each | 11 | insert | insert |
| 6.4 | Garbage Containers - large - Red | Each | 11 | insert | insert |
| 6.5 | Hand wheel barrow Carts - large | Each | 28 | insert | insert |
| 6.6 | Rectangular Waste Bins - (20-25) litres - Blue - Plastic | Each | 1215 | insert | insert |
| 6.7 | Mobile Garbage Bins - (50- 80) litres – Green - Plastic | Each | 292 | insert | insert |
| 6.8 | Rectangular Waste Bins, (15-25) litres - Medical Waste Type – Red - Plastic | Each | 243 | insert | insert |
| 6.9 | Mobile Garbage Bins, (50- 80) litres - Medical Waste Type - Red - Plastic | Each | 49 | insert | insert |
| 6.10 | Rectangular Waste Bins, (15-25) litres - Medical Waste Type – Yellow - Plastic | Each | 243 | insert | insert |
| 6.11 | Mobile Garbage Bins, (50- 80) litres – Medical Waste Type – Yellow - Plastic | Each | 49 | insert | insert |
|  | Total |  |  |  | insert |

Payment terms 30 days accepted: ☐ Yes

Bidder’s discount for accelerated payment: ____% of total firm price for each calendar day less than thirty (30) days

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

- _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder] to sign this quotation and bind [insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form C: Technical Quotation Form

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of Bidder]

| Item No | UNOPS minimum technical requirements | Qty. | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete |
| --- | --- | --- | --- | --- |
| 6.1 | Garbage Containers, large ,Yellow |  |  |  |
|  | Name of Manufacturer | 11 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Garbage container 4-wheel Flat cover with hinges (with a capacity range 600 -700 litres) |  | ☐ Yes ☐ No |  |
|  | Curved cover, according to EN840 |  | ☐ Yes ☐ No |  |
|  | Material HDPE Supplied with 4 castors with rubber tyre (with on 2 wheels pedal brakes) |  | ☐ Yes ☐ No |  |
|  | For municipal solid waste collection, Yellow colour, Outdoor Use |  | ☐ Yes ☐ No |  |
|  | Environmental Friendly , Smooth surface inside for easy clean out |  | ☐ Yes ☐ No |  |
|  | Resistant to denting and bending |  | ☐ Yes ☐ No |  |
|  | All the parts are smooth and the plastic parts are no-toxic |  | ☐ Yes ☐ No |  |
|  | All the parts will keep high durability between the temperature -40°C~60°C. |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification: EN 840 and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.2 | Garbage Containers – large – Blue |  |  |  |
|  | Name of Manufacturer | 11 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Garbage container 4-wheel Flat cover with hinges (with a capacity range 600 -700 litres) |  | ☐ Yes ☐ No |  |
|  | Curved cover, according to EN840 |  | ☐ Yes ☐ No |  |
|  | Material HDPE Supplied with 4 castors with rubber tyre (with on 2 wheels pedal brakes) |  | ☐ Yes ☐ No |  |
|  | For municipal solid waste collection, Blue colour, Outdoor Use |  | ☐ Yes ☐ No |  |
|  | Environmental Friendly , Smooth surface inside for easy clean out |  | ☐ Yes ☐ No |  |
|  | Resistant to denting and bending |  | ☐ Yes ☐ No |  |
|  | All the parts are smooth and the plastic parts are no-toxic |  | ☐ Yes ☐ No |  |
|  | The material to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification: EN 840 and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.3 | Garbage Containers - large - Green |  |  |  |
|  | Name of Manufacturer | 11 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Garbage container 4-wheel Flat cover with hinges (with a capacity range 600 -700 litres) |  | ☐ Yes ☐ No |  |
|  | Curved cover, according to EN840 |  | ☐ Yes ☐ No |  |
|  | Material HDPE Supplied with 4 castors with rubber tyre (with on 2 wheels pedal brakes) |  | ☐ Yes ☐ No |  |
|  | For municipal solid waste collection, Green colour, Outdoor Use |  | ☐ Yes ☐ No |  |
|  | Environmental Friendly , Smooth surface inside for easy clean out |  | ☐ Yes ☐ No |  |
|  | Resistant to denting and bending |  | ☐ Yes ☐ No |  |
|  | All the parts are smooth and the plastic parts are no-toxic |  | ☐ Yes ☐ No |  |
|  | All the parts will keep high durability between the temperature -40°C~60°C. |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification: EN 840 and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.4 | Garbage Containers - large – Red |  |  |  |
|  | Name of Manufacturer | 11 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Garbage container 4-wheel Flat cover with hinges (with a capacity range 600 -700 litres) |  | ☐ Yes ☐ No |  |
|  | Curved cover, according to EN840 |  | ☐ Yes ☐ No |  |
|  | Material HDPE Supplied with 4 castors with rubber tyre (with on 2 wheels pedal brakes) |  | ☐ Yes ☐ No |  |
|  | For municipal solid waste collection, Red colour, Outdoor Use |  | ☐ Yes ☐ No |  |
|  | Environmental Friendly , Smooth surface inside for easy clean out |  | ☐ Yes ☐ No |  |
|  | Resistant to denting and bending |  | ☐ Yes ☐ No |  |
|  | All the parts are smooth and the plastic parts are no-toxic |  | ☐ Yes ☐ No |  |
|  | All the parts will keep high durability between the temperature -40°C~60°C. |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification: EN 840 and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.5 | Hand wheel barrow Carts – large |  |  |  |
|  | Name of Manufacturer | 28 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Hand wheelbarrow, with lid - Product reference(s) of item(s) offered |  | ☐ Yes ☐ No |  |
|  | High quality raw HDPE material |  | ☐ Yes ☐ No |  |
|  | Four wheels to facilitate container movement |  | ☐ Yes ☐ No |  |
|  | Hand cart with a suitable box, with a capacity range 350 - 400 litres to transport solid waste from the sections and point collections to the storage place |  | ☐ Yes ☐ No |  |
|  | Environmentally Friendly, Smooth surface inside for easy clean out |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.6 | Rectangular Waste Bins - (20-25) litres - Blue - Plastic |  |  |  |
|  | Name of Manufacturer | 1215 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Rectangular waste bin (20-25) litre, blue colour, to be placed in rooms and where necessary. |  | ☐ Yes ☐ No |  |
|  | Equipped with a plastic litter bin design lever-type flip cover design makes the flexible flap cover more comfortable |  | ☐ Yes ☐ No |  |
|  | Automatic rotation is simple and automatically closes after garbage disposal |  | ☐ Yes ☐ No |  |
|  | Effectively isolate odour and isolate bacteria. Material polyethylene for municipal solid waste |  | ☐ Yes ☐ No |  |
|  | Environmentally Friendly, Smooth surface inside for easy clean out, resistant to denting and bending for municipal solid waste. |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.7 | Mobile Garbage Bins - (50- 80) litres – Green - Plastic |  |  |  |
|  | Name of Manufacturer | 292 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Mobile garbage bins for municipal solid waste, Green colour |  | ☐ Yes ☐ No |  |
|  | Made from high quality UV resistant HDPE material |  | ☐ Yes ☐ No |  |
|  | Environmentally Friendly, Smooth surface inside for easy clean out, resistant to denting and bending for municipal solid waste, |  | ☐ Yes ☐ No |  |
|  | Capacity of (50- 80) litres |  | ☐ Yes ☐ No |  |
|  | Lid handle, the lid’s strip handle facilitates bin opening effortlessly and contributes to its durability |  | ☐ Yes ☐ No |  |
|  | Back handle ergonomically designed back handle is designed for easy mobility and handling |  | ☐ Yes ☐ No |  |
|  | Tilting: The (50- 80) l trash bin is fitted with two rear wheels to facilitate container movement and handling, using a tilted position by the person in charge, to be placed in specific points and where necessary, for collection from the rooms. |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.8 | Rectangular Waste Bins, (15-25) litres - Medical Waste Type – Red – Plastic |  |  |  |
|  | Name of Manufacturer | 243 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Rectangular waste bin (15-25) litre, Rubbermaid Swing Top cover. |  | ☐ Yes ☐ No |  |
|  | Soft-closing lid closes smoothly and quietly and without slamming when throw out waste. |  | ☐ Yes ☐ No |  |
|  | Effectively isolate odour and isolate bacteria |  | ☐ Yes ☐ No |  |
|  | Material polyethylene for hazardous solid medical waste type, Red colour, with a capacity of (15-25) litres |  | ☐ Yes ☐ No |  |
|  | Environmentally Friendly, Smooth surface inside for easy clean out, resistant to denting and bending for municipal solid waste, to be placed in rooms and where necessary |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.9 | Mobile Garbage Bins, (50- 80) litres - Medical Waste Type - Red – Plastic |  |  |  |
|  | Name of Manufacturer | 49 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Mobile garbage bins for hazardous solid medical waste type, red colour, with a capacity of (50- 80) litres. |  | ☐ Yes ☐ No |  |
|  | Made from high quality UV resistant HDPE material |  | ☐ Yes ☐ No |  |
|  | Environmental Friendly , Smooth surface inside for easy clean out , resistant to denting and bending for municipal solid waste |  | ☐ Yes ☐ No |  |
|  | Lid handle, the lid’s strip handle facilitates bin opening effortlessly and contributes to its durability |  | ☐ Yes ☐ No |  |
|  | back handle ergonomically designed back handle is designed for easy mobility and handling |  | ☐ Yes ☐ No |  |
|  | Tilting: The (50- 80) l trash bin is fitted with two rear wheels to facilitate container movement and handling, using a tilted position by the person in charge, to be placed in specific points and where necessary, for collection from the rooms |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.10 | Rectangular Waste Bins, (15-25) litres - Medical Waste Type – Yellow – Plastic |  |  |  |
|  | Name of Manufacturer | 243 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Rectangular waste bin (15-25) litre, Rubbermaid Swing Top cover. |  | ☐ Yes ☐ No |  |
|  | Soft-closing lid closes smoothly and quietly and without slamming when throw out waste. |  | ☐ Yes ☐ No |  |
|  | Effectively isolate odour and isolate bacteria |  | ☐ Yes ☐ No |  |
|  | Material polyethylene for hazardous solid medical waste type, Yellow colour, with a capacity of (15-25) litres |  | ☐ Yes ☐ No |  |
|  | Environmentally Friendly, Smooth surface inside for easy clean out, resistant to denting and bending for municipal solid waste, to be placed in rooms and where necessary |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
| 6.11 | Mobile Garbage Bins, (50- 80) litres – Medical Waste Type – Yellow – Plastic |  |  |  |
|  | Name of Manufacturer | 49 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 12 months full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Mobile garbage bins for hazardous solid medical waste type , Yellow colour, with a capacity of(50- 80) litres. |  | ☐ Yes ☐ No |  |
|  | Made from high quality UV resistant HDPE material |  | ☐ Yes ☐ No |  |
|  | Environmental Friendly , Smooth surface inside for easy clean out , resistant to denting and bending for municipal solid waste |  | ☐ Yes ☐ No |  |
|  | Lid handle, the lid’s strip handle facilitates bin opening effortlessly and contributes to its durability |  | ☐ Yes ☐ No |  |
|  | back handle ergonomically designed back handle is designed for easy mobility and handling |  | ☐ Yes ☐ No |  |
|  | Tilting: The (50- 80) l trash bin is fitted with two rear wheels to facilitate container movement and handling, using a tilted position by the person in charge, to be placed in specific points and where necessary, for collection from the rooms |  | ☐ Yes ☐ No |  |
|  | Safety and standards Manufacturer certification and ISO 9001, ISO 14001 or equivalent certification is acceptable. Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the enduser should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |

Delivery requirements and Comparative Data Table:

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods 3 months after Contract signature. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | Delivery at Place DAP to Several Hospitals – Multi Cities in Yemen. Unloaded, customs cleared Incoterms rules as per Incoterms 2020. | ☐ Yes ☐ No | Insert details |
| Consignee details |  |  |  |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- [20%] , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

00ax: +45 45 33 75 01

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

# Form D: Previous Experience Form

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of Bidder]

In the table below bidder should fill their previous experience showing that the bidder is in continuous business of supplying same goods for the last (2) Years, please make sure to fill all requested cells

| Description of services/goods | Country | Total amount of Contract | Contract Identification and Title and Contact details of Client (Name, Address, telephone, email, fax) | Year project was undertaken |
| --- | --- | --- | --- | --- |

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form E: Joint Venture Partner Information Form

The Bidder shall fill in this Form in accordance with the instructions indicated below.

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To be completed and returned with your Bid if the Bid is submitted as a Joint Venture/Consortium/Association.

| JV / Consortium/ Association Information |  |
| --- | --- |
| Name | [complete] |
| Names of each partner and contact information (address, telephone numbers, fax numbers, e-mail address) | [complete] |
| Name of leading partner (with authority to bind the JV, Consortium, Association during the Bidding process and, in the event a Contract is awarded, during contract execution) |  |
| Proposed proportion of responsibilities between partners (in %) with indication of the type of the goods/services to be delivered by each | [complete] |

Signatures of all partners of the JV:

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________			Date:  ________________________

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________			Date:  ________________________

Form F: Manufacturer’s Authorization Form

A letter issued by the manufacturer authorizing the applicant to participate in this particular RFQ must be submitted with the bid in the format provided in this Form.

To be eligible for delivery of goods, the bidder must be either the manufacturer of the offered goods or a sole representative of the manufacturer to the United Nations. Should offers for a particular make and model be received from more than one appointed representative, UNOPS reserves the right to select only one.

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To: [bidder to insert]

WHEREAS

We [insert complete name of manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of manufacturer’s factories], do hereby authorize [insert complete name of bidder] to submit a bid the purpose of which is to provide the following goods, manufactured by us [insert name and or brief description of the goods], and to subsequently negotiate and sign the contract.

We hereby extend our full guarantee and warranty in accordance with Clause 13 of the General Conditions for Goods, with respect to the goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the manufacturer]

Title: [insert title]

Dated on ____________ day of __________________, _______ [insert date of signing]

Form G: Bid Securing Declaration

Date: [Insert date]

Tender reference number: [Insert UNOPS tender reference number]

We, the undersigned, declare that:

- We understand that, according to your conditions, offers must be supported by a bid securing declaration.

- We accept that we could be declared ineligible to participate in future UNOPS tenders in accordance with the regulations stipulated in the Procurement Manual section 3.3 Vendor Ineligibility if we violate our obligation (s) under the conditions of the offer if:

- we withdraw our offer during the period of the offer validity specified by us in the offer submission form; or

- we do not accept the correction of errors in accordance with the Instructions to Bidders in the bidding documents; or

- after having been notified of the acceptance of our offer during the period of bid validity thereof, (i) we do not execute or refuse to execute the Contract form, if required; or (ii) we do not supply or refuse to provide the performance security.

- We understand that this bid securing declaration will expire if we are not the successful bidders, and when one of the following events occurs first: (i) we receive a copy of your notification with the name of the successful bidder; or (ii) twenty-eight days have elapsed after the expiration of our offer.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this bid and bind [insert full name of bidder] should UNOPS accept this bid:

Name : ___________________________________________________________

Title : _____________________________________________________________

Date : _____________________________________________________________

Signature : _________________________________________________________

FORM H: INDEPENDENT BID DECLARATION

This document does not require notarization.

Bid for the supply of [[……….]] in [……….]], invitation to bid no.: [……….], dated [……….]

The undersigned, on submission of a bid for the competitive procurement process or invitation to bid (hereinafter referred to as “the bid”) for the [insert brief description of the goods and/or services] in [name of country/city] – invitation to bid no.: [insert invitation to bid ref. no.], in response to the call for bids made by the United Nations Office for Project Services (UNOPS), I hereby make the following statements, which I declare to be true and complete in all respects.

On behalf of [name of bidder or joint venture], hereinafter “the Bidder”, I declare that:

- I understand that the bid submitted shall be disqualified if this statement is found not to be true and complete in all respects.

- I am authorized by the Bidder to sign this declaration and to submit the attached bid on behalf of the Bidder.

- Each person whose signature appears on the submitted bid has been authorized by the Bidder to establish its terms and to sign it on behalf of the Bidder.

- For the purposes of this statement and the bid submitted, I understand that the word “competitor” shall include any natural or legal person, other than the Bidder, whether affiliated with the Bidder or not, who:

- has been asked to submit a bid in response to this invitation to bid

- might potentially submit a bid in response to this invitation to bid, based on their qualifications, skills or experience.

- The Bidder discloses that (select the appropriate option from the following subsections, 5 (a) or 5 (b)):

- The Bidder has submitted the bid independently and without consultation, communication, agreement or arrangement with any competitor: YES ☐ 	NO ☐

- The Bidder has entered into consultation, communication, agreement or arrangement with one or more competitors with respect to this invitation to bid, full details of which the Bidder discloses in the accompanying documents, including the names of the competitors and the nature of and reasons for such consultation, communication, agreement or arrangement: YES ☐ 	NO ☐

- In particular, and without limiting the generality of paragraphs 5 (a) or 5 (b) above, there has been no consultation, communication, agreement or arrangement with any competitor with respect to:

- prices

- methods, factors or formulas used to calculate prices

- the intention or decision to submit a bid or not, or

- the submission of a bid that does not meet the specifications of the invitation to bid, except as specifically disclosed under paragraph 5 (b) above.

- In addition, there has been no consultation, communication, agreement or arrangement with any competitor as to the quality, quantity, specifications or delivery details for the products or services to which this invitation to bid relates as specifically disclosed under paragraph 5 (b) above.

- The terms of the bid submitted have not been and shall not be knowingly disclosed by the Bidder, whether directly or indirectly, to any competitor prior to the date and time of the official bid-opening ceremony, or contract-awarding ceremony, whichever comes first.

- I declare that the company I represent has commercial links with the following

- corporations: [indicate the corporations that may or may not submit a bid for the purpose of this invitation to bid, detailing their commercial names and the type of links that exist with them. If there are no commercial links with any corporations, please enter “None”].

The above statements are also true and complete for the members of the joint venture: YES ☐ NO ☐ [If the answer is NO, details must be included of the members for whom any of the above statements are not met. This paragraph may be deleted if the Bidder is not a joint venture].

Name	: _____________________________________________________________

Position 	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

FORM I: UNITED NATIONS SUPPLIER CODE OF CONDUCT DECLARATION OF ELIGIBILITY

UNOPS expects all bidders to act in accordance with the highest ethical standards throughout the competitive procurement process, as well as during the validity of any contract that may be awarded to them through the process. Therefore, all bidders must declare and ensure the following.

If the bidder’s status in relation to this declaration changes, it must inform UNOPS immediately. Failure to comply with this requirement shall automatically render the bidder ineligible. This document does not require notarization.

Bid for the supply of […………] in [……………….], invitation to bid no.: [……….], dated [……….].

The undersigned, on submission of a bid for the competitive procurement process or invitation to bid (hereinafter referred to as “the bid”) for the [insert brief description of the goods and/or services] in [name of country/city] – invitation to bid no.: Invitation to bid no.: [insert invitation to bid ref. no.], in response to the call for bids made by the United Nations Office for Project Services (UNOPS), I hereby make the following statements:

- We have not and shall not engage in proscribed practices in connection with the UNOPS competitive procurement processes. For the purposes of this provision, a “proscribed practice” means any of those listed on the UNOPS website under “Vendor Sanctions”, including those listed below:

- Corrupt practice: the offering, giving, receiving, or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party.

- Fraudulent practice: any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation.

- Coercive practice: any act or omission that impairs or harms, or threatens to impair or harm, directly or indirectly, any party or the property of the party to improperly influence the actions of a party.

- Collusive practice: an arrangement between two or more parties designed to achieve an improper purpose, including influencing improperly the actions of another party.

- Unethical practice: conduct or behaviour that is contrary to the conflict of interest, gifts and hospitality, post-employment provisions or other published requirements of doing business with UNOPS.

- Obstruction: acts or omissions by a vendor that prevent or hinder UNOPS from investigating instances of possible proscribed practices.

- We understand that in the event of any breach of these declarations or guarantees, UNOPS shall have the right to reject any bid submitted by us and may terminate any contract awarded to us as a result of any competitive procurement process, giving immediate notice thereof, and that UNOPS shall not be liable for termination charges or any other charges. In addition, UNOPS may exclude us from future work with the organization or other entities within the United Nations system.

- We commit to adhering to the highest ethical standards during the execution of any contract, in accordance with point 40. Ethics and corrupt practices of Section II: instructions to bidders of the bidding document.

- We understand that UNOPS may cancel or terminate the contract, without penalty and without notice, if we are found to have engaged in collusion, corrupt practices or unethical behaviour, and may also declare us – both our organization and its board of directors and/or individual staff – ineligible indefinitely or for a limited period of time. We understand that UNOPS may also cancel or rescind contracts for the same reason.

- We shall not employ, nor do we plan to employ, any person who has been a United Nations official in the past year. If an employee has been a United Nations official, they shall have had no professional relationship with us in the last three (3) years of their service with the United Nations.

The above statements are also true and complete for the members of the joint venture: YES ☐ NO ☐ [If the answer is NO, details must be included of the members for whom any of the above statements are not met. This paragraph may be deleted if the Bidder is not a joint venture].

Name	: _____________________________________________________________

Position 	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Bidders with commercial links are required to clearly state such links. Failure to do so may be interpreted as a proscribed practice as set out in Section 1.5.3.2 of the UNOPS Procurement Manual.