## Lot Summary
Zimbabwe Idai Recovery Project
Jopa Women's Market
| TRADE SUMMARY | LOT 1 | LOT 2 | LOT 3
1 | Preliminaries and General | 0 |  | 0
2 | Building 1 - Large Stall | 0 |  | 0
3 | Building 2 - Large Stall | 0 |  | 0
4 | Building 3 - Childcrae | 0 |  | 0
5 | Building 4 - Large Stall |  | 0 | 0
6 | Building 5 - Office |  | 0 | 0
7 | Building 6 - Large Stall |  | 0 | 0
8 | Building 7 - Ablution | 0 |  | 0
9 | Building 8 - Trader Stall | 0 |  | 0
10 | Building 9 - Trader stall | 0 |  | 0
11 | Buildings 10 + 11 - Cooking | 0 |  | 0
12 | Site works | 0 |  | 0
13 | Walkways | 0 |  | 0
14 | Roads and parking | 0 |  | 0
15 | Building - Solid Waste | 0 |  | 0
| TOTAL EXCLUDING VAT | 0 | 0 | 0
| ADD VALUE ADDED TAX | 0 | 0 | 0
| TOTAL INCLUDING VAT | 0 | 0 | 0

## Trade Summary
| Zimbabwe Idai Recovery Project |  | AMOUNT PER BUILDING OR LOCATION (USD $)
Jopa Women's Market
|  | FULL PROJECT AMOUNT | Prelims & General | Bld 1 | Bld 2 | Bld 3 | Bld 4 | Bld 5 | Bld 6 | Bld 7 | Bld 8 | Bld 9 | Bld 10 + 11 | Site works | Walkways | Roads | Bld 12
| TRADE SUMMARY |  |  | Large Stall | Large Stall | Childcrae | Large Stall | Office | Large Stall | Ablution | Trader Stall | Trader stall | Cooking |  |  |  | Solid Waste
1 | PRELIMINARIES AND GENERAL | 0 | 0
2 | EARTHWORKS ETC. | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | CONCRETE, FORMWORK AND REINFORCEMENT | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | MASONRY | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | WATERPROOFING | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
6 | ROOF COVERINGS | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | CARPENTRY | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | IRONMONGERY | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | METALWORK | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | PLASTERING | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | TILING | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | PLUMBING AND DRAINAGE | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | ELECTRICAL WORK | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | GLAZING | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | PAINTWORK | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | EXTERNAL WORKS | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SUB-TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Preliminaries
.
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1.0 | BILL NO. 1 Preliminary and General (lot "1" and "2" "3")
Allow for all establishement charges and compliance with the General Conditions of Contract, Technical Specifications, Technical Drawings, Preambles to Bill of Quantities, Terms of Reference, Annexures and obligations of a preliminary or general nature which are not specifically measured for payment under any other items of payment under the following headings
1.1 | Provision of Insurances (Including works, third party and workmen) | sum | 1 |  | 0
0
1.2 | Provision of Surety Bond / Perfomance security | sum | 1 |  | 0
0
1.3 | General Costs (time related) | sum | 1 |  | 0
0
1.4 | Establishment of camps and plant on site.(fixed cost) |  |  |  | 0
1.4.1 | a) Contractors Camp Establishment | sum | 1 |  | 0
1.4.2 | b) Engineers site Office, the UNOPS site office shall be furnished with two (2) office desks (complete with lockable drawers), two swivel-type chairs, a round meeting table with four (4) meeting chairs, and one steel cabinet. The contractor shall provide electricity, daily cleaning, and maintenance of the site office facility and a shared meeting room. The Contractor will be responsible for the payment of consumption charges and connection fees for utilities, etc. | sum | 1 |  | 0
1.4.3 | c) Transport Plant to Site | sum | 1 |  | 0
1.4.4 | d) Remove Plant from Site | sum | 1 |  | 0
1.4.5 | e) Remove Contractors Camp and make good to Engineers Satisfaction | sum | 1 |  | 0
1.4.6 | f) Any other operation necessary including but not limited to accommodation of public transport including temporary lane closures/detours when executing exit/entrances. The Contractor shall provide to the satisfaction of the Engineer adequate warning signs, temporary restriction signs, advance warning signs, barriers, temporary bumps and any other device and personnel to ensure the safe passage of traffic through the works | sum | 1 |  | 0
0
1.5 | Allow for compliance with Health, Safety, Security & Environment issues as directed by Engineer in accordance with UNOPS and Legislative Standards thus include the following: - Safety clothing - Helmets - Safety chains - Safety shoes - Gloves - Safety Signage - COVID 19 Alleviation Measures etc. | sum | 1 |  | 0
0
1.6 | Provision and erection of approved Project Signboard | sum | 1 |  | 0
0
1.7 | Allow for Compliance to with specifications |  |  |  | 0
1.7.1 | a)allow for setting out | sum | 1 |  | 0
0
1.8 | Allow for payment to and attendance to Engineer's Vehicles and Site Office | sum | 1 |  | 0
0
1.9 | Allow for providing everything neccesary for execution, supervision and maintenance of works including Site | sum | 1 |  | 0
0
1.10 | Allow for sampling, testing and attendance by nominated laboratory as directed by the engineer. |  |  |  | 0
1.10.1 | Foundation soil bearing capacity | No | 10 |  | 0
1.10.2 | Borrow pit gravel sampling | No | 5 |  | 0
1.10.3 | Onsite gravel quality tests | No | 5 |  | 0
1.10.4 | Road base compaction tests | No | 10 |  | 0
1.10.5 | Precast concrete kerb tests | No | 3 |  | 0
1.10.6 | Asphalt tests | No | 3 |  | 0
1.10.7 | Concrete cube tests | Sets * | 45 |  | 0
1.10.8 | Concrete slump tests | Sets * | 45 |  | 0
| Total Carried to Main Summary |  |  |  | 0
* 3 per Set

## Bills
ITEM NO | DESCRIPTION | UNIT | TOTAL QUANTITY (ALL BUILDINGS) | RATE (USD) | AMOUNT (USD) | QUANTITY PER BUILDING OR LOCATION | [13 empty] | AMOUNT PER BUILDING OR LOCATION
[6 empty] | Bld 1 | Bld 2 | Bld 3 | Bld 4 | Bld 5 | Bld 6 | Bld 7 | Bld 8 | Bld 9 | Bld 10 + 11 | Site works | Walkways | Roads | Bld 12 | Bld 1 | Bld 2 | Bld 3 | Bld 4 | Bld 5 | Bld 6 | Bld 7 | Bld 8 | Bld 9 | Bld 10 + 11 | Site works | Walkways | Roads | Bld 12
[6 empty] | Large Stall | Large Stall | Childcare | Large Stall | Office | Large Stall | Ablution | Trader Stall | Trader stall | Cooking |  |  |  | Solid Waste | Large Stall | Large Stall | Childcare | Large Stall | Office | Large Stall | Ablution | Trader Stall | Trader stall | Cooking |  |  |  | Solid Waste
BILL NO. 2 EARTHWORKS, ETC.
FOUNDATIONS (PROVISIONAL)
Testing
Prices for filling are to include for all necessary density tests in accordance with the relevant SANS regulation
EXCAVATION ETC. OTHER THAN BULK EXCAVATIONS
Site Clearance
a | Relocate existing timber cabins | m2 | 100 |  | 0
1 | Digging up and removing rubbish, debris, vegetation etc. | m2 | 1442.66 |  | 0 | 197 | 197 | 197 | 197 | 197 | 197 | 153.66 | 27 | 27 | 27 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Stripping average 300mm thick layer of top soil and depositing material in prescribed stock piles on site | m3 | 427.698 |  | 0 | 59 | 59 | 59 | 59 | 59 | 59 | 41.698 | 8 | 8 | 8 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Excavation in earth not exceeding 2m deep below natural, reduced or made up ground level for
3 | Excavate for surface trenches. | m3 | 502.2049 |  | 0 | 56 | 56 | 56 | 56 | 56 | 56 | 88.2049 | 17 | 17 | 14 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Excavate holes for bases etc. | m3 | 37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Extra over trench and hole excavations in earth for excavation in
5 | Intermediate excavation / soft rock | m3 | 26 |  | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Hard Rock | m3 | 26 |  | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carting away of surplus material
7 | Extra over all excavations for carting to stockpile | m3 | 658.849 |  | 0 | 79 | 79 | 79 | 79 | 79 | 79 | 100.849 | 19 | 19 | 16 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Risk of collapse of excavations
8 | Sides of trench and hole excavations not exceeding 1.5m deep | m2 | 1221 |  | 0 | 135 | 135 | 135 | 135 | 135 | 135 | 218 | 42 | 42 | 34 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Keeping excavations free of water
9 | Keeping excavations free of all water and mud other than subterranean water, across all applicable construction zones | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOIL POISONING
Rentokil or equal and approved anti-termite soil insecticide applied by a Registered Pest Control Company and guaranteed against termite infestation for ten years including forming and poisoning shallow furrows along sides of foundation walls, etc., filling in and ramming:
10 | To sides and bottoms of trench excavations | m2 | 1686 |  | 0 | 189 | 189 | 189 | 189 | 189 | 189 | 293 | 56 | 56 | 46 | 0 | 0 | 0 | 101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Under floors etc including forming and poisoning shallow furrows against foundation walls etc and ramming | m2 | 1042.66 |  | 0 | 153 | 153 | 153 | 153 | 153 | 153 | 83.66 | 13 | 13 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FILLING, ETC:
All rates are to include for haulage, to be determined by the contractor as necessary. All rates are to include for all density tests as required by SANS.
Rip and Scarify In-situ Material
12 | Compaction of in-situ ground surface including ripping and scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% Mod AASHTO density | m2 | 1042.66 |  | 0 | 153 | 153 | 153 | 153 | 153 | 153 | 83.66 | 13 | 13 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imported G6 quality earth filling material supplied by the contractor from commercial sources or borrow pit, compacted to 95% Mod AASHTO density
13 | Backfilling to trenches, holes, behind retaining structures, etc | m3 | 221 |  | 0 | 24 | 24 | 24 | 24 | 24 | 24 | 39 | 8 | 8 | 7 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Under surface beds, floors, steps, pavings etc. | m3 | 469.698 |  | 0 | 69 | 69 | 69 | 69 | 69 | 69 | 36.698 | 6 | 6 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional testing as required and instructed by the Engineer, over and above standard SANS required testing
15 | Mod AASHTO | No | 11 |  | 0 | [9 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: QUANTITY PER BUILDING OR LOCATION Bld 1 to QUANTITY PER BUILDING OR LOCATION Bld 9
16 | Field Density | No | 11 |  | 0 | [9 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: QUANTITY PER BUILDING OR LOCATION Bld 1 to QUANTITY PER BUILDING OR LOCATION Bld 9
BILL NO. 3 CONCRETE, FORMWORK AND REINFORCEMENT
UNREINFORCED CONCRETE
Unreinforced concrete cast against all classes of excavated surfaces
'10 Mpa / 19mm concrete in
1 | Surface blinding in trenches etc. | m3 | 20 |  | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REINFORCED CONCRETE
Reinforced concrete cast against all classes of excavated surfaces
20MPa/19mm concrete in
2 | Surface beds including thickenings, all cast in panels on waterproofing, cast to falls as necessary | m3 | 172.0539 |  | 0 | 25 | 25 | 25 | 25 | 25 | 25 | 16.0539 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 MPa/19mm concrete in
3 | Strip footings | m3 | 101 |  | 0 | 11 | 11 | 11 | 11 | 11 | 11 | 18 | 4 | 4 | 3 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Concrete bases for water tank | m3 | 25 |  | 0 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reinforced concrete cast in or on formwork
30MPa/19mm concrete
5 | Cover slabs over biodigesters, septic tanks etc. | m3 | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Concrete walls (biodigesters) | m3 | 13.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CONCRETE SUNDRIES
Finishing top surfaces with a steel trowel finish
7 | Surface beds, slabs, etc | m2 | 1042.66 |  | 0 | 153 | 153 | 153 | 153 | 153 | 153 | 83.66 | 13 | 13 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROUGH FORMWORK
Rough formwork to sides and soffits, degree of accuracy II
8 | Soffits of septic tanks, biodigesters etc. | m2 | 37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Sides of concrete walls (biodigester) | m2 | 133 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Edges / outer perimeter of exposed surface beds or ground slabs (where no walls) | m2 | 71.83 |  | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 11.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 39 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MOVEMENT JOINTS ETC
Isolation joints formed from 10mm thick jointex or similar approved
12 | 10mm Joints not exceeding 300mm high | m | 1034 |  | 0 | 121 | 121 | 121 | 121 | 121 | 121 | 141 | 36 | 36 | 30 | 0 | 0 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3mm x 60mm Saw cut joints in top of concrete
13 | Saw cut joint | m | 690 |  | 0 | 102 | 102 | 102 | 102 | 102 | 102 | 52 | 8 | 8 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REINFORCEMENT (PROVISIONAL)
Supply, delivery and installation of Mild and high tensile steel rod reinforcement.
This reinforcement has not been separated into length and diameter categories. The contractor's prices must allow for this. The final mass will be measured in accordance with this clause and not as stated in the Standard System of Measuring Building Work
14 | Reinforcement to structural concrete including foundations, all diameters, all types | kg | 6350 |  | 0 | 435 | 435 | 435 | 435 | 435 | 435 | 3071 | 145 | 145 | 119 | 0 | 0 | 0 | 260 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fabric reinforcement
15 | Type 193 fabric reinforcement in concrete surface beds | m2 | 1231.66 |  | 0 | 182 | 182 | 182 | 182 | 182 | 182 | 98.66 | 13 | 13 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 4 MASONRY
FOUNDATIONS, LOAD BEARING
Supply, delivery and installation of Foundation brickwork of NFP Clay bricks in class II Mortar
1 | One brick wall | m2 | 460 |  | 0 | 54 | 54 | 54 | 54 | 54 | 54 | 53 | 18 | 18 | 15 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUPERSTRUCTURE, LOAD BEARING
Supply, delivery and installation of Superstructure brickwork of good quality NFP clay bricks in class II Mortar
2 | Half brick wall | m2 | 106 |  | 0 | 44 | 0 | 0 | 0 | 10 | 0 | 38 | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Half brick walls in short walls for bench supports | m2 | 3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | One brick wall | m2 | 1637 |  | 0 | 235 | 237 | 237 | 237 | 237 | 237 | 127 | 37 | 37 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | in beam filling | m2 | 119 |  | 0 | 16 | 16 | 16 | 16 | 16 | 16 | 15 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Joint forming material in movement joints
6 | 6mm Jointex or similar approved built in vertically | m2 | 31 |  | 0 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Brickwork reinforcement
7 | 75mm Wide reinforcement built in horizontally | m | 14588 |  | 0 | 2079 | 1925 | 1925 | 1925 | 1959 | 1925 | 1556 | 447 | 447 | 209 | 0 | 0 | 0 | 191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Prestressed fabricated concrete lintels including necessary temporary supports in lengths not exceeding 3.0m unless otherwise stated
8 | 110 x 70mm Lintels over openings etc. | m | 701 |  | 0 | 109 | 103 | 103 | 103 | 104 | 103 | 22 | 27 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 110 x 70mm Lintels in forming concrete benches | m | 198 |  | 0 | 19 | 19 | 19 | 42 | 19 | 19 | 42 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FACE BRICKWORK
Extra over for supply, delivery, installation of semi-face or face bricks with flush pointed joints,
10 | Extra over brickwork for face brickwork including all narrow widths, linings, cutting etc. on foundation walls | m2 | 126 |  | 0 | 14 | 14 | 14 | 14 | 14 | 14 | 20 | 5 | 5 | 4 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Extra over brickwork for face brickwork for wall faced both sides (half brick walls, one side only measured) including all narrow widths, linings, cutting etc. | m2 | 193 |  | 0 | 58 | 11 | 11 | 11 | 22 | 11 | 57 | 6 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Extra over brickwork for face brickwork including all narrow widths, linings, cutting etc. | m2 | 3358 |  | 0 | 480 | 482 | 482 | 482 | 482 | 482 | 255 | 91 | 91 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Supply, delivery and installation of Face bricks with flush pointed joints
13 | 110mm wide honeycomb wall including pointing both sides, and all exposed faces (this is not an extra over item. price in full) | m2 | 24 |  | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 350mm wide soldier course built on top of rammed earth walling including pointing all exposed sides (price in full. This is not an extra-over item) | m | 466 |  | 0 | 61 | 61 | 61 | 61 | 61 | 61 | 55 | 15 | 15 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 5 WATERPROOFING
DAMP PROOFING OF WALLS AND FLOORS
One layer of 0.325mm polyolefin damp-proof course complying with the requirements of SANS 952 (type B)
1 | On walls, stepped up in cavities, under cills, etc. | m2 | 220 |  | 0 | 24 | 24 | 24 | 24 | 24 | 24 | 39 | 8 | 8 | 7 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Above and/or below openings | m2 | 97 |  | 0 | 16 | 15 | 15 | 15 | 15 | 15 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
One layer 250 micron green polyethylene waterproof sheeting (SANS 952-1985 type C) sealed at laps with Pvc self-adhesive tape
3 | Under surface beds, rafts etc. | m2 | 1102 |  | 0 | 163 | 163 | 163 | 163 | 163 | 163 | 83 | 13 | 13 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SEALING STRIPS, JOINT SEALING ETC.
Approved polyurethane sealing compound including backing cord, bond breaker, primer, etc
4 | 6mm vertical joints in masonry | m | 191 |  | 0 | 28 | 28 | 28 | 28 | 28 | 28 | 14 | 3 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 6mm Movement joints between concrete and brickwork surfaces | m | 997 |  | 0 | 109 | 109 | 109 | 109 | 109 | 109 | 176 | 36 | 36 | 30 | 0 | 0 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 3mm Saw cut joints | m | 690 |  | 0 | 102 | 102 | 102 | 102 | 102 | 102 | 52 | 8 | 8 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 6 ROOF COVERINGS
PROFILED METAL SHEETING AND ACCESSORIES
ROOF COVERING
0.8mm thick IBR profile pierce fixed metal roof sheeting fixed to timber structure (timber elsewhere measured) with and including hex head timber fix (#12X85MM ZAP S/D Screw Hex T17 Class 2, and all other fixing accessories necessary, all in accordance with manufacturers recommendations including 5 year guarantee. Colour: Architect to select from standard available colour range
1 | Roof covering with 5° pitch | m2 | 1548 |  | 0 | 205 | 205 | 205 | 205 | 205 | 205 | 146 | 44 | 44 | 50 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Design, supply, deliver and install chimney flue including all additional supportwork, flashings, waterproofing etc., colour: Charcoal
2 | Chimney flue (Thermal chimney) | No | 57 |  | 0 | 8 | 8 | 8 | 8 | 8 | 8 | 3 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FLASHINGS ETC
Minimum 0.8mm flashings etc. to suit "Klip-Lok" sheeting, including all clips, stop ends etc., and install in accordance with manufacturer instructions, colour: Dove Grey
3 | Equal edge flashing to roof manufacturer's recommendations | m | 782 |  | 0 | 92 | 92 | 92 | 92 | 92 | 92 | 84 | 36 | 36 | 49 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INSULATION
Isover Rigid Insulation or similar approved thermal insulation suitable for roof insulation with 1.57 R-Value thermal resistance, laid over timber roof structure and under roof sheeting complete in accordance with manufacturer's instructions
4 | insulation under roof coverings | m2 | 1548 |  | 0 | 205 | 205 | 205 | 205 | 205 | 205 | 146 | 44 | 44 | 50 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GUTTERS
400mm wide x 200mm deep galvanised steel plate box gutter formed from 3mm plate with total girth 1200mm, including all sealing and treating of gutter internally with an approved bituminous paint, and including all fixing details as required
5 | Box gutter complete | m | 78 |  | 0 | 13 | 13 | 13 | 13 | 13 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Extra over for stopped end | No | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Extra over for discharge spouts including connection to water tank (tank elsewhere measured) | No | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 7 CARPENTRY
TIMBER STRUCTURE CONSTRUCTION
Design, supply, deliver and install complete in accordance with the Engineer's specification including all designing, shop drawings, hoisting, fabricating, transport, delivering, erecting, all fixing details, hangers, testing, treatments, finishing etc. Framework to comprise of the following main elements / members complete:
Approved gumpoles with galvanised steel plate connectors to all ends and including H3-CCA treatment
1 | 200mm diameter gumpole columns, all lengths | m | 896 |  | 0 | 113 | 113 | 113 | 113 | 113 | 113 | 87 | 26 | 26 | 51 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 150mm diameter gumpole cross beams, all lengths | m | 941 |  | 0 | 136 | 136 | 136 | 136 | 136 | 136 | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 150mm diameter gumpole rafters, all lengths | m | 1602 |  | 0 | 213 | 213 | 213 | 213 | 213 | 213 | 134 | 46 | 46 | 62 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 125mm diameter gumpole bracing, all lengths | m | 759 |  | 0 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 26 | 26 | 51 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Gumpole slatted ceiling including all finishing fixed between cross beams to the underside of the insulated roof sheeting (insulation and roof sheeting elsewhere measured) | m2 | 1548 |  | 0 | 205 | 205 | 205 | 205 | 205 | 205 | 146 | 44 | 44 | 50 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA Pine or similar approved sawn timber
6 | 50mm x 75mm SA Pine purlins fixed with and including 50mm hurricane clips | m | 1597 |  | 0 | 204 | 204 | 204 | 204 | 204 | 204 | 199 | 42 | 42 | 58 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 38mm x 250mm x 600mm timber wall plate (bearing cross beams) | No | 178 |  | 0 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 17 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sundry metalwork
8 | Galvanised mild steel base fitting to columns including ground screws and end caps complete to suit 200mm diameter columns (example: https://www.krinner.io/en/products/f-series/) | No | 236 |  | 0 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 8 | 8 | 16 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Design, supply and install all connections, connector plates, components, brackets, support brackets, gusset plates, bolts with nutes and washers, wood screws, dowel bars, sundry hangers etc. with reference to drawing REQ-ZIM 2021-117-7103 titled "Truss bracing detailing" all complete (price per building)
9 | Ablution building no. 7 | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Large Stalls, buildings 1 to 6 | No | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Cooking huts, buildings 10 and 11 | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Trader stalls, buildings 8 and 9 | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Solid waste, building 12 | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tie the timber structure to the masonry wall complete, including M12 stainless steel threaded rods set and rammed minimum 600mm deep vertically into walls at 500mm centres and fixed to timber members, all to the engineer's approval
14 | Threaded rods | No | 902 |  | 0 | 122 | 122 | 122 | 122 | 122 | 122 | 110 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 8 IRONMONGERY
HANDLES, LOCKS, LOCKSETS, CATCHES ETC.
Supply, Deliver, Install ironmongery in accordance with manufacturer's instructions
1 | Handle and lockset to internal doors | No | 14 |  | 0 | 5 | 0 | 0 | 0 | 1 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Handle and lockset to external doors | No | 49 |  | 0 | 7 | 7 | 7 | 7 | 7 | 7 | 3 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Door stops | No | 63 |  | 0 | 12 | 7 | 7 | 7 | 8 | 7 | 11 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BATHROOM ACCESSORIES
Supply, Deliver, Install bathroom accessories in accordance with manufacturer's instructions
4 | Toilet roll holder | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Spare toilet roll holder | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Towel rail | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Automatic hand dryer (electric plug point elsewhere measured) | No | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Soap dispenser | No | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Wall mounted waste bin | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Wall mounted urinal dividers | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Supply, deliver and fix SANS approved fittings including fixing accessories, plugged and screwed to walls in accordance with manufacturer's recommendations
11 | One litre liquid soap dispenser / hand sanitizer | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Supply, deliver and install approved stainless steel grab rails with polished satin finish, including all flanges, fasteners, screws dowels, wall plugs etc complete per manufacturer's recommendations
12 | Cistern grab rail code VAA-SR2 | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Dogleg grab rail with 2 flanges, code VAA-DL2 | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DUSTBINS
Supply, Deliver and install dustbins
14 | Placement of dustbins | No | 14 |  | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STOVES
15 | Supply, delivery and installation of rocket stoves (two required) | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 9 METALWORK
PRESSED STEEL DOOR DOORS AND FRAMES
Radar Metal Industries or similar approved heavy duty metal ribbed leaf door with and including single rebated door frame, and hinges as recommended by manufacturer
1 | Single door size 813mm wide x 2032mm high including frame to suit 110mm brick wall | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Single door size 813mm wide x 2032mm high including frame to suit 350mm wall | No | 62 |  | 0 | 12 | 7 | 7 | 7 | 7 | 7 | 11 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VENTILATION LOUVRES
Weather resistant louvre with Z-profile flanges frame fixed to and including timber frame
3 | 600mm x 600mm louvre with frame to suit 350mm wall | No | 72 |  | 0 | 12 | 12 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PRESSED METAL WINDOWS
Heavy duty pressed metal window including 4mm clear safety glazing in accordance with statutory requirements
4 | 600mm x 1200mm single pane (fixed) window | No | 48 |  | 0 | 8 | 8 | 8 | 8 | 8 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 1200mm x 1200mm with two equal leaves, one sliding opening section and one fixed pane | No | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MILD STEEL LINTELS
Angle iron lintels set into rammed earth walls over openings
6 | 100mm x 100mm x 8mm equal angle with lugs | kg | 6947 |  | 0 | 958 | 958 | 958 | 958 | 958 | 958 | 151 | 524 | 524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CAGING
Design, supply and install mild steel caging including all shop drawings, fabrication, mesh, finishing etc. comprising the following main elements
7 | 11590mm long x 1048mm wide x 2040mm high structure constructed from 40mm x 40mm square tubing framework with 3mm fillet welded including floor brackets, bolts, bracing etc. | No | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Heavy duty diamond mesh steel welded to frame with minimum 3mm fillet welds | m2 | 600 |  | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Extra over for double gate with opening size 1375mm x 1800mm high including three hinges per leaf and standard lock | No | 12 |  | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Extra over for double gate with opening size 1600mm wide x 1800mm high including three hinges per leaf and standard lock | No | 24 |  | 0 | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SHELVING
Design, supply and install retractable serving shelf including chains and hooks, finishings etc. complete
11 | 1500mm long x 350mm wide serving hatch | No | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FENCING
Design, supply and install diamond or wire mesh fencing complete including foundations, posts, straining wires etc.
31 | 1200mm high diamond mesh fence | m | 64 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | 1800mm high galvanised mild steel palisade fence | m | 185 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | 1800mm high fencing in short lengths between buildings | m | 46 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | Extra over for 1000mm wide x 1800mm high gate including two heavy duty galvanised mild steel hinges, barrel bolt with suitable padlock and keys and including additional framing etc. | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | Extra over for 1000mm wide x 1800mm high single gate including heavy duty galvanised mild steel hinges, barrel bolt with suitable padlock and keys and including additional framing etc. | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | Extra over for 2020mm wide x 1000mm high double gate including heavy duty galvanised mild steel hinges, barrel bolt with suitable padlock and keys and including additional framing etc. | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
COMPOST BINS
Design, supply and install compost bins complete per drawing 6101 and 6102
35 | Compost bins | No | 12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 10 PLASTERING
SCREEDS
Cement plaster screeds
1 | Average 50mm thick with upper surface to falls, steel floated | m2 | 1042.66 |  | 0 | 153 | 153 | 153 | 153 | 153 | 153 | 83.66 | 13 | 13 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXTERNAL PLASTER
One coat 1:5 cement plaster finished with a wood float on:
2 | horizontal surfaces of precast concrete lintels in forming benches etc. | m2 | 24 |  | 0 | 2 | 2 | 2 | 7 | 2 | 2 | 5 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | in narrow widths not exceeding 300mm high or wide | m2 | 79 |  | 0 | 13 | 11 | 11 | 11 | 11 | 11 | 4 | 3 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 11 TILING
TILING
WALL TILING
Supply, Deliver, Install wall tiles fixed with and including approved tile adhesive and completed with 3mm waterproof tile grout to jointed and flush pointed continuous joints in both directions, and including approved silicone sealant at all junctions, edges, trims etc.
1 | On splashbacks | m2 | 19 |  | 0 | 10 | 0 | 0 | 7 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 12 PLUMBING AND DRAINAGE
SLEEVES
uPVC sleeves for pipes not exceeding 110mm diameter including all necessary draw boxes, draw wire etc.
1 | Sleeves installed under concrete surface beds (provisional) | m | 18 |  | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOIL DRAINAGE
BIODIGESTER
Design, supply and install a biodigester system including the following elements complete (excavation of pit and concrete cover slab elsewhere measured)
2 | Prepare existing ground level (excavation elsewhere measured) | m2 | 37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Porous slab | m2 | 37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 250mm thick drainage layer of 13mm gravel | m2 | 37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Wire mesh partition material | m2 | 37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 100mm bedding material of coconut coir | m2 | 37 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Worms | kg | 8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
uPVC soil drainage pipes installed at 1:60 falls including all, bends, connection, excavations, backfilling etc.
8 | 110mm soil drainage | m | 174 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Extra over for vent pipe | No | 3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Extra over for inspection eye | No | 5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Extra over for rodding eye including 620mm x 550mm x250mm deep rodding eye box | No | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WATER SUPPLIES
Borehole installation complete including all drilling, sleeves, gate valves, non-return valves, filters etc. complete (electric installation elsewhere measured)
12 | Borehole including slotted and plain casing, and all riser pipework, maximum 30m deep | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Extra over for additional depth, price per meter | m | 30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Hydrogeological / Geophysical survey | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Acquisition of drilling permit | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Mobilisation / demobilisation of drilling equipment, temporary facilities, etc | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Gravel pack | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Sanitary seal | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Pump testing | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Water quality analysis | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Borehole disinfection | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Borehole capping and well head | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Borehole completion report | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Testing and commissioning of borehole installation | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | Maintenance manuals | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | Training in the use and maintenance requirements as required | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Class 10 HPDE pipes including all bends, tees, adaptors etc.
27 | 22mm including all excavation, backfilling etc. | m | 16.43 |  | 0 | 6.43 | 0 | 0 | 3 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 50mm including all excavation, backfilling etc. | m | 133 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | Extra over for isolation valves | No | 2 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WATER STORAGE
Rainwater harvesting tank complete with first flush diverter, inlet, emergency overflow covered insect protection material, APEX pump buddy high/low level float valve etc. complete.
30 | 10000 litre Jojo or similar approved HDPE water tank | No | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | Connection from box gutter on roof to tank including all pipework, fixings, bends etc. | No | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Borehole water storage tank complete with first flush diverter, inlet, emergency overflow covered insect protection material, APEX pump buddy high/low level float valve, gate valve etc. complete.
32 | 10000 litre Jojo or similar approved water tank including all connections, reticulation etc. (concrete base for tank elsewhere measured) | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SANITARY POINTS
Design, supply and install full reticulation systems
Refer to the architect's tender drawings for the positions of the relevant fittings etc.
Cold water plumbing supply point at building complete including all reticulation from connection point to demand point internally at toilet, wash hand basin, shower, etc., including all piping, connections, bends, elbows, tees, chasing, repairs to chasing, fixing accessories, connections, collars, rubbers, delivery etc., and including thrust blocks and associated works such as excavations, formwork, backfilling, etc., complete. (sanitaryware and sanitary fittings measured elsewhere)
33 | Toilet | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | Wash hand basin | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | Urinal | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | Shower | No | 3 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 | Kitchen sink | No | 1 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | Wash trough | No | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | Geyser | No | 3 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | Yard wall tap | No | 7 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hot water plumbing supply point complete including all reticulation from solar geyser to demand point (basin, sink etc.)., including all piping, connections, bends, elbows, tees, chasing, repairs to chasing, fixing accessories, connections, collars, rubbers, delivery etc.(sanitaryware and sanitary fittings measured elsewhere)
41 | Wash hand basin | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | Shower | No | 3 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | Kitchen sink | No | 1 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Soil drainage point complete including all reticulation from fitting / trap to external connection point (external connection point measured above), soil drainage piping, connections, bends, elbows, tees, traps, drains, outlets, ventilation pipes, chasing, repairs to chasing, fixing accessories, connections, collars, rubbers, rodding eyes, inspection eyes etc. and all associated builders works including excavations, formwork, backfilling, etc., complete. (sanitaryware and sanitary fittings measured elsewhere)
44 | Toilet | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | Wash hand basin | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | Urinal | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | Shower | No | 3 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | Kitchen sink | No | 1 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | Wash trough | No | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | Floor drainage trap | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | External gulley | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | 110mm dia HDPE drainage ventilation pipe with one way breather | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SANITARYWARE AND FITTINGS
Warranty
All sanitary ware to have a minimum 5 year warranty
SANITARYWARE
Supply, Deliver, Install and connect all sanitary fittings etc.
53 | Toilet complete including seat, cistern, flushing mechanisms, valves etc. | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | Wash hand basins including trap, waste, mixers, valves etc. | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | Urinal including trap, waste, taps, valves etc. | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | Shower set including shower rose, arm and mixers | No | 3 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | Shower floor drainage channel including collector, waste trap etc. | No | 3 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | Double bowl kitchen sink including mixer, trap, valves etc. | No | 1 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | Wash trough including tap, trap, valves etc. | No | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 | Floor drainage trap including grating | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | Yard / Garden taps | No | 7 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fire protection equipment
62 | "Chubb" or equal and approved, 4.5Kg Dry chemical powder fire extinguisher on and including wrought meranti backing board size 1 000mm x 255mm x 25mm thick plugged and screwed to walls and finished with two coats polyurethane varnish including 120mm x 20mm x 2mm mild steel strip bent to form hook including approved statutory signage. | No | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Precast concrete gulley
63 | "Marley" uPVC 110mm p-trap gulley (code PGT110) including 110mm round head and grating (code: PGHG110). | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
COMMISSIONING
Commissioning and testing
64 | Provide for commissioning and testing including certificates of full plumbing and drainage system including hot water supply | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
65 | Maintenance manuals | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
66 | Training in the use and maintenance requirements as required | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 13 ELECTRICAL WORK
FULL ELECTRICAL INSTALLATION COMPLETE AND IN ACCORDANCE WITH THE FOLLOWING DRAWINGS:
"SITE LAYOUT" E-100 rev A
"SOLAR SITE LAYOUT" E-101 rev A
"SITE EARTHING LAYOUT" E102 rev B
"SOLAR SINGLE LINE DIAGRAM" E-200 rev B
"SOLAR STUDY CONNECTION DETAILS" E-201 rev A
"SOLAR SYSTEM DETAILS, EARTHING AND SERGE ARRESTORS CONNECTIONS" E-202 rev A
"SOLAR SCHEMATIC DIAGRAM" E-203 rev B
"TYPICAL STALLS - ELECTRICAL PLAN" E-2104 rev A
"ABLUTION - LIGHTING LAYOUT" E-3105 rev A
"TRADER STALLS - LIGHTING LAYOUT" E-4101 rev A
"BUILDING 10 & 11 - LIGHTING LAYOUT" E-5101 rev A
FULL ELECTRICAL INSTALLATION COMPLETE AND IN ACCORDANCE WITH ABOVE DRAWINGS, MAIN ELEMENTS MEASURED AS FOLLOWS:
Connection from main electrical supply point including all reticulation, earthworks, road crossings etc. complete
1 | Connect to local authority main electrical supply point (over the road) including all reticulation, earthworks, road crossings etc. complete | m | 75 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 220V feed (16mm 2-core cable) from central distribution to individual buildings | m | 205.92 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 220V feed (10mm 2-core cable) from central distribution to borehole | m | 56 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | AC Solar infeed (10mm 2-core cable) from building 5 to individual buildings | m | 160 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Full electrical installation including all reticulation cables, wiring, trenching, chasing, sleeves, fittings, cover plates etc. complete to SANS regulations
5 | Central distribution board (at ablution building 7) complete including all connections, circuit breakers etc. | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Mini / local distribution board per building complete including all connections, circuit breakers etc. | No | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Double socket / plug point | No | 58 |  | 0 | 8 | 8 | 8 | 8 | 8 | 8 | 6 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Ceiling mounted light point with fluorescent light fitting | No | 72 |  | 0 | 12 | 12 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Ceiling mounted light point with vapour sealed fluorescent LED light fitting | No | 22 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 4 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Light switch point, two lever, including cover plate | No | 33 |  | 0 | 5 | 4 | 4 | 4 | 4 | 4 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Light switch point, two-way switch, including cover plate | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Light switch point, four-switches, including cover plate | No | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Solar street light (drawing ref S1) | No | 5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Geyser connection point | No | 2 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Earthing and lightning protection complete per drawing E-102 titled "Earthing site layout"
15 | Earthing complete including all electrode rods, 16mm² BCEW etc. | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Full solar power installation complete in accordance with drawings as listed above
16 | 4.8kWh Li Iron Solar Battery, or equal and approved | No | 14 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 450 Watt IEC solar panel | No | 24 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 10kW 3 phase inverter mounted in store room, including charge controller, WIFI Module and Battery SOC Meter | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Module Bearing Profile Eco05-4.7m (mounting) | No | 48 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Schletter ClampFit Fastener | No | 144 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | End Clamp Rapid16 30-40mm Silver | No | 96 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | PV on Roof and Hazard Labels Pack | No | 6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Hanger bolt kit 10x200 assembled | No | 24 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 6mm Earth Wire | No | 92 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 6mm Single Core Red DC cable | No | 132 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 6mm Single Core Black DC cable | No | 132 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | MC4 Female Connector - 0014 Single | No | 24 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | MC4 Male Connector - 0014 Single | No | 24 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 35mm Single Core Cable | No | 30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 20A Solar Fuse breaker (DC) | No | 6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 60A DC Circuit breaker | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | 100A DC Circuit breaker | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | Surge Protector | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | Clamps | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | Enclosures | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | Preliminaries and general for solar installation including all transport, permits, import duties etc. | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 | Final checking, commissioning, etc. | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Full electrical installation as required to the borehole including all reticulation cables, wiring, earthing, trenching, chasing, sleeves, fittings, cover plates etc. complete to SANS regulations
38 | Borehole electrical installation including electric pressure pump, connections, power supply, electric control box, electric bleed / priming cap, manometer etc. complete with five year guarantee | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | 220v approved borehole pump | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | Reticulation including all trenching, backfilling etc. | m | 45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.375kw booster pumps including connections to rainwater tanks
41 | Booster pump | No | 1 |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
COMMISSIONING
Commissioning and testing
42 | Provide for commissioning and testing including certificates of full electrical installation | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | Maintenance manuals | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | Training in the use and maintenance requirements as required | Item | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 14 GLAZING
MIRRORS
Supply and install one mirror above each wash hand basin including all drilling etc. complete
1 | Mirror | No | 9 |  | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 15 PAINTWORK
ON METAL, STEEL ETC.
'Spot priming defects in pre-primed surfaces, one coat "Plascon Plaster Primer UC56" and two coats "Plascon Super Universal Enamel High Gloss" (or similar approved product from DULUX)
1 | On door frames | m2 | 109 |  | 0 | 21 | 12 | 12 | 12 | 13 | 12 | 21 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | On doors | m2 | 210 |  | 0 | 40 | 23 | 23 | 23 | 27 | 23 | 37 | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | On steel windows, both sides measured flat on plan | m2 | 84 |  | 0 | 12 | 12 | 12 | 12 | 12 | 12 | 0 | 6 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROAD MARKINGS ON PAVING
Approved single component modified acrylic road & line marking paint applied in accordance with manufacturer's requirements including all necessary preparation
4 | 100mm wide parking bay demarcation lines and junction demarcation lines | m | 300 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Standard road marking: "STOP" | No | 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Standard PARAPLEGIC road marking motif | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Supply and deliver only attic stock | l | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BILL NO. 16 EXTERNAL WORK (ALL TRADES)
NEW GRAVEL ROAD
New gravel road / parking area complete
1 | Cut and remove existing surfacing, if any, including carting away | m2 | 2482 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Rip and recompact to 93% MOD AASHTO | m2 | 2482 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Imported C3, 150mm thick including cement stabilizing, to 95% MOD AASHTO, in small areas | m3 | 372 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Imported G1, 150mm thick, including cement stabilizing and compacted to 98% Mod AASHTO, in small areas | m3 | 372 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 150mm thick crushed 19/9mm stone laid to roads etc. | m2 | 2482 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WALKWAYS ETC.
Compaction of surfaces
6 | Rip, scarify and compact top of filled or excavated surface for a depth of 150mm and compact to 93% Mod AASHTO | m2 | 1643 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1576 | 0 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Filling under paving, concrete, etc., consisting of:
7 | 150mm thick G7 material layer supplied by the Contractor and carted onto site compacted to 95% Mod AASHTO | m3 | 236 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 150mm thick G5 material layer supplied by the Contractor and carted onto site compacted to 95% Mod AASHTO | m3 | 20 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 150mm Subbase C4 material stabalized with 3% cement and compacted to 97% Mod AASHTO | m3 | 236 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Weed killer
10 | Approved weed killer applied in strict accordance with the manufacturer's instructions to filling | m2 | 1643 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1576 | 0 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Crushed stone to walkwys etc.
11 | 150mm thick laid to walkways etc. | m2 | 1643 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1576 | 0 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Extra over for unreinforced concrete haunching to perimeter of gravel | m | 347 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Permanent road signs
13 | R2 - Yield signs | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | R1 - Stop signs | No | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CULVERT
Install an access culvert, at the Market junction as per drawings, approximately 12.0m wide
15a | 750mm double barrel culvert with 190mm thick reinforced (S167 mesh) concrete surround | No | 1 |  | 0 | [13 empty] | 1
EARTH DRAINS
Create a shallow dish earth drain for stormwater management, approximately 2.0m wide
15 | Earth dish drain | m | 318 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MANHOLES
Manhole cover including frame and pull ring complete
16 | 500mm x 500mm cover to biodigester | No | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TRADE SUMMARY
2 | EARTHWORKS ETC. |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | CONCRETE, FORMWORK AND REINFORCEMENT |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | MASONRY |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | WATERPROOFING |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | ROOF COVERINGS |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | CARPENTRY |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | IRONMONGERY |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | METALWORK |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | PLASTERING |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | TILING |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | PLUMBING AND DRAINAGE |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | ELECTRICAL WORK |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | GLAZING |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | PAINTWORK |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | EXTERNAL WORKS |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SUB-TOTAL CARRIED TO SUMMARY |  |  |  | 0 | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Schedule of Plant Rates
Zimbabwe Idai Recovery Project
Jopa Women's Market
PLANT & MATERIAL RATES APPLICABLE TO AUTHORIZED DAYWORK
The Tenderer shall indicate below, all categories of construction equipment it is proposed to use for the execution of the Contract together with their hire rates Rates contained herein are deemed inclusive of driver/operator/banksman where necessary and all fuels and other costs relative to the operation of the construction equipment detailed. The application and use of these rates shall be at the sole discretion and subject to the prior approval of the Architect
Item | Description | Rate per hour | Rate per week | Standing rate per hour
4.1.1 | 400L Concrete mixer x 1
4.1.2 | TLB x 1
4.1.3 | Tipper truck x 1
4.1.4 | Concrete poker vibrator x 1
4.1.5 | Jumping jack compactor x 1
4.1.6 | Vibratory plate compactor x 1
4.1.7 | Diesel generator x 1
4.1.8 | Dewatering pump x 1

## Schedule of Variation Rates
Zimbabwe Idai Recovery Project
Jopa Women's Market
RATES APPLICABLE TO VARIATIONS
The Tenderer shall indicate below, rates to be applied in case of a variation in scope as per the line items below. The application and use of these rates shall be at the sole discretion and subject to the prior approval of the UNOPS Representative.
ITEM | DESCRIPTION | UNIT | RATE (USD)
ROAD JUNCTION WORKS AND STORMWATER DRAINAGE
1 | SITE CLEARANCE
1.1 | Clear road reserves for 12m road reserve widths and other areas as directed by the engineer of all bush stumps, trees not exceeding 2m girth, grass, roots, weed and rubbish and leave the site in a neat and tidy condition on completion of the contract. | m²
1.2 | Remove trees and stumps of girth exceeding 1m not exceeding 2m including grubbing up roots to a depth of 300mm below ground level. Girth measured 1.0m above ground level. Include for cutting, stacking and /or disposal of timber. | No.
1.3 | Remove trees and stumps of girth exceeding 2m including grubbing up roots to a depth of 300mm below ground level. Girth measured 1.0m above ground level. Include for cutting, stacking and /or disposal of timber. | No.
1.4 | ROAD EARTHWORKS
1.5 | Remove topsoil (average thickness 100mm) from area of roadworks. Allow for the disposal of soil adjuscent to constrution site or as directed by the engineer. Include for spreading and leveling | m2
1.6 | Excavate anthills to 600mm below subgrade level and spread & level adjuscent to roads or on site as directed by the engineer. | m3
1.7 | Apply termite treatment as specified at a rate of 4.2 litres per square metre or as directed | litre
1.8 | Excavate excess of unsuitable material and spread and level within site | m3
1.9 | Excavate in cut section and use for fill section | m3
2 | Excavate over for overhaul in excess of 0.5km | m3
2.1 | Excavate in hard rock | m3
2.2 | Provide, load, haul, dump, spread in layers not exceeding 150mm, water and compact to 93% ModAASHTO density suitable fill material for backfilling in excavation for anthills, sponge areas etc. Volume measured compacted. (Provisional) | m3
2.3 | Scarify 150mm deep, water and compact existing sub grade level 150mm layers 95% HCE along roads as specified | m²
2.4 | Borrow material for pavement
2.5 | Clear gravel pits of all vegetative matter and trees | m²
2.6 | Remove overburden and stockpile | m3
2.7 | Excavate and stockpile gravel material from approved borrow pit. | m3
2.8 | Purchase gravel for pavement | m3
3 | Construction of the Pavement
3.1 | Provide, load, haul, place, spread, water, mix and compact to 96% ModAASHTO density approved gravel material for Base 2 in a layers of 150mm thick to roads shown on the drawings. (hauling distance 15km) | m3
3.2 | Fill all existing pits on roadways as instructed by the project engineer | m3
3.3 | Prepare all roads to receive surfacing. Apply prime coat (TP7) as specified along roads. Application rate, 080-1.0 litres/sqm. The base should be swept free of dust and other foreign matter, and then dampened before spraying | m²
Supply all materials for and apply double seal spray and chip surfacing to carriageway using the following materials and rates of application include for brooming off surplus stone so that in no place is the layer more than one stone thick and only negligible windows are left. Roll the stone while the binder is warm with flat and:
3.5 | Spray Grade 150/200 bitumen track coat at 1.25ltrs/m2 | m²
3.6 | 19mm aggregate at 90m2/m3 | m²
3.7 | Spray Grade 150/200 bitumen emulsion penetration seal coat at 1.2ltrs/m2 | m²
3.8 | 6.7mm aggregate at 135m2/m3 | m²
3.9 | Supply, lay and bed precast concrete Kerbing
4 | As detailed 900x300 kerbs | m
4.1 | 300 x 150 half kerb | m
4.2 | Grade 10 haunching to mountable kerb | m3
4.3 | Supply all materials and paint in reflective paint road lines 100mm wide to 15m roads as directed by the engineer (Provisional)
4.4 | Yellow edge carriage lines | m
4.5 | White centre line painting | m
4.6 | Supply aand erect road signs to Ministry of Transport specifications | No
4.7 | Clear along routes of mitre and catchwater drains | m
4.8 | Romove trees and stumps;
4.9 | Girth 1-2m | No
4.10.0 | Girth exceeding 2m | No
Excavate in soft material, depth n.e. 1.0m
4.11 | V- drains | m3
| Trapezoidal drains | m3
4.12
Culverts
Supply, lay and joint Class ‘40D’ concrete culvert pipes with 'OGEE' joints
4.13 | 750mm dia | m
4.14 | 1200mm dia | m
4.15 | Grade 35 Mpa concrete for surround to all pipe diameter, including S617 mesh in top and bottom slabs | m³
4.16 | Supply all materials and construct brick/stone masonry headwalls in accordance with drawings. Include for plastering (in case of bricks) on headwalls. | m²
4.17 | Grade 10 concrete in 100mm thick bases | m3
4.18 | Construct trapezoidal drains as specified with stone masonry | m3
4.19 | Allow for extra measures to be taken in water logged areas | sum
4.20.0 | Allow a provisional sum for existing services relocation | sum
5 | HOT WATER GENERATION
SANS approved solar roof mounted hot water generation system complete including 150 litre roof mounted geyser, solar collector panels, mounting brackets, connections, pressure control valve, vacuum breakers, thermostatic valves, hot water feed, ball valves, safety valves, expansion overflow pipe, thermal pipe lagging, electrical cover plate with isolator, reticulation, drip tray with overflow pipe, all complete and installed in accordance with manufacturer's requirements, and to SANS 10106
5.1 | 150 litre solar hot water generation system complete | No