## Vendor_Qualification
EOI-582570-YG - Upgrade of Perimeter Intrusion Detection System
Table No. 1 - Vendor Qualification
Stage I evaluation
Instruction: Vendors are requested to demonstrate compliance with the requirements listed the Questionnaire. Vendors should avoid simply answering "Yes" without providing additional information or evidence to support the claim as a part of the response. Reference can be made to the Annex or other section of the response. Please fill out the below table and include it in your answer, together with supporting documentation, as applicable. The IAEA will use the information provided to evaluate the response. The same instruction applies to Tables 2-4. Note: The Vendor's response on requirements 10, 12, and 13 will be evaluated using pass/fail criteria. Responses from Vendors that fulfil the mandatory requirements will be accepted for Stage II evaluation.
No. | Required Information | Please answer the question - YES/NO | Comment
1 | Company name:
2 | Company's location (city, country):
3 | Year of establishment:
4 | Number of employees:
5 | Please provide the name (e.g., brand name, product name) of the proposed Perimeter Intrusion Detection System (PIDS)
6 | How is the PIDS distributed: directly by your company or via a business partner?
7 | If the distribution is made via your business partner, then please provide the details (name, location, year of establishment and number of employees)
8 | How is the implementation/maintenance of your PIDS done: is it performed directly by your company, or does your business partner carry out such tasks?
9 | If your business partner will be involved for the implementation/maintenance, then please provide the details (name, location, year of establishment and number of employees)
10 | Please confirm that the staff assigned to work on this EOI have at least five (5) years of experience in medium to large-scale installations of PIDS
11 | Please provide contact details of the key personnel (focal point) assigned to work on this EOI, including the role (e.g., Sales or Bid Manager) and contact details (email and telephone)
12 | Please confirm that the assigned personnel to work on this EOI has proven experience offering and supporting PIDS of the size and complexity as indicated in the EOI document. You may want to support your response by providing the CVs of the assigned personnel
13 | Please confirm that all communication (oral and written), documentation, software, training, and support are available in English
14 | Please confirm your company is ready to sign the IAEA Confidentiality Agreement without any comments

## Mandatory_Req
EOI-582570-YG - Upgrade of Perimeter Intrusion Detection System
Table No. 2 - Mandatory Technical Requirements
Stage II evaluation
Note: The Vendor's response on requirements 1 - 7 will be evaluated using pass/fail criteria. Responses from Vendors that fulfil the mandatory requirements will be accepted for Stage III evaluation.
No | Requirement | Please indicate the compliance - YES/NO | Comment
1 | Does the proposed Perimeter Intrusion Detection System (PIDS) support the ability to forward messages to the IAEA's existing Security Management System (SMS) by Honeywell Winmag?
2 | Does the proposed PIDS provide the ability to split the detection areas into multiple logical zones?
3 | Is an office with technical personnel available in or near Vienna, Austria?
4 | Does the proposed PIDS and the provided installation meet European Union (EU) electric directives for safety (e.g., IEC 60364, 60297) and cabling technology (e.g., EN 50173, 50174)?
5 | Has the hardware and software being proposed undergone standard vulnerability testing and basic security review as part of the development process? Please add any additional comments you would like the IAEA to consider
6 | Is on-site or EU-based training in the English language available for staff to learn how to manage/troubleshoot, support and potentially install the technical solution?
7 | Any Vendor invited to participate in a pilot must either be qualified or subcontract with a locally qualified electrician to perform low and high-voltage cabling and electric installations associated with the implementation of the physical security platform. Is this something your company can provide directly or through a subcontractor?

## Clarifications
EOI-582570-YG - Upgrade of Perimeter Intrusion Detection System
Table No. 3 - Clarification Questions
Note: Requirements mentioned in questions 1 - 8 are not mandatory. The vendor's response to these questions should allow IAEA to better understand the proposed technical solution
No | Clarification Question | Please indicate - SUPPORTS/NOT SUPPORTS | Comment
IAEA Security Management System (SMS) by Honeywell Winmag
1 | Does the proposed PIDS support direct software integration to the IAEA SMS?
2 | Does the proposed PIDS support integration to the IAEA SMS via non-voltage contacts?
IAEA Video Systems by Milestone Xprotect Corporate
3 | Does the proposed PIDS support direct integration to the IAEA Video System?
IAEA Network
4 | Does the proposed PIDS provide web interface for configuration/maintenance?
5 | Does the proposed PIDS support the Simple Network Management Protocol (SNMP) necessary for a health monitoring system?
6 | Does the proposed PIDS support the Network Time Protocol (NTP) to sync the time at all components?
7 | Does the proposed PIDS support the IEEE 802.1x standard for port-based network access control?
Licensing Model of the software proposed by the Vendor
8 | Describe how the software licensing model for the proposed technical solution is structured

## Quality_Req
EOI-582570-YG - Upgrade of Perimeter Intrusion Detection System
Table No. 4 - Quality-based Requirements
Stage III evaluation
Note: The Vendor's response on requirements 1 - 10 will be evaluated using scoring criteria.
No | Quality-based Requirement | Comment
1 | Does the proposed PIDS detect overclimbing of the fence within the proper timeframe? For example, five (5) seconds is acceptable (meets the IAEA requirement)
2 | Does the proposed PIDS detect a breakthrough of the fence within the proper timeframe? For example, five (5) seconds is acceptable (meets the IAEA requirement)
3 | Does the proposed PIDS support the creation of multiple virtual alarm zones? Please provide the maximum number of zones. For example, more than two (2) zones meets the IAEA requirement
4 | Does the proposed PIDS support the creation of pre-alarm zones inside and outside the fence line?
5 | Does the proposed PIDS recognize the direction of the movement?
6 | Does the proposed PIDS support a modification of the possible zones by the IAEA?
7 | Does the proposed PIDS support the ability to communicate directly with the Video Management Software by Milestone?
8 | Does the proposed PIDS support filtering of seismic vibrations caused by construction vehicles?
9 | Describe, without providing pricing details, how your company would install a recommended technical solution to address the requirements of overclimbing fence breakthrough detection on a segment of a fence with a length of 100–150m as part of a pilot project
10 | Previous experience with similar tasks: Provide details of several successful projects where your company deployed the PIDS (customers can be unnamed)