## BOQ
BOQ FOR EXTENSION OF VOCATIONAL TRAINING CENTRE AT OPSC CAMP GOMBE
Note: This bill shall include every minute item of work that is deemed to be included in the measurement and description.
S. No. | DESCRIPTION | QUANTITY | UNIT | UNIT COST | TOTAL COST(NGN) | TOTAL COST IN(USDD)
| PRELIMINARIES: Testing of Materials (iron and cube test), Transportation of Major materials from source/manufacturers/dealers, Setting out, Contractor to keep records, Progress photograph in 3 sets on monthly basis with site progress report on the basis, Protection of work in all sections, and Offices - site offices for use by the contractor for the project durationtion. Sanitary, Temporary fences and screens, Temporary Power including standby generator for general use by main contractor and subcontractors for the duration of the contract. Temporary Water for the works including for general use by main contractor and sub - contractors for the duration of the contract, Storage of materials including lock-up spaces for specialist sub-contractors. Rubbish disposal and general cleaning, Exterminate and prevent pests/Fumigations, Scaffolding and requisite plants/equipment, First Aid Box and Safety tools. | See the page summary
SUBSTRUCTURE
A | EXCAVATION AND EARTH WORK
1 | TRENCH EXCAVATION; Excavate trench for foundation exceeding 0.69 in width, max. depth not exceeding 1 meters starting at 150mm below ground level.
i | Foundation | 85.4688 | Cum |  | 0 | 0
ii | Column bases | 6.9165 | Cum |  | 0 | 0
2 | LEVELING AND COMPACTION; Level and compact bottom of excavation to make it ready to receive concrete. | 115.536 | Sqm |  | 0 | 0
3 | FILLING TO EXCAVATION; Back-filled selected excavated materials around foundation average thickness not exceeding 0.25 meter arising from excavation level & properly compacted. |  |  |  |  | 0
| Around foundation | 54.1314 | Cum |  | 0 | 0
| Around column bases | 18.6615 | Cum |  | 0 | 0
3 | FILLING TO MAKE UP LEVEL; Back-filled imported materials, average thickness not exceeding 0.25 meter arising from ground level & properly compacted. |  |  |  |  | 0
i | Well compacted laterite filling. | 318.5 | Cum |  | 0 | 0
ii | Hard core filling. | 95.55 | Cum |  | 0 | 0
B | BLOCK WORK IN FOUNDATION |  |  |  |  | 0
i | 230mm hollow sandcreed block bedded and joint with sand cement mortar: Filled solid with mass concrete. | 92.916 | Sqm |  | 0 | 0
C | CONCRETE WORKS IN FOUNDATION |  |  |  |  | 0
1 | plain insitu concrete (1:3:6), thickness not exceeding 75mm in blinding beds | 6.438 | Cum |  | 0 | 0
2 | Vibrated reinforced insitu concrete(1:2:4) :20mm aggregate filled into formwork and well packed around reinforcement. Formwork and reinforcement measure separately in columns, beams and lintels. |  |  |  |  | 0
ii | Column Base | 8 | Cum |  | 0 | 0
iii | Foundation footing | 13.05 | Cum |  | 0 | 0
iv | Beams (ground and under ground ) | 13.137 | Cum |  | 0 | 0
v | Columns | 2.06 | Cum |  | 0 | 0
vi | Slab (Oversite concrete) | 39.4 | Cum |  | 0 | 0
2 | REINFORCEMENT FOR IN SITU CONCRETE |  |  |  |  | 0
i | plain high yield tensile reinforcement bars 12mm dia to BS 4449 in; ground beams, columns, and Y8 stirup @200mm c/c |  |  |  |  | 0
ii | Column Base | 358.85 | kg |  | 0 | 0
iii | Beams (ground and under ground ) | 881.9625 | kg |  | 0 | 0
iv | Column | 139.3 | kg |  | 0 | 0
v | Y8 Stirup | 418.4526 | kg |  | 0 | 0
vi | BRC Wire mesh | 252.78 | Sqm |  | 0 | 0
3 | plain sawn formwork to the vertical sides of: |  |  |  |  | 0
ix | Column Bases | 26.5 | Sqm |  | 0 | 0
x | Columns | 18 | Sqm |  | 0 | 0
xi | Beams (ground and under ground ) | 113.9526 | Sqm |  | 0 | 0
xii | Slab (Oversite concrete) | 28.48 | Sqm |  | 0 | 0
| SUPERSTRUCTURE |  |  |  |  | 0
A | FRAME WORKS AND PARTITIONS |  |  |  |  | 0
1 | 230mm hollow Sandcrete blockwork in stretcher bond bedded in cement and sand mortar mix (1:6) flush pointed. | 356.8827 | Sqm |  | 0 | 0
2 | IN SITU CONCRETE |  |  |  |  | 0
a | Vibrated reinforced insitu concrete(1:2:4) :20mm aggregate filled into formwork and well packed around reinforcement. Formwork and reinforcement measure separately in columns, beams and lintels. |  |  |  |  | 0
i | Beams, lintels, and overhead course | 11.31 | Cum |  | 0 | 0
ii | Columns | 5.2 | Cum |  | 0 | 0
iii | Slab at Sill level | 3.38 | Cum |  | 0 | 0
iv | Roof capping | 5.1 | Cum |  | 0 | 0
3 | REINFORCEMENT FOR IN SITU CONCRETE |  |  |  |  | 0
a | plain high yield tensile reinforcement bars 12mm dia to BS 4449 in; ground beams, columns, and Y8 stirup @200mm c/c |  |  |  |  | 0
i | Beams, lintels, and overhead course | 750.6969 | kg |  | 0 | 0
ii | Column | 350.3 | kg |  | 0 | 0
iii | Y8 Stirup | 447.5106 | kg |  | 0 | 0
4 | plain sawn formwork to the vertical sides of: |  |  |  |  | 0
i | Columns | 45.26 | Sqm |  | 0 | 0
ii | Beams, lintels, and overhead course | 132.5097 | Sqm |  | 0 | 0
iii | Roof capping | 23.47 | Sqm |  | 0 | 0
B | DOORS AND WINDOWS |  |  |  |  | 0
1 | Supply and install high quality 900mm x 2100mm, purpose made steel door paneled with 2mm checkered plate framed with pure black square pipes laches and handles included. | 2 | Nr |  | 0 | 0
3 | Supply and install high quality 1200mm x 600mm, purpose made steel casement windows paneled with 2mm checkered plate with 1 inch pure black square pipes bracers at 400mm c/c, Burglaries, laches and handles included. | 2 | Nr |  | 0 | 0
C | ROOFING |  |  |  |  | 0
a | Roof Members |  |  |  |  | 0
1 | Sawn hardwood(Obeche) roof members treated with anti-temite |  |  |  |  | 0
i | 50mm x 75mm purlins | 136 | Nr |  | 0 | 0
ii | 50mm x 100mm rafters, king post and other struts member | 150.3 | Nr |  | 0 | 0
iii | 50mm x 150mm tie beam | 88.3 | Nr |  | 0 | 0
b | Roof Covering/Claddings |  |  |  |  | 0
1 | 0.55mm long span corrugated aluminium roofing sheet complete with accessories fixed to purlins(measured separately). |  |  |  |  | 0
i | Roof covering | 313.12 | Sqm |  | 0 | 0
ii | 400mm Ridge Cap | 8.12 | m |  | 0 | 0
iii | Edging(eav angle) | 72 | m |  | 0 | 0
iv | claddings | 38.88 | Sqm |  | 0 | 0
C | FINISHES |  |  |  |  | 0
1 | WALL FINISHES |  |  |  |  | 0
a | Plastering |  |  |  |  | 0
i | Apply 15mm thick cement and sand (1:3) plaster and the RATE shall include floating smooth synthetic rendering to general surfaces complying to Architect's details. | 783 | Sqm |  | 0 | 0
| Painting |  |  |  |  | 0
ii | Screeding the wall surface with a mixture of white paint, strong adhessive screeding pouder to both inteerior and exteerior of the wall surfaces | 783 | Sqm |  | 0 | 0
i | Apply one prime coat and two coats of high quality emulsion paint as manufactured by DULUX or BERGER or its equivalent in quality from an approved manufacturer to floated surfaces height. The rate shall including screeding to Architect's details. | 386.07 | Sqm |  | 0 | 0
2 | FLOOR FINISHES |  |  |  |  | 0
a | Tillings |  |  |  |  | 0
b | Terrazo |  |  |  |  | 0
i | Insitu terrazo floor finish: divided by an ebonite rubber strip @ 1200mm c/c: properly washed and polished with a high quality polisher from an approved manufacturer. | 187.67 | Sqm |  | 0 | 0
3 | CEILING FINISHES |  |  |  |  | 0
i | 50mm x 50mm sawn hardwood(obeche) treated with high quality anti-temite from an approved Manufacturer: spaced @ 600mm c/c | 254 | Nr |  | 0 | 0
ii | Brazil celotex ceiling properly fix to the noggins with battens @ 600mm c/c. The rate shall include cost of the battens | 187.67 | Sqm |  | 0 | 0
iii | Apply one prime coat and two coats of high quality emulsion paint as manufactured by DULUX or BERGER or its equivalent in quality from an approved manufacturer to floated surfaces. | 187.67 | Sqm |  | 0 | 0
C | ELECTRICAL WORKS |  |  |  |  | 0
i | Allow a provissional sum for the electrical works: This cost shall include the cost of Piping works(knockout boxes, looping boxes,circular boxes, pvc pipes and conduits), supply and installation of electrical cables(1.5mm,2.5mm and flexes. 200m services wire also included) and fittings. the cost shall include; 30no. 13Amp 2gang sockets, 4no. 16Amps socket, 40no lighting points and their switches, D8 ABB three phase DB, all connnections should be fully grounded with a pure copper rod and all cables shall be Nigercahin or its equivalent from an approved manufacturer. | 1 | Ls |  | 0 | 0
| Sub Total carried to the summary |  |  |  | 0 | 0
| BILL NO 2: CONSTRUCTION OF WALKWAYS |  |  |  |  | 0
a | TRENCH EXCAVATION; Excavate trench for foundation exceeding 0.69 in width, max. depth not exceeding 1 meters starting at 150mm below ground level. | 27 | Cum |  | 0 | 0
i | LEVELING AND COMPACTION; Level and compact bottom of excavation to make it ready to receive concrete. | 62.1 | Sqm |  | 0 | 0
ii | FILLING TO EXCAVATION; Back-filled selected excavated materials around foundation average thickness not exceeding 0.25 meter arising from excavation level & properly compacted. | 4.76 | Cum |  | 0 | 0
ii | Hard core filling. | 8.77 | Cum |  | 0 | 0
b | BLOCK WORK IN FOUNDATION
i | 230mm hollow sandcreed block bedded and joint with sand cement mortar: Filled solid with mass concrete. | 46 | Sqm |  | 0 | 0
C | CONCRETE WORKS IN FOUNDATION
i | plain insitu concrete (1:3:6), thickness not exceeding 75mm in blinding beds | 3.11 | Cum |  | 0 | 0
ii | Vibrated insitu concrete(1:2:4) :20mm aggregate filled into formwork and well packed around reinforcement. Formwork and reinforcement measure separately in columns, beams and lintels. | 6.75 | Cum |  | 0 | 0
iii | BRC Wire mesh | 67.5 | Sqm |  | 0 | 0
d | SUPER STRUCTURE
e | ROOFING
i | 3" Galvanized pipes vertical support(pillars) for roofs | 123 | M |  | 0 | 0
ii | 0.55mm long span corrugated aluminium roofing sheet complete with accessories fixed to purlins(measured separately). |  |  |  |  | 0
iii | Roof covering | 90 | Sqm |  | 0 | 0
iv | 400mm Ridge Cap | 47 | M |  | 0 | 0
v | Edging(eav angle) at 150mm gith | 90 | M |  | 0 | 0
vi | claddings | 63 | Sqm |  | 0 | 0
f | Roof Members
g | Sawn hardwood(Obeche) roof members treated with anti-temite
i | 50mm x 75mm purlins | 30 | Nr |  | 0 | 0
ii | 50mm x 100mm rafters, king post and other struts member | 50 | Nr |  | 0 | 0
iii | 50mm x 150mm tie beam | 33 | Nr |  | 0 | 0
iv | 50mmx50mm Noggins | 60 | Nr |  | 0 | 0
h | FINISHES |  |  |  |  | 0
i | CEILING FINISHES |  |  |  |  | 0
i | Brazil celotex ceiling properly fix to the noggins with battens @ 600mm c/c. The rate shall include cost of the battens | 100 | Sqm |  | 0 | 0
ii | Apply one prime coat and two coats of high quality emulsion paint as manufactured by DULUX or BERGER or its equivalent in quality from an approved manufacturer to floated surfaces. | 67.5 |  |  | 0 | 0
j | WALL FINISHES |  |  |  |  | 0
k | Plastering |  |  |  |  | 0
i | Apply 15mm thick cement and sand (1:3) plaster and the RATE shall include floating smooth synthetic rendering to general surfaces complying to Architect's details. | 23 | Sqm |  | 0 | 0
l | Painting |  |  |  |  | 0
i | Apply one prime coat and two coats of high quality emulsion paint as manufactured by DULUX or BERGER or its equivalent in quality from an approved manufacturer to floated surfaces height. The rate shall including screeding to Architect's details. | 23 | Sqm |  | 0 | 0
| Sub Total |  |  |  | 0 | 0
BILL NO 3: CONSTRUCTION OF TOILET BLOCK AND SOAKAWAY PIT, SEPTIC TANK AND INSPECTION CHAMBER.
SUBSTRUCTURE
A | EXCAVATION AND EARTH WORK
1 | TRENCH EXCAVATION; Excavate trench for foundation exceeding 0.69 in width, max. depth not exceeding 1 meters starting at 150mm below ground level.
i | Foundation | 22.1 | Cu M |  | 0 | 0
ii | Column bases | 1.35 | Cu M |  | 0 | 0
2 | LEVELING AND COMPACTION; Level and compact bottom of excavation to make it ready to receive concrete.
i | Foundation | 24.54 | Sqr M |  | 0 | 0
ii | Column bases | 9 | Sqr M |  | 0 | 0
3 | FILLING TO EXCAVATION; Back-filled selected excavated materials around foundation average thickness not exceeding 0.25 meter arising from excavation level & properly compacted.
| Around foundation | 0.67 | Cu M |  | 0 | 0
| Around column bases | 1.85 | Cu M |  | 0 | 0
3 | FILLING TO MAKE UP LEVEL; Back-filled imported materials, average thickness not exceeding 0.25 meter arising from ground level & properly compacted.
i | Well compacted laterite filling. | 3.36 | Cu M |  | 0 | 0
ii | Hard core filling. | 3.36 | Cu M |  | 0 | 0
B | BLOCK WORK IN FOUNDATION
i | 230mm hollow sandcreed block bedded and joint with sand cement mortar: Filled solid with mass concrete. | 18.14 | Sqr M |  | 0 | 0
C | CONCRETE WORKS IN FOUNDATION
1 | plain insitu concrete (1:3:6), thickness not exceeding 75mm in blinding beds | 1.23 | Cu M |  | 0 | 0
2 | Vibrated reinforced insitu concrete(1:2:4) :20mm aggregate filled into formwork and well packed around reinforcement. Formwork and reinforcement measure separately in columns, beams and lintels.
ii | Column Base | 2.07 | Cu M |  | 0 | 0
iii | Foundation footing | 3.763 | Cu M |  | 0 | 0
iv | Beams (ground and under ground ) | 3.76 | Cu M |  | 0 | 0
v | Columns | 0.64 | Cu M |  | 0 | 0
vi | Slab (Oversite concrete) | 4.33 | Cu M |  | 0 | 0
D | REINFORCEMENT FOR IN SITU CONCRETE
1 | plain high yield tensile reinforcement bars 12mm dia to BS 4449 in; ground beams, columns, and Y8 stirup @200mm c/c
i | Column Base | 140.175 | Kg |  | 0 | 0
ii | Beams (ground and under ground ) | 203.77 | Kg |  | 0 | 0
iii | Column | 72.09 | Kg |  | 0 | 0
iv | Y8 Stirup | 329.4 | Kg |  | 0 | 0
v | BRC Wire mesh | 29.35 | Sqr M |  | 0 | 0
E | plain sawn formwork to the vertical sides of:
i | Column Bases | 36 | Sqr M |  | 0 | 0
ii | Columns | 5.56 | Sqr M |  | 0 | 0
iii | Beams (ground and under ground ) | 16.36 | Sqr M |  | 0 | 0
iv | Slab (Oversite concrete) | 0.654 | Sqr M |  | 0 | 0
SUPERSTRUCTURE
A | FRAME WORKS AND PARTITIONS
1 | 230mm hollow Sandcrete blockwork in stretcher bond bedded in cement and sand mortar mix (1:6) flush pointed. | 88.5 | Sqr M |  | 0 | 0
2 | IN SITU CONCRETE
a | Vibrated reinforced insitu concrete(1:2:4) :20mm aggregate filled into formwork and well packed around reinforcement. Formwork and reinforcement measure separately in columns, beams and lintels.
i | Beams, lintels, and overhead course | 3.76 | Cu M |  | 0 | 0
ii | Columns | 1.48 | Cu M |  | 0 | 0
iii | Roof capping | 0.191 | Cu M |  | 0 | 0
3 | REINFORCEMENT FOR IN SITU CONCRETE
a | plain high yield tensile reinforcement bars 12mm dia to BS 4449 in; ground beams, columns, and Y8 stirup @200mm c/c
i | Beams, lintels, and overhead course | 203.77 | Kg |  | 0 | 0
ii | Column | 97.4 | Kg |  | 0 | 0
iii | Y8 Stirup | 343.31 | Kg |  | 0 | 0
4 | plain sawn formwork to the vertical sides of:
i | Columns | 11.4 | Sqr M |  | 0 | 0
ii | Beams, lintels, and overhead course | 16.36 | Sqr M |  | 0 | 0
iii | Roof capping | 1.274 | Sqr M |  | 0 | 0
B | DOORS AND WINDOWS
1 | Supply and install high quality 1430mm x 600mm, purpose made steel casement windows paneled with 2mm checkered plate with 1 inch pure black square pipes bracers at 400mm c/c, Burglaries, laches and handles included. | 2 | Nr |  | 0 | 0
4 | Supply and install 750mm x 2100mm puspose made steel door: single leaf single swing type. Note:red oxide should be applied before painting | 4 | Nr |  | 0 | 0
C | ROOFING
a | Roof Members
1 | Sawn hardwood(Obeche) roof members treated with anti-temite
i | 50mm x 75mm purlins | 59.04 | m |  | 0 | 0
ii | 50mm x 100mm rafters, king post and other struts member | 89.726 | m |  | 0 | 0
iii | 50mm x 150mm tie beam | 46.71 | m |  | 0 | 0
b | Roof Covering/Claddings
1 | 0.55mm long span corrugated aluminium roofing sheet complete with accessories fixed to purlins(measured separately).
i | Roof covering | 41.55 | Sqr M |  | 0 | 0
ii | Edging(eav angle) at 150mm gith | 14.76 | m |  | 0 | 0
iii | claddings | 4.43 | Sqr M |  | 0 | 0
C | FINISHES
1 | WALL FINISHES
a | Plastering
i | Apply 15mm thick cement and sand (1:3) plaster and the RATE shall include floating smooth synthetic rendering to general surfaces complying to Architect's details. | 205.74 | Sqr M |  | 0 | 0
b | Painting
i | Apply one prime coat and two coats of high quality emulsion paint as manufactured by DULUX or BERGER or its equivalent in quality from an approved manufacturer to floated surfaces height. The rate shall including screeding to Architect's details. | 205.74 | Sqr M |  | 0 | 0
2 | FLOOR FINISHES
a | Tillings
i | 50mm thick cement and sand (1:4) floated bed to general surfaces to receive further finishes | 23.1 | Sqr M |  | 0 | 0
ii | 400 x 400 x 10mm thick Virtrified Ceramic tilling laid on cement and sand bed measured seperetly and fix with adhesives: Samples to be reccommended and approved by the Architect prior to supply of the materials to the site. | 23.1 | Sqr M |  | 0 | 0
3 | CEILING FINISHES
i | 50mm x 50mm sawn hardwood(obeche) treated with high quality anti-temite from an approved Manufacturer: spaced @ 600mm c/c | 142.42 | m |  | 0 | 0
ii | Brazil celotex ceiling properly fix to the noggins with battens @ 600mm c/c. The rate shall include cost of the battens | 31.96 | Sqr M |  | 0 | 0
iii | Apply one prime coat and two coats of high quality emulsion paint as manufactured by DULUX or BERGER or its equivalent in quality from an approved manufacturer to floated surfaces. | 31.96 | Sqr M |  | 0 | 0
ElECTRICAL WORK
i | Allow a provisional sum for all electrical fittings and Installations. This cost shall include the cost of knockout boxes, looping boxes,circular boxes, pvc pipes and conduits, lighting switches, wiring cables; (1.5mm,2.5mm and flexes),and all other necessary materials and accessories for a complete installation. All cable shall be Nigerchain or its equivalent from an approved manufacturer. | 1 | Ls |  | 0 | 0
MECHANICAL WORK
i | Allow provisional sum for mechanical works: Supply and fix sanitary appliances and accessories including all joints, to cold and hot water supply and discharge pipes, connect all to mains and existing septic tank and soak away pit. These should include: Toilet Paper Holder, Toilet squad, Basin & Pedestal, Skylanders Bathroom Fittings & Accessories - 6 Pcs,, shower tray, Skylanders Skyland Standing Shower with Mixer, Floor Drain. | 1 | Ls |  | 0 | 0
| Sub total |  |  |  | 0 | 0
SOAKAWAY PIT, SEPTIC TANK AND INSPECTION CHAMBER.
1 | Pit excavation | 48.926 | Cu M |  | 0 | 0
2 | LEVELING AND COMPACTION; Level and compact bottom of excavation to make it ready to receive concrete. | 18.585 | Sqr M |  | 0 | 0
3 | CONCRETE WORKS IN TRENCH
a | Vibrated reinforced insitu concrete(1:2:4) :20mm aggregate filled into formwork and well packed around reinforcement. Formwork and reinforcement measure separately in columns, beams and lintels.
i | concrete slab base | 2 | Cu M |  | 0 | 0
ii | Beam (Ground and Underground beam and inspection) | 1.116 | Cu M |  | 0 | 0
iii | columns | 0.7 | Cu M |  | 0 | 0
iv | Reinforced concrete slab | 1.48 | Cu M |  | 0 | 0
v | Selected material Hard core backfilling. | 2.635 | Cu M |  | 0 | 0
4 | BLOCK WORK IN TRENCH
i | 230mm hollow sandcreed block bedded and joint with sand cement mortar: Filled solid with mass concrete. | 32.0689 | Sqr M |  | 0 | 0
5 | PLAIN SWAN FORMWORK TO THE VERTICAL SIDES OF: |  |  |  | 0 | 0
i | Beam (Ground and Underground beam and inspection) | 16.56 | Sqr M |  | 0 | 0
ii | columns | 6.94 | Sqr M |  | 0 | 0
6 | Reinforced concrete slab | 1.07 | Sqr M |  | 0 | 0
REINFORCEMENT
a | plain high yield tensile reinforcement bars 12mm dia to BS 4449 in; ground beams, columns, and Y8 stirup @200mm c/c
i | Beam (Ground and Underground beam and inspection) Y12 | 173.069 | Kg |  | 0 | 0
ii | columns Y12 | 57.138 | Kg |  | 0 | 0
iii | Reinforced concrete slab Y12 | 234.8799 | Kg |  | 0 | 0
iv | Stirrup Y10 | 159.66 | Kg |  | 0 | 0
| Sub Total |  |  |  | 0 | 0
| Total carried to summary |  |  |  | 0 | 0
BIL NO 4: CONVERSION OF OLD WORKSHOPS TO LAUNDRY AND PHONE REPAIRS
| SUPERSTRUCTURE |  |  |  |  | 0
A | FRAME WORKS AND PARTITIONS |  |  |  |  | 0
1 | 230mm hollow Sandcrete blockwork in stretcher bond bedded in cement and sand mortar mix (1:6) flush pointed. | 70 | Sqm |  | 0 | 0
2 | IN SITU CONCRETE |  |  |  |  | 0
a | Vibrated reinforced insitu concrete(1:2:4) :20mm aggregate filled into formwork and well packed around reinforcement. Formwork and reinforcement measure separately in columns, beams and lintels. |  |  |  |  | 0
i | lintels | 1.2 | Cum |  | 0 | 0
ii | Columns | 1 | Cum |  | 0 | 0
3 | REINFORCEMENT FOR IN SITU CONCRETE |  |  |  |  | 0
a | plain high yield tensile reinforcement bars 12mm dia to BS 4449 in; ground beams, columns, and Y8 stirup @200mm c/c |  |  |  |  | 0
i | Lintels | 78 | kg |  | 0 | 0
iii | Y8 Stirup | 45 | kg |  | 0 | 0
4 | plain sawn formwork to the vertical sides of: |  |  |  |  | 0
i | Columns | 5 | Sqm |  | 0 | 0
ii | lintels | 12 | Sqm |  | 0 | 0
B | DOORS AND WINDOWS |  |  |  |  | 0
1 | Supply and install high quality 1200mm x 2100mm, purpose made steel door paneled with 2mm checkered plate framed with pure black square pipes laches and handles included. | 2 | Nr |  | 0 | 0
3 | Supply and install high quality 1200mm x 600mm, purpose made steel casement windows paneled with 2mm checkered plate with 1 inch pure black square pipes bracers at 400mm c/c, Burglaries, laches and handles included. | 6 | Nr |  | 0 | 0
C | FINISHES |  |  |  |  | 0
1 | WALL FINISHES |  |  |  |  | 0
a | Plastering |  |  |  |  | 0
i | Apply 15mm thick cement and sand (1:3) plaster and the RATE shall include floating smooth synthetic rendering to general surfaces complying to Architect's details. | 140 | Sqm |  | 0 | 0
| Painting |  |  |  |  | 0
ii | Screeding the wall surface with a mixture of white paint, strong adhessive screeding pouder to both inteerior and exteerior of the wall surfaces | 166 | Sqm |  | 0 | 0
i | Apply one prime coat and two coats of high quality emulsion paint as manufactured by DULUX or BERGER or its equivalent in quality from an approved manufacturer to floated surfaces height. The rate shall including screeding to Architect's details. | 166 | Sqm |  | 0 | 0
2 | FLOOR FINISHES |  |  |  |  | 0
a | Tillings |  |  |  |  | 0
i | 50mm thick cement and sand (1:4) floated bed to general surfaces to receive further finishes | 75 | Sqr M |  | 0 | 0
ii | 400 x 400 x 10mm thick Virtrified Ceramic tilling laid on cement and sand bed measured seperetly and fix with adhesives: Samples to be reccommended and approved by the Architect prior to supply of the materials to the site. | 78 | Sqr M |  | 0 | 0
3 | CEILING FINISHES |  |  |  |  | 0
i | 50mm x 50mm sawn hardwood(obeche) treated with high quality anti-temite from an approved Manufacturer: spaced @ 600mm c/c | 30 | Nr |  | 0 | 0
ii | Brazil celotex ceiling properly fix to the noggins with battens @ 600mm c/c. The rate shall include cost of the battens | 75 | Sqm |  | 0 | 0
iii | Apply one prime coat and two coats of high quality emulsion paint as manufactured by DULUX or BERGER or its equivalent in quality from an approved manufacturer to floated surfaces. | 75 | Sqm |  | 0 | 0
C | ELECTRICAL WORKS |  |  |  |  | 0
i | Allow a provissional sum for the electrical works: This cost shall include the cost of Piping works(knockout boxes, looping boxes,circular boxes, pvc pipes and conduits), supply and installation of electrical cables(1.5mm,2.5mm and flexes.) and fittings. the cost shall include; 10no. 13Amp 2gang sockets, 4no. 16Amps socket, 10no lighting points and their switches, all connnections should be fully grounded with a pure copper rod and all cables shall be Nigercahin or its equivalent from an approved manufacturer. | 1 | Ls |  | 0 | 0
MECHANICAL WORK
i | Allow provisional sum for mechanical works: Supply and fix sanitary appliances and accessories including all joints, to water supply and discharge pipes, connect all waste pipes to mains. These should include: 2no 4inches floor drains , Basin & Pedestal, 2no ordinary tapsand other Accessories. | 1 | Ls |  | 0 | 0
SUPPLIES
i | High quality Six (6) seater office workstation and chairs | 1 | Ls |  | 0 | 0
| Total carried to summary |  |  |  | 0 | 0
Contractor is responsible for cargo movement to location, hence, logistics, handling and offloading of all goods are solely the responsibility of the contractor. A humanitarian cargo movement form will be given to the contractor to facilitate haulage of the items stated in the waybill to site location.
All calculations should be limited to two (2) decimal places.

## Sumarry
Summary for Extension Vocational Training Center at OPSC Camp
S/No | Items | Quantity | Amount NGN | Amount USD
1 | Extention of Vocational Training Unit | 1 | 0 | 0
2 | Walk Ways | 1 | 0 | 0
3 | Toilet Block, Septic Tank and Soak Pit | 1 | 0 | 0
4 | Conversion of Workshops to phone repairs and Laundry | 1 | 0 | 0
| Total |  | 0 | 0
5 | Preliminaries | 2.5% | 0 | 0
| Grand Total |  | 0 | 0