Request for Quotation (RFQ) for Goods/Services

Supply, testing, delivery and unloading of Manhole Covers, Manhole Steps, Valves, GI pipes and fittings and Sewer Cleaning Rods & Accessories to Multi LWSCs- Warehouses of - Local Water and Sanitation Corporation - Yemen.

RFQ Ref No: IUS-AF-UWS-TAZ-015

Lot 2: Supply and Delivery of Manhole Covers to Taiz (LWSC)

Version: v2021

Section III: Returnable Bidding Forms

The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their Quotation.

This Section comprises the following Returnable Bidding Forms:

- Form B: Price Schedule Form

- Form C: Technical Quotation Form

- Form E: Joint Venture Partner Information Form

- Form G: Manufacturer’s authorization Form

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

RFQ reference no: [insert RFQ reference No.]

| Currency | USD |
| --- | --- |

| Lot # | Lot Description | Total Price USD |
| --- | --- | --- |
| 1 | Lot 1: Supply and Delivery of Manhole Covers, - Yareem Branch - Ibb (LWSC) | insert |
| 2 | Lot 2: Supply and Delivery of Manhole Covers, TAIZ (LWSC) | insert |
| 3 | Lot 3: Supply and Delivery of Manhole Steps, TAIZ (LWSC) | insert |
| 4 | Lot 4: Supply and Delivery of Sewer Cleaning Rods & Accessories, TAIZ (LWSC) | insert |
| 5 | Lot 5: Supply and Delivery of G.I. pipes and fittings, Yareem Branch - Ibb (LWSC) | insert |
| 6 | Lot 6: Supply and Delivery of Valves Sa'dah (LWSC) | insert |
| 7 | Lot 7: Supply and Delivery of Valves, Ibb (LWSC) | insert |
| 8 | Lot 8: Supply and Delivery of Valves Hadramout - Al-Shahr Branch (LWSC) | insert |
| 9 | Lot 9: Supply and Delivery of DI Fittings Sa'dah (LWSC) | insert |
| 10 | Lot 10: Supply and Delivery of Maintenance Fittings- Hadramout - Al-Shahr Branch (LWSC) | insert |
| Total |  | insert |

Lot 2: Supply and Delivery of Manhole Covers, TAIZ (LWSC)

| Item | Description | Unit | QTY | Unit price USD | Total price USD |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply of Heavy-duty casted manhole covers and frames |  |  |  |  |
| A. | Supply and Deliver, Heavy duty casted manhole cover and frames, 600mm diameter, and capable of bearing loads of 40 tons. class D400, the cover to be marked as shown in TAIZ SEWER | No. | 176 | insert | insert |
| B. | Supply and Deliver, Medium duty casted manhole cover and frames, 600mm diameter, and capable of bearing loads of 25 tons. class C250, the cover to be marked as shown in TAIZ SEWER | No. | 388 | insert | insert |
| Total Cost DAP Local water and sanitation corporation, Taiz (LWSC) |  |  |  |  | insert |

Payment terms 30 days accepted: ☐ Yes

Bidder’s discount for accelerated payment: ____% of total firm price for each calendar day less than thirty (30) days

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

- _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder] to sign this quotation and bind [insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

# Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

Bidders are required to complete the Comparative Data Tables included in Section III: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

Lot 2: Supply and Delivery of Manhole Covers, TAIZ (LWSC)

| No | Specifications required | Is quotation compliant? Bidder to complete | Bidder’s Offer specifications |
| --- | --- | --- | --- |
| 1 | Date of manufacturing | Bidder to insert | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 2 | Manufacturer Name | Bidder to insert | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 3 | Country of origin | Bidder to insert | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 4 | Comply with BS EN: 124, or equivalent. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 5 | Covers and frames shall be Ductile iron under the standard GGG50 or equivalent | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 6 | The bearing surfaces of frames and covers are machined to ensure that the covers will seat firmly in the frame without rocking or rattling. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 7 | the cover should be coated with black bitumen (70 microns thick) | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 8 | THE MANHOLE of clear-opening dia. 600 mm | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 9 | The Heavy-Duty Round-Frame Manhole covers and frames capable of bearing loads of 40 tonnes and with permanent non-rock features, and weight not less than (70) kg. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 10 | The Medium Duty Round-Frame Covers and frames capable of bearing loads up to 25 tones and with permanent non-rock features, and weight not less than (60) kg. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 11 | Lockable, non-ventilated covers | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 12 | The cover must provide with suitable special key positions for easy open and close for inspection. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 13 | The frames shall be provided with 4 holes for anchoring | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 14 | the cover should be coated with black bitumen (70 microns thick | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 15 | The cover to be marked as shown in: TAIZ SEWER | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 16 | The bidder confirms that the manufacturer quality control test results and report will be provided. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 17 | The bidder shall bear the cost of unloading at TAIZ (LWSC) warehouses. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 18 | Handling, transport, loading and unloading fittings at TAIZ (LWSC) warehouses will be according to the manufacturer's recommendations. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 19 | The authorization of manufacturer (Form G) is attached to the offer. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 20 | The bidder confirms that their quote for this Lot related to the Manhole Covers and Frames is as per Section II: Schedule of Requirements | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |

Delivery requirements – Comparative Data Table

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods DAP within five months after PO signature. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | Delivery at Place DAP as per Incoterms 2020 (unloaded custom cleared) to TAIZ Water and Sanitation Local Corporation (TAIZ (LWSC) Warehouses. | ☐ Yes ☐ No | Insert details |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 20% , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section III: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form E : Joint Venture Partner Information Form

[The Offeror shall fill in this Form in accordance with the instructions indicated below]

RFP reference no: [insert RFP reference No.]

Name of Offeror: [insert name of Offeror]

Date: [insert submission date]

To be completed and returned with your Proposal if the Proposal is submitted as a Joint Venture/Consortium/Association.

| JV / Consortium/ Association Information |  |
| --- | --- |
| Name | [complete] |
| Names of each partner and contact information (address, telephone numbers, fax numbers, e-mail address) | [complete] |
| Name of leading partner (with authority to bind the JV, Consortium, Association during the RFP process and, in the event a Contract is awarded, during contract execution) | [complete] |
| Proposed proportion of responsibilities between partners (in %) with indication of the type of the services to be performed by each | [complete] |

Signatures of all partners of the JV:

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date: ________________________

Form G: Manufacturer’s Authorization Form

A letter issued by the manufacturer authorizing the applicant to participate in this particular ITB must be submitted with the bid in the format provided in this Form.

To be eligible for delivery of goods, the bidder must be either the manufacturer of the offered goods or a sole representative of the manufacturer to the United Nations. Should offers for a particular make and model be received from more than one appointed representative, UNOPS reserves the right to select only one.

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To: UNOPS

WHEREAS

We [insert complete name of manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of manufacturer’s factories], do hereby authorize [insert complete name of bidder] to submit a bid the purpose of which is to provide the following goods, manufactured by us [insert name and or brief description of the goods], and to subsequently negotiate and sign the contract.

We hereby extend our full guarantee and warranty in accordance with Clause 4.5 of the General Conditions of Contract for the Provision of Goods, with respect to the goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the manufacturer]

Title: [insert title]

Dated on ____________ day of __________________, _______ [insert date of signing]