Request for Quotation (RFQ) for Goods/Services

Supply, testing, delivery and unloading of Manhole Covers, Manhole Steps, Valves, GI pipes and fittings and Sewer Cleaning Rods & Accessories to Multi LWSCs- Warehouses of - Local Water and Sanitation Corporation - Yemen.

RFQ Ref No: IUS-AF-UWS-IBB-004 Lot 7: Supply and Delivery of Valves to Ibb (LWSC)

Version: v2021

Section III: Returnable Bidding Forms

The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their Quotation.

This Section comprises the following Returnable Bidding Forms:

- Form B: Price Schedule Form

- Form C: Technical Quotation Form

- Form E: Joint Venture Partner Information Form

- Form G: Manufacturer’s authorization For

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

RFQ reference no: [insert RFQ reference No.]

| Currency | USD |
| --- | --- |

| Lot # | Lot Description | Total Price USD |
| --- | --- | --- |
| 1 | Lot 1: Supply and Delivery of Manhole Covers, - Yareem Branch - Ibb (LWSC) | insert |
| 2 | Lot 2: Supply and Delivery of Manhole Covers, TAIZ (LWSC) | insert |
| 3 | Lot 3: Supply and Delivery of Manhole Steps, TAIZ (LWSC) | insert |
| 4 | Lot 4: Supply and Delivery of Sewer Cleaning Rods & Accessories, TAIZ (LWSC) | insert |
| 5 | Lot 5: Supply and Delivery of G.I. pipes and fittings, Yareem Branch - Ibb (LWSC) | insert |
| 6 | Lot 6: Supply and Delivery of Valves Sa'dah (LWSC) | insert |
| 7 | Lot 7: Supply and Delivery of Valves, Ibb (LWSC) | insert |
| 8 | Lot 8: Supply and Delivery of Valves Hadramout - Al-Shahr Branch (LWSC) | insert |
| 9 | Lot 9: Supply and Delivery of DI Fittings Sa'dah (LWSC) | insert |
| 10 | Lot 10: Supply and Delivery of Maintenance Fittings- Hadramout - Al-Shahr Branch (LWSC) | insert |
| Total |  | insert |

Lot 7: Supply and Delivery of Valves, Ibb (LWSC)

| Item No | Description | Unit | Qty | Unit price | Total price |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | (USD) | (USD) |
| 1 | Supply and delivery of Gate Valves (epoxy powder coated in and outside ) accordance to BS 5163, or equivalent, flange accordance to EN 1092 , PN 16 (face to face dimension short ) DIN3202-F4 ,body and bonnet Ductile Iron GGG 50 , stainless steel spindle , Wedge coated by rubber , elastomer , suitable for potable water , Including hand wheel , Bolts , nuts , washers and gaskets . |  |  |  |  |
| A | DN 250 mm | No. | 6 | insert | insert |
| B | DN 200 mm | No. | 10 | insert | insert |
| C | DN 150 mm | No. | 8 | insert | insert |
| D | DN 100 mm | No. | 10 | insert | insert |
| E | DN 80 mm | No. | 10 | insert | insert |
| F | DN 50 mm | No. | 10 | insert | insert |
| 2 | Flanged Non-Return Valves in accordance to BS EN 5163, flange accordance to EN 1092 , suitable for bearing with high pressures and severe conditions, sufficient corrosion protection, working temperature up to 50 °C, PN 16, high humidity resistance, including Bolts, Nuts and suitable Gaskets as per required and according to the diameters listed below: |  |  |  |  |
| A | DN 100 mm | No. | 20 | insert | insert |
| B | DN 80 mm | No. | 10 | insert | insert |
| Total Cost DAP Local water and sanitation corporation, (LWSC- Ibb City.) |  |  |  |  | insert |

Payment terms 30 days accepted: ☐ Yes

Bidder’s discount for accelerated payment: ____% of total firm price for each calendar day less than thirty (30) days

List of subcontractors or suppliers if any:

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

- _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder] to sign this quotation and bind [insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

# Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

Bidders are required to complete the Comparative Data Tables included in Section III: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

Lot 7: Supply and Delivery of Valves, Ibb (LWSC)

| Item | Specifications required | Is quotation compliant? Bidder to complete | Bidder’s Offer specifications Bidder to complete |
| --- | --- | --- | --- |
| 1 | Date of manufacturing | Bidder to insert | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 2 | Manufacturer Name | Bidder to insert | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 3 | Country of origin | Bidder to insert | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 4 | The bidder confirms that the Size range as per the BoQ of this Lot. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 5 | All valves are flanged joint type as per the BoQ of this Lot. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 6 | All valves Pressure class are PN16 | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 7 | General Design of Gate Valve according to: BS 5163 | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 8 | The face-to-face dimensions: according to DIN3202-F4 | Bidder to insert | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 9 | All flanges of Gate Valve according to: EN 1092 | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 10 | Hydraulic test: According to BS 5163 | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 11 | All materials used in the manufacture of the Gate valves conform to the following minimum standards or equivalent: Body, Wedge and Bonnet: Ductile iron, GGG-50, to DIN 1693 Coating: Electrostatically applied epoxy coating Stem: Stainless steel O-rings, Gaskets: EPDM rubber Bonnet bolts: Stainless steel | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 12 | All accessories are included such as : Hand wheels, spindle heads, spindle extensions, and other accessories according to the internationally accepted standards. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 14 | The bidder confirms that the manufacturer quality control test results and report will be provided. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 15 | The bidder shall bear the cost of unloading at (LWSC- IBB City) warehouses. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 16 | Handling, transport, loading and unloading pipes and fittings at (LWSC- IBB City) warehouses will be according to the manufacturer's recommendations. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 17 | The authorization of manufacturer (Form G) is attached to the offer. | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| 18 | The bidder confirms that their quote for this Lot related to valves as per Section II: Schedule of Requirements | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |

Delivery requirements – Comparative Data Table

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | The Bidder shall deliver the goods within five months after the Contract signature. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | DAP as per Incoterms 2020 (unloaded custom cleared) LWSC- IBB Warehouses of Corporation Water and Sanitation - Yemen. | ☐ Yes ☐ No | Insert details |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- [20%] , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section III: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form E : Joint Venture Partner Information Form

[The Offeror shall fill in this Form in accordance with the instructions indicated below]

RFP reference no: [insert RFP reference No.]

Name of Offeror: [insert name of Offeror]

Date: [insert submission date]

To be completed and returned with your Proposal if the Proposal is submitted as a Joint Venture/Consortium/Association.

| JV / Consortium/ Association Information |  |
| --- | --- |
| Name | [complete] |
| Names of each partner and contact information (address, telephone numbers, fax numbers, e-mail address) | [complete] |
| Name of leading partner (with authority to bind the JV, Consortium, Association during the RFP process and, in the event a Contract is awarded, during contract execution) | [complete] |
| Proposed proportion of responsibilities between partners (in %) with indication of the type of the services to be performed by each | [complete] |

Signatures of all partners of the JV:

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date: ________________________

Form G: Manufacturer’s Authorization Form

A letter issued by the manufacturer authorizing the applicant to participate in this particular ITB must be submitted with the bid in the format provided in this Form.

To be eligible for delivery of goods, the bidder must be either the manufacturer of the offered goods or a sole representative of the manufacturer to the United Nations. Should offers for a particular make and model be received from more than one appointed representative, UNOPS reserves the right to select only one.

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To: UNOPS

WHEREAS

We [insert complete name of manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of manufacturer’s factories], do hereby authorize [insert complete name of bidder] to submit a bid the purpose of which is to provide the following goods, manufactured by us [insert name and or brief description of the goods], and to subsequently negotiate and sign the contract.

We hereby extend our full guarantee and warranty in accordance with Clause 4.5 of the General Conditions of Contract for the Provision of Goods, with respect to the goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the manufacturer]

Title: [insert title]

Dated on ____________ day of __________________, _______ [insert date of signing]