## SUMMARY
BILL OF QUANTITIES
CLIENT | :
PROJECT NAME | : | ILO-BFC
LOCATION | : | PHNOM PENH
DATE | :
ITEM |  | DESCRIPTION |  | AMOUNT (USD)
BILL OF QUANTITIES SUMMARY
BILL NO.01 |  | LOW VOLTAGE SYSTEM
BILL NO.02 |  | EXTRA LOW VOLTAGE SYSTEM
BILL NO.03 |  | FIRE SUPPRESSION
TOTAL OF SUMMARY
Exclustion Cost For:
0
0
0
0
0
0
0
Prepared by: |  |  | Approved by:
Name: .……………………… |  |  | Name: .………………………
Position: ...……………………. |  |  | Position: ...…………………….
Date: ………………………. |  |  | Date: ……………………….

## LV
BILL NO.1 ELECTRICAL SYSTEM
CLIENT | : | BROWN
PROJECT NAME | : | BROWN MARKET
LOCATION | : | PHNOM PENH
REVISION | : | 0
BILL NO.1 ELETRICAL SYSTEM
CLIENT | :
PROJECT NAME | : | PHNOM PENH GENERAL HOSPITAL
LOCATION | : | PHNOM PENH
REVISION | : | 0
ITEM |  | DESCRIPTION | UNIT | GF | 1F | QUANTITY | BRAND | RATE (USD) | MATERIAL (USD) | LABOR (USD) | AMOUNT (USD) | REMARKS
[1] |  | [2] | [3] | [4] | [4] | [4] |  | [5] | [5A] | [5B] | [6]=[4]*[5] | [7]
A |  | ELECTRICAL SYSTEM
A.1 |  | DISTRIBUTION BOARD
|  | DB-GF-A-Panel-32A | set | 1 |  | 1 | By Owner
|  | DB-1F-C1-Panel-25A | set |  | 1 | 1 | By Owner
|  | DB-1F-C2-Panel-80A | set |  | 1 | 1 | By Owner
|  | Support and Acccessories | lot |  |  | 1 | By Owner
A.2 |  | LIGHTING FIXTURE
|  | Emergency light ceiling type | pcs | 5 | 17 | 22 | Grade A
|  | Emergency wall type | pcs | 3 | 6 | 9 | Grade A
|  | Exit light | pcs | 2 | 2 | 4 | Grade A
|  | Support, fixing & accessories | lot |  |  | 1
A.3 |  | WIRING DEVICE
|  | 1 gang 1 way switch 13A | pcs |  | 3 | 3 | By Owner
|  | 2 gang 1 way switch 13A | pcs | 5 | 12 | 17 | By Owner
|  | 3 gang 1 way switch 13A | pcs | 4 | 15 | 19 | By Owner
|  | Double Receptacle Outlet Floor Type 13A 250V | pcs | 3 | 51 | 54 | Grade A
|  | Accessories | lot |  |  | 1
A.4 |  | CABLE CONTAINMENT
A.4.1 |  | Supply and installation of Pre-Galvanized steel sheet cable trays and fittings including hangers and supports.
|  | LV Cable Tray 300x50, 0.8mm.thk. No/COVER | m | 30 | 95 | 125 | By Owner
|  | ELV Cable Tray 300x50, 0.8mm.thk. No/COVER | m | 30 | 95 | 125 | Grade A
|  | Hanger, brackets, supports and related hardwares | lot |  |  | 1
COLLECTION
|  | SUB TOTAL | [8 empty] | 0

## ELV
BILL NO.1 ELECTRICAL SYSTEM
CLIENT | : | BROWN
PROJECT NAME | : | BROWN MARKET
LOCATION | : | PHNOM PENH
REVISION | : | 0
BILL NO.2 EXTRA LOW VOLTAGE SYSTEM
CLIENT | :
PROJECT NAME | : | PHNOM PENH GENERAL HOSPITAL
LOCATION | : | PHNOM PENH
REVISION | : | 0
ITEM |  | DESCRIPTION | UNIT | GF | 1F | QUANTITY | BRAND | RATE (USD) | MATERIAL (USD) | LABOR (USD) | AMOUNT (USD) | REMARKS
[1] |  | [2] | [3] | [4] | [4] | [4] |  | [5] | [5A] | [5B] | [6]=[4]*[5] | [7]
B |  | ELV SYSTEM
B.1 |  | DATA SYSTEM
|  | Internet Income | set |  | 1 | 1 | By Owner
|  | Rack | set |  | 1 | 1 | By Owner
|  | Network Switch 48 Port | set |  | 2 | 2 | By Owner
|  | Patch Panel 48 port | set |  | 2 | 2 | Grade A
|  | Single Data Socket Outlet | Pcs | 7 | 60 | 67 | Grade A
|  | HDMI | Pcs | 8 | 4 | 12 | Grade A
|  | WIFI | Pcs | 2 | 3 | 5 | By Owner
|  | Cat6 Cable UTP for Data | m | 200 | 2300 | 2500 | Grade A
|  | PVC Conduit Dia.20mm | m | 65 | 1495 | 1560 | Grade A
|  | Accessories | lot |  |  | 1
|  | Configuration and Testing Commisioning | lot |  |  | 1
B.2 |  | TELEPHONE SYSTEM
|  | Telecommunication Income | set |  | 1 | 1 | By Owner
B.3 |  | CCTV SYSTEM
|  | Monitor 32 Inch | set |  | 1 | 1 | By Owner
|  | Network Video Recorder 16CH | set |  | 1 | 1 | Grade A
|  | PoE Switch 16Port | set |  | 1 | 1 | Grade A
|  | HDD 6TB (30 days backup) | set |  | 1 | 1 | Grade A
|  | UPS-3KVA | set |  | 1 | 1 | Grade A
|  | Network Dome Camera 2MP | pcs | 1 | 4 | 5 | Grade A
|  | Network Bullet Camera 2MP | pcs | 1 | 0 | 1 | Grade A
|  | Cat6 Cable UTP | m | 100 | 200 | 300 | Grade A
|  | PVC Conduit Dia.20mm | m | 65 | 130 | 195 | Grade A
|  | Accessories | lot |  |  | 1
|  | Configuration and Testing Commisioning | lot |  |  | 1
B.4 |  | ACCESS CONTROL SYSTEM
|  | Access control Main controller 2 door | set |  | 2 | 2 | Grade A
|  | Proximity Card | set |  | 25 | 25 | Grade A
|  | Emergency Break Glass | set | 1 | 2 | 3 | Grade A
|  | Card Reader | pcs | 1 | 2 | 3 | Grade A
|  | Em Lock | pcs | 1 | 3 | 4 | Grade A
|  | Door Contact | pcs | 1 | 3 | 4 | Grade A
|  | Exit Button | pcs | 1 | 2 | 3 | Grade A
|  | Power Supply Unit with Battery Charger, 12VDC | pcs |  | 2 | 2 | Grade A
|  | 4 Pair 22AWG Twist Pair Cable For Reader | m | 37 | 70 | 107 | Grade A
|  | 2 Pair 22AWG Twist Pair Cable For Exit Button | m | 37 | 70 | 107 | Grade A
|  | 1 Pair 22AWG Twist Pair Cable For door contact | m | 35 | 71 | 106 | Grade A
|  | 1Pair 22AWG Twist Pair Cable For Break glass and magnetic look | m | 40 | 71 | 111 | Grade A
|  | PVC Conduit Dia.20mm | m | 96.85 | 184 | 280.85 | Grade A
|  | Accessories | lot |  |  | 1
|  | Configuration and Testing Commisioning | lot |  |  | 1
B.5 |  | PUBPLIC ADDRESS SYSTEM
|  | Rack 12U | pcs | 1 |  | 1 | Grade A
|  | Cabinet Speaker 15w | pcs | 5 |  | 5 | Grade A
|  | 240W Mixer Amplifier | pcs | 1 |  | 1 | Grade A
|  | Reciever With 2 Microphone | se | 1 |  | 1 | Grade A
|  | Speaker cable | m | 40 |  | 40 | Grade A
|  | Conduit , PVC Ø20mm | m | 26 |  | 26 | Grade A
|  | Accessories | lot |  |  | 1 | Grade A
|  | Configuration and Testing Commisioning | lot |  |  | 1
B.6 |  | FIRE ALARM SYSTEM
|  | Fire Alarm Control Panel 4 Zone | set |  | 1 | 1 | Grade A
|  | Smoke Detector | pcs | 10 | 20 | 30 | Grade A
|  | Heat Detector | pcs | 1 | 1 | 2 | Grade A
|  | Base Detector | pcs | 11 | 21 | 32 | Grade A
|  | Alarm Bell | pcs | 1 | 1 | 2 | Grade A
|  | Manual Call Point | pcs | 1 | 1 | 2 | Grade A
|  | Fire Resistance Cable 1.5mmsq CU/FR | m | 100 | 130 | 230 | Grade A
|  | PVC Conduit Dia.20mm | m | 65 | 84.5 | 149.5 | Grade A
|  | Accessories | lot |  |  | 1
|  | Configuration and Testing Commisioning | lot |  |  | 1
COLLECTION
|  | SUB TOTAL | [8 empty] | 0

## PLUMBING SYSTEM
BILL NO.1 ELECTRICAL SYSTEM
CLIENT | : | BROWN
PROJECT NAME | : | BROWN MARKET
LOCATION | : | PHNOM PENH
REVISION | : | 0
BILL NO.4 PLUMBING SYSTEM
CLIENT | :
PROJECT NAME | : | PHNOM PENH GENERAL HOSPITAL
LOCATION | : | PHNOM PENH
REVISION | : | 0
ITEM |  | DESCRIPTION | UNIT | QUANTITY | BRAND | RATE (USD) | MATERIAL (USD) | LABOR (USD) | AMOUNT (USD) | REMARKS
[1] |  | [2] | [3] | [4] |  | [5] | [5A] | [5B] | [6]=[4]*[5] | [7]
A |  | PLUMBING SYSTEM
A.1 |  | PIPING WORK
|  | Supply and install waste water pipe | lot | 1 | Grade A
|  | Supply and install cold water pipe | lot | 1 | Grade A
|  | Support and accessory | lot | 1
COLLECTION
|  | SUB TOTAL | [6 empty] | 0

## Cost Data (hidden)
COST DATA
ITEM | DESCRIPTION | UNIT | RATE (USD) | SMCD Price(USD) | Other Price(USD)
I | Electrical
Fixture Lighting
| TL-01, TL-02, ………….., TL-41 | pcs | 3 | 3
| Fan | pcs | 8 | 8
| Exit Light | pcs | 5 | 5
| Socket & Switch |  |  | 0
| Switch ( single, Double, triple switch) | pcs | 2.87 | 2.87
| Double Socket( H=300, H=600, H=900, H=1200,H=450, | pcs | 4 | 4
| Data,Telephone, & TV Socket | pcs | 2.37 | 2.37
Cable & Conduit
| 1Cx1.5mm² Cu/PVC | m | 0.2 | 0.6
| 1Cx2.5mm2 Cu/PVC | m | 0.24667 | 0.72
| 1Cx4mm2 Cu XLPE/PVC | m | 1.1 | 0.78
| 1Cx6mm2 Cu/PVC | m | 1.56 | 1.56
| 1Cx10mm2 Cu XLPE/PVC | m | 2.375 | 3.456
| 1Cx16mm2 Cu XLPE/PVC | m | 3.28 | 3.276
| 1Cx35mm2 Cu XLPE/PVC | m | 6.48 | 6.48
| 1Cx50mm2 Cu XLPE/PVC | m | 6.696 | 6.696 | 6.696
| 3Cx4mm2 Cu XLPE/PVC | m | 3.24 | 3.24
| PVC conduit dia.20mm | m | 0.8 | 1.5
| PVC conduit dia.25mm | m | 0.9 | 1.56
| PVC flexible dia.20mm | m | 0.684 | 0.684
| PVC flexible dia.25mm | m | 0.72 | 0.72
| PVC coupling dia.20mm | nos | 0.2 | 0.6
| PVC coupling dia.25mm | nos | 0.2 | 0.6
| PVC claim dia.20mm | nos | 0.2 | 0.48
| PVC claim dia.25mm | nos | 0.2 | 0.48
Cable Trunking, Conduit and Fitting Accessories
| GI. Cable tray 200x50 mm c/w Cover, 1.0mm Thickness | m | 12.5 | 12.5
| ELV Tray 100x50 mm | m | 15 | 15
| Cable Tray/Trunking support & Fitting Accessories | lot | 20 | 20
| HDPE Pipe Dia.100 mm | m | 8.27 | 8.27
| HDPE Pipe Dia.50 mm | m | 3.17 | 3.17
| HDPE Pipe Dia.32 mm | m | 2.26 | 2.26
| Conduit accessories | ls | 3 | 3
Earthing for Generator neutral
| Earth Bar | pcs | 120 |  | 120
| 95mm2 Cu G/Y PVC Cable | m | 25 |  | 25
| 95mm2 bare copper cable | m | 25 |  | 25
| Earth rod, dia. 16mm, length=1.5 | pcs | 22 |  | 22
| Earth rod coupling | pcs | 5.25 |  | 5.25
| Cad weld connection bare copper to rod | set | 25 |  | 25
Earthing Sytem LV
| Earth Bar | pcs | 120 |  | 120
| 95mm2 Cu G/Y PVC Cable | m | 25 |  | 25
| 95mm2 bare copper cable | m | 25 |  | 25
| Earth rod, dia. 16mm, length=1.5 | pcs | 22 |  | 22
| Earth rod coupling | pcs | 5.25 |  | 5.25
| Cad weld connection bare copper to rod | set | 25 |  | 25
| Dia. 32mm PVC conduit | m | 3 |  | 3
Earthing ELV
| Earth Bar | pcs | 120 |  | 120
| 50mm2 Cu G/Y PVC Cable | m | 25 |  | 25
| 95mm2 bare copper cable | m | 25 |  | 25
| Earth rod, dia. 16mm, length=1.5 | pcs | 22 |  | 22
| Earth rod coupling | pcs | 5.25 |  | 5.25
| Cad weld connection bare copper to rod | set | 25 |  | 25
| Dia. 32mm PVC conduit | m | 3 |  | 3
Panel Distribution Board ( Decentor, LS)
| MSB & ATS ( Socomec atys) | set | 8500 |  | 8500
| DB-0F-COM | set | 2100 |  | 2100
| DB-0F-RE | set | 2100 |  | 2100
| DB-0M-RE | set | 1900 |  | 1900
| DB-1F-CMED | set | 2100 |  | 2100
| DB-1F-CON | set | 2100 |  | 2100
| DB-1M-CON | set | 2100 |  | 2100
| DB-2F-COM | set | 2100 |  | 2100
| DB-2F-MG | set | 1500 |  | 1500
| DB-3F-COM | set | 1700 |  | 1700
| DB-4F-COM | set | 1700 |  | 1700
| DB-5F-COM | set | 1500 |  | 1500
| DB-5F-CAN | set | 1600 |  | 1600
| DB-GH1 | set | 1200 |  | 1200
| DB-GH2 | set | 1300 |  | 1300
| Accessaries panel | lot
Lightning Protection System(By client)
| E.S.E air terminal | pcs | 1650.5 | 1650.5
| 2m Elevation pole | pcs | 120 | 120
| Set of 2 side mounting bracket | set | 20 | 20
| 95mm2 bare copper cable | m | 16.5 | 16.5
| Support of down conductor on elevation pole | pcs | 25 | 25
| Support of down conductor on roof | pcs | 25 | 25
| Support of down conductor on wall | pcs | 15 | 15
| Test clamp | pcs | 7 | 7
| Lightning flash counter | pcs | 311 | 311
| Galvanized protection shealth, L=2m c/w support | set | 9 | 9
| Earth pit (320x320x190mm) | pcs | 55 | 55
| Earth rod, dia. 16mm, length=1.5 | pcs | 17.78 | 17.78
| Earth rod coupling | pcs | 6.43 | 6.43
| Cad weld connection bare copper to rod | set | 15 | 15
| Generator 3P, 380V, 350kVA, Canopy type c/w all accessories | set | 63500
II | Plumbing
| Roof Drain dia100 | pcs | 35 | 35
Sanitary
| Lavatory | set | 5 | 5
| Urinal | set | 7 | 7
| WC (Flush Tank) | set | 15 | 15
| Sink | set | 20 | 20
| Floor Clean Out | set | 5 | 5
| Floor Drain, Bell Trap | set | 5 | 5
PVC Pipe
| PVC Pipe (class 8.5) DN100 | m | 8.5 | 8.5
| PVC Pipe (class 8.5) DN80 | m | 7.25 | 7.25
| PVC Pipe (class 8.5) DN55 | m | 3.1 | 3.1
| Elbow 45º (class 8.5) DN100 | pcs | 9 | 9
| Elbow 45º (class 8.5) DN80 | pcs |  | 3.8
| Elbow 45º (class 8.5) DN55 | pcs |  | 2.1
| Elbow 90º (class 8.5) DN55 | pcs |  | 2.1
| Tee DN55 | pcs |  | 2.25
| Clean out DN100 | pcs | 16.5 | 16.5
| Coupling PVC DN100 (class 8.5) |  | 3.5 | 3.5
| Allow for fitting and accessories | LOT | 100
| supports and accessories | ls | 50 | 50
0
| 1. Clean Water PPR Pipe & Accessaries |  |  | 0
| PPR Pipe Ø63 | m | 11.5 | 11.5
| PPR Pipe Ø50 | m | 7.25 | 7.25
| PPR Pipe Ø40 | m | 5 | 5
| PPR Pipe Ø32 | m | 3.5 | 3.5
| PPR Pipe Ø25 | m | 2.9 | 2.9
| PPR Pipe Ø20 | m | 2.4 | 2.4
| Elbow 90º Ø50 | pcs |  | 4.3
| Elbow 90º Ø40 | pcs |  | 3.05
| Elbow 90º Ø32 | pcs |  | 2.3
| Elbow 90º Ø25 | pcs |  | 1.9
| Elbow 90º Ø20 | pcs |  | 1.6
| Femal Elbow 90º Ø20 | pcs |  | 3.7
| Tee Ø50 | pcs |  | 5.2
| Tee Ø40 | pcs |  | 3.5
| Tee Ø32 | pcs |  | 2.5
| Tee Ø25 | pcs |  | 2
| Tee Ø20 | pcs |  | 1.7
| Tee Ø40-Ø32 | pcs |  | 3.05
| Tee Ø32-Ø25 | pcs |  | 2.65
| Tee Ø25-Ø20 | pcs |  | 2.14
| Female Tee Ø20 | pcs |  | 4.6
| Socket Ø50 | pcs |  | 2.8
| Socket Ø32 | pcs |  | 1.8
| Socket Ø20 | pcs |  | 1.44
| Male Socket Ø20 | pcs |  | 4.3
| Elbow 45º Ø20 | pcs |  | 1.6
| Reducing socket Ø40-Ø32 | pcs |  | 2.25
| Reducing socket Ø32-Ø25 | pcs |  | 1.84
| Reducing socket Ø25-Ø20 | pcs |  | 1.61
| Valve Copper ( PPR ) Ø50 | pcs | 34.5 | 34.5
| Valve Copper ( PPR ) Ø40 | pcs | 21.5 | 21.5
| Valve Copper ( PPR ) Ø32 | pcs | 15.5 | 15.5
| Valve Copper ( PPR ) Ø25 | pcs | 12.5 | 12.5
| Valve Copper ( PPR ) Ø20 | pcs | 8.5 | 8.5
| Float Valve Ø34 | pcs | 27.5 | 27.5
| Hose Bib Ø20 | pcs | 12.5 | 12.5
| Fittings, supports and accessories | ls | 50 | 50
| Water Meter | pcs | 35 | 35
| Coupling | pcs | 3 | 3
| Gully Trap ( concrete 500X500X400mmm) at ground floor | pcs | 150 | 150
| Underground Pipe (HDPE) |  |  | 0
| HDPE Pipe Ø40 | m | 5.7162 | 5.7162
| HDPE Pipe Ø32 | m | 3.9367 | 3.9367
| HDPE Pipe Ø25 | m | 2.8046 | 2.8046
| HDPE Pipe Ø20 | m | 2.7505 | 2.7505
0
| Manhole 650x650x650 mm for main rain water | nos | 145 | 145
| Revise Floor Drain Ground floor | pcs | 20 | 20
III | Under Ground Work
Main Hole
| Soil excavation | m³ | 5.5
| Sand backfill and compaction | m³ | 5.5
| Soil compaction to received lean concerete | m² | 5.5
| Crush stone with Mortar | m³ | 18
| Lean concrete(7cm) | m³ | 65
| Brick work hollow brick (240)(included plastering 2 side) | m² | 21
| Cover by concrete and steel protection | pcs | 95
C. SOIL AND WASTE WATER SYSTEM
| PVC Pipe (class 8.5) DN200 | m | 22.825 | 22.825 |  | 19.9602 | 1.65
| PVC Pipe (class 8.5) DN150 | m | 14.4375 | 14.4375 |  | 19.9602 | 1.65
| PVC Pipe (class 8.5) DN100 | m | 7.4125 | 7.4125 |  | 8.892 | 1.65
| PVC Pipe (class 8.5) DN80 | m | 4.2625 | 4.2625 |  | 5.6979 | 1.65
| PVC Pipe (class 8.5) DN65 | m | 3.08 | 3.08 |  | 4.1769 | 1.65
| PVC Pipe (class 8.5) DN55 | m | 3.08 | 3.08 |  | 2.5857 | 1.65
| PVC Pipe (class 8.5) DN40 | m | 0.945 | 0.945 |  | 1.7433 | 1.65
| PVC Pipe (class 8.5) DN25 | m | 0.8 | 0.8 |  | 1.7433 | 1.65
| Elbow 45º (class 8.5) DN150 | pcs | 13.75 | 13.75 |  | 16.9 | 1.65
| Elbow 45º (class 8.5) DN100 | pcs | 5.55 | 5.55 |  | 3.9 | 1.65
| Elbow 45º (class 8.5) DN80 | pcs | 3.73 | 3.73 |  | 2.08 | 1.65
| Elbow 45º (class 8.5) DN65 | pcs | 1 | 1 |  | 1.3 | 1.65
| Elbow 45º (class 8.5) DN55 | pcs | 0.66 | 0.66 |  | 0.78 | 1.65
| Elbow 45º (class 8.5) DN40 | pcs | 0.36 | 0.36 |  | 0.52 | 1.65
| Elbow 90º (class 8.5) DN150 | pcs | 40.48 | 40.48 |  | 0.78 | 1.65
| Elbow 90º (class 8.5) DN100 | pcs | 8.47 | 8.47 |  | 0.78 | 1.65
| Elbow 90º (class 8.5) DN55 | pcs | 0.83 | 0.83 |  | 0.78 | 1.65
| Elbow 90º (class 8.5) DN40 | pcs | 0.36 | 0.36 |  | 0.52 | 1.65
| Tee Y DN150 | pcs | 40.48 | 40.48 |  | 9.75 | 1.65
| Tee Y DN100 | pcs | 9.02 | 9.02 |  | 9.75 | 1.65
| Tee Y DN80 | pcs | 5.06 | 5.06 |  | 5.85 | 1.65
| Tee Y DN 150-100 | pcs | 40.49 | 40.49
| Tee DN55 | pcs | 1.93 | 1.93 |  | 0.975 | 1.65
| Tee DN40 | pcs | 0.77 | 0.77 |  | 0.845 | 1.65
| Tee DN100x55 | pcs | 9.24 | 9.24 |  | 8.71 | 1.65
| Tee DN80x40 | pcs | 6.16 | 6.16 |  | 5.85 | 1.65
| Tee DN55x40 | pcs | 1.93 | 1.93 |  | 1.95 | 1.65
| Wye DN150x100 | pcs | 35.45 | 35.45 |  | 33.8 | 1.65
| Wye DN100 | pcs | 9.02 | 9.02 |  | 7.8 | 1.65
| Wye DN80 | pcs | 5.06 | 5.06 |  | 5.2 | 1.65
| Wye DN100x80 | pcs | 9.24 | 9.24 |  | 9.1 | 1.65
| Wye DN100x40 | pcs | 6.85 | 6.85 |  | 5.2 | 1.65
| Wye DN80x55 | pcs | 6.16 | 6.16 |  | 5.2 | 1.65
| Wye DN80x40 | pcs | 6.16 | 6.16 |  | 5.2 | 1.65
| Wye DN55x40 | pcs | 1.93 | 1.93 |  | 5.2 | 1.65
| Clean out DN150 | pcs | 25.05 | 25.05 |  | 23.4 | 1.65
| Clean out DN100 | pcs | 21.15 | 21.15 |  | 19.5 | 1.65
| Clean out DN80 | pcs | 14.65 | 14.65 |  | 13 | 1.65
| P-Trap DN40 | pcs | 14.65 | 14.65 |  | 13 | 1.65
| Septic tank 10000L | pcs |  | 0 |  |  | 550
| Under Ground Water tank 70000L | pcs |  | 0 |  |  | 550
| Water tank 20000L | pcs |  | 0 |  |  | 550
| Testing & Other Accessories | lot | 100 | 100
| Fittings, supports and accessories | lot | 50 | 50 |  | 6500 | 550
| Vent cap DN 55 | pcs | 13.8 | 13.8
Soil Pipe (SP)
| Testing & Other Accessories | lot | 100 |  | 100
| Waste Pipe (WP) |  |  |  | 0
| Surveying & Leveling work | Lot | 100 |  | 100
| Sand backfill under pvc | m³ | 0 |  | 0
| Supply Gully Trap (Man Hole 0.25x0.5x0.6) | set | 129.85 |  | 129.85
| Supply Gully Trap DN80 ( Man Hole 0.25x0.5x0.6 ) | set | 129.85 |  | 129.85
| Supply Floor Drain DN55 (Provisional) | set | 25 |  | 25
| Vent Pipe (VP) |  |  |  | 0
| Surveying & Leveling work | Lot | 50 |  | 50
| Rain Wapter Pipe (RWP) |  |  |  | 0
| Surveying & Leveling work | Lot | 50 |  | 50
| HDPE ( Tap Thailand) |  |  |  | 0
| HDPE (ID 100) DN125, PN12.5 | m | 27.5 |  | 27.5
| HDPE (ID 100) DN110, PN12.5 | m | 21.725 |  | 21.725
| HDPE (ID 50) DN50, PN12.5 | m | 4.4 |  | 4.4
| HDPE (ID 32) DN25, PN12.5 | m | 2.2 |  | 2.2
| HDPE (ID 25) DN20, PN12.5 | m | 2 |  | 2
| Cold Water Pipe ( PPR)Polygon |  |  |  | 0
| C-Clam | Psc | 0.28 |  | 0.28
| Stop Valve(ID27) | Psc | 16.5 |  | 16.5
Septic Tank
| Septic Tank 2000L AP Brand | Psc |  |  | 0
| Crush stone | m³ |  |  | 0
| Lean Concrete ( 7cm ) | m³ |  |  | 0
| Testing & Other Accessories | lot |  |  | 0
Main Components
| DN25mm-Gate Valve | NOS | 15
| DN20mm-Gate Valve | NOS | 7
| DN15mm- Angle Stop Valve | NOS | 17
| Booster Pump-01&02, Capacity: Q=3.6m3/hr@2bars, c/w 2check valves,4gate valves, 1pressure tank, pressure gauge, pressure switch, control panel… | SET | 2900
| DN15mm-Hose Bib Valve | NOS | 17
| DN40mm-Flexible Joint | NOS | 22
| DN50mm-Gate Valve | NOS | 25
| DN40mm-Gate Valve | NOS | 20
| DN32mm-Gate Valve | NOS | 15
| DN40mm-Y Srainer | NOS | 5
| DN40mm-Check Valve | NOS | 70
| DN32mm-Float Valve | NOS | 55
| Stainless Steel Water Tank, Capacity: 5 M3 c/w DN25mm-Drain Valve | SET | 600
| Storage Tank 5 m3 | SET | 650
IV | Underground Water Tank
Main Equipment
| Van Connecting from Public | NOS | 35
| Maindrain ( KH) | pcs | 220
| Skimmer box ( KH) | pcs | 165
| Pump Pool 0.5HP/220v ( KH) | set | 400
| Filter 0.60hp V800 | set | 420
| Filter Sand | Kg | 3
| Electric Box Control panel system | Set | 390
| Light 75W/12V | Set | 175
| Electric transformer 300W/12V ( KH) | Set | 49
| Wire cable | Set | 350
| Transfer pumps set: - Horizontal Multi-Stage Stainless Steel Pump, Constant Speed Motor. Capacity: 0.6l/s @ 3.5bars -Steel base foundation - Electrical Control Panel c/w pressure sensor to operate two pumps (alternative and parallel operation) | SET | 2900 |  | 2900
| Pump room | set | 500 | 500
| Supply and install PVC pipe Class 8.5, fixed in position complete with supports, hangers and other necessary fixing and jointing materials as specified |  |  | 0
| DN100mm | M | 8.5 | 8.5
| Allow for fitting and accessories | LOT | 100 | 100
| Other supports | LOT | 300 | 300
Fire Extinguisher System
| Fire Extinguisher Type ABC | set | 130 |  | 130
| Fire Extinguisher Type CO2 | set | 130 |  | 130
| Fire Extinguisher Type K-Wet | set | 130 |  | 130

## Cost Data 1 (hidden)
COST DATA
#REF!
#REF!
#REF!
ITEM | DESCRIPTION | UNIT | RATE (USD) | REMARKS
1 | CONCRETE WORK
| Lintel concrete, rebar & formwork | m3 | 320
Concrete
Reinforcement
| Waterproof for concrete floor | m2 | 9 | single layer
| Concrete level for gutter / Polishing | m2 | 17 | change rate
| Concrete Slab for Counter Front (included reinforcement, formwork, and other material to complete this work) (4sq) | set | 300
| Concrete Slab for Counter Front (included reinforcement, formwork, and other material to complete this work) (3sq) | set | 230
| Front Double Wall Lintel (included reinforcement, Formwork, and other material to complete this work) (0.7sq) | set | 50
| Front Double Wall Lintel (included reinforcement, Formwork, and other material to complete this work) (7.5sq) | set | 700
2 | BRICK WALL
| Hollow Brick Wall (10cm) | m2 | 16 | (Exclude plastering)
| Hollow Brick Wall (20cm) | m2 | 21 | (Exclude plastering)
| Solid Brick Wall (10cm) | m2 | 21 | (Exclude plastering)
| Solid Brick Wall (20cm) | m2 | 30 | (Exclude plastering)
3 | WATER PROOFING
| Membrane | m2 | 14
| Water proofing for toilet area | m2 | 9
4 | FLOOR FINISHING
Concrete Finishing
| Lay on tile (labor only) | m2 | 8
5 | WALL FINISHINGS
| Plastering | m2 | 4 | change rate
| Sanding | m2 | 2 | Addition
| Edge Plastering | m2 | 4
| Exposed Solid Brick Cladding (50x200mm) | m2 | 15
| Carpet installation | m2 | 0 | carpet installer by supplier
| Steel Frame Structure (Tube 50x100x1.5 & 25x50x1.2) | m2 | 10
| VIVA Board (Thk 20mm) | m2 | 16 | change rate
6 | METAL WORK
| Roofs' sheathing to protect rain water | m | 12
Roofs' Rake
| Steel Louver ( 4.20x2.50m) | set | 300
| Handrail-Steel Mesh for stair one floor | set | 2100 | change rate
| Steel I support (Account Room) | set | 0 | Steel Door
Handrail-Steel Mesh
| Steel Door (Storage Account) | set | 0
Black Steel (Inside Door) (W: 0.87m / L: 8.1m)
Black Steel (L: 2.75m)
Black Steel (L: 7.10m)
Outdoor steel stair 01 (CDU steel support)
Outdoor steel stair 02
Outdoor steel stair 03
8 | CEILING
9 | DEMOLISHING
Demolishing gate
Demolishing brick 10cm
Demolishing brick 20cm
Demolishing brick 30cm
Removing wall plastering
Removing wall tile in WC
| Level and edge of the glass wall frame (2.40x0.01m) | pc | 10
| Domolishing wall 20cm at water pump room (5th Floor) | m2 | 15