## SOP Freight Conditions Nov2021
Annex 19. Requirements for packaging, storage and transport of temperature sensitive health products
The commodities are grouped and guidance is given per each group on the corresponding freight conditions (e.g. how temperature controlled cargo should be handled during transport)
a) General cargo (no temp control)
b) Temperature controlled (currently from +15 to +25 C, 30⁰C)
c) Keep cool (from +8 to +15 C)
d) Keep cold (from +2 to +8 C)
e) Dangerous goods
| Product category | Subcategory / or product name | SEA Freight conditions AND ROAD transport over TWO WEEKS | Air freight | Road transport LESS THAN ONE WEEK TRANSIT TIME | Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS | Special packaging/labelling required? | Data logger required? Data logger recommended? | Storage conditions of products | Is there a requirement for precooling of the container prior to upload of goods? | Primary packaging Materials (PPM) | Formula | Length | Updated QA description under Storage Conditions
| Pharmaceuticals - Temperature sensitive products | Currently Oxytocin, Ergometrin (under Oxytocics category) | Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER | 1. Up to three days: use PASSIVE container must be used 2. Longer than 3 days: use ACTIVE container 3. Smaller aircrafts (cannot accommodate reefer container): use PASSIVE container AND DATA LOGGER | 1. Up to three days: use PASSIVE container 2. Longer than 3 days: use ACTIVE container AND DATA LOGGER | Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. Note. For kits the keep cold items it is accepted to use 'Active - Keep Cold' only even in less than 3 day transport. | Yes | Store between 2°C to 8 °C, do not freeze, protect from light. | Yes | Pharmacopoeia grade glass Ampoules, vials, light resistant, cuvettes. As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER Air freight 1. Up to three days: use PASSIVE container must be used 2. Longer than 3 days: use ACTIVE container 3. Smaller aircrafts (cannot accommodate reefer container): use PASSIVE container AND DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME 1. Up to three days: use PASSIVE container 2. Longer than 3 days: use ACTIVE container AND DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER Data logger required? Data logger recommended? Yes | 676 | SEA and ROAD transport > 2 weeks Temperature controlled 2-8 °C. Use reefer container and data loggers AIR transport 1. ≤ 3 days, use PASSIVE container and data logger 2. > 3 days, use ACTIVE container and data logger 3. Smaller aircrafts (cannot accommodate reefer container), use PASSIVE container and data logger ROAD transport 1. ≤ 3 days: use PASSIVE container and data logger 2. > 3 but ≤ 7 days: use ACTIVE container and data logger 3. > 1 week < 2 weeks: Temperature controlled 2-8 °C. Use reefer container and data logger
| Hormonal contraceptives & Pharmaceuticals - General | Combined Low Dose Pills, Emergency Pills, Progesterone Only Pills, Injectable and Implantable contraceptives (EXCEPT BAYER, PFIZER injectables, Mylan and NV products), multivitamin formulations, misoprostol, mifepristone, magnesium Sulphate. Normally applicable to most of UNFPA pharma sub-categories: Anaesthetics, Analgesics, Anti-Anaemia Medicines, Antibacterials, Antifungal Medicines, Antihypertensive Medicines, Antimalarial Medicines, Antiprotozoal Medicines, Antiretroviral Medicines, Antiseptics, Cardiovascular Medicines, Intravenous Solutions. But if a new item is included under this categories, the storage conditions should be checked by QA previously which may require a different temperature for transportation. | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperaturers) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY Temperature data logger | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperaturers) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | No | Blister packs, light resistant, coding of cycle days. As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperaturers) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY Temperature data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperaturers) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 603 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| Medical Devices | Anatomical Models (as categorized in UNFPA catalog) | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| Medical Devices | Hospital Equipment & Furniture (as categorized in UNFPA catalog) | General cargo and NO data logger | Dangerous goods* (AIR) and NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight Dangerous goods* (AIR) and NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 337 | SEA and ROAD transport: General cargo. No data logger AIR transport: Lithium-ion batteries considered dangerous goods when shipped by air. Refer to IATA guidelines (shipping mark instructions). No data logger. ROAD transport: No data logger
| Medical Devices | Medical Attire & Linen (as categorized in UNFPA catalog) | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| Medical Devices | Medical Sterilization Equipment (as categorized in UNFPA catalog) | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | Medical grade paper, plastic films, sterilizable, when needed | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| Medical Devices | Medical Utensils (as categorized in UNFPA catalog) | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| Medical Devices | Med. Diagnostic Equip&Supplies (as categorized in UNFPA catalog) Except for! Electrical or Battery-Operated Devices (see below) | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| Medical Devices | Medical & Surgical Instruments (as categorized in UNFPA catalog) Except for! BLADE products (see Sterile items) Ipas/MVA products (see Sterile items) | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| Medical Devices | Sterile Medical Supplies (Any item that should remain sterile during transportation and strorage) Refer to the sheet "Sterile MDs" which is linked here | Temperature controlled (+15 to +25 °C or 30°C) depending on the product. Use reefer container/s and data logger | ONLY DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER |  | Yez | (+15 to + 25) °C or Store below 30°C, ship with data logger | Yes |  | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C or 30°C) depending on the product. Use reefer container/s and data logger Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA LOGGER Data logger required? Data logger recommended? Yez | 395 | SEA and ROAD transport: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container/s and data logger AIR transport: Use data logger ROAD transport: Use data logger
| Medical Devices | Electrical or Battery-Operated Devices AND Anaesthesia & Resus. Equipment (Any device with an electricity plug or battery) !Except for devices that have Lithium Batteries | General cargo and NO data logger | Dangerous goods* (AIR) and NO data logger | NO data logger | NO data logger | *) Lithium-ion batteries. When shipped by AIR, they are considered as Dangerous Goods. More from IATA guidelines (shipping mark instructions). | No | Proposed: Store in a clean, cool and dry place. Avoid direct sunlight. At temperature from +0 to +40 °C / Relative Humidity below 70%, non-condensing / Atmospheric pressure from 500 kPa to 1060 kPa. Refrigerators: Store upright. *) Lithium-ion batteries. When shipped by AIR, they are considered as Dangerous Goods. More from IATA website. https://www.iata.org/whatwedo/cargo/dgr/Pages/lithium-batteries.aspx | No | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight Dangerous goods* (AIR) and NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? No | 337 | SEA and ROAD transport: General cargo. No data logger AIR transport: Lithium-ion batteries considered dangerous goods when shipped by air. Refer to IATA guidelines (shipping mark instructions). No data logger. ROAD transport: No data logger
| Medical Devices | Medical Supplies (ONLY GLOVES) | General cargo and NO data logger | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 319 | SEA and ROAD transport: General cargo. No data logger AIR transport: use data logger ROAD transport: use data logger
| Diagnostics Test Kits (IVDs) | IVD products that have keep cold elements. Blood test, HIV test (EXCEPT RAPID TESTS and SELF TEST), HEPATITIS ELISA and SYPHILLIS TEST | Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER | 1. Up to three days: use PASSIVE container must be used 2. Longer than 3 days: use ACTIVE container 3. Smaller aircrafts (cannot accommodate reefer container): use PASSIVE container AND DATA LOGGER | 1. Up to three days: use PASSIVE container 2. Longer than 3 days: use ACTIVE container AND DATA LOGGER | Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | Store at 2-8 °C | Yes | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER Air freight 1. Up to three days: use PASSIVE container must be used 2. Longer than 3 days: use ACTIVE container 3. Smaller aircrafts (cannot accommodate reefer container): use PASSIVE container AND DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME 1. Up to three days: use PASSIVE container 2. Longer than 3 days: use ACTIVE container AND DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER Data logger required? Data logger recommended? Yes | 676 | SEA and ROAD transport > 2 weeks Temperature controlled 2-8 °C. Use reefer container and data loggers AIR transport 1. ≤ 3 days, use PASSIVE container and data logger 2. > 3 days, use ACTIVE container and data logger 3. Smaller aircrafts (cannot accommodate reefer container), use PASSIVE container and data logger ROAD transport 1. ≤ 3 days: use PASSIVE container and data logger 2. > 3 but ≤ 7 days: use ACTIVE container and data logger 3. > 1 week < 2 weeks: Temperature controlled 2-8 °C. Use reefer container and data logger
| Diagnostics Test Kits (IVDs) | IVD products that are not temperature sensitive. Including the MICROCUVETTE (Hemocue capillary product). To be transported in general cargo but with temp data loggers | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | MICROCUVETTE: Should be stored unopened at +10 to +40°C (50-104°F). Short-term storage (6 weeks) from -18 to +50°C (0.4-122°F). | No | Medical grade paper, plastic films, sterilizable, when needed As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Use data logger AIR transport: Use data logger ROAD transport: Use data logger
| Diagnostics Test Kits (IVDs) | HPV test, HIV RAPID TEST, HIV SELF TEST, HEPATTIS RAPID TEST,URINE TESTS, HIV-Syphilis Combo Test, Pregnancy Test Kits. | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | Store between 2°C to 30°C or 1°C to 40°C depending on manufacturers recommended storage conditions. | No | As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 442 | SEA and ROAD transport: Temperature controlled (+15 to +25 °C OR 30°C depending on the product). Use reefer container and data logger AIR transport: Use data logger. ROAD transport: Use data logger
| Male condoms | Contraceptives | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in well ventilated, dry conditions away from direct sources of heat including sunlight. Long-term average storage temperature not to exceed 30 °C. | No | Foil laminates, opaque to light and barrier to air and ozone As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Include data loggers AIR transport: General cargo. Include data loggers ROAD transport: General cargo. Include data loggers
| Female condoms | Contraceptives | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in well ventilated, dry conditions away from direct sources of heat including sunlight. Long-term average storage temperature to be less than 30 °C. | No | Foil laminates, opaque to light and barrier to air and ozone As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Include data loggers AIR transport: General cargo. Include data loggers ROAD transport: General cargo. Include data loggers
| Personal lubricants | Contraceptives | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in well ventilated, dry conditions away from direct sources of heat including sunlight. Long-term average storage temperature to be less than 30 °C. | No | HDPE bottles, tubes As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Include data loggers AIR transport: General cargo. Include data loggers ROAD transport: General cargo. Include data loggers
| IUDs | Contraceptives | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in well ventilated, dry conditions away from direct sources of heat including sunlight. Long-term average storage temperature to be less than 30 °C. | No | Medical grade board and sealable. Peelable film As per the manufacturers' stability studies protocol | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Include data loggers AIR transport: General cargo. Include data loggers ROAD transport: General cargo. Include data loggers
| Kit 0 | Administration and Training Kit | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | NO specific storage conditions | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| IARHK kit 1A | Male condoms | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in well ventilated, dry conditions away from direct sources of heat including sunlight. Long-term average storage temperature not to exceed 30 °C. | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Use data logger AIR transport: Use data logger ROAD transport: Use data logger
| IARH kit 1B | Female condoms | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in well ventilated, dry conditions away from direct sources of heat including sunlight. Long-term average storage temperature to be less than 30 °C. | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Use data logger AIR transport: Use data logger ROAD transport: Use data logger
| IARH Kit 2A | Clean delivery kit: individual kits | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in well ventilated, dry conditions away from direct sources of heat including sunlight. Long-term average storage temperature to be less than 30 °C. | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Use data logger AIR transport: Use data logger ROAD transport: Use data logger
| IARH kit 2B | Clean delivery kit: Equipment for birth attendants | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in well ventilated, dry conditions away from direct sources of heat including sunlight. Long-term average storage temperature to be less than 30 °C. | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Use data logger AIR transport: Use data logger ROAD transport: Use data logger
| IARH kit 3 | Post-rape treatment | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| IARH kit 4 | Oral and injectable contraceptives | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| IARH kit 5 | Treatment of STI | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) |  | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| IARH kit 6A | Clinical delivery assitance: re-usable equipment | General cargo AND NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 309 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| IARH kit 6B | Clinical delivery assitance: drugs and disposable equipment | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| IARH kit 7 | Intra Uterine Devices (IUD) | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in well ventilated, dry conditions away from direct sources of heat including sunlight. Long-term average storage temperature to be less than 30 °C. | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Use data logger AIR transport: Use data logger ROAD transport: Use data logger
| IARH kit 7B | Contraceptive implant | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| IARH kit 8 | Management of complications of miscarriage | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| IARH kit 9 | Repair of cervical and vaginal tears | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Use data logger AIR transport: Use data logger ROAD transport: Use data logger
| IARH kit 10 | Assisted delivery with vaccum extraction | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| IARH kit 11A | Obstetric surgery & complications: re-usable equipment | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| IARH kit 11B | Obstetric Surgery & compl.: drugs & disposobale equipment | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| IARH kit 12 | Obstetric surgery & complications: drugs and disposable equipment | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| RHKITDMPASC | Complimentary: Kit Medroxyprogesterone acetate (DMPA-SC) | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| RHKITMIFEP | Complimentary: Kit Mifepristone | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| RHKITMISO | Complimentary: Kit Misoprostol | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| RHKITNPASG | Complimentary: Kit Non-Pneumatic Anti-Shock Garment (NASG) | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| RHKITOXT | Complimentary: Kit Oxytocin | Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER | 1. Up to three days: use PASSIVE container must be used 2. Longer than 3 days: use ACTIVE container 3. Smaller aircrafts (cannot accommodate reefer container): use PASSIVE container AND DATA LOGGER | 1. Up to three days: use PASSIVE container 2. Longer than 3 days: use ACTIVE container AND DATA LOGGER | Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. Note. For kits the keep cold items it is accepted to use 'Active - Keep Cold' only even in less than 3 day transport. | Yes | Store between 2°C to 8 °C, do not freeze, protect from light. | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER Air freight 1. Up to three days: use PASSIVE container must be used 2. Longer than 3 days: use ACTIVE container 3. Smaller aircrafts (cannot accommodate reefer container): use PASSIVE container AND DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME 1. Up to three days: use PASSIVE container 2. Longer than 3 days: use ACTIVE container AND DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled 2-8 °C (Reefer containers) AND DATA LOGGER Data logger required? Data logger recommended? Yes | 675 | SEA and ROAD transport > 2 weeks Temperature controlled 2-8 °C. Use reefer container and data loggers AIR transport 1. ≤ 3 days, use PASSIVE container and data logger 2. > 3 days, use ACTIVE container and data logger 3. Smaller aircrafts (cannot accommodate reefer container), use PASSIVE container ROAD transport 1. ≤ 3 days: use PASSIVE container and data logger 2. > 3 but ≤ 7 days: use ACTIVE container and data logger 3. > 1 week < 2 weeks: Temperature controlled 2-8 °C. Use reefer container and data logger
| RHKITCHG | Kit Chlorhexidine Di-gluconate | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| RHKITPEPSTAFF | Emergency PEP Kit for HIV Treatment (FOR UNFPA STAFF ONLY) | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| RHKITVADS | Complimentary: Kit Hand-Held Vacuum Assisted Delivery System | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| FISTULAKIT1 | Fistula Repair Kit 1 - Surgical Instruments | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| FISTULAKIT2 | Fistula Repair Kit 2 - Supplementary Items | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | ONLY DATA LOGGER | ONLY DATA LOGGER | Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER | Since July 2012, the IATA Time and Temperature Sensitive label has been mandatory for the transport of healthcare cargo shipments. There are however, specific conditions for proper use of the label. These can be found in the current edition of the IATA Perishable Cargo Regulations, Chapter 17: Logistics for Temperature Sensitive Healthcare Products. | Yes | (+15 to + 25) °C or Store below 30°C (Controlled Room Temperature- reefer containers) | Yes | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Air freight ONLY DATA LOGGER Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA LOGGER Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS Temperature controlled (+15 to +25 °C OR 30°C depending on the product. The supplier will inform CFP of the temperatures) - reefer container/s AND DATA LOGGER Data logger required? Data logger recommended? Yes | 584 | SEA and ROAD transport > 2 weeks Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers AIR transport: Use data logger ROAD transport 1. ≤ 1 week: Use data logger 3. > 1 week < 2 weeks: Temperature controlled (+15 to +25 °C or 30°C depending on the product). Use reefer container and data loggers
| KITMIDWIFERY | Midwifery kit - Equipment | General cargo and NO data logger | NO data logger | NO data logger | NO data logger |  | NO | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo and NO data logger Air freight NO data logger Road transport LESS THAN ONE WEEK TRANSIT TIME NO data logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS NO data logger Data logger required? Data logger recommended? NO | 311 | SEA and ROAD transport: General cargo. No data logger AIR transport: No data logger ROAD transport: No data logger
| KITMIDWIFERYRENEW | Midwifery kit - Renewable | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Use data logger AIR transport: Use data logger ROAD transport: Use data logger
| MVAKITTINGSERVICES | MVA Ipas kitting service | General cargo AND DATA LOGGER | ONLY DATA logger | ONLY DATA logger | ONLY DATA logger |  | Yes | Store in a clean, cool and dry place. Avoid direct sunlight. (+15 to + 25) °C or at ambient temperature | No | N/A | SEA Freight conditions AND ROAD transport over TWO WEEKS General cargo AND DATA LOGGER Air freight ONLY DATA logger Road transport LESS THAN ONE WEEK TRANSIT TIME ONLY DATA logger Road transport LONGER THAN ONE WEEK BUT NOT MORE THAN TWO WEEKS ONLY DATA logger Data logger required? Data logger recommended? Yes | 314 | SEA and ROAD transport: General cargo. Use data logger AIR transport: Use data logger ROAD transport: Use data logger
NOTE: Unmanned aerial vehicles such as drones may be used for transportation of health products. The requirement for airfreight will apply whenever this option is considered

## RFA (hidden)
Category | LTA Nº | LTA holder | Atlas number | Data logger model | Data logger price
Hormonal | UNFPA/DNK/LTA/2014/413 | Pfizer Overseas LLC | 0000108202 | - | Free of cost
Hormonal | UNFPA/DNK/LTA/2021/001 | Bayer S.A. | 0000108490 | Sensitech | Free of cost
Hormonal | UNFPA/DNK/LTA/2021/002 | HLL Lifecare LTD | 0000002702 | Sensitech Inc | 54
Hormonal | UNFPA/DNK/LTA/2021/003 | Lupin Limited | 0000210920 | USB TEMPMATE S1 | N/A
Hormonal | UNFPA/DNK/LTA/2021/004 | CHEMO IBERICA S.A. | 0000281799 | Sensitech Inc.TempTale® Ultra | 45
Hormonal | UNFPA/DNK/LTA/2021/005 | IMPACT RH360 LLC | 0000292025 | Sensitech Inc | Free of cost
Hormonal | UNFPA/DNK/LTA/2021/006 | NAARI PTE LIMITED | 0000290216 | Tempnote | N/A
Hormonal | UNFPA/DNK/LTA/2021/007 | INCEPTA PHARMACEUTICALS LTD | 0000289867 | TempTale Ultra | Free of cost
Hormonal | UNFPA/DNK/LTA/2021/008 | Mylan Laboratories Limited | 0000240049 | TempTale Ultra | N/A
Hormonal | UNFPA/DNK/LTA/2021/009 | PFIZER OVERSEAS LLC | 0000230289 | - | Free of cost
Hormonal | UNFPA/DNK/LTA/2021/010 | Missionpharma A/S | 0000041102 | TSS Weblogger-II | Free of cost
Hormonal | UNFPA/DNK/LTA/2021/011 | Merck Sharp & Dohme B.V. | 0000170522 | TempTale Ultra | N/A
Hormonal | UNFPA/DNK/LTA/2021/012 | Shanghai Dahua Pharmaceutical Co. Ltd | 0000239861 | E006 | 100
Hormonal | UNFPA/DNK/LTA/2021/013 | Bayer A.G | 0000239911 | Sensitech - TempTale Ultra loggers (Mirena) / TempTale Ultra (Bayer Fin) | Free of cost
Pharmaceuticals | UNFPA/DNK/LTA/2018/651 | ACME FORMULATION PVT LTD | 0000229007 | TLOG-463 | 30
Pharmaceuticals | UNFPA/DNK/LTA/2018/652 | CHINA RESOURCES ZIZHU PHARMACEUTICAL | 0000206285 | ITAG4, WHO PQ code E006/044 | 25
Pharmaceuticals | UNFPA/DNK/LTA/2018/653 | CIPLA LTD | 0000178930 | Tempmate -S1 (2000 INR)single use USB logger and Sensitech Temptale ULTRA | 48
Pharmaceuticals | UNFPA/DNK/LTA/2018/654 | JOINT STOCK COMPANY GRINDEKS | 0000215677 | Tempmate S1 | Free of cost
Pharmaceuticals | UNFPA/DNK/LTA/2018/655 | JSC KALCEKS | 0000251906 | Elpro libero Cb | 30
Pharmaceuticals | UNFPA/DNK/LTA/2018/656 | Sandoz D D | 0000257206 | Sensitech TempTale Ultra | Free of cost
Pharmaceuticals | UNFPA/DNK/LTA/2018/629 | Sun Pharmaceuticals Industries Ltd. | 0000255274 | Elpro Libero CB | Free of cost for orders > 5000 packs. 30 USD/unit for orders below 5000 packs.
Pharmaceuticals | UNFPA/DNK/LTA/2021/014 | DEMO S.A. Pharmaceutical Industry | 0000251549 | Tempmate S1V2 | 0
Pharmaceuticals | UNFPA/DNK/LTA/2021/015 | Micro Labs Limited | 0000292925 | Sensitech Inc. TempTale® Ultra | 49
Pharmaceuticals | UNFPA/DNK/LTA/2018/661 | PEAK INTERNATIONAL TRADE (TIANJIN) CO., LTD. | 0000101026 | HETL-01 | 30
Pharmaceuticals | UNFPA/DNK/LTA/2018/662 | SVIZERA EUROPE B.V. | 0000102595 | E006/049 | Free of cost
Diagnostic Tests | UNFPA/DNK/LTA/2019/689 | Beijing Wantai Biological Pharmacy Enterprise Co., Ltd. | 0000268233 | LIBERO CB | 50
Diagnostic Tests | UNFPA/DNK/LTA/2019/692 | Chembio Diagnostics Systems, Inc. | 0000267834 | DeltaTraK model 31010 | 75
Diagnostic Tests | UNFPA/DNK/LTA/2019/688 | Fujirebio NV Europe | 0000207172 | E006/046 Sensitech TempTale Ultra | 50
Diagnostic Tests | UNFPA/DNK/LTA/2019/694 | MP Biomedical Asia Pacific Pte Ltd. | 0000267599 | ITAG4 | 55
Diagnostic Tests | UNFPA/DNK/LTA/2020/015 | Mylan Laboratories | 0000240049 | Sensitech Inc. TempTale® Ultra | 18.5
Diagnostic Tests | UNFPA/DNK/LTA/2019/695 | OraSure Technologies Inc. | 0000257088 | - | -
Diagnostic Tests | UNFPA/DNK/LTA/2019/696 | Premier Medical Corporation Private Limited | 0000267679 | Elpro Libero CB | 130
Diagnostic Tests | UNFPA/DNK/LTA/2019/697 | Shanghai Kehua Bio-engineering Co., Ltd. | 0000267993 | HETL-01 E006/042 | 40
Diagnostic Tests | UNFPA/DNK/LTA/2021/017 | Hangzhou Biotest Biotech CO LTD | 0000256820 | E006/060 | 110
Diagnostic Tests | UNFPA/DNK/LTA/2020/013 | Guangzhou Wondfo Biotech CO LTD | 0000281573 | E006/042 | 30
Diagnostic Tests | UNFPA/DNK/LTA/2020/014 | Intec Products INC | 0000281793 | HETL-01 E006/042 | Free of cost
Diagnostic Tests | UNFPA/DNK/LTA/2019/708 | Qiagen GmbH | 0000271073 | TempTale Ultra | Free of cost
Kits | UNFPA/DNK/LTA/2018/658 | IMRES BV | 0000000730 | Elpro Libero CB | 40
Kits | UNFPA/DNK/LTA/2018/657 | MEG | 0000000798 | Elpro Libero CB | 33.7
Kits | UNFPA/DNK/LTA/2018/659 | MISSIONPHARMA | 0000041102 | Weblogger II | 44
Kits | UNFPA/DNK/LTA/2018/660 | Stichting International Dispensary Association (IDA Foundation) | 0000125342 | Sensitech Temptale Ultra | Interim solution free of charge

## Sterile MDs
List of Sterile Medical Devices
Subcategory : Medical Supplies
1 | Amniohook
2 | Cannula IV
3 | Catheter, Urethral, Foley
4 | Catheter, Urethral, CH12
5 | Catheter, Ureteral, Nelaton
6 | Catheter, Uretheral with metal guide wire
7 | Compressgauze, sterile
8 | Extractormucus
9 | Gloves, Gynaecological
10 | Gloves, Surgical
11 | Infusion set
12 | Needle Spinal
13 | Needleluer
14 | Needle Scalp Vein
15 | Needle surgical
16 | Suture absorbable
17 | Suture non- absorbable
18 | Swab alcohol
19 | Syringe
20 | Tube Suction CH10
Subcategory: Sterile Surgical Instruments
1 | Blade Scalpel
2 | Clampumbilic
3 | Scissors for Umbilical cord cutting
4 | Scalpelknife
5 | lpas / MVA Products