## Annex A1 - Servicing
RFQ-SC-NIGMA-2023-011 - ANNEX A1: Financial offers the servicing cost and warranty as per ABC maintenance schedules for all location as at 100hrs, 200hrs, 400hrs / Monthly whichever comes first as scheduled
Model & Capacity: Perkins, WC, 65 KVA | Location: Sub-Office, Maiduguri |  |  |  | Model & Capacity: FG Wilson, WC, 65 KVA | Location: Sub-Office, Maiduguri |  |  |  | Model & Capacity: Perkins 165 KVA | Location: Sub-Office, Maiduguri
Serial ID: FGWPEP70TGBP02199 | Acquisition Year: 2016 |  |  |  | Serial ID: FGWPEP22EKPW04324 | Acquisition Year: 2014 |  |  |  | Serial ID: FGWPEP73ANLA00770 | Acquisition Year: 2018
Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL | Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL | Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL
Fuel oil: |  |  |  |  | Fuel oil: |  |  |  |  | Fuel oil:
Clean Fuel filter primary/ecoplus change | check/service | 0 | 0 |  | Clean Fuel filter primary/ecoplus change | check/service | 0 | 0 |  | Clean Fuel filter primary/ecoplus change | check/service | 0 | 0
Change Fuel filter secondary | check/service | check/service | check/service |  | Change Fuel filter secondary | check/service | check/service | check/service |  | Change Fuel filter secondary | check/service | check/service | check/service
Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0 |  | Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0 |  | Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0
Check fuel line/water separator filter | check/service | check/service | check/service |  | Check fuel line/water separator filter | check/service | check/service | check/service |  | Check fuel line/water separator filter | check/service | check/service | check/service
Lubricant oil: |  |  |  |  | Lubricant oil: |  |  |  |  | Lubricant oil:
Check crankcase | not applicable | check/service | check/service |  | Check crankcase | not applicable | check/service | check/service |  | Check crankcase | not applicable | check/service | check/service
Change oil | 0 | 0 | 0 |  | Change oil | 0 | 0 | 0 |  | Change oil | 0 | 0 | 0
Change oil filter | 0 | 0 | 0 |  | Change oil filter | 0 | 0 | 0 |  | Change oil filter | 0 | 0 | 0
Cooling water | check/service | check/service | check/service |  | Cooling water | check/service | check/service | check/service |  | Cooling water | check/service | check/service | check/service
Check & clean radiator | check/service | check/service | check/service |  | Check & clean radiator | check/service | check/service | check/service |  | Check & clean radiator | check/service | check/service | check/service
Change cooling water | check/service | check/service | check/service |  | Change cooling water | check/service | check/service | check/service |  | Change cooling water | check/service | check/service | check/service
Check cooling fan belt tension | check/service | check/service | check/service |  | Check cooling fan belt tension | check/service | check/service | check/service |  | Check cooling fan belt tension | check/service | check/service | check/service
Others: |  |  |  |  | Others: |  |  |  |  | Others:
Clean air filter | check/service | check/service | check/service |  | Clean air filter | check/service | check/service | check/service |  | Clean air filter | check/service | check/service | check/service
Change air filter | not applicable | not applicable | 0 |  | Change air filter | not applicable | not applicable | 0 |  | Change air filter | not applicable | not applicable | 0
Adjust Valve clearance | check/service | check/service | check/service |  | Adjust Valve clearance | check/service | check/service | check/service |  | Adjust Valve clearance | check/service | check/service | check/service
Check all important bolts & nuts | check/service | check/service | check/service |  | Check all important bolts & nuts | check/service | check/service | check/service |  | Check all important bolts & nuts | check/service | check/service | check/service
Check Injection pump | check/service | check/service | check/service |  | Check Injection pump | check/service | check/service | check/service |  | Check Injection pump | check/service | check/service | check/service
Strainer of fuel lift pump | check/service | check/service | check/service |  | Strainer of fuel lift pump | check/service | check/service | check/service |  | Strainer of fuel lift pump | check/service | check/service | check/service
Check the battery | check/service | check/service | check/service |  | Check the battery | check/service | check/service | check/service |  | Check the battery | check/service | check/service | check/service
Clean turbochargers | check/service | check/service | check/service |  | Clean turbochargers | check/service | check/service | check/service |  | Clean turbochargers | check/service | check/service | check/service
Check alternator & starter motor | check/service | check/service | check/service |  | Check alternator & starter motor | check/service | check/service | check/service |  | Check alternator & starter motor | check/service | check/service | check/service
Check fuel injector pressure | check/service | check/service | check/service |  | Check fuel injector pressure | check/service | check/service | check/service |  | Check fuel injector pressure | check/service | check/service | check/service
Workmanship/Labour | 0 | 0 | 0 |  | Workmanship/Labour | 0 | 0 | 0 |  | Workmanship/Labour | 0 | 0 | 0
Total Cost | 0 | 0 | 0 | 0 | Total Cost | 0 | 0 | 0 | 0 | Total Cost | 0 | 0 | 0 | 0
Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0 | Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0 | Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0
Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0 | Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0 | Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0
Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0 | Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0 | Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0
Model & Capacity: Perkins, 13 KVA | Location: UNHCR Guesthoue, Maiduguri |  |  |  | Model & Capacity: Caterplliar, WC, 275 KVA | Location: UNHCR Guesthoue, Maiduguri |  |  |  | Model & Capacity: Perkins, 165 KVA | Location: UNHCR Warehouse, Maiduguri
Serial ID: GU51798U565225Y | Acquisition Year: 2016 |  |  |  | Serial ID: OLY00000PNAK00605 | Acquisition Year: 2017 |  |  |  | Serial ID: FGWPEP73TNLA00761 | Acquisition Year: 2018
Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL | Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL | Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL
Fuel oil: |  |  |  |  | Fuel oil: |  |  |  |  | Fuel oil:
Clean Fuel filter primary/ecoplus change | check/service | 0 | 0 |  | Clean Fuel filter primary/ecoplus change | check/service | 0 | 0 |  | Clean Fuel filter primary/ecoplus change | check/service | 0 | 0
Change Fuel filter secondary | check/service | check/service | check/service |  | Change Fuel filter secondary | check/service | check/service | check/service |  | Change Fuel filter secondary | check/service | check/service | check/service
Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0 |  | Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0 |  | Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0
Check fuel line/water separator filter | check/service | check/service | check/service |  | Check fuel line/water separator filter | check/service | check/service | check/service |  | Check fuel line/water separator filter | check/service | check/service | check/service
Lubricant oil: |  |  |  |  | Lubricant oil: |  |  |  |  | Lubricant oil:
Check crankcase | not applicable | check/service | check/service |  | Check crankcase | not applicable | check/service | check/service |  | Check crankcase | not applicable | check/service | check/service
Change oil | 0 | 0 | 0 |  | Change oil | 0 | 0 | 0 |  | Change oil | 0 | 0 | 0
Change oil filter | 0 | 0 | 0 |  | Change oil filter | 0 | 0 | 0 |  | Change oil filter | 0 | 0 | 0
Cooling water | check/service | check/service | check/service |  | Cooling water | check/service | check/service | check/service |  | Cooling water | check/service | check/service | check/service
Check & clean radiator | check/service | check/service | check/service |  | Check & clean radiator | check/service | check/service | check/service |  | Check & clean radiator | check/service | check/service | check/service
Change cooling water | check/service | check/service | check/service |  | Change cooling water | check/service | check/service | check/service |  | Change cooling water | check/service | check/service | check/service
Check cooling fan belt tension | check/service | check/service | check/service |  | Check cooling fan belt tension | check/service | check/service | check/service |  | Check cooling fan belt tension | check/service | check/service | check/service
Others: |  |  |  |  | Others: |  |  |  |  | Others:
Clean air filter | check/service | check/service | check/service |  | Clean air filter | check/service | check/service | check/service |  | Clean air filter | check/service | check/service | check/service
Change air filter | not applicable | not applicable | 0 |  | Change air filter | not applicable | not applicable | 0 |  | Change air filter | not applicable | not applicable | 0
Adjust Valve clearance | check/service | check/service | check/service |  | Adjust Valve clearance | check/service | check/service | check/service |  | Adjust Valve clearance | check/service | check/service | check/service
Check all important bolts & nuts | check/service | check/service | check/service |  | Check all important bolts & nuts | check/service | check/service | check/service |  | Check all important bolts & nuts | check/service | check/service | check/service
Check Injection pump | check/service | check/service | check/service |  | Check Injection pump | check/service | check/service | check/service |  | Check Injection pump | check/service | check/service | check/service
Strainer of fuel lift pump | check/service | check/service | check/service |  | Strainer of fuel lift pump | check/service | check/service | check/service |  | Strainer of fuel lift pump | check/service | check/service | check/service
Check the battery | check/service | check/service | check/service |  | Check the battery | check/service | check/service | check/service |  | Check the battery | check/service | check/service | check/service
Clean turbochargers | check/service | check/service | check/service |  | Clean turbochargers | check/service | check/service | check/service |  | Clean turbochargers | check/service | check/service | check/service
Check alternator & starter motor | check/service | check/service | check/service |  | Check alternator & starter motor | check/service | check/service | check/service |  | Check alternator & starter motor | check/service | check/service | check/service
Check fuel injector pressure | check/service | check/service | check/service |  | Check fuel injector pressure | check/service | check/service | check/service |  | Check fuel injector pressure | check/service | check/service | check/service
Workmanship/Labour | 0 | 0 | 0 |  | Workmanship/Labour | 0 | 0 | 0 |  | Workmanship/Labour | 0 | 0 | 0
Total Cost | 0 | 0 | 0 | 0 | Total Cost | 0 | 0 | 0 | 0 | Total Cost | 0 | 0 | 0 | 0
Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0 | Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0 | Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0
Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0 | Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0 | Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0
Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0 | Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0 | Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0
Model & Capacity: Perkins, Prime, 13 KVA | Location: UNHCR Warehouse, Maiduguri |  |  |  | Model & Capacity: FG Wilson, WC, 50 KVA | Location: UNHCR Warehouse, Maiduguri |  |  |  | Model & Capacity: Perkins, 13 KVA | Location: Field Office, Yola
Serial ID: FGWFD409KNLX00131 | Acquisition Year: 2016 |  |  |  | Serial ID: FGWPEP70HGBP02909 | Acquisition Year: 2017 |  |  |  | Serial ID: GU51798U555637Y | Acquisition Year: 2016
Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL | Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL | Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL
Fuel oil: |  |  |  |  | Fuel oil: |  |  |  |  | Fuel oil:
Clean Fuel filter primary/ecoplus change | check/service | 0 | 0 |  | Clean Fuel filter primary/ecoplus change | check/service | 0 | 0 |  | Clean Fuel filter primary/ecoplus change | check/service | 0 | 0
Change Fuel filter secondary | check/service | check/service | check/service |  | Change Fuel filter secondary | check/service | check/service | check/service |  | Change Fuel filter secondary | check/service | check/service | check/service
Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0 |  | Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0 |  | Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0
Check fuel line/water separator filter | check/service | check/service | check/service |  | Check fuel line/water separator filter | check/service | check/service | check/service |  | Check fuel line/water separator filter | check/service | check/service | check/service
Lubricant oil: |  |  |  |  | Lubricant oil: |  |  |  |  | Lubricant oil:
Check crankcase | not applicable | check/service | check/service |  | Check crankcase | not applicable | check/service | check/service |  | Check crankcase | not applicable | check/service | check/service
Change oil | 0 | 0 | 0 |  | Change oil | 0 | 0 | 0 |  | Change oil | 0 | 0 | 0
Change oil filter | 0 | 0 | 0 |  | Change oil filter | 0 | 0 | 0 |  | Change oil filter | 0 | 0 | 0
Cooling water | check/service | check/service | check/service |  | Cooling water | check/service | check/service | check/service |  | Cooling water | check/service | check/service | check/service
Check & clean radiator | check/service | check/service | check/service |  | Check & clean radiator | check/service | check/service | check/service |  | Check & clean radiator | check/service | check/service | check/service
Change cooling water | check/service | check/service | check/service |  | Change cooling water | check/service | check/service | check/service |  | Change cooling water | check/service | check/service | check/service
Check cooling fan belt tension | check/service | check/service | check/service |  | Check cooling fan belt tension | check/service | check/service | check/service |  | Check cooling fan belt tension | check/service | check/service | check/service
Others: |  |  |  |  | Others: |  |  |  |  | Others:
Clean air filter | check/service | check/service | check/service |  | Clean air filter | check/service | check/service | check/service |  | Clean air filter | check/service | check/service | check/service
Change air filter | not applicable | not applicable | 0 |  | Change air filter | not applicable | not applicable | 0 |  | Change air filter | not applicable | not applicable | 0
Adjust Valve clearance | check/service | check/service | check/service |  | Adjust Valve clearance | check/service | check/service | check/service |  | Adjust Valve clearance | check/service | check/service | check/service
Check all important bolts & nuts | check/service | check/service | check/service |  | Check all important bolts & nuts | check/service | check/service | check/service |  | Check all important bolts & nuts | check/service | check/service | check/service
Check Injection pump | check/service | check/service | check/service |  | Check Injection pump | check/service | check/service | check/service |  | Check Injection pump | check/service | check/service | check/service
Strainer of fuel lift pump | check/service | check/service | check/service |  | Strainer of fuel lift pump | check/service | check/service | check/service |  | Strainer of fuel lift pump | check/service | check/service | check/service
Check the battery | check/service | check/service | check/service |  | Check the battery | check/service | check/service | check/service |  | Check the battery | check/service | check/service | check/service
Clean turbochargers | check/service | check/service | check/service |  | Clean turbochargers | check/service | check/service | check/service |  | Clean turbochargers | check/service | check/service | check/service
Check alternator & starter motor | check/service | check/service | check/service |  | Check alternator & starter motor | check/service | check/service | check/service |  | Check alternator & starter motor | check/service | check/service | check/service
Check fuel injector pressure | check/service | check/service | check/service |  | Check fuel injector pressure | check/service | check/service | check/service |  | Check fuel injector pressure | check/service | check/service | check/service
Workmanship/Labour | 0 | 0 | 0 |  | Workmanship/Labour | 0 | 0 | 0 |  | Workmanship/Labour | 0 | 0 | 0
Total Cost | 0 | 0 | 0 | 0 | Total Cost | 0 | 0 | 0 | 0 | Total Cost | 0 | 0 | 0 | 0
Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0 | Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0 | Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0
Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0 | Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0 | Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0
Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0 | Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0 | Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0
Model & Capacity: Perkins, 13 KVA | Location: Field Office, Yola |  |  |  | Model & Capacity: Perkins, 22 KVA | Location: Field Office, Yola |  |  |  | Model & Capacity: Perkins, 50 KVA | Location: Field Office, Yola
Serial ID: GU51798U555751Y | Acquisition Year: 2016 |  |  |  | Serial ID: FGWPEP68KGBL00905 | Acquisition Year: 2016 |  |  |  | Serial ID: FGWPEP70LGBP02083 | Acquisition Year: 2016
Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL | Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL | Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL
Fuel oil: |  |  |  |  | Fuel oil: |  |  |  |  | Fuel oil:
Clean Fuel filter primary/ecoplus change | check/service | 0 | 0 |  | Clean Fuel filter primary/ecoplus change | check/service | 0 | 0 |  | Clean Fuel filter primary/ecoplus change | check/service | 0 | 0
Change Fuel filter secondary | check/service | check/service | check/service |  | Change Fuel filter secondary | check/service | check/service | check/service |  | Change Fuel filter secondary | check/service | check/service | check/service
Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0 |  | Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0 |  | Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0
Check fuel line/water separator filter | check/service | check/service | check/service |  | Check fuel line/water separator filter | check/service | check/service | check/service |  | Check fuel line/water separator filter | check/service | check/service | check/service
Lubricant oil: |  |  |  |  | Lubricant oil: |  |  |  |  | Lubricant oil:
Check crankcase | not applicable | check/service | check/service |  | Check crankcase | not applicable | check/service | check/service |  | Check crankcase | not applicable | check/service | check/service
Change oil | 0 | 0 | 0 |  | Change oil | 0 | 0 | 0 |  | Change oil | 0 | 0 | 0
Change oil filter | 0 | 0 | 0 |  | Change oil filter | 0 | 0 | 0 |  | Change oil filter | 0 | 0 | 0
Cooling water | check/service | check/service | check/service |  | Cooling water | check/service | check/service | check/service |  | Cooling water | check/service | check/service | check/service
Check & clean radiator | check/service | check/service | check/service |  | Check & clean radiator | check/service | check/service | check/service |  | Check & clean radiator | check/service | check/service | check/service
Change cooling water | check/service | check/service | check/service |  | Change cooling water | check/service | check/service | check/service |  | Change cooling water | check/service | check/service | check/service
Check cooling fan belt tension | check/service | check/service | check/service |  | Check cooling fan belt tension | check/service | check/service | check/service |  | Check cooling fan belt tension | check/service | check/service | check/service
Others: |  |  |  |  | Others: |  |  |  |  | Others:
Clean air filter | check/service | check/service | check/service |  | Clean air filter | check/service | check/service | check/service |  | Clean air filter | check/service | check/service | check/service
Change air filter | not applicable | not applicable | 0 |  | Change air filter | not applicable | not applicable | 0 |  | Change air filter | not applicable | not applicable | 0
Adjust Valve clearance | check/service | check/service | check/service |  | Adjust Valve clearance | check/service | check/service | check/service |  | Adjust Valve clearance | check/service | check/service | check/service
Check all important bolts & nuts | check/service | check/service | check/service |  | Check all important bolts & nuts | check/service | check/service | check/service |  | Check all important bolts & nuts | check/service | check/service | check/service
Check Injection pump | check/service | check/service | check/service |  | Check Injection pump | check/service | check/service | check/service |  | Check Injection pump | check/service | check/service | check/service
Strainer of fuel lift pump | check/service | check/service | check/service |  | Strainer of fuel lift pump | check/service | check/service | check/service |  | Strainer of fuel lift pump | check/service | check/service | check/service
Check the battery | check/service | check/service | check/service |  | Check the battery | check/service | check/service | check/service |  | Check the battery | check/service | check/service | check/service
Clean turbochargers | check/service | check/service | check/service |  | Clean turbochargers | check/service | check/service | check/service |  | Clean turbochargers | check/service | check/service | check/service
Check alternator & starter motor | check/service | check/service | check/service |  | Check alternator & starter motor | check/service | check/service | check/service |  | Check alternator & starter motor | check/service | check/service | check/service
Check fuel injector pressure | check/service | check/service | check/service |  | Check fuel injector pressure | check/service | check/service | check/service |  | Check fuel injector pressure | check/service | check/service | check/service
Workmanship/Labour | 0 | 0 | 0 |  | Workmanship/Labour | 0 | 0 | 0 |  | Workmanship/Labour | 0 | 0 | 0
Total Cost | 0 | 0 | 0 | 0 | Total Cost | 0 | 0 | 0 | 0 | Total Cost | 0 | 0 | 0 | 0
Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0 | Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0 | Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0
Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0 | Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0 | Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0
Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0 | Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0 | Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0
Model & Capacity: FB Wilson, WC, 165 KVA | Location: Field Office, Yola
Serial ID: FGWPEP70PGBP03516 | Acquisition Year: 2018
Servicing Activity & Spare Part | Service A | Service B | Service C | TOTAL
Fuel oil:
Clean Fuel filter primary/ecoplus change | check/service | 0 | 0
Change Fuel filter secondary | check/service | check/service | check/service
Clean the fuel tank & inlet & Others visual inspection | 0 | 0 | 0
Check fuel line/water separator filter | check/service | check/service | check/service
Lubricant oil:
Check crankcase | not applicable | check/service | check/service
Change oil | 0 | 0 | 0
Change oil filter | 0 | 0 | 0
Cooling water | check/service | check/service | check/service
Check & clean radiator | check/service | check/service | check/service
Change cooling water | check/service | check/service | check/service
Check cooling fan belt tension | check/service | check/service | check/service
Others:
Clean air filter | check/service | check/service | check/service
Change air filter | not applicable | not applicable | 0
Adjust Valve clearance | check/service | check/service | check/service
Check all important bolts & nuts | check/service | check/service | check/service
Check Injection pump | check/service | check/service | check/service
Strainer of fuel lift pump | check/service | check/service | check/service
Check the battery | check/service | check/service | check/service
Clean turbochargers | check/service | check/service | check/service
Check alternator & starter motor | check/service | check/service | check/service
Check fuel injector pressure | check/service | check/service | check/service
Workmanship/Labour | 0 | 0 | 0
Total Cost | 0 | 0 | 0 | 0
Installation, Diesel Monitoring Mechanism (Remarks (include warranty): |  |  | Amount: | 0
Installing New Generator Relocation of the existing (Remarks): |  |  | Amount: | 0
Automatic Transfer Switch (Remarks (include warranty): |  |  | Amount: | 0
Company Name:
Date:
Stamp:
Telephone number

## Annex A2- Spare Parts
RFQ-SC-NIGMA-2023-011 - ANNEX A2 - Parts, Warranty and Prices for the Provision of Preventive and Corrective Maintenance for UNHCR's Generators in Northeastern Nigeria
|  |  |  | FG Wilson, 65KVA, Model P65 |  |  |  | PERKINS, 65KVA, Model P65-3 |  |  |  | PERKINS, 165KVA, Model P165 |  |  |  | PERKINS, 13KVA, Model P13.5P |  |  |  | PERKINS, 50KVA, Model P50 |  |  |  | PERKINS, 22KVA, Model P22 |  |  |  | Caterpillar, 275KVA, Caterpillar
# | ITEM DESCRIPTION - GENUINE PARTS FOR THE DIFFERENT CAPACITIES | UOM | Estimated Quantity | UNIT COST - NGN | COST OF INSTALLATION - NGN | TOTAL COST - NGN | WARRANTY PERIOD | COST - NGN | COST OF INSTALLATION - NGN | TOTAL COST - NGN | WARRANTY PERIOD | COST - NGN | COST OF INSTALLATION - NGN | TOTAL COST - NGN | WARRANTY PERIOD | COST - NGN | COST OF INSTALLATION - NGN | TOTAL COST - NGN | WARRANTY PERIOD | COST - NGN | COST OF INSTALLATION - NGN | TOTAL COST - NGN | WARRANTY PERIOD | COST - NGN | COST OF INSTALLATION - NGN | TOTAL COST - NGN | WARRANTY PERIOD | COST - NGN | COST OF INSTALLATION - NGN | TOTAL COST - NGN | WARRANTY PERIOD
1 | Radiator | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
2 | Piston | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
3 | Rings | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
4 | Crank shaft | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
5 | Top cylinder | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
6 | Block Engine | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
7 | Water pump | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
8 | Oil cooler | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
9 | Turbo charger | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
10 | Oil pump | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
11 | Cam shaft | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
12 | Connecting bearing | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
13 | Connecting rod | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
14 | Mian bearing | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
15 | Thrust washer | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
16 | Push rod | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
17 | Rocker arm tappet | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
18 | Rocker arm cover | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
19 | Valve seal | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
20 | Inlet and Exhaust valve | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
21 | Top O/H kits | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
22 | Bottom O/H kits | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
23 | Charging alternator | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
24 | Fan belt | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
25 | Fan blade | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
26 | Injection pump | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
27 | Nozzle tips | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
28 | Injection routor head | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
29 | Atomizer Nozzle | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
30 | Main alternator | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
31 | Operating panel | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
32 | Diesel pumping machine | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
33 | Diesel tank accessories | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
34 | Electric diesel pump | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
35 | ATS Panel | Each | 1 |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Name of the Company:
Date:
Stamp: