## RUNNING_COSTS
No | Manufacturer | Dpt | Map | Building | Room designation | Clean room | Radiological Supervised Areas | Non-Controlled | Radiological Controlled Areas | Serial number | Type | Work requirements as per the SoW | Last maintenance (Status February 2023) | Proof book / Pruefbuch ist voranden | Acceptance Report / Abnahmegutachten ist voranden | 1st Year, Annual Preventative Maintenance, EUR | 1st Year, Annual Safety Inspection, EUR | 2nd Year, Annual Preventative Maintenance, EUR | 2nd Year, Annual Safety Inspection, EUR | 3rd Year, Annual Preventative Maintenance, EUR | 3rd Year, Annual Safety Inspection, EUR | 4th Year, Annual Preventative Maintenance, EUR | 4th Year, Annual Safety Inspection, EUR | 5th Year, Annual Preventative Maintenance, EUR | 5th Year, Annual Safety Inspection, EUR | 5 Years Total, EUR
1 | Geze (Year 2013) | SG | B 301 | NML-LLL (Low Level Area) | Door number 01-L19A between room 01-L19 and 01-L16 | No | Yes | No | No | 9000762485 | Frameless glazed sliding door (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Geze (Year 2013) | SG | B 301 | NML (Nuclear material laboratory) | Door number 01-L58A between room 01-L58 and 01-L55 | No | No | No | Yes | 9000754602 | Frameless glazed sliding door (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Geze (Year 2013) | SG | B 301 | NML-LLL (Low Level Area) | Door number 01-L46.4A between room 01-L46.4 and 01-L46.3 | No | Yes | No | No | 9000754603 | Frameless glazed sliding door (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Geze (Year 2013) | SG | B 301 | NML-LLL (Low Level Area) | Door number 01-L18A between room 01-L18 and 01-L17 | No | Yes | No | No | 9000762487 | Frameless glazed sliding door (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Geze (Year 2013) | SG | B 301 | NML-LLL (Low Level Area) | Door number 01-L15A between room 01-L15 and 01-L16 | No | Yes | No | No | 9000754601 | Frameless glazed sliding door (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Geze (Year 2013) | SG | B 301 | NML (Nuclear material laboratory) | Door number 01-L57 between room 01-L56 and 01-L57 | No | No | No | Yes | 9000762486 | Frameless glazed sliding door (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Geze (Year 2013) | SG | B 301 | NML-LLL (Low Level Area) | Door number 01-L46.1A between room 01-L46.1 and 01-L46.3 | No | Yes | No | No | 9000762484 | Frameless glazed sliding door (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Geze (Year 2013) | SG | B 301 | NML (Nuclear material laboratory) | Door number 01-L54A between room 01-L54 and 01-L55 | No | No | No | Yes | 9000763548 | Swing door (part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Geze (Year 2013) | SG | B 301 | NML (Nuclear material laboratory) | Door number 00-L45 between room 00-L44 and 00-L45 | No | No | No | Yes | 9001199616 | Swing door (Motor type EMD-F) (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Geze (Year 2013) | SG | B 301 | NML (Nuclear material laboratory) | Door number 00-L58A between room 00-L56 and 00-L58 | No | No | No | Yes | 9001199617 | Swing door (Motor type EMD-F) (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Geze (Year 2013) | SG | B 301 | NML (Nuclear material laboratory) | Door number 00-L55 between room 00-L56 and 00-L55 | No | No | No | Yes | 9001199644 | Swing door (Motor type EMD-F) (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Geze (Year 2013) | SG | B 301 | NML (Nuclear material laboratory) | Door number 00-L56 between room 00-L56 and 00-L57 | No | No | No | Yes | 9001199618 | Swing door (Motor type EMD-F) (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Geze (Year 2013) | SG | B 301 | NML (Nuclear material laboratory) | Door number 00-L58B between room 00-L58 and 00-L59 | No | No | No | Yes | 9000839203 | Swing double door type TSA160 NT (Motor type EMD-F) (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-12-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | Gretsch-Unitas (Year 2015) | NA | C 204 | Main Lab | Between cafeteria and terrace | No | No | Yes | No | 25103430 / 100 | Frameless glazed sliding door (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-09-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Gretsch-Unitas (Year 2015) | NA | B 102 | Gate 1 | Between room GB07 and outside | No | No | Yes | No | 25069486 / 100 | Power-operated revolving door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-09-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Gretsch-Unitas (Year 2015) | NA | B 102 | Gate 1 | Between room GB07 and outside | No | No | Yes | No | 25069486 / 200 | Power-operated revolving door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-09-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Gretsch-Unitas (Year 2015) | NA | B 102 | Gate 1 | Between room GB07 and site side | No | No | Yes | No | 25069486 / 300 | Swing glased power-operated door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-09-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Gretsch-Unitas (Year 2015) | NA | B 102 | Gate 1 | Between room GB07 and site side | No | No | Yes | No | 25069486 / 400 | Swing glased power-operated door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-09-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Dormakaba (Year 2018) | NA | C 301 | TC (Training Centre) | Between room TC22 and CL22 | No | No | Yes | No | 1105127364-10 | Swing glased power-operated door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-01-17 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Dormakaba (Year 2018) | NA | C 204 | DM (Dosimetry Medicine) | Between room DM18 and TC02A | No | No | No | Yes | 1105127364-20 | Swing glased power-operated door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-01-17 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Dormakaba (Year 2018) | NA | C 204 | DM (Dosimetry Medicine) | Between room DM18 and TC02A | No | No | No | Yes | 1105153762 | Swing glased power-operated door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-01-17 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Dormakaba (Year 2018) | NA | C 302 | Main Laboratoty | Between room LW01A and LW02 | No | No | Yes | No | 1105127364-30 | Swing glased power-operated door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-01-17 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Dormakaba (Year 2018) | NA | C 303 | Agriculture | Between room A01A and LE02 | No | No | Yes | No | 1105127364-40 | Swing glased power-operated door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-01-17 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Record (Year 2015) | SG | B 303 | ESL-CL | Between room CL05 and CL09 | Yes | No | Yes | No | B5/6923 | Type 20 STA Standard Frameless glazed sliding door (Not part of a fire compartment) | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-09-01 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | Pontax (Year 2019) | NA | C 204 | DM (Dosimetry Medicine) | Between room DM42 and Bunker DM42A | No | No | No | Yes | 1010 | Radiation-protection sliding door | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2022-11-07 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | Lindpointner (Year 1996) | MT | B 206 | Service Building | S08 | No | No | Yes | No | 157400 / 4 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | Lindpointner (Year 1996) | MT | B 206 | Service Building | S09 | No | No | Yes | No | 157400 / 3.3 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Lindpointner (Year 1996) | MT | B 206 | Service Building | S10 | No | No | Yes | No | 157400 / 3.2 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | Lindpointner (Year 1996) | MT | B 206 | Service Building | S11 | No | No | Yes | No | 157400 / 3.1 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | Lindpointner (Year 1996) | MT | B 206 | Service Building | S12 | No | No | Yes | No | 157400 / 2.2 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | Lindpointner (Year 1996) | MT | B 206 | Service Building | S13 | No | No | Yes | No | 157400 / 2.1 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Service Lounge (Year 2019) | MT | C 201 | Garage Electric vehicle | Garage 1 | No | No | Yes | No | P205651 / 2 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Shall be created in Year 1 | Shall be created in Year 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | Service Lounge (Year 2019) | MT | C 201 | Garage Electric vehicle | Garage 2 | No | No | Yes | No | P205651 / 2 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Shall be created in Year 1 | Shall be created in Year 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | Service Lounge (Year 2019) | MT | C 201 | Garage Electric vehicle | Garage 3 | No | No | Yes | No | P205651 / 3 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Shall be created in Year 1 | Shall be created in Year 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | Atlas (Year 2000) | NS | C 406 | Maintenance Building | M08 | No | No | Yes | No | 2007695 / 2 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | Schneider (Year 2014) | MT | B 104 | Receiving | Between RB09 and outside | No | No | Yes | No | 21426117-1 | Roller shutter garage door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 | Schneider (Year 2014) | MT | B 104 | Receiving | Between RB01 and site side | No | No | Yes | No | 21426117-2 | Roller shutter door | 2.2) Not needed 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | 2021-05-23 | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | Dorma Hüppe (Year 2022) | MT | B 203 | MPB | FF01 & FF02 | No | No | Yes | No |  | Power-operated folding wall | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | New Equipment | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | Dorma Hüppe (Year 2022) | MT | B 203 | MPB | SF11 & SF12 | No | No | Yes | No |  | Power-operated folding wall | 2.2) Yearly preventative maintenance. 2.3) Corrective maintenance. 2.4) Yearly safety inspection. | New Equipment | Yes | Yes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[25 empty] | TOTAL: | 0

## FIXED_COSTS
RFP-625531-YG - Maintenance and Safety Inspection of Power Operated Doors
Table No. 1 - Price for spare parts, including delivery to the IAEA Laboratories in Seibersdorf
Provide the price validity (month, year)
No. | Spare Part | Atlas | Price validity | Dorma Hüppe | Price validity | Dormakaba | Price validity | Geze | Price validity | Gretsch-Unitas | Price validity | Lindpointner | Price validity | Pontax | Price validity | Record | Price validity | Schneider | Price validity | Service Lounge | Price validity
1 | Floor sensor button | [6 empty] | 0
2 | Safety bar for rolling gates | 0 | [9 empty] | 0 | [5 empty] | 0 |  | 0
3 | Safety bar for revolving door | [8 empty] | 0
4 | Batteries | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
5 | Door guide for sliding doors | [6 empty] | 0 |  | 0 | [5 empty] | 0
6 | Power unit | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
7 | Drive belt | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
8 | Motion detector |  |  |  |  | 0 |  |  |  | 0
9 | Door closer |  |  |  |  | 0 |  | 0 |  | 0
Table No. 2 - Price for one (1) hour of on-site technical assistance and travel cost to the IAEA Laboratories in Seibersdorf
Provide the price validity (month, year)
No. | Service | Price | Validity
1 | Technical onsite assistance per one (1) hour | 0
2 | Travel cost per unit | 0
Table No. 3 - Scenarios
No. | Scenario |  |  |  | Spare parts and On-site technical assistance, including travel cost |  |  |  |  | Price
1 | Geze sliding door cannot be opened with the floor sensor button – defective floor sensor button |  |  |  | 1 Floor sensor button and 1 technician (4 hours) |  |  |  |  | 0
2 | Dormakaba power operated door does not react to any motion – defective motion detector |  |  |  | 1 motion detector and 1 technician (2 hours) |  |  |  |  | 0
3 | Gretsch-Unitas revolving door does not rotate – defective safety bar |  |  |  | 1 safety bar and 2 technicians (6 hours) |  |  |  |  | 0
4 | Record sliding door cannot be opened but button works – defective drive bel |  |  |  | 1 drive belt and 2 technicians (4 hours) |  |  |  |  | 0
5 | Schneider rolling gate does not open anymore – defective power unit |  |  |  | 1 power unit and 1 technician (8 hours) |  |  |  |  | 0
6 | Geze power operated door does not close properly due to high room pressure – adjustment of closing force |  |  |  | Spare parts: Not needed and 1 technician (1 hour) |  |  |  |  | 0
[9 empty] | TOTAL: | 0