9th August 2023

RFP 503600 Oxygen Concentrator Innovation

Q&A\_round 1

**Q1. Some of the cells in the technical sheet to be filled are protected. Kindly check this for us.**A1. The cells requiring inputs from bidders are unlocked. All other cells in the Annex B sheets are locked.

**Q2.  Please specify the exact capacity of the oxygen concentrator needed for Item 20 labeled other lpm.**A2. UNICEF is prioritizing a 10 LPM concentrator (Item 10) for this innovation project, However, manufacturers are encouraged to adapt the same TPP-based improvements across their product line. Therefore, Item 20 is intended to receive any other submission – if available - other than 10 LPM, I.e. 5 (minimum), 8, 12 LPM, etc.

**Q3. Kindly clarify exactly what is needed for the items named 60 and 70.   
Q3a. For item 60, do you mean kits for the oxygen concentrator? How different is it from item 40?**A3a. Item 60 Medical equipment spare parts refers to individual spare parts linked to the oxygen concentrators that suppliers can make available under his tender. These can be i.e. filters, humidifiers, cannulas, power cords, fuses, Diss oxygen adapters with hose barb outlet etc. There is no UNICEF-defined list for these. Please list any individual medical equipment parts related to the products under this tender that you can make available upon request in tab 60 of the Annex C - Commercial Offer Form.

Item 40 Spare parts kit for oxygen concentrator is a "kit" defined in Annex B - Technical Questionnaire Form, item 40, Section E.

**Q3b. For item 70, do you mean accessories such as a humidifier? Kindly clarify.**

A3b. Item 70 Medical equipment & accessories refers to the option for UNICEF to approach the supplier on ad-hoc basis with a request for a quote for similar (at this point undefined) products relating to this tender. The suppliers do not need to provide any list or quotes for this "item" at this stage in connection with this tender. Quotations will be requested as and when required after LTA establishment with the awarded suppliers.