## SECTION: 1

###### GENERAL

- Project Site and Description

These specifications are aimed at specifying the quality of materials, level of workmanship, and methods to be followed and respected in executing and maintaining the project.

2	Drawings

The contractor shall be provided with a list of drawings included in this bid on page A-3 of the drawings file. All expenses borne by the contractor, to execute the conditions included in this section, on the contractor own cost and his unit rates in the bills of quantity shall be deemed to include all costs and expenses.

In case the contractor asks for additional copy of the project drawings, he shall be provided with the copy at a cost determined by the Client.

3	Bidding Documents

The bidding documents completes each other and to consider the case which gives the higher quality in executing as the Engineers decides. The contractor is to consider this when he prices the bills.

The contractor who participate in the bed must returns all bedding document, drawings and addenda including the pre-bed meeting, signed and stamped from his behalf. If the contractor didn’t return any of these document with his offer, the bedding committee has the right to reject his offer.

4	Shop Drawings

If during executing the works or before, the Engineer found that the contractor needs shop drawings to execute a certain task, the contractor must prepare these drawings and submit it to the Engineer for approval. The Engineer has the right to instruct the contractor at any time to submit shop drawings which the Engineer consider necessary for executing a certain task. The contractor is to abide by this instruction and don’t proceed with the task before the Engineer approves the shop drawings.

The shop drawings must be fully detailed with a suitable scale and unless otherwise specified be submitted in four copies.

The Engineer shall within reasonable time from receiving the shop drawings approve the drawings. If the Engineer return the drawings with notes, the contractor shall adjust the drawings as instructed by the Engineer and resubmit to the Engineer for approval and he must point out the adjustment made to the first drawing according to standard procedure.

5	As – Built Drawings

The contractor ,at his own cost, shall adjust the drawing copies with him as necessary during execution of works. The contractor is required to obtain the Engineers approval on these adjustments. When the contractor hands over the works, he shall prepare a new set of the drawings for the project as executed with all adjustments (if any) and submit it to the Engineer for approval. When the Engineer approves th As-Built drawings the contractor shall submit one calc copy and two copies and one computer diskette copy (prepared for AutoCAD) written on it the project name and the phrase

“ AS – BUILT DRAWINGS  المخططات كما تم تنفيذها”.

The final payment to the contractor shall be paid according to the works actually executed as recorded in the AS-BUILT drawings mentioned above.

6	Scaffolding

The contractor shall  provide. Erect and maintain The needed scafoldings to execute the works of this project. Upon completion the contractor shall remove them. The contractor is to take all necessary safety measures related to these scaffoldings and repair any damages caused by the scaffoldings to the permanent works during execution period.

7	Protection of Works

The contractor ,in the course of completing his obligation according to contract conditions, is to protect and maintain the existing borders of the area (steel angles). In case they are moved or removed, because of the contractor usage of his equipment or any other reason, the contractor is return these angles to its correct position as per the coordinate provided by the Engineer. The contractor is to cover and protect the works from the climatic conditions or misuse or negligence … etc, by providing proper barrier, covers according to the Engineer’s approval. The contractor, at his own expenses, shall repair any damages to the works caused by his negligence, or not fulfilling his obligation, according to the Engineer’s instruction and satisfaction.

8	Equivalent Material

All materials and goods must be according to technical specification. The contractor is submit the specification and description of the materials that he intend to supply with all necessary information to the Engineer to investigate before supplying. These information include, but not limited to, trade name, manufacturer address and the contractor is to submit samples if asked by the Engineer.

Wherever a trade name or catalogue number to any material or any item of work in the specification or bills of quantities or drawings, this is necessary to specify the level of specification required. The contractor can suggest alternatives for these materials provided it is with the same level of specification, and to obtain the Engineers approval.

When alternative materials, other than mentioned in the contract, is approved and it was not in the same level of specification, the Engineer has the right to make suitable deduction to the unit rate of these materials. No increase to the contractor prices should be made if better materials were provided (compared to the required specification).

Wherever, in the bills of quantity or specification or drawings, a trade name is mentioned or materials known by its manufacturer company or distributing company or catalogue number, it is to be automatically understood that the required is these materials or equivalent even if the phrase “or equivalent” is not mentioned.

9	Samples

The contractor must be always ready to submit samples for materials and workmanship according to Engineer’s instruction. The Engineer shall test and inspect these samples to determine its compliance with the technical specification and contract documents. The contractor shall execute the works according to the accepted samples and following conditions:-

- The cost of all samples shall be borne by the contractor.

- The contractor is to submit samples before a reasonable time of starting the work to give the Engineer time to inspect the samples and make the required tests.

- The samples shall be submitted with a letter containing all the needed information to obtain the Engineers approval.

- The samples shall be kept at the Engineers office in the site.

10	Materials’ Testing

The Engineer has the right to ask the contractor to accompany the required materials with a testing certificate from the source either from the manufacturer or a laboratory approved by the Engineer.

The Engineer has the right to test samples from any material supplied to the site, and whenever needed, either in the lab specified by the Engineer inside the country or outside. Any materials that don’t pass the test shall be rejected.

The contractor is to make for the Engineer and his assistants all necessary assistance and services to test the materials brought to site and taking samples and checking measurements and weighs and provide on his own expenses whatever need from labour, tools, materials …etc

11	Office for Supervision Staff

The cost of the offices for the Engineer’s use shall be included in the contractor’s prices in the bills of quantity as described in the tender documents and contract conditions.

Engineer office (approx. 35m2) shall consist of two rooms (office + meeting room) in addition to toilet and kitchenette. The offices shall be provided with all services including air conditioning, water, electricity, furniture, stationary, phone, internet (ADSL) all as per Engineer approval. Kitchenette shall be provided with water cooler, and all necessary equipment.

The contractor should complete constructing the Engineer and inspectors offices within 30 days of receiving the order to start works, and during this period, the contractor must provide temporary movable offices for the use of the Engineer and supervision staff. If the contractor didn’t provide the above or didn’t provide the required services, the Engineer has the right to deduct a penalty of US$ 200/day for every day the contractor delays in providing the above. The Engineer shall also has the right to provide these services and needs on the contractor expenses. And all sums shall be deducted from the contractor payment and insurance whatever sum it reach.

The contractor shall during the execution of works provide all the required services for the above-mentioned offices including maintenance, cleaning, keeping and guarding the offices and its content at all times.

The contractor shall be responsible for all the costs of services to Engineer office and their maintenance.

The required offices shall be erected in the place approved by the Engineer, and shall stay during the execution of the works and afterwards shall becomes the property of the school. The contractor must hand it over in a good condition without any construction or architectural defects.

12	Temporary Construction for Contractor’s Use

The contractor must ,from the day of the order to start works, has an existence  in the site in a movable or temporary office for the use of his staff to receive the Engineer’s instruction when needed. The office shall be in the size suitable for the contractor’s needs and requirements and he must obtain the prior approval of the Engineer on this office.

The warehouses needed for the contractor use sufficient to store all construction materials needed for the project including equipment and tools. These warehouses must have all the conditions required to protect the materials from the environmental conditions.

The contractor shall be responsible to guard and maintain all the above mentioned temporary constructions that is used by the contractor. He shall also be responsible to provide the required services for these constructions.

The contractor shall born all the costs of constructing these temporary constructions.

13	Removing Temporary Constructions

All temporary constructions for the contractor use shall be kept in all times in a good condition until all stages of works are completed and finally handed over. Afterwards, the contractor shall remove all  these constructions and its residuals and cleaning its locations properly so that they leave no trace. If the contractor didn’t fulfill this obligation, the Engineer has the right to execute these tasks on the contractor’s account and deduct all the expenses from the contractor’s payment and insurance with the owner, whatever sum it reach without any legal procedure.

14	Temporary and Permanent Services

The contractor shall ,at his own expense, redirect public services if exist (like electricity, water, …) which he found during work and according to Engineer’s directions and approval. If existing services is connected to or related to or related to the works, the contractor shall maintain and keep in place until handing over the works.

The contractor shall ,on his own cost, repair any damages to the public services like telephone, electrical , sewage and water services for the concerned authorities or a third party.

If the concerned authority or the third party decided to repair the damages by itself, or asking any of its representatives to do so, the contractor shall born the cost of these repairs don by the concerned authority or the third party. The owner, according to the contract conditions, shall not be responsible for any claims for such actions.

15	Contradiction in the Contract Documents

The contract documents completes each other and in case of contradiction or ambiguity in the contract documents the contractor shall raise it to the Engineer’s attention. The Engineer shall make the appropriate decision and inform the contractor. In case of contradiction or ambiguity, as mentioned above, the contractor price shall be as recorded in the bills of quantities. In case any material or work needed to execute the works is not mentioned in the bills of quantities, the contractor has to execute these materials or works and their cost shall be deemed to be automatically included in the contractors price for the related item. The contractor has no right to claim any differences as a result of this.

16	Site Meetings

During executing the works and on a periodical bases, site meetings shall be held every 2 weeks or whenever needed for the purposes to coordinate the works and to be sure that it is properly executed according to contract conditions and technical specification. Minutes of the meetings shall be prepared by the Engineer or his representative and distributed to all parties and it shall be followed.

The contractor shall present in the meeting detailed of the works intended to be executed in the next two weeks, which shall be discussed and proper instruction shall be given, and these instructions and approval issued in the meeting shall be followed by the contractor.

17	Daily Reports

The contractor shall submit to the Engineer (or his representative) a daily report containing the required information on the labour (Nos & types), equipment and materials arrived to the site and works executed in that day.

18	Photographs of Progress of Works

The contractor at his own expense shall submit once a month, or as the Engineers find suitable, suitable number of colored photographs in 3 copies (size 10x15 cm) for the executed works or works under progress as directed by the Engineer. The original film negative and all copies shall be the ownership of the owner, and the photos can’t be use without his approval.

19	Work Schedule

The contractor shall prepare (in 3 copies) and submit schedule of the work including all tasks of the subcontractors any works in the contract condition. The contractor shall keep a copy in his site office and submit 2 copies to the Engineer.

The contractor has to make monthly (or as the Engineers see necessary) adjustment to the schedule according to site conditions and progress of works. Two copies of the revised schedule shall be submitted to the Engineer.

20	Handing Over Works and Removing Residuals

The contractor must hand over all works clean and insure removing all materials or construction residuals or rejected materials or remains in the site in general or in the buildings or nearby. The completion of the works as explained here shall be on the contractor’s  expense and according to the Engineer’s approval. If the contractor didn’t fulfill this obligation, the Engineer has the right to execute these works on the contractor expense and deduct it from the contractor payments or insurance.

21	Measurement of Works

The Engineering measurement shall be made for all works, all openings and intersection shall be deducted. Actual net distances shall be calculated but not exceeding the measurement reported in the drawings.

22     Codes And Standards

Where ever B.S. is mentioned it should be read as follows:-

All building materials and equipment should be registered with an international recognized norm institution or correspond to an international recognized norm. The standards used shall be B.S., ASTM, DIN, ISO, or approved equivalent.

23      Sign Boards

2  Nos.  Illuminated  Primary  sign  boards  shall  be  provided  in  English  giving  the  names  of  the

'EMPLOYER', "PROJECT", "ENGINEER', "MAIN CONTRACTOR" …etc, and strictly in accordance with the format shown on drawing.  The sign boards shall be illuminated adequately and as indicated on drawings. The perspective view will be as agreed with the Engineer.

The sign board shall consist of a supporting structure securely anchored to the ground and with sign plates fitted on it. All working details including sitting and positioning shall be submitted for approval and shall be approved before fabrication or erection commences. The sign boards shall be properly illuminated to the required illumination levels and good Engineering Standards and to the approval of the Engineer.

Secondary sign boards shall be provided as indicated to cater for Specialist Consultants and Sub- Contractors.  These shall to the standard and type of construction as that of the primary signboard and shall be approved before fabrication or erection commences.

Additional sign boards shall be provided on Tower cranes. These shall be approved before fabrication or erection commences.

The Contractor shall comply with current regulations of the Municipality and obtain approval of the Municipality. The Contractor shall keep clean and maintain the sign boards and remove them and make good all works disturbed upon completion of the Contract. The Contractor shall provide space for signboards and pay all costs in connection with them including Municipality fees.

120      Safety and Security

It will be the sole responsibility of the Contractor to provide full and continued security and safety for the site including all site facilities until the substantial completion certificate is issued and all the works are completed and the Contractor has demobilized.

The Contractor shall allow for complying with any current security regulations and requirements which may be applicable to the site. The Contractor will be deemed to have acquainted himself thoroughly with all security regulations that may be in force at the time of submission of tender and to have allowed in his tender for their effect upon his operations with regard to the supply of labour and materials, access to site and project execution generally. No claim will be entertained for the Contractor’s lack of knowledge of security regulations. The Contractor shall ensure that his workforce and staff on site adhere strictly to cultural restrictions.

The cost of any delay resulting from the security requirements and regulations will deemed to be included in the tender price.

The Contractor shall nominate a qualified safety officer dedicated for the site.  He will within 30 days of handing over the site (to the Contractor) formulate a safety plan for the works and submit the same for the approval of the Engineer.   Any comments of the Engineer shall be incorporated and re- submitted till final approval is obtained.

The safety officer and the Contractor shall be responsible for ensuring of that the safety plan is adhered to and shall co-ordinate with the sub-contractors and or other persons required to be working on or near the site for proper implementation during the execution of the works.

He  shall  make  himself  fully  conversant  with  the  safety  regulations  and  requirements  of  good engineering practice, of the local authorities and implement them effectively to the approval of the Engineer.

Safety practice shall comply with the requirement the local/governing Municipality/Authorities.

The safety plans shall include but not be limited to the following safety, fire and personnel welfare aspects:-

1.       Protective clothing

2.       Overhead working

3.       Scaffolding, general access, access to work places

4.       Protection/Barricades to openings, edges and excavations

5.       Transportation

6.       Plant, Machinery and Tools

7.       Carnage and Hoisting Equipment

8.       Working at height

9.       Fire prevention-Fire Fighting

10.     Work in enclosed spaces

11.     Electrical works and Temporary electrical works

12.     Cylinder gases - storage - transport and use.

13.     Welding and gas cutting.

14.     Grinding wheels.

15.     Cartridge operated fixing tools.

16.     First  aid,  on-site  first  aid  room  and  associated  trained  staff,  emergency  transport

and hospitalization of injured persons.

17.     Smoking regulations.

18.     Accident reporting and statistics.

19.     Training and instruction.

20.     Hygienic facilities, i.e. rest rooms, messing facilities, washrooms and sanitary facilities,

hot and cold water, etc.

21.     Provision and correct use of safety equipment

22.     Appropriate use of known safety signs in all the  jobs/tasks performed.

23.     Use of Hard hats and safety boots for all Site personnel, laborers and all other persons

requiring access to the site.

The Contractor shall also implement the following as part of the Project safety procedures:-

- Programme of safety orientation and training of all personnel/labour prior to commencing

work on the site.

- Provide safety and fire prevention procedures to be clearly posted about the site in relevant languages.

- Routine checks on Contractor’s as well as Sub-contractor’s first aid and other medical facilities to ensure adequacy of supplies and services.

- Routine  checks  on  firefighting  equipment  and  safety  equipment  to  ascertain  proper functionability.

5.       Ensuring that all personnel wear proper safety clothing and apparel.

6.       Handle claims for accidents sustained by employees or third parties working on Project.

7.       Enforce safety regulations.

8.       Maintain in safety records.

The Contractor shall provide but not limited to the following safety ware for the Client and Engineer’s staff at site visiting the site:-

a)       Safety helmets b)       Safety shoes

c)       Protective eye glass

d)       Ear muffs

The safety officer shall report to the Engineer on the status of planning and implementation of activities to ensure safe construction and operation of the works periodically, as agreed with the Engineer.

Contractor shall submit for the Engineer’s approval, detailed procedures for the control of fire, first-aid and security, applicable to the Site.

Contractor shall liaise with the Engineer and shall observe and ensure that all their personnel observe, all relevant security procedures particularly those applicable to performing works in an ongoing operating environment.