**Section V: Returnable Bidding Forms**

**(Lot-2 - Laboratory Equipment)**

**Note to Bidders:** **Instructions to complete each Form are highlighted in blue in each Form. Please complete the Returnable Biding Forms as instructed** **and return them as part of their bid submission.**

This Section comprises the following Returnable Bidding Forms:

* Form A: Joint Venture Partner Information Form
* Form B: Bid Submission Form
* Form C: Price Submission Form
* Form D: Technical Bid Form
* Form E: Manufacturer’s Authorization Form
* Form F: Performance Statement Form

**Form A: Joint Venture Partner Information Form (Lot-2)**

[The Bidder shall fill in this Form in accordance with the instructions indicated below].

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To be completed and returned with your Bid if the Bid is submitted as a Joint Venture/Consortium/Association.

|  |  |
| --- | --- |
| **JV / Consortium/ Association Information** | |
| **Name** | [complete] |
| **Names of each partner and contact information**  (address, telephone numbers, fax numbers, e-mail address) | [complete] |
| **Name of leading** partner (with authority to bind the JV, Consortium, Association during the Bidding process and, in the event a Contract is awarded, during contract execution) | [complete] |
| **Proposed proportion of responsibilities between partners (in %) with indication of the type of the goods/services to be delivered by each** | [complete] |

**Signatures of all partners of the JV:**

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Form B: Bid Submission Form – (Lot-2- Laboratory Equipment)**

Bidders are requested to complete this form, sign it, and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]

**Subject: *ITB for the Supply of Assorted Medical Equipment to Primary and Secondary Health Centers in Damaturu, Yobe State, Republic of Nigeria*,** ITB Case No**. ITB/2023/48148,** dated **17th August 2023**

We, the undersigned, declare that:

* 1. We have examined and have no reservations to the bidding documents, including amendments No.: [Insert the number and issuing date of each amendment];
  2. We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract, and in accordance with the delivery schedules specified in the Schedule of Requirements
  3. The total price of our bid, excluding any discounts offered in item (d) below, is: [Insert the total bid price in words and figures, indicating the various amounts and the respective currencies];
  4. The discounts offered and the methodology for their application are:
* **Discounts**: If our bid is accepted, the following discounts shall apply. [Specify in detail each discount offered and the specific item of the Schedule of Requirements to which it applies, including if applicable discounts for accelerated payment.]
* **Methodology of application of the discounts**: The discounts shall be applied using the following method: [Specify in detail the method that shall be used to apply the discounts];
  1. Our bid shall be valid for the period of time of [insert number of days which shall not be less than the specified in Section I: ITB Particulars, Period of Validity of Bids] from the date fixed for the bid submission deadline as set out in the ITB, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;
  2. If our bid is accepted, and if so requested in Section I: ITB Particulars, we commit to obtain a performance security in accordance with Instructions to Bidders, Article 34 and the General Conditions of Contract;
  3. We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS;
  4. We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future;
  5. Our firm confirms that the Bidder and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;
  6. We embrace the principles of the United Nations Supplier Code of Conduct and adhere to the principles of the United Nations Global Compact;
  7. Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 4, Eligibility;
  8. We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this ITB and will not engage in any such activity during the performance of any contract awarded;
  9. We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.

I, the undersigned, certify that I am duly authorized by [***insert full name of bidder***] to sign this bid and bind [***insert full name of bidder***] should UNOPS accept this bid:

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

[*Stamp form of bid with official stamp of the bidder*]

**Form C: Price Schedule Form (Lot-2)**

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Bidders shall fill in these Price Schedule Forms in accordance with the instructions indicated.

**Bid Summary**

|  |  |  |
| --- | --- | --- |
| **Bidder’s Total prices CIF Lagos Port of Entry (Price of goods CIF + Related Services if applicable)** | [insert amount and currency] | |
| **Bidder’s Total prices CPT Nnamdi Azikiwe International Airport, Abuja (Price of goods CPT + Related Services if applicable)** | [insert amount and currency] | |
| **Total Price of Goods CIF Lagos Port of Entry** | [insert amount and currency] | |
| **Total Price of Goods CPT Nnamdi Azikiwe International Airport, Abuja** | [insert amount and currency] | |
| **Total Price of Related Services** | [[insert amount and currency) - **CIF** | [insert amount and currency) - **CPT** |
|  |  |
| **Freight Cost per 20/40 ft. container (if applicable)** | [insert amount and currency] | |
| **Customs clearance costs (if applicable)** | [insert amount and currency] | |

1. **Prices for Goods**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Item/ lot** | **Description** | **Qty**  **(a)** | **Unit** | **Currency: United States Dollars** | | | |
| **Unit Price CIF**  **(b)** | **Unit price CPT**  **(c)** | **Total price**  **CIF**  **(a)x(b)** | **Total price CPT**  **(a)x(c)** |
| 1. | Autoclave | 24 | Pcs |  |  |  |  |
| 2. | Centrifuge | 8 | Pcs |  |  |  |  |
| 3. | Haematocrit reader (Micro Haematocrit Reader) | 8 | Pcs |  |  |  |  |
| 4 | Binocular Microscope | 8 | Pcs |  |  |  |  |
| 5 | Fully Automatic 3-part Haematology Analyser | 2 | Pcs |  |  |  |  |
| 6 | Fully Automatic Chemistry Analyser | 2 | Pcs |  |  |  |  |
| 7 | Fluorescence Immunoassay (FIA) System | 2 | Pcs |  |  |  |  |
| **Total Price of Goods** | | | | | |  |  |

1. **Related services – Installation, end users training, and commissioning.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item/ lot** | **Description of the services** | **Qty** | **Unit** | **Unit Price** | **Total Price** |
| 1. | Autoclave | 24 | Pcs |  |  |
| 2. | Centrifuge | 8 | Pcs |  |  |
| 3. | Haematocrit reader (Micro Haematocrit Reader) | 8 | Pcs |  |  |
| 4 | Binocular Microscope | 8 | Pcs |  |  |
| 5 | Fully Automatic 3-part Haematology Analyser | 2 | Pcs |  |  |
| 6 | Fully Automatic Chemistry Analyser | 2 | Pcs |  |  |
| 7 | Fluorescence Immunoassay (FIA) System | 2 | Pcs |  |  |
| **Total** | | | | |  |

1. **Bidder’s delivery data**

|  |  |  |
| --- | --- | --- |
| **Country of origin of offered products** | Item 1 |  |
| Item 2 |  |
| Item 3 |  |
| Item 4 |  |
| Item 5 |  |
| Item 6 |  |
| Item 7 |  |

|  |  |  |
| --- | --- | --- |
| **FCA point(s) of delivery for offered products** | Item 1 |  |
| Item 2 |  |
| Item 3 |  |
| Item 3 |  |
| Item 4 |  |
| Item 5 |  |
| Item 6 |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Shipment dimensions of offered products (Including package)** |  | **Gross weight** | **Total volume** | ***Containers (if applicable)*** | |
| ***Number*** | ***Size*** |
| Item 1 |  |  |  |  |
| Item 2 |  |  |  |  |
| Item 3 |  |  |  |  |
| Item 3 |  |  |  |  |
| Item 4 |  |  |  |  |
| Item 5 |  |  |  |  |
| Item 6 |  |  |  |  |

I, the undersigned, certify that I am duly authorized by [***insert full name of bidder***] to sign this bid and bind [***insert full name of bidder***] should UNOPS accept this bid:

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Form D: Technical Bid Form (Lot-2)**

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Bidders are required to complete the **Comparative Data Tables** included in Section IV: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

1. **Technical specifications for Goods and Comparative Data Table**

**LOT 2: Laboratory equipment**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No** | **UNOPS minimum technical requirements** | **Qty** | **Is Bid compliant?** Bidder to complete | **Details of goods offered.** Bidder to complete |
| 1 | **Autoclave** | **24 Pcs** | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| Horizontal Benchtop Autoclave | ☐ Yes ☐ No | Insert details of goods offered |
| Capacity: 35L (minimum) and 45 Litre (maximum) | ☐ Yes ☐ No | Insert details of goods offered |
| Corrosion-resistant stainless steel internal chamber and lid | ☐ Yes ☐ No | Insert details of goods offered |
| Sterilization and Drying time must reach at least 99 minutes | ☐ Yes ☐ No | Insert details of goods offered |
| Flexible time and temperature programming (must reach at least 135 ° C) | ☐ Yes ☐ No | Insert details of goods offered |
| Control key, pressure gauge, display panel with On/Off Button | ☐ Yes ☐ No | Insert details of goods offered |
| Chamber Material: Stainless steel with a polished finish | ☐ Yes ☐ No | Insert details of goods offered |
| Door Type: Automatic vertical sliding or hinged door | ☐ Yes ☐ No | Insert details of goods offered |
| Safety Features: Overheat protection, pressure relief valve, door interlock system, temperature sensors, and automatic shut-off in case of a malfunction | ☐ Yes ☐ No | Insert details of goods offered |
| Control System: Microprocessor-based with digital display and user-friendly interface for ease of operation | ☐ Yes ☐ No | Insert details of goods offered |
| Safety Devices against overpressure, temperature, and electric shocks | ☐ Yes ☐ No | Insert details of goods offered |
| Automatic elimination of the internal air | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with all necessary accessories for its good operation | ☐ Yes ☐ No | Insert details of goods offered |
| CE or FDA certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 9001 certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 14001 or manufacturer’s QMS certificate | ☐ Yes ☐ No | Insert details of goods offered |
| Certification: ISO 13485 | ☐ Yes ☐ No | Insert details of goods offered |
| One-year warranty including preventive, curative maintenance, and spare parts | ☐ Yes ☐ No | Insert details of goods offered |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 2 | **Centrifuge** | **8 Pcs** | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| Haemacrit centrifuge | ☐ Yes ☐ No | Insert details of goods offered |
| A rugged, simple, and reliable Micro Haemacrit centrifuge whose classic design has stood the test of time | ☐ Yes ☐ No | Insert details of goods offered |
| Rotor capacity: 24 tubes | ☐ Yes ☐ No | Insert details of goods offered |
| Max Speed: 12000 - 13000 rpm with 24-place rotor (or better) | ☐ Yes ☐ No | Insert details of goods offered |
| Brake: Automatic | ☐ Yes ☐ No | Insert details of goods offered |
| Acceleration: 0 - 11800 r.p.m. within 60 secs. with 24 place rotor (or better) | ☐ Yes ☐ No | Insert details of goods offered |
| Deceleration: From 11800 r.p.m. in 25 secs. with 24 place rotor (or better) | ☐ Yes ☐ No | Insert details of goods offered |
| Timer: 0~15 min. mechanical timer (or better) | ☐ Yes ☐ No | Insert details of goods offered |
| Motor: Universal motor | ☐ Yes ☐ No | Insert details of goods offered |
| Electric supply: 220-240V 50/60Hz | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with all necessary accessories for its good operation | ☐ Yes ☐ No | Insert details of goods offered |
| CE or FDA certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 9001 certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 14001 or manufacturer’s QMS certificate | ☐ Yes ☐ No | Insert details of goods offered |
| Certification: ISO 13485 | ☐ Yes ☐ No | Insert details of goods offered |
| One-year warranty including preventive, curative maintenance, and spare parts | ☐ Yes ☐ No | Insert details of goods offered |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 3 | **Haematocrit reader (Micro Haematocrit Reader)** | **8 Pcs** | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| **Micro-Hematocrit Reader**   * Card reader for 1 capillary tube. * Fast and easy-to-read, Intuitive reader scale, High-quality made from machined components and Precision printing and assembly | ☐ Yes ☐ No | Insert details of goods offered |
| A Pocket-size universal tube reader with two ruled charts for precise determination of micro-haematocrit values. | ☐ Yes ☐ No | Insert details of goods offered |
| Measures red cell layer in terms of packed cell volume. | ☐ Yes ☐ No | Insert details of goods offered |
| Designed for use with capped or sealed 75mm micro haematocrit capillary tubes | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with all necessary accessories for its good operation | ☐ Yes ☐ No | Insert details of goods offered |
| CE or FDA certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 9001 certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 14001 or manufacturer’s QMS certificate | ☐ Yes ☐ No | Insert details of goods offered |
| Certification: ISO 13485 | ☐ Yes ☐ No | Insert details of goods offered |
| One-year warranty including preventive, curative maintenance, and spare parts | ☐ Yes ☐ No | Insert details of goods offered |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 4 | **Binocular Microscope** | **8 Pcs** | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| Viewing head: Sliding Binocular Head Inclined at 45°, 360° Rotatable;  55-75 mm interpapillary distance (minimum range). | ☐ Yes ☐ No | Insert details of goods offered |
| Anti-Fungus | ☐ Yes ☐ No | Insert details of goods offered |
| Eyepiece: Wide Field Eyepiece WF10×/ 18 with dioptre adjustment | ☐ Yes ☐ No | Insert details of goods offered |
| Objective: Finite Semi-Plan Achromatic Objective 4×, 10×, 40×, 100×. | ☐ Yes ☐ No | Insert details of goods offered |
| Total magnifications: With 10x eyepiece: 40×, 100×, 400×, 1000×. | ☐ Yes ☐ No | Insert details of goods offered |
| Focus: Coaxial Coarse & Fine Adjustment,   * Fine Division 0.002 mm (or better) * Coarse Stroke 37.7 mm per Rotation or better, * Fine Stroke 0.2 mm per Rotation or better, * Moving Range 28 mm. | ☐ Yes ☐ No | Insert details of goods offered |
| Illumination: LED Illumination, Brightness Adjustable | ☐ Yes ☐ No | Insert details of goods offered |
| Body/energy: Body firm backing of Aluminium and built in Power | ☐ Yes ☐ No | Insert details of goods offered |
| Supply: 110-240V AC/50Hz | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with all necessary accessories for its good operation | ☐ Yes ☐ No | Insert details of goods offered |
| CE or FDA certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 9001 certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 14001 or manufacturer’s QMS certificate | ☐ Yes ☐ No | Insert details of goods offered |
| Certification: ISO 13485 | ☐ Yes ☐ No | Insert details of goods offered |
| One year warranty including preventive, curative maintenance and spare parts | ☐ Yes ☐ No | Insert details of goods offered |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 5 | **Fully Automatic 3-part Haematology Analyser** | **2 Pcs** | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| Operation: Automation Fully Automatic | ☐ Yes ☐ No | Insert details of goods offered |
| Testing: CBC +3-DIFF, At least 21 parameters + 3 histograms | ☐ Yes ☐ No | Insert details of goods offered |
| Throughput: At least 60Samples Per Hour | ☐ Yes ☐ No | Insert details of goods offered |
| Power Supply/Frequency: AC 100-240V, 50/60 +-1Hz | ☐ Yes ☐ No | Insert details of goods offered |
| Sample Type: Prediluted Mode; Whole Blood Mode (21 Microliter) +9 Micro-liter for paediatrics | ☐ Yes ☐ No | Insert details of goods offered |
| Working environment Temperature: 10-40 Degrees Celsius (minimum range) | ☐ Yes ☐ No | Insert details of goods offered |
| Working environment Humidity: 20%-90% (minimum range) | ☐ Yes ☐ No | Insert details of goods offered |
| User Interface: At least 3 USB Ports, 1 LAN Port | ☐ Yes ☐ No | Insert details of goods offered |
| Data Storage Capacity: Up to 50,000 Results | ☐ Yes ☐ No | Insert details of goods offered |
| Display Type: TFT Touch Screen | ☐ Yes ☐ No | Insert details of goods offered |
| Reagent: Diluent, Lyse, Probe Cleanser | ☐ Yes ☐ No | Insert details of goods offered |
| Printout: Thermal recorder, various printout formats. | ☐ Yes ☐ No | Insert details of goods offered |
| External printer: included | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with all necessary accessories for its good operation | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with a set of 5 sets of reagents Diluent, lyse and Cleanser | ☐ Yes ☐ No | Insert details of goods offered |
| CE or FDA certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 9001 certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 14001 or manufacturer’s QMS certificate | ☐ Yes ☐ No | Insert details of goods offered |
| Certification: ISO 13485 | ☐ Yes ☐ No | Insert details of goods offered |
| One-year warranty including preventive, curative maintenance, and spare parts | ☐ Yes ☐ No | Insert details of goods offered |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 6 | **Fully Automatic Chemistry Analyser** | **2 Pcs** | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| Operation: Automatic, Discrete, random access, bench top | ☐ Yes ☐ No | Insert details of goods offered |
| Automatic probe cleaning, liquid level detection & collision protection, | ☐ Yes ☐ No | Insert details of goods offered |
| Throughput: 200 to 400 tests per hour with ISE | ☐ Yes ☐ No | Insert details of goods offered |
| Reagent/Sample tray: at leqast 80 Reagent and 40 Sample Position, | ☐ Yes ☐ No | Insert details of goods offered |
| Reagent Vol.: 10~45μl step by 0.5μl (or better) | ☐ Yes ☐ No | Insert details of goods offered |
| Compartment: 2 ~ 12°C | ☐ Yes ☐ No | Insert details of goods offered |
| Operating temperature: Minimum 35 ~ 40°C | ☐ Yes ☐ No | Insert details of goods offered |
| Whole blood testing function for HbA1c, | ☐ Yes ☐ No | Insert details of goods offered |
| Automatic dilution for abnormal sample, | ☐ Yes ☐ No | Insert details of goods offered |
| Inbuilt barcode reader and Bi-directional LIS interface | ☐ Yes ☐ No | Insert details of goods offered |
| Power Supply / Freq.: AC 220 ~ 240V, 50/60Hz | ☐ Yes ☐ No | Insert details of goods offered |
| External printer: included | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with all necessary accessories for its good operation | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with a set of 5 sets of reagents kits | ☐ Yes ☐ No | Insert details of goods offered |
| CE or FDA certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 9001 certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 14001 or manufacturer’s QMS certificate | ☐ Yes ☐ No | Insert details of goods offered |
| Certification: ISO 13485 | ☐ Yes ☐ No | Insert details of goods offered |
| One year warranty including preventive, curative maintenance and spare parts | ☐ Yes ☐ No | Insert details of goods offered |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 7 | **Fluorescence Immunoassay (FIA) System** | **2 Pcs** | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| The portable fluorescent instrument used for the quantitative determination of concentrations of various analyses in human blood or urine such as Covid Tests, D-Dimer, CRP, Ferritin, hormones, tumor maker, diabetes mellitus, and cardiac enzymes. | ☐ Yes ☐ No | Insert details of goods offered |
| Built-in thermal printer | ☐ Yes ☐ No | Insert details of goods offered |
| LED touch screen | ☐ Yes ☐ No | Insert details of goods offered |
| LIS/HIS connection (Direct connection) | ☐ Yes ☐ No | Insert details of goods offered |
| Test Channel (test cartridge holder) | ☐ Yes ☐ No | Insert details of goods offered |
| Power Supply/Freq.: AC 100-240V, 50/60Hz | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with all necessary accessories for its good operation | ☐ Yes ☐ No | Insert details of goods offered |
| Delivered with a set of 20 sets of reagents kits to be selected by the Beneficiary when issuing the related PO. | ☐ Yes ☐ No | Insert details of goods offered |
| CE or FDA certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 9001 certified | ☐ Yes ☐ No | Insert details of goods offered |
| ISO 14001 or manufacturer’s QMS certificate | ☐ Yes ☐ No | Insert details of goods offered |
| Certification: ISO 13485 | ☐ Yes ☐ No | Insert details of goods offered |
| One-year warranty including preventive, curative maintenance, and spare parts | ☐ Yes ☐ No | Insert details of goods offered |

1. **Related services – Installation, end users training, and commissioning.**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item/ lot** | **Description of the services** | **Qty** | **Is Bid compliant?** Bidder to complete | **Details of Services offered.** Bidder to complete |
| 1. | Autoclave | 24 | ☐ Yes ☐ No | Insert details of goods offered |
| 2. | Centrifuge | 8 | ☐ Yes ☐ No | Insert details of goods offered |
| 3. | Haematocrit reader (Micro Haematocrit Reader) | 8 | ☐ Yes ☐ No | Insert details of goods offered |
| 4 | Binocular Microscope | 8 | ☐ Yes ☐ No | Insert details of goods offered |
| 5 | Fully Automatic 3-part Haematology Analyser | 2 | ☐ Yes ☐ No | Insert details of goods offered |
| 6 | Fully Automatic Chemistry Analyser | 2 | ☐ Yes ☐ No | Insert details of goods offered |
| 7 | Fluorescence Immunoassay (FIA) System | 2 | ☐ Yes ☐ No | Insert details of goods offered |

1. **Delivery requirements and Comparative Data Table:**

|  |  |  |  |
| --- | --- | --- | --- |
| **UNOPS Requirements** | | **Is Bid compliant?** Bidder to complete | **Details**  Bidder to complete |
| **Delivery time** | Bidder shall deliver the goods **within 10 Weeks** after Contract signature. | ☐ Yes ☐ No | Insert details |
| **Delivery place and Incoterms rules** | **CIF Incoterm 2020 Lagos Port of Entry, Nigeria**  **or**  **CPT Nnamdi Azikiwe International Airport, Abuja, Nigeria**  **Kindly note, you are to submit quotes for both Incoterms mentioned in this tender** | ☐ Yes ☐ No | Insert details |
| **Consignee details** | United Nations Office for Project Services (UNOPS), Nigeria | ☐ Yes ☐ No | Insert details |
| **UNOPS Right to vary requirements** | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 20%, without any change in the unit prices or other terms and conditions of the ITB. | ☐ Yes ☐ No | Insert details |

1. **Inspections and tests**

The following inspections and tests shall be performed:

The goods will be inspected and tested by the consignee upon receipt of the goods at the at the delivery place. If any of the goods failed to meet the consignee minimum requirement as per the section II – Schedule of Requirement, the goods will be rejected and return to the supplier at the supplier own cost, and payment will not be made to the supplier until such goods are delivered

**Related services requirements**

[Provide details of how these services will be provided here]

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in **Section IV: Schedule of Requirements**.

☐ Yes ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**List of subcontractors or suppliers**

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this contract and the type of work being subcontracted, if applicable.

1. \_[Full legal name and address of subcontractors]\_\_\_\_\_\_\_\_\_\_\_
2. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
3. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

I, the undersigned, certify that I am duly authorized by [***insert full name of bidder***] to sign this bid and bind [***insert full name of bidder***] should UNOPS accept this bid:

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Form E: Manufacturer’s Authorization Form (Lot-2)**

A letter issued by the manufacturer authorizing the applicant to participate in this particular ITB must be submitted with the bid in the format provided in this Form.

To be eligible for delivery of goods, the bidder must be either the manufacturer of the offered goods or a sole representative of the manufacturer to the United Nations. Should offers for a particular make and model be received from more than one appointed representative, UNOPS reserves the right to select only one.

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To: UNOPS

**WHEREAS**

We ***[insert complete name of manufacturer***], who are official manufacturers of [***insert type of goods manufactured],*** having factories at ***[insert full address of manufacturer’s factories***], do hereby authorize ***[insert complete name of bidder]*** to submit a bid the purpose of which is to provide the following goods, manufactured by us ***[insert name and or brief description of the goods]***, and to subsequently negotiate and sign the contract.

We hereby extend our full guarantee and warranty in accordance with Clause 4.5 of the General Conditions of Contract for the Provision of Goods, with respect to the goods offered by the above firm.

Signed: [***insert signature(s) of authorized representative(s) of the manufacturer]***

Name***: [insert complete name(s) of authorized representative(s) of the manufacturer]***

Title: ***[insert title]***

Dated on \_\_\_\_\_\_\_\_\_\_\_\_ day of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, \_\_\_\_\_\_\_ ***[insert date of signing]***

**Form F: Performance Statement Form (Lot-2)**

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Order placed by [Full address of purchaser]** | **Order no. & date** | **Description & quantity of ordered items** | **Value of order** | **Date of completion of delivery** | | **Remarks indicating reasons of late delivery, if any** | **Was the supply of goods satisfactory?** |
| **As per Contract** | **Actual** |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**DRIVE Supplier Sustainability Questionnaire**

**Included in the eSourcing Platform**

**Section VI: Contract Forms**

**VI-1: UNOPS General Conditions of Contract**

In the event of a Contract, the following General Conditions of Contract will apply:

* UNOPS General Conditions of Contract for the provision of Goods

The conditions are available at: <https://www.unops.org/business-opportunities/how-we-procure>

**VI-3: UNOPS sample contract for [add contract type]**

The sample: **Contract for Supply of Goods** template is included in this ITB by this reference and is attached as a separate Pdf document.