## BoQ_1 stance Shower
BoQ - Construction of one (1) stance of Shower
S/N | ITEM | DESCRIPTION | UNIT | QUANTITY | Unit Price (NGN) | Total (NGN)
A | Preliminaries
1a | Mobilization/Demobilization | Initial Mobilization and final demobilization of equipment, labour and materials to and from site | sum | 1 |  | 0
| Total of Section A |  |  |  |  | 0
B | Excavation and Earth Work
1b | Site clearance | Clear site of shrubs, grasses undergrowth and other unwanted materials from the surrounding | sum | 1 |  | 0
2b | Excavation | Excavate pit for shower blockwork to a maximum depth of 0.6m (plus 0.25m sideways to allow working space). Excavate pit for lining foundation block for accesibility platform and ramps to a maximum depth of 0.6m (plus 0.25m sideways to allow working space). Excavate pit for shower soak pit to a maximum depth of 1.5m (plus 0.25m sideways to allow working space) | m3 | 12 |  | 0
3b | Levelling bottom of excavation | Level and compact bottom of excavation to receive concrete | m2 | 10 |  | 0
4b | Backfilling | Filling to excavation with selected materials from excavation; Compact to edges of facility block and dispose surplose off site after blockwork | m3 | 6 |  | 0
| Total of Section B |  |  |  |  | 0
C | Concrete/Block Works
1c | Blinding | Cast 50mm blinding under blockwork with weak concrete of ratio 1:3:6 | m3 | 0.3 |  | 0
2c | Blockwork | Laying of sancrete blockwork (230x450mm) ; laid stretcher bond on cement and sand mortar (1:3) flush pointed for shower foundation- as illustrated in the drawing | m2 | 6 |  | 0
3c | External hand rails to aid PWSN when using the ramp | Cut, bend, weld and fix in position as shown in the drawing using 50mm (2")-3mm thickness hollow GI pipe (in accordance to field engineers instruction): Vertical pipes at interval of 400mm Horizontal pipes at interval of 270mm | sum | 0.4 |  | 0
4c | Internal hand rails to aid PWSN when using the facility | Cut, bend, weld and fix in position as shown in the drawing using 50mm (2")-3mm thickness hollow GI pipe: Horizontal supporting pipe to be attached/fixed into the 2 vertical poles (3") as shown or in accordance to field engineers instruction | sum | 0.4 |  | 0
5c | Blockwork for shower collection chamber | Laying of sancrete blockwork (150x450x230mm) and rendering/dressing ; laid stretcher bond on cement and sand mortar (1:3) flush pointed for shower collection chamber, two PVC pipes will be connected into the chamber and one out to the soak pit as illustrated in the drawing | m2 | 0.75 |  | 0
6c | Blockwork for steps and ramps | Laying of sancrete blockwork (230x450mm) ; laid stretcher bond on cement and sand mortar (1:3) flush pointed for steps and ramps, this include cost for rendering and finishing the edges- as illustrated in the drawing | m2 | 1.16 |  | 0
7c | Backfill and compact shower stances | Backfill and compact shower stances with 300mm thickness hardcore materials | m3 | 0.45 |  | 0
8c | Backfill and compact for steps and ramps | Backfill and compact for steps and ramps with 300mm thickness hardcore materials | m3 | 1.25 |  | 0
9c | Blockwork for shower soak pit | Laying of sancrete blockwork (230x450mm) - 2x2x1.5m in-to-in ; laid stretcher bond on cement and sand mortar (1:3) flush pointed for shower soak pit, entire second and fourth coaches of blockwork will be inverted to allow for more soaking by adjacent soil- as illustrated in the drawing | m2 | 6 |  | 0
10c | Rendering | Internal rendering of soak pit using 1:4 mortar and gauge of 12mm | m2 | 4.5 |  | 0
11c | Concrete Slab for Soak Pit | Precast Slab - Cast plain M15 grade concrete (1:2:4); developing minimum 15N/mm2 working strength after 28 days of curing, with thickness of 100mm and divided into 2 for easy placement | m3 | 0.35 |  | 0
| Total of Section C |  |  |  |  | 0
D | Superstructure
1d | Networking of liquid waste pipe | laying and connecting 4" PVC pipes with connections and necessary fittings from floor drains to inspection chamber and to soak pit - This include excavation and patching where needed | m | 1 |  | 0
2d | 100mm (4") PVC floor drains | Installation of 100mm PVC floor drains (with all accessories) to collect waste water from shower cubicle to inspection chamber | pcs | 1 |  | 0
3d | 75mm (3") GI Pipe | Installation of 75mm GI vertical poles to carry superstructure as shown | pcs | 2 |  | 0
4d | 2x4" hard wood (obeche) for super structure | Supply, cut and nail full gauge 2x4" wood as horizontal and vertical poles as shown | m | 15 |  | 0
5d | 2x3" hard wood (obeche) for super structure | Supply, cut and nail full gauge 2x3" wood as horizontal and vertical poles as shown | m | 12 |  | 0
6d | CGI Sheet | Supply and install 30gauge (0.4mm thickness) CGI sheet for walling and roofing of the super structure, it should be fasten using 2.5" roofing nail (cap nail) at grove interval | m2 | 10.5 |  | 0
7d | Doors with accessories | Fabrication and installation of wooden framed doors, wrapped with CGI sheet and braced at intervals with hinges, internal locks and door handle of approved samples | pcs | 1 |  | 0
8d | Wire mesh/net | Cut and fix flies-preventing wire mesh as shown | m2 | 4 |  | 0
9d | Fascia board | Supply and install 1x12" fascia board, painted blue with gloss paint (IOM blue) | m | 3.6 |  | 0
| Total of Section D |  |  |  |  | 0
E | Finishes
1e | Internal floor screeding | Screed internal floor of gauge 25mm (1") over concrete floor providing surface that will flow towards pit/floor drain | m3 | 0.05 |  | 0
2e | Rendering & Dressing | Rendering and dressing of concrete structure above normal ground level | sum | 0.16 |  | 0
3e | Visibility | Placement of 2metallic visibility: IOM and donor visibility, and; Visibility seggregating gender use for the facility. This should be printed on A3 sized metal sheet - Sample to be approved before placement | pcs | 1 |  | 0
4e | Contingency | Allow a provisional sum as contingency amount (0.5%) | sum | 1 |  | 0
| Total of Section E |  |  |  |  | 0
|  |  |  | TOTAL(NGN) |  | 0
|  |  |  | TOTAL(USD) |  | 0