## Sheet2
AC, Spare Parts, Fridge Spares
| PARTS NAME |  | BLAND | SPLIT TYPE | MODEL/PARTS NO | MANUFACTURED BY | CAPACITY | QTY | ATTACHED PICTURE
1 | COMPRESSOR |  | LG | ROTARY |  | KOREA | 12000BTU | 10PCS
LG Rotary Compressor QP 407 - HVACR Wholesale Dealer ...
kindly noted that item one and two is the same size but difference is mounting.
2 | COMPRESSOR |  | LG | ROTARY | QK222JBA | KOREA | 12000BTU | 100PCS
https://www.alimranuae.com/product/lg-rotary-compressor-qk-222/
3 | COMPRESSOR |  | LG | ROTARY | QP407PFC | KOREA | 18,000BTU | 10PCS
https://www.alibaba.com/product-detail/LG-Original-Brand-New-Air-conditioner_60837826880.html
4 | PC BOARD |  | LG | HIGWALL | 6871A20572H | KOREA | 12000BTU | 25PCS
https://servair.com/parts/pcb-circuit-boards/6871a20572g.html
5 | PC BOARD |  | LG | HIGWWALL MOUNTING | 6871A90572H | KOREA | 18,000BTU | 15PCS
https://servair.com/parts/pcb-circuit-boards/6871a20572g.html
6 | INDOOR MOTOR |  | LG | HIGHWALL MOUNTING |  | KOREA | 12000BTU | 20PCS
7 | AVS |  | SOLLATEK | SINGLE PHASE | AVS | ENGLAND | 15AMPS | 316PCS
https://320technologies.co.ke/energy-efficiency-products/
8 | CAPACITOR |  | D&L | THREE PIN | CBB65 MKP SH |  | 35/1.5UF | 150PCS
9 | KLIXON 36474*/MRA2771380 MARS OVERLOAD FOR 22111 ROTARY …(PART LINK) | [6 empty] | 160PCS
10 | AIR CONDITIONER |  | r410a | HIGHWALL MOUNTING |  |  | 12000BTU | 50 UNITS
kindly noted. Availability of the spare parts should in the local marketing, e.g compressor,pc board, capacitor,indoor fan motor, outdoor fan motor.
specifation,fast cooling,low noisy, durable,and long term to serve and it spare parts to be continued for the five years coming.
|  | example ; | https://whiteiswhite.com.ng/product/lg-2hp-gencool-inverter-split-unit-air-conditioner/ |  | .
11 | AIR CONDITIONER |  | r410a | HIGHWALL MOUNTING |  |  | 18000BTU | 15units
kindly noted ;the machine must be it spare parts available in the local marketing e.g compressor,pc board, capacitor,indoor fan motor, outdoor fan motor
specifation,fast cooling,low noisy, durable, long term to serve and it spare parts to be continued for the five years coming.
|  | example; | https://whiteiswhite.com.ng/product/lg-2hp-gencool-inverter-split-unit-air-conditioner/
12 | INSULATED PIPING |  |  | ROLL | 5M | INDIA | 1/4 ,1/3 | 20PCS
3/4 X30m Pre Insulated Copper Tube for Central Air ...
13 | INSULATED PIPING KIT |  |  | ROLL | 5M | INDIA | 1/4,1/2 | 5PCS
3/4 X30m Pre Insulated Copper Tube for Central Air ...
14 | INSULATING TAPE |  |  | PVC |  |  |  | 100PCS
| LINK |  |  |  | https://www.egretmfg.com/tape/pvc-tape-for-air-conditioner
15 | remote control |  | lg | HIGHWALL |  | LG KOREA |  | 50PCS
| LINK |  | A/C Air Conditioner Remote Control For LG AKB73315601 ...
FRIDGE SPARE PARTS 2023_OGOJA
| PRODUCT |  | BLAND | TYPE | SIZE | SPECIFICATION | ATTACHED PICTURE |  | QTY
| COMPRESSOR |  | LG | DOUBLE DOOR | MA72LCEG9(1/4) |  |  |  | 12PCS
http://www.searspartsdirect.com/part-number/2521C-A7256/0046/795.html
| COMPRESSOR |  | LG | MEDIUM DOUBLE DOOR | MA69LCEG(1/5) |  |  |  | 20PCS
https://www.alibaba.com/product-detail/LG-Brand-1-5hp-refrigeration-comopressor_60639298255.html
| COMPRESSOER |  | LG | BIG SINGLE DOOR | MA53LAEG(1/8) |  |  |  | 15PCS
http://www.appliancespares.co.za/11868/lg%20fridge%20compressor.aspx
| COMPRESSOR |  | LG | SMALL SINGLE DOOR | MSA43LBEG |  |  |  | 10PCS
https://www.ice-loong.com/refrigerator-compressor/56449959.html
| DRAINAGE HEATER |  | LG | BIG DOUBLE DOOR | 860(W)*733(D)*1794(H) | 220-2240 |  |  | 10PCS
https://www.indiamart.com/proddetail/refrigerator-drain-heater-14497622697.html
| filter drier |  | lg | little giant |  |  |  |  | 20PCS
https://www.retekool.com/Welded-Copper-Filter-Drier-For-Refrigerator-pd6834501.html
| COMPRESSOR OIL |  | M-KARATE | FRIDGES |  |  |  |  | 20PCS
https://shopee.ph/Emkarate-1L-Refrigeration-Lubricant-%28RL32H-RL68H-RL100H%29-Compressor-Oil-Em-Karate-M-i.115495824.10747150046
15PCS
| timer |  | friges | double door | 860(w)*733(d)*1794(h)
https://www.allfixelectrical.com.au/products/lg-westinghouse-fridge-defrost-timer-6hour-35minutes-part-tmde706sc
| pc board |  | fridge | double door | EAN36439801 (BAOC) | MDL;GR-M652YVQ |  |  | 5PCS
| REFRIGERANT GAS |  | HARP | 13.3KG |  |  |  |  | 5 CYLINDERS
https://shingchem.coowor.com/shop/product-detail/201805041352373047FB36J.htm