## Summary
Summary
Power source | Type | Storage volume Category | CCE Manufacturer | CCE Model | . | Qty.
On-grid | Refrigerator | 240L | B Medical | TCW4000AC | 168 | 80
Grand Total |  |  |  |  | 168 | 80

## ODP
Country: VIET NAM
[6 empty] | CCE designated | [6 empty] | SITE ACCESSIBILITY | [7 empty] | SITE READINESS (All sites) | [6 empty] | END USER TRAINING
Province/States | District | Facility Address | Facility Name | OIC Name | Contact Number (mobile) | Key for deployment | CCE allocated (Manufacturer) | CCE allocated (Model) | Type (refrigerator, Combo or freezer) | Power source (SDD or ON-grid) | Storage volume Category (<30L, ≥30, <60L, etc) | QTY (per / HF) | Is the site fully accessible by road? | Distance (km) from district or Province hub | Rate the quality of road to the site (Category Examples Below) | Special access needs (Category Examples Below) | Other Special Access Needs (If Applicable) | List any months when the site is not accessible (e.g. Monsoon) | GPS Coordinates (Latitude) | GPS Coordinates (Longitude) | Type of Roof | Indicate if the designated CCE will fit through the door of the building | FOR SDD only- Type of panel mounting required | Number of functional CCE already installed at HF | Number of CCE at HF to be replaced | Indicate plug type (refer to tab labelelled "Plugs") | Voltage supply | Number of staff to be trained on usage & preventative maintenance
Hải Phòng | TP. Hải Phong |  | TT KSBT Tp.Hải Phòng |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Nam Định |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Xuân Trường |  | TTYT huyện Xuân Trường |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Ninh Bình |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Tam Điệp |  | TTYT TP Tam Điệp |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Bắc Giang |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Yên Thế |  | TTYT H.Yên Thế |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Sơn Động |  | TTYT H.Sơn Động |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Phú Thọ | Thanh Thủy |  | TTYTThanh Thủy |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Hải Dương |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Bắc Cạn | TP. Bắc Cạn |  | TTYT Tp Bắc Kạn |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Quảng Ninh |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <5Km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Hòa Bình |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Mai Châu |  | TTYT H.Mai Châu |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Nghệ An | Cửa Lò |  | TTYT Cửa Lò |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Hà Tĩnh |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| TP. Hà Tĩnh |  | TTYT Tp Hà Tĩnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Lai Châu | Mường Tè |  | TTYT H.Mường Tè |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Sin Hồ |  | TTYT H.Sìn Hồ |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Nậm Nhùn |  | TTYT H.Nậm Nhùn |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Lạng Sơn |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Tuyên Quang |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Hà Giang |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Hoàng Su Phì |  | TTYT H.Hoàng Su Phì |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Yên Bái | Trấn Yên |  | TTYT H. Trấn Yên |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
|  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Sơn La | Mộc Châu |  | TTYT Mộc Châu |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Quỳnh Nhai |  | TTYT H. Quỳnh Nhai |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Quảng Trị | Hướng Hóa |  | TTYT H. Hướng Hóa |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Thừa Thiên Huế |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Nam Đông |  | TTYT H. Nam Đông |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Đà Nẵng | TP. Đà nẵng |  | TT KSBT Tp.Đà Nẵng |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Quảng Nam |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Quảng Ngãi | Lý Sơn |  | TTYT H. Lý Sơn |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Bình Định |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Phú Yên | Tây Hòa |  | TTYT Tây Hòa |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Khánh Hòa |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Bình Thuận | La Gi |  | TTYT H.La Gi |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Tánh Linh |  | TTYT H.Tánh Linh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Gia Lai | An Khê |  | TTYT H.An Khê |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Pleiku |  | TTYT TP.Plei Ku |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
TP. Hồ Chí Minh | Quận 3 |  | TTYT Quận 3 |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Quận 4 |  | TTYT Quận 4 |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Tiền Giang | Gò Công Đông |  | TTYT H.Gò Công Đông |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Long An | Thủ Thừa |  | TTYT H.Thủ Thừa |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Lâm Đồng | Cát Tiên |  | TTYT H.Cát Tiên |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Cần Thơ | TP. Cần Thơ |  | TT KSBT Tp.Cần Thơ |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| VĨnh Thạnh |  | TTYT H.Vĩnh Thạnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Ô Môn |  | TTYT Quận Ô Môn |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Bến Tre | Mỏ Cầy Nam |  | TTYT H.Mỏ Cày Nam |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Thạnh Phú |  | TTYT Thạnh Phú |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Vĩnh Long | TP. Vĩnh Long |  | TTYT Tp.Vĩnh Long |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Măng Thít |  | TTYT H.Măng Thít |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Đồng Tháp | TP. Sa Đéc |  | TTYT Tp Sa Đéc |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Hồng Ngự |  | TTYT H. Hồng Ngự |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
BÌnh Dương |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Thuận An |  | TTYT H.Thuận An |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Bình Phước |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Kiên Giang |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 2 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Kiên Lương |  | TTYT H.Kiên Lương |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Cà Mau |  |  | TT KSBT tỉnh |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
| Năm Căn |  | TTYT H.Năm Căn |  |  | Extension_Electric | B Medical | TCW4000AC | Refrigerator | On-grid | 240L | 1 | Yes | <10km | Fully Paved | No special access need | No | No | No data | No data | Concrete | Yes |  |  |  |  | 220V | 2
Hà Nội |  |  | Viện VSDTTW | [8 empty] | 2
Cộng | [11 empty] | 80

## Validation (hidden)
Validation List
Refrigerator | SDD | <30 | Boat | Roof mount | Yes | Fully Paved | Steel | 100V | A
Freezer | On-grid | ≥30, <60L | River Crossing | Pole mount | No | Partially Paved | Straw | 110V | B
Combined Refrig./Freezer |  | ≥60, <90L | Footpath Access Only | Ground mount |  | Dirt Road (Good Quality) | Concrete | 115V | C
|  | ≥90, <120L | OTHER |  |  | Dirt Road (Rough) | Tiles | 120V | D
|  | ≥120L | No special access need |  |  |  |  | 127V | E
[8 empty] | 220V | F
[8 empty] | 230V | G
[8 empty] | 240V | H
I
J
K
L
M
N

## PMT Contact Details
Project Management Team (as endorsed by the ICC)
Function | Name | Organisation | Email | Mobile
Chairperson | Đặng Đức Anh - Viện trưởng | NIHE
Member | Dương Thị Hồng - Phó Viện trưởng | NIHE
Member | Nguyễn Quang - Trưởng phòng HCVT | NIHE |  | 84 24 39721334

## Customs (hidden)
Local Customs Documentation & Requirements
Activity | Information required | PMT inputs
Customs Clearance Process | Clearly define the customs clearance process in your country. Please be as detailed as possible
Clearance Documentation | Identify the customs documentation required to import cold chain equipment, including pre-clearance & pre-import permits
Import Waivers | Indicate and attach all customs and duty waivers required to import CCE OP equipment
Tax clearance | Attach the tax clearance from Ministry of Finance to import CCE OP equipment (including VAT or any other tax)
Duty Stamps & Fees | Indicate which duty stamps and any other taxes or fees that need to be paid upon clearance and indicate source of funding
Warehousing | Indicate whether customs can provide warehousing for CCE at no charge
Clearing Agent Fees | Indicate that MoH has budgeted for this and assigned a clearing agent
Demurrage,detention or port/terminal storage charges | Charges related to this are for governments account. PMT to indicate that they have made the necessary authorities aware of the project and taken all steps to mititgate risk and unnecessary charges

## Deviation Protocol (hidden)
DEVIATION PROTOCOL
AUTHORITY & COMMUNICATION
Province | District | Officer Designated to authorise changes in installation sites | Designated Officers Mobile Number | Designated Officers Email Address
RISK MANAGEMENT FRAMEWORK
Risk | Probability | Impact | Management Strategy
Customs clearance documentation not in place | Medium | High | Liaise with Customs Officials and ensure all documentation is in place
Clearing agent not assigned | Medium | High | Liaise with MoH and ensure a clearing agent is assigned before arrival of goods
Goods damaged/stolen in transit | Low | High | Insure goods & advise on routes that are low risk
CCE deployed to incorrect site | Medium | High | Ensure submission of an accurate deployment plan
Site inaccessible | Medium | High | Ensure submission of an accurate deployment plan
Site in a security compromised area | Medium | High | Ensure submission of an accurate deployment plan
Equipment delivered after hours | Low | Medium | Liaise with vendor on operating hours of facilities
Facility closed when CCE delivered | Low | High | Liaise with vendor on operating hours of facilities
Appropriate staff not available for training | Medium | High | Ensure HWs are aware of when vendors will be doing the installation & training
Roofing cannot hold solar panels (SDDs) | Medium | High | Ensure a quality HF assessment
No electrical sockets available (ILRs) | Medium | High | Ensure a quality HF assessment
Site already has a functional vaccine refrigerator | Low | High | Ensure a quality HF assessment