## KITCHOLERA KITS 2020 structure
The revised cholera kits 2020 are designed to help prepare for a potential cholera outbreak and to support the first month of the initial response to an outbreak.
CHOLERA KITS 2020
KMEDCHOKA1---A1 | KIT, CHOLERA CENTRAL REFERENCE (1), complete
KMEDCHOMA11--A1 | (kit cholera central) MODULE, DRUGS (1.1)
KMEDCHOMA12--A1 | (kit cholera central) MODULE, RENEWABLE SUPPLIES (1.2)
KMEDCHOMA13--A1 | (kit cholera central) MODULE, EQUIPMENT (1.3)
KMEDCHOMA14--A1 | (kit cholera central) MODULE, LOGISTIC (1.4)
KMEDCHOKA2---A1 | KIT, CHOLERA PERIPHERY (2), complete
KMEDCHOMA21--A1 | (kit cholera periphery) MODULE, DRUGS (2.1)
KMEDCHOMA22--A1 | (kit cholera periphery) MODULE, RENEWABLE SUPPLIES (2.2)
KMEDCHOMA23--A1 | (kit cholera periphery) MODULE, EQUIPMENT (2.3)
KMEDCHOMA24--A1 | (kit cholera periphery) MODULE, LOGISTIC (2.4)
KMEDCHOKA3---A1 | KIT, CHOLERA COMMUNITY (3), complete
KMEDCHOMA31--A1 | (kit cholera community) MODULE, DRUGS (3.1)
KMEDCHOMA32--A1 | (kit cholera community) MODULE, ORP COMMUNITY BASED CARE (3.2)
KMEDMGLU300TLA1 | GLUCOMTER MODULE , 300 tests&lancets
KMEDCHOKA4---A1 | KIT, CHOLERA LABORATORY (4), checklist, 100 samples, complete
KMEDCHOKA5---A1 | KIT, CHOLERA INVESTIGATION (5), complete
KMEDCHOKA6---A1 | KIT, CHOLERA HARDWARE (6), complete
KMEDCHOMA61--A1 | (kit cholera hardware) MODULE, SHELTER (6.1)
KMEDCHOMA62--A1 | (kit cholera hardware) MODULE, WATER (6.2)
KMEDCHOMA63--A1 | (kit cholera hardware) MODULE, SANITATION (6.3)
KMEDCHOMA64--A1 | (kit cholera hardware) MODULE, SUPPORT (6.4)
KMEDCHOMA65--A1 | (kit cholera hardware) MODULE, FENCING (6.5)
KMEDCHOMA66--A1 | (kit cholera hardware) MODULE, MOTOR PUMP (6.6)
KMEDCHOMA67--A1 | (kit cholera hardware) MODULE, WATER TOOL BOX, BASIC (6.7)

## Cholera 2020 Central Complete
| KIT, CHOLERA CENTRAL REFERENCE (1), complete | KMEDCHOKA1---A1
# | Item description | Presentation | Quantity
CENTRAL DRUGS MODULE 1.1
1 | Azithromycin powder for suspension 200mg/5ml, 15-30ml | bottle | 16
2 | Compound solution of sodium lactate (Ringer's lactate), injection solution,(with IV set and needle) 500ml | bag | 1280
3 | Doxycycline single dose 100mg | tablets | 300
4 | Glucose 5%, injection solution (with IV giving set and needle) 500 ml | bag | 20
5 | Glucose 50%, injection solution (hypertonic) 50 ml/vial | vials | 10
6 | ORS (oral rehydration salts) sachet for 1 litre | sachets | 1000
7 | Paracetamol (acetaminophen), 100 mg, dispersible tablet, blsiters | dispersable tablets | 100
8 | Paracetamol (acetaminophen), 500 mg, tab, blisters | tablets | 200
9 | Polyvidone iodine 10%, bottle bottle of 200ml | bottles | 5
10 | Potassium chloride 100 mg/ml, 10 mg | amp | 50
11 | Water purification tablet (NaDCC 67 mg) | tablet | 2800
12 | Zinc sulphate, dispersible tablets 20mg , blisters | tablet | 300
13 | Pill cuter ( plastic ) | unit | 1
14 | Flash drive | unit | 1
| Premade forms on how to assess hydration state (French and English) | unit | 1
| Standard premade charts with rehydration protocols (French and English) | unit | 1
# | Item description | Presentation | Quantity
CENTRAL RENEWABLE SUPPLIES MODULE 1.2
15 | Bag, urine, collecting 2000ml+C31:E71 | unit | 50
16 | Cannula, IV short, 14G, (1.7 x 55mm), sterile, single-use | unit | 50
17 | Cannula, IV short, 16G, (1.7 x 55mm), sterile, single-use | unit | 50
18 | Cannula, IV short, 18G, (1.3 x 45 mm), sterile, single-use | unit | 50
19 | Cannula, IV short, 20G, (0.8 x 25 mm), sterile, single-use | unit | 50
20 | Cannula, IV short, 22G, (0.8 x 25 mm), sterile, single-use | unit | 50
21 | Cannula, IV short, 24G, (0.7 x 19 mm), sterile, single-use | unit | 50
22 | Catheter, urethral, Foley, 2-way, 12 Fr, sterile, single use | unit | 10
23 | Catheter, urethral, Foley, 2-way, 14 Fr, sterile, single use | unit | 10
24 | Catheter, urethral, Foley, 2-way, 16 Fr, sterile, single use | unit | 10
25 | Catheter, urethral, Foley, 2-way, 18 Fr, sterile, single use | unit | 10
26 | Compress, gauze, 10x10cm, non-sterile | unit | 300
27 | Cotton wool 500g, roll, non-sterile | unit | 5
28 | CultureSwab, Cary-Blair Agar, single swab. | unit | 10
29 | Extension Tubing with stopcock 3 way, s.u., sterile | unit | 400
30 | Faeces collection container, 125ml with a screw cup | unit | 10
31 | Foil wrap, 220x160cm, rescue blanket, | unit | 30
32 | Gauze bandage, 8cm x 4m, individually packed. | unit | 24
33 | Gloves, examination, nytril, large, single-use | unit | 400
34 | Gloves, examination, nytril, medium, single-use | unit | 700
35 | Gloves, examination, nytril, small, single-use | unit | 400
36 | Gloves, surgical, 6.5, sterile, single-use | unit | 50
37 | Gloves, surgical, 7.5, sterile, single-use | unit | 50
38 | Gloves, surgical, 8.5, sterile, single-use | unit | 50
| Lancet, blood, sterile, disposable, 23G to 26G | unit | 200 | into Glucometer module
40 | Needle, scalp vein, 21G (0.8 x 19 mm), sterile, single-use | unit | 25
41 | Needle, scalp vein, 25G (0.5 x 19 mm), sterile, single-use | unit | 25
42 | Safety box for used syringes/needles, 5 litres | unit | 4
43 | Soap, toilet, bar approximately 110g, wrapped | unit | 50
44 | Syringe, feeding, 50 ml, Luer tip, sterile | unit | 50
45 | Syringe, single-use, 10 ml, sterile | unit | 100
46 | Tape adhesive, zinc oxide, 2.5 cm x 5 m | unit | 20
47 | Tape adhesive, zinc oxide, 5cm x 5 m | unit | 20
48 | Tongue depressor, wooden, disposable | unit | 100
49 | Tube, gastric,conical tip, ± 110 cm, s.u., CH 12 | unit | 10
50 | Tube, gastric, conical tip, ± 110 cm, s.u., CH06 | unit | 5
51 | Tube, gastric, conical tip, ± 110 cm, s.u., CH08 | unit | 5
52 | Tube, gastric,conical tip, ± 110 cm, s.u., CH10 | unit | 10
53 | Tube, gastric, conical tip, ± 110 cm, s.u., CH18 | unit | 3
54 | Tube, gastric, conical tip, ± 110 cm, s.u., CH16 | unit | 10
55 | Tube, gastric, dble chann. (Salem) conical, 90-125 cm s.u. CH10 | unit | 3
56 | Tube, gastric, dble chann. (Salem) conical, 90-125 cm s.u. CH16 | unit | 3
57 | Notebook for transmission (shifts) | unit | 5
58 | Pens | unit | 10
59 | Calculator (solar) | unit | 1
60 | Marker, permanent | unit | 10
61 | Register book | unit | 1
62 | Cadaver bag, adult size 220x80cm, extra strong quality with 4/6 handles,suitable for dragging, with zip on lateral side, white colour. (300 microns) unit 5 | unit | 5
63 | Cadaver bag, child size 150x100cm, extra strong quality with 4/ 6 handles,suitable for dragging, with zip on lateral side, white colour. (300 microns) | unit | 2
64 | Razor, safety, single use | unit | 10
65 | Patients cards | unit | 100
CENTRAL EQUIPMENT MODULE 1.3
66 | Basin, kidney, stainless steel, 825ml | unit | 2
67 | Brush, hand, scrubbing, plastic | unit | 5
68 | Forceps, artery, Kocher, 140 mm, straight | unit | 2
| Glucometer including starter kit with 100 glucose test strips. | unit | 1 | into Glucometer module
69 | scale, electronic, mother-and-child, 150kg x 100g | unit | 1
70 | scale,infant spring (only), 25kg x 100g | unit | 1
71 | Scissors, Deaver, 140 mm, straight, sharp/blunt | unit | 2
72 | Sphygmomanometer, (adult) , aneroid | unit | 4
73 | Sphygmomanometer, aneroid, with paediatric cuffs | unit | 2
74 | Stethoscope, binaural, double cup, adult/child | unit | 4
75 | Thermometer, clinical, armpit, digital, 32-43 °C, 0.1 °C, with case | unit | 5
76 | Tourniquet, latex rubber, 50 to 75 cm | unit | 5
77 | Tray, dressing, stainless steel, 300 mm x 200 mm x 30 mm | unit | 5
CENTRAL LOGISTICS MODULE 1.4
78 | Basin to collect water (Bucket, 14 l, food grade plastic, stackable) | unit | 4
79 | Buckets graduated on the inside of 12 L ( 3 per bed) | unit | 90
80 | Disinfectant (NaDCC) 1kg container - granules, pot, dihydrate form, 55-57% | unit | 10
81 | Plastic cups 250 ml, plastic, graduated, with handle | unit | 25
82 | Plastic plates Ø22cm ,plate deep,food grade plastic, | unit | 25
83 | Apron,reusable,heavy duty non-woven apron, | unit | 20
84 | boots, rubber - large | unit | 2
85 | boots, rubber - medium | unit | 2
86 | boots, rubber - small | unit | 1
87 | Cholera Bed with 7" hole in the nylon deck, size open 66cm x 183cm x 38cm | unit | 10
88 | Drum of 125l with cover for chlorine solutions + valves with 2 side handles, lid,tap | unit | 3
89 | Jerry can of 10l with tap for desinfection (Collapsible) | unit | 16
90 | Jerry can of 10l with tap for ORS (Collapsible) | unit | 8
91 | Lamps (solar charging or power device) | unit | 12
92 | Loincloth | unit | 20
93 | Mop without handle | unit | 4
94 | Plastic dustbin with cover | unit | 8
95 | Plastic safety net - 1m high, NET, BOUNDARY MARKING, 1 x 50 m, | roll | 3
96 | Plastic spoons 15 ml | unit | 25
97 | Rope (for hanging infusion bags and medical files) x 100m | unit | 2
98 | Rubber gloves (pair) | unit | 20
99 | Scrubs (trousers and shirt) - large, , reusable, | unit | 10
100 | Scrubs (trousers and shirt) - medium, reusable, | unit | 15
101 | Scrubs (trousers and shirt) - small, reusable, | unit | 5
102 | Sprayer 12 L | unit | 6
103 | Tester, pool tester kit, Including : - (pool tester) 200 tablets Chlorine test tablets DPD1 - (pool tester) 20 Chlorine test tablets DPD3 - (pool tester) Phenol red tablets, for chlorine testing - (pool tester) Use Instructions english, french | unit | 2
104 | Yellow biohazard incineration bags 90x70cm | unit | 100
| Flash drive content | fash drive included in box # 1 of the drug module
Information note (English & French)
UNICEF Cholera Toolkit (French and English)
Premade forms on how to assess hydration state (French and English)
Standard premade charts with rehydration protocols (French and English)
IEC materials (flipchart) from UNICEF
IEC materials (information poster) from UNICEF

## Cholera 2020 Periph. Complete
| KIT, CHOLERA PERIPHERY (2), complete | KMEDCHOKA2---A1
# | Item description | Presentation | Quantity
PERIFERAL DRUGS MODULE 2.1
1 | Azithromycin powder for suspension 200mg/5ml 15 or 30ml | bottle | 8
2 | Compound solution of sodium lactate (Ringer's lactate), injection solution,(with IV set and needle) 500ml | bag/bottle | 640
3 | Doxycycline 100mg tablets, | tablets | 300
4 | Glucose 5%, injection solution (with IV giving set and needle) 500 ml | bag/bottle | 20
5 | ORS (oral rehydration salts) sachet for 1litre | sachet | 1000
6 | Paracetamol (acetaminophen), 100 mg, dispersible tablet, blsiters | tablets | 100
7 | Paracetamol (acetaminophen), 500 mg, tab, blisters | tablets | 200
8 | Polyvidone iodine 10% bottle of 200ml | bottle | 5
9 | Water purification tablets (NaDCC 67 mg) tablet | tablets | 2800
10 | Zinc sulphate, dispersible tablets 20mg tablet (blister ) | tablets | 300
11 | Pill cuter ( plastic ) | unit | 1
12 | Flash drive | unit | 1
# | Item description | Presentation | Quantity
PERIPHERY RENEWABLE SUPPLIES MODULE 2.2
13 | Bag, urine, collecting, 2000ml | unit | 30
14 | Cannula, IV short, 16G, (1.7 x 55mm), sterile, single-use | unit | 50
15 | Cannula, IV short, 18G, (1.3 x 45 mm), sterile, single-use | unit | 50
16 | Cannula, IV short, 22G, (0.8 x 25 mm), sterile, single-use | unit | 50
17 | Cannula, IV short, 24G, (0.7 x 19 mm), sterile, single-use | unit | 50
18 | Catheter, urethral, Foley, 2-way, 12 Fr, sterile, single use | unit | 10
19 | Catheter, urethral, Foley, 2-way, 14 Fr, sterile, single use | unit | 10
20 | Catheter, urethral, Foley, 2-way, 16 Fr, sterile, single use | unit | 10
21 | Catheter, urethral, Foley, 2-way, 18 Fr, sterile, single use | unit | 10
22 | Compress, gauze, 10x10cm, non-sterile. | unit | 300
23 | Cotton wool 500g, roll, non-sterile | unit | 5
24 | Culture Swab, Cary-Blair Agar, single swab. | unit | 10
25 | Faeces collection container, 125ml with a screw cup | unit | 10
26 | Foil wrap, 220x160cm, rescue blanket, | unit | 10
27 | Gauze bandage, 8cm x 4m, individually packed. | unit | 24
28 | Gloves, examination, nytril, large, single-use | unit | 400
29 | Gloves, examination, nytril, medium, single-use | unit | 700
30 | Gloves, examination, nytril, small, single-use | unit | 400
31 | Gloves, surgical, 6.5, sterile, single-use | unit | 50
32 | Gloves, surgical, 7.5, sterile, single-use | unit | 50
33 | Gloves, surgical, 8.5, sterile, single-use | unit | 50
34 | Needle, scalp vein, 21G (0.8 x 19 mm), sterile, single-use | unit | 25
35 | Needle, scalp vein, 25G (0.5 x 19 mm), sterile, single-use | unit | 25
36 | Safety box for used syringes/needles, 5 litres | unit | 4
37 | Soap, toilet, bar approximately 110g, wrapped | unit | 50
38 | Stopcock, 3-way, sterile, single-use | unit | 200
39 | Syringe, feeding, 50 ml, catheter tip, sterile | unit | 20
40 | Syringe, feeding, 50 ml, Luer tip, sterile | unit | 20
41 | Syringe, single-use, 10 ml, sterile | unit | 100
42 | Tape adhesive, zinc oxide, 2.5 cm x 5 m | unit | 20
43 | Tape adhesive, zinc oxide, 5 cm x 5 m | unit | 10
44 | tongue depressor ( wood) | unit | 100
45 | Tube, feeding, CH16, L40 cm, Luer tip, sterile, single-use | unit | 3
46 | Tube, gastric, conical tip, ± 110 cm, s.u., CH 12 | unit | 5
47 | Tube, gastric, conical tip, ± 110 cm, s.u., CH16 | unit | 5
48 | Tube, gastric, dble chann. (Salem) conical, 90-125 cm s.u. CH10 | unit | 2
49 | Tube, gastric,, conical tip, ± 110 cm, s.u., CH10 | unit | 5
50 | Tube, gastric,, conical tip, ± 110 cm, s.u., CH18 | unit | 5
51 | Tube, gastric,, dble chann. (Salem) conical, 90-125 cm s.u. CH16 | unit | 2
52 | Tube, gastric,conical tip, ± 110 cm, s.u., CH08 | unit | 2
53 | Notebook for transmission (shifts) | unit | 5
54 | Pens | unit | 10
55 | Calculator (solar) | unit | 1
56 | Marker, permanent | unit | 10
57 | Register book | unit | 1
58 | Patients cards | unit | 100
59 | Cadaver bag, adult size 220x80cm, extra strong quality with 4/6 handles,suitable for dragging, with zip on lateral side, white colour. (300 microns) unit 5 | unit | 5
60 | Cadaver bag, child size 150x100cm, extra strong quality with 4/ 6 handles,suitable for dragging, with zip on lateral side, white colour. (300 microns) | unit | 2
61 | Razor, safety, single use unit 10 | unit | 10
PERIPHERY EQUIPMENT MODULE 2.3
62 | Brush, hand, scrubbing, plastic unit 2 | unit | 2
63 | Stethoscope, binaural, double cup, adult/child | unit | 2
64 | Basin, kidney, stainless steel, 825ml | unit | 2
65 | Scissors, Deaver, 140 mm, straight, sharp/blunt unit 2 | unit | 2
66 | Forceps, artery, Kocher, 140 mm, straight unit 2 | unit | 2
| Glucometer including starter kit with 100 glucose test strips. | unit | 1 | into Glucometer module
67 | scale, infant spring (only), 25kg x 100g | unit | 1
68 | scale, electronic, mother-and-child, 150kg x 100g | unit | 1
69 | Sphygmomanometer, (adult) , aneroid | unit | 2
70 | Sphygmomanometer, aneroid, with paediatric cuffs | unit | 1
71 | Stethoscope, binaural, double cup, adult/child | unit | 2
72 | Thermometer, clinical, digital, 32-43 celcius unit 5 | unit | 5
73 | Tourniquet, latex rubber, 75 cm unit 5 | unit | 5
74 | Tray, dressing, stainless steel, 300 mm x 200 mm x 30 mm | unit | 5
PERIPHERY LOGISTICS MODULE 2.4
75 | Cholera Bed with 7" hole in the nylon deck, size open 66cm x 183cm x 38cm | unit | 5
76 | Jerry can of 10l with tap for desinfection (Collapsible) | unit | 16
77 | Drum of 125l with cover for chlorine solutions + valves with 2 side handles, lid,tap | unit | 3
78 | Jerry can of 10l with tap for ORS (Collapsible) | unit | 8
79 | Rope (for hanging infusion bags and medical files) x 100m | unit | 2
80 | Mop without handle | unit | 4
81 | Plastic dustbin with cover | unit | 8
82 | Rubber gloves (pair) | unit | 20
83 | Basin to collect water (Bucket, 14 l, food grade plastic, stackable) | unit | 4
84 | Plastic cups 250 ml, plastic, graduated, with handle | unit | 25
85 | Plastic plates Ø22cm ,plate deep,food grade plastic, | unit | 25
86 | Plastic spoons 15 ml | unit | 25
87 | Buckets graduated on the inside of 12 L ( 3 per bed) | unit | 45
88 | Blanket, survival, 220x140cm | unit | 30
89 | Loincloth | unit | 20
90 | Disinfectant (NaDCC) 1kg container - granules, pot, dihydrate form, 55-57% | unit | 5
91 | Apron,reusable,heavy duty non-woven apron, | unit | 10
92 | Sprayer 12 L, IK 12 BS | unit | 6
93 | Plastic safety net - 1m high, NET, BOUNDARY MARKING, 1 x 50 m, | roll | 3
94 | Tester, pool tester kit, Including : - (pool tester) 200 tablets Chlorine test tablets DPD1 - (pool tester) 20 Chlorine test tablets DPD3 - (pool tester) Phenol red tablets, for chlorine testing - (pool tester) Use Instructions english, french | unit | 2
95 | boots, rubber - small | unit | 1
96 | boots, rubber - medium | unit | 2
97 | boots, rubber - large | unit | 2
98 | Scrubs (trousers and shirt) - small, reusable, | unit | 5
99 | Scrubs (trousers and shirt) - medium, reusable, | unit | 10
100 | Scrubs (trousers and shirt) - large, , reusable, | unit | 5
101 | Yellow biohazard incineration bags 90x70cm | unit | 100
102 | Lamps (solar charging or power device) | unit | 4
| Flash drive content | fash drive included in box # 1 of the drug module
Information note (English & French)
UNICEF Cholera Toolkit (French and English)
Premade forms on how to assess hydration state (French and English)
Standard premade charts with rehydration protocols (French and English)
IEC materials (flipchart) from UNICEF
IEC materials (information poster) from UNICEF

## Cholera 2020 Comm. Complete
| KIT, CHOLERA COMMUNITY (3), complete | KMEDCHOKA3---A1
# | Item description | Presentation | Quantity
COMMUNITY DRUGS MODULE 3.1
1 | ORS (oral rehydration salts) sachet 1000 sachets | sachets | 1000
2 | Zinc sulphate, dispersible tablets 20mg tablet 300 tablets ( blister) | tablets | 300
3 | Water purification tablet (NaDCC 67 mg) tablet | unit | 400
4 | Flash drive | unit | 1
| ORP community volunteer guideline - Epidemic Control for Volunteers each 1 | unit | 1
| Premade forms on how to assess hydration state (French and English) unit 1 | unit | 1
| Standard premade charts with rehydration protocols (French and English) unit 1 | unit | 1
# | Item description | Presentation | Quantity
ORP kit community based care 3.2
5 | Brush, scrubbing, hand brush | unit | 2
6 | Bucket, plastic, 14L with clip cover and outlet tap (Oxfam type) | unit | 7
7 | Cup plastic 500 ml, without handle | unit | 40
8 | Garbage bag (black) - 60 liters | unit | 100
9 | Glove, for washing dishes, rubber, pair, size M | unit | 5
10 | Gloves, examination, nitryl, medium, single-use | unit | 200
11 | Jerrican, foldable, 10 L, food grade plastic, screw cap 50mm | unit | 4
12 | Jug, plastic 1L with beak and handle | unit | 5
13 | Notebook, A5 hard cover unit 1 | unit | 2
14 | Pen, ball point blue unit 5 | unit | 1
15 | Plastic casing ceramic filter (fairey) | unit | 1
16 | Plastic cups 250 ml - multi-use , plastic, graduated, with handle | unit | 40
17 | Plastic spoons - multi-use, Spoon, soup, food plastic grade, 15 ml | unit | 20
18 | Rope, nylon, diam. 3mm, braided, 5 meters | unit | 2
19 | Soap, toilet, bar approximately 110g, wrapped 100g | unit | 10
20 | Spoon, wooden, stirring, 30cm | unit | 2
21 | Syringe, single-use, 10 ml, sterile | unit | 100
| Flash drive content | fash drive included in box # 1 of the drug module
Information note (English & French)
UNICEF Cholera Toolkit (French and English)
Premade forms on how to assess hydration state (French and English)
Standard premade charts with rehydration protocols (French and English)
IEC materials (flipchart) from UNICEF
IEC materials (information poster) from UNICEF

## Glucometer module
Module Glucometer, 300 tests & lancets
# | Item description | Presentation | Quantity
1 | Blood glucose meter | unit | 1
2 | Glucose control solution low (calibration) | unit | 1
3 | Glucose control solution high (calibration) | unit | 1
4 | Blood glucose stips | unit | 300
5 | Lancet pen device | unit | 1
6 | Lancets | unit | 300

## Cholera Kit Labo 2020
| KIT, CHOLERA LABORATORY (4), checklist, 100 samples, complete | KMEDCHOKA4---A1
# | Item description | Presentation | Quantity
Cholera laboratory kit 2020
1 | Alcaline Peptone Water (APW), 500mg | 500g | 1
2 | Thiosulfate-Citrate-Bile Salts-Sucrose (TCBS) Medium, 500 g | 500g | 4
3 | Tripticase Soy Agar (TSA) | 500g | 2
4 | Vibrio Cholerae Antisera 01 Polyvalent As (O1), 2 ml | 2ml | 4
5 | Vibrio Cholerae Antisera O139 Bengal, 2 ml | 2ml | 2
6 | Vibrio Cholerae Antisera O1 Inaba , 2ml | 2ml | 2
7 | Vibrio Cholerae Antisera O1 Ogawa, 2ml | 2ml | 2
8 | Mueller Hinton | 500g | 1
9 | Non impregnated paper disks | pack of 1000 | 1
10 | Sodium chloride 0.9%, 10ml plastic ampoules BP | 10 ml | 100
11 | Oxydase reagent 0.5ml | unit | 50
12 | Inoculation loop 1µl, white, sterile, | unit | 1000
13 | McFarland Standard 0.5, single tube | unit | 1
14 | Stock Culture Agar tubes of 3 ml | tube | 50
15 | Gloves, examination, nitrile, powder-free, large, non-sterile, single use | unit | 100
16 | Gloves, examination, nitrile, powder-free, medium, non-sterile, single use | unit | 100
17 | Dressing forceps, 13cm, spring type, serrated rounded tips, stainless steel grade | unit | 1
18 | Antibiotic disks
18.1 | Tetracycline, disk 30 μg | Cartridge of 50 discs | 1
18.2 | Azithromycin, ETEST® AZ 256 | pack of 30 | 1
18.3 | Trimethoprim/Sulfamethoxazole 1.25 + 23.75 μg | Cartridge of 50 discs | 1
18.4 | Ciprofloxacin, ETEST® CI 32 | pack of 30 | 1
18.5 | Nalidixic acid | Cartridge of 50 discs | 1
19 | Data logger |  | 1

## Cholera Investigation kit 2020
| KIT, CHOLERA INVESTIGATION (5), complete | KMEDCHOKA5---A1
# | Item description | Presentation | Quantity
Cholera Investigation kit 2020
1 | Applicator, 150x2.2mm, wooden stick, cotton tip. | unit | 10
2 | BAG, plastic, 10 cm x 10 cm | unit | 10
3 | Dressing forceps, 13cm, spring type, serrated rounded tips, stainless steel grade | unit | 1
4 | Faeces container, 60ml, diam 39mm, with a screw cap and spoon | unit | 10
5 | Filter paper, disk, not impregnated, Ø 6 mm | unit | 10
6 | Gloves, examination, nitrile, powder-free, large, non-sterile, single use | unit | 100
7 | Gloves, examination, nitrile, powder-free, medium, non-sterile, single use | unit | 100
8 | Microtubes, 2ml, PP, flat, assembled cap, sterile | unit | 10
9 | Notebook, A5 hard cover | unit | 1
10 | Packagings for biological substances, category B (UN 3373) ( biopack II) | unit | 5
11 | Patient information note (ID card) | unit | 10
12 | Permanent marker ink (with fine tip) | unit | 1
13 | Rapid Diagnostic Test cholera | unit | 20
14 | Sodium chloride 0.9%, 10ml plastic ampoules BP | unit | 50
15 | Specimen collection swab, Cary-Blair Agar, single swab | unit | 10
16 | Parafilm tape roll | unit | 1

## Cholera 2020 Hardware
| KIT, CHOLERA HARDWARE (6), complete | KMEDCHOKA6---A1
# | Item description | Presentation | Quantity
Shelter module 6.1
1 | TENT MULTIPURPOSE, 42m2, galvanized frame, groundsh., +acc | unit | 3
2 | TENT MULTIPURPOSE, 24m2, galvanized frame, groundsh., +acc | unit | 2
Water Module 6.2
3 | Kit water tank, 5 m3, flexible 1 acc.2"DIN50 | unit | 4
4 | Module, water distribution, 2 ramps x 6 tap | unit | 3
5 | Module additional hoses, 2" DIN 50 + coupling | unit | 3
6 | Tester, pool tester kit, Including : - (pool tester) 200 tablets Chlorine test tablets DPD1 - (pool tester) 20 Chlorine test tablets DPD3 - (pool tester) Phenol red tablets, for chlorine testing - (pool tester) Use Instructions english, french | unit | 2
Sanitation Module 6.3
7 | Squatting plate, 80 x 120cm, model plastic + cover | unit | 6
8 | Plastic sheeting, white/white, 6 bands, roll 4m (high) x 60m | unit | 3
9 | Yellow biohazard incineration bags 90x70cm | unit | 100
Support Module 6.4
10 | Cholera Bed with 7" hole in the nylon deck, size open 66cm x 183cm x 38cm | unit | 15
11 | Solar lamps | unit | 25
Fencing Module 6.5
12 | Plastic sheeting, white/white, 6 bands, roll 4 x 60cm | unit | 5
Motor Pump Module 6.6
13 | Motor pump Petrol, 30 m³/h, 30m HMT | unit | 1
14 | (mod. petrol motor pump, 30m³/h) TOOLS + ACCESSORIE | unit | 1
Water tool box , basic, Module 6.7
15 | (cutter 844.D) BLADES trapezoidal, 10 pcs, 844.TRL10 | unit | 2
16 | (hacksaw frame) BLADE, 300mm, HSS, for steel, 10 pc, 668B.10 | unit | 1
17 | (symmetrical half-coupling) GASKET, 2" | unit | 20
18 | (symmetrical half-coupling) GASKET, 3" | unit | 20
19 | (vernier) TUBE EXTENSION | unit | 1
20 | ADJUSTABLE WRENCH, chromed, 12", max 34mm, 306mm, 113A.12C | unit | 2
21 | BAND CLIP high pressure, Ø 51-55mm, simple tightening | unit | 5
22 | BAND CLIP high pressure, Ø 56-59mm, simple tightening | unit | 5
23 | BAND CLIP high pressure, Ø 80-85mm, simple tightening | unit | 10
24 | CHAIN WRENCH double effect, 2"-4", for pipe, 136A.2 | unit | 1
25 | CHISEL flat, constant-profile, 200x24mm, for stone, 263.20 | unit | 1
26 | CLOTH, cotton, for workshop, per kg | unit | 1
27 | COMBINATION PLIERS, 185mm, sheathed, 187.18CPE | unit | 2
28 | CUTTER automatic reload, for 18mm snap-off blades, 844.S18 | unit | 2
29 | EMERY CLOTH, grit 80/120/180, 12 sheets | unit | 1
30 | END NIPPER heavy-duty, 220mm, 495A.22EL | unit | 2
31 | FILE half-round, handle, 250mm, for metal, DRD.MD250EMA | unit | 1
32 | GLOVES heavy duty, leather protection, pair | unit | 2
33 | HACKSAW FRAME horizontal wood handle, 300mm, 599 | unit | 1
34 | HAVERSACK navy type, textile | unit | 2
35 | HOOK SPANNER, 2"-3", for Guillemin coupling | unit | 4
36 | KARABINER no eye, 60mm | unit | 3
37 | KNIFE type Opinel, foldable, with locking mechanism | unit | 2
38 | MASTIC SILICONE, 100g, tube | unit | 2
39 | MULTIGRIP PLIERS, opening 46mm, standard, 170A | unit | 2
40 | OPEN-SOCKET WRENCH 6x6 point 90°, 10mm, metric, 75.10 | unit | 2
41 | OPEN-SOCKET WRENCH 6x6 point 90°, 13mm, metric, 75.13 | unit | 2
42 | PADLOCK, brass, 40mm + key | unit | 1
43 | PIPE WRENCH American, cast iron, max. Ø 3"½, 134A.24 | unit | 1
44 | PIPE WRENCH Stillson, steel, max. Ø 2"½, 131A.24 | unit | 1
45 | PIPE WRENCH Swedish S-jaws, max. Ø 2", 121A.2 | unit | 1
46 | RIVETING HAMMER, 32x32mm, 585g, 200H.32 | unit | 1
47 | SCREWDRIVER multiblade, 5,5mm/PH1 + 6,5mm/PH2 + 2 blade, AMS | unit | 2
48 | TAPE (Teflon) 19mmx15m, 0.2mm thick, roll | unit | 10
49 | TIE, plastic, 6x300mm, self-locking head | unit | 100
50 | TOOLBAG soft, 305x240x40mm | unit | 2
51 | TRUNK, metal, 60cm, 75l | unit | 1
52 | WIRE BRUSH, with handle | unit | 2
53 | WIRE, galvanised steel, Ø 1.1mm, roll of 50m | unit | 2

## Moto pomp tool s and accesories
# | Motor Pump Module 6.6 | UOM | Quantity
1 | ASSEMBLY gate valve, 2" + couplings + lock | unit | 1
2 | ASSEMBLY T-coupling, 2" + half-couplings + lock | unit | 1
3 | COMBINATION WRENCH offset 12 point, 10mm, metric, 41.10 | unit | 1
4 | COMBINATION WRENCH offset 12 point, 12mm, metric, 41.12 | unit | 1
5 | FOLLOW-UP CARD petrol, English, for pump/generator, sheet | unit | 1
6 | FUNNEL bended, Ø 200mm | unit | 1
7 | FUNNEL, Ø 120mm | unit | 1
8 | HOOK SPANNER, 2"-3", for Guillemin coupling | unit | 2
9 | JERRYCAN, plastic (non-foodgrade), 10l | unit | 1
10 | OPEN-SOCKET WRENCH 6x6 point 90°, 13mm, metric, 75.13 | unit | 1
11 | ROPE, polypropylene, Ø 5mm, twisted, per metre | unit | 20
12 | SCREWDRIVER Pozidriv, PZ1X75mm, isoryl, AD.1X75 | unit | 1
13 | SPIRAL HOSE, 2", NP6, 1.5m + 2 half-couplings + lock | unit | 1
14 | SPIRAL HOSE, 2", NP6, 8m + 2 half-couplings + lock | unit | 3
15 | STRAINER non-return, 2" ND50 + sieve | unit | 1
16 | TAPE (Teflon) 19mmx15m, 0.2mm thick, roll | unit | 5
17 | TOOLBAG soft, for vehicle | unit | 1