|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S/No** | **Item description** | **Minimum Acceptable Specifications** | **Quantity** | **UoM** | **Sample Picture**  (Only for demonstration purposes) |
| 1 | Cat 6 Cable | Cat 6 Utp (Unshielded Twisted Pair) Network Cable, Pure Copper - 305m | 8 | Roll | D-link Cat-6 Utp Cable - 305 M. |
| 2. | Electrical Cable | 2.5mm x 3 Core pure copper Flexible Wire - White | 1 | Roll | 2.5mmx3Core Flexible Wire - White. |
| 3. | Star head screws | Mild Steel M5 (5 mm) Star Screw, Size: 1.5 Inch Full Length (250 pcs per packet) | 1 | Pkt |  |
| 4. | Cable Ties (Tie-Wraps) Black | Medium size (100 Pcs pack) 200mm x 3.6mm | 2 | Pkt | product_image_name-JORDY ELE-SELF-LOCKING NYLON CABLE TIE, 4.8*300MM BLACK-1 |
| 5 | Cable Ties (Tie-Wraps) Black | Big size (100Pcs) pack 300mm x 4.8mm | 2 | Pkt | product_image_name-JORDY ELE-SELF-LOCKING NYLON CABLE TIE, 4.8*300MM BLACK-1 |
| 6 | Conduit pipes | 2 inches PVC Pressure Pipe (10ft x 2mm) | 30 | Pcs | PVC Pressure Pipe (Blue) |
| 7 | PVC elbow | 2 inches PVC Pressure Pipe Elbow | 12 | Pcs | PVC Tigre Elbow |
| 8 | Fischers/Screw plug | Fischers (size 8mm) (100 Pcs) | 5 | Pkt |  |
| 9 | Network Maintenance Tool Kit | Home Network Maintenance Tool Kit Portable Phone LAN Cable | 2 | Set | product_image_name-Generic-Home Network Maintenance Tool Kit Portable Phone LAN Cable-1 |
| 10 | Cement | Cement - 42.5 Grade-3x - 50kg. | 2 | Bag |  |
| 11 | Silicone gum + Caulking gun | Abro Rtv Silicone Sealant 1200 - White + Caulking gun | 1 | Pcs | Aquarium Glass & Multipurpose Transparent Silicon Gum With Pressing Gun |