## boq cra
Annex B: Financial Offer Form Reference RFQ/YEMSA/SUP/2024/11
Supply, Delivery, Installation, Commissioning and Startup of Solar Power System 6-7 KVA for NACRA, Sana'a - Yemen
All items prices with installation and delivery to NACRA Office in Sana'a (Price All inclusive)
no | Describtion of required items | Qty | Unit | Unit Price (USD) | Total (USD)
1 | Inverter Hybrid 6KW 48v High Voltage, Inverter, with Built in MPPT Solar charger min 120A, High PV Input Min 500v, Pure Sine Wave, Grid Interactive, PV Array support min 6KW, 220-240v single phase output, 50Hz, Parallel connection Capable | 1 | Ea.
2 | Solar Panels 560w, Min Efficiency 21%, Half Cell, Bifacial, PERC | 6 | Ea.
3 | Solar Base Steel, suitable for 560w panel, anti-rust paint | 6 | Ea.
4 | Batteries 2v, min 400Ah, OPzV Batteries, min Manufacturing date 2023 | 24 | Ea.
5 | Battries Rack to Support min 400Ah, 2v | 2 | Ea.
6 | Combiner Box Support two String, non-diode | 1 | Ea.
7 | Cable Solar DC 2*10mm | 30 | Mtr
8 | Cable Solar DC 1*35mm | 4 | Mtr
9 | Cable AC 4*4mm | 5 | Mtr
10 | Circuit Breaker 100A DC | 1 | Ea.
11 | Circuit Breaker 63A DC | 1 | Ea.
12 | Circuit Breaker 32A AC | 1 | Ea.
13 | Circuit Breaker 6A AC | 1 | Ea.
14 | ATS AC 63A | 1 | Ea.
15 | Accessories, connectors, circuit breaker box, trunk, pipes, conduits, isolation tapes, etc | 1 | Set
16 | Labour, Installation, and Transportation Cost | 1 | Srv.
Total (USD)
Complete the following:
Delivery Location: INCOTERM |  | DDP with installation to the NACRA Office in Sana'a (Price All inclusive)
Validity of Offer: |  | 90 Days
Project Implementation Timeline for the Supply,Delivery, Installation, Commissioning and Start up of Solar Power
Company Name:
Warranty: |  | 2 Years
Name & Title:
Email:
Tel/Mobile No. :
Company Stamp & Signature:
Date: