## Annex C- Technical Specs Form
ANNEX C: TECHNICAL SPECIFICATION FOR GENERATORS PER OFFICE LOCATION.
Location of Gensets
# | Generators Description | Sub Office Maiduguri (Qty) | Maiduguri warehouse (Qty) | Guesthouse Maiduguri | Field Office Yola (Qty) | TOTAL
1 | Perkins Gen | 0 | 0 | 1 | 0 | 1
Model: P110-3
KVA/KW 110/85
2 | Perkins Gen | 2 | 0 | 1 | 0 | 3
Model: P165-3
KVA/KW 110/85
3 | Perkins Gen | 1 | 0 | 1 | 0 | 2
Model: P65-3
KVA/KW: 55/ 45
4 | Perkins Gen | 0 | 1 | 0 | 1 | 2
Model: P13-3
KVA/KW 10/8
6 | Perkins Gen | 0 | 0 | 0 | 1 | 1
Model: P22-6
KVA/KW 22/17.6
7 | Perkins Gen | 0 | 0 | 0 | 1 | 1
Model: P50-6
KVA/KW 45/30
| TOTAL GENSETS | 3 | 1 | 3 | 3 | 10