Request for Quotation (RFQ) for Goods/Services

RFQ Goods- Supply ,Delivery of Medical Furniture & Laboratory Equipment – Multiple Cities in Yemen

- Item 1: Supply ,Delivery of Hospital Bed, Manual ,Multifunction,  w/ mattress.

- Item 2: Supply ,Delivery of Crash Cart.

- Item 3: Supply ,Delivery of Deep Freezer  - 40⁰С.

# Section II: Schedule of Requirements

eSourcing reference: RFQ/2024/51582

- Summary of Requirements

UNOPS requirements are comprised of the following :

| Item # | Item Description |
| --- | --- |
| 1 | Item 1: Supply ,Delivery of Hospital Bed, Manual ,Multifunction, w/ mattress. |
| 2 | Item 2: Supply ,Delivery of Crash Cart. |
| 3 | Item 3: Supply ,Delivery of Deep Freezer -40⁰С. |

Delivery time of Item #1 : Bidder shall deliver the  Supply ,Delivery of Hospital Bed, Manual ,Multifunction,  w/ mattress as follows:

- 107 Pieces of Hospital Bed, Manual ,Multifunction,  w/ mattress: 90 Days after Contract signature.

- 134 Pieces of Hospital Bed, Manual ,Multifunction,  w/ mattress: 120 Days after Contract signature.

Delivery time of Item #2 : Bidder shall deliver the Supply, Delivery of Crash Cart as follows:

- 100%:  120 Days after Contract signature.

Delivery time of Item #3 :Supply ,Delivery of Deep Freezer  -40⁰С, as follows:

- 100%:  120 Days after Contract signature.

Delivery Location: Delivery at Place DAP to Hospitals & Isolation Units – Multiple Cities in Yemen, Please refer to Section III: Returnable Bidding Forms.

Offers must include commercial brochures, technical data sheets and technical offers with full description of items and options.

For each of the requirements below, the bidder shall state the reference (i.e., location and exact page-number) and highlight in yellow within the brochure/datasheet/etc. that proves the compliance with the technical specifications.

Technical specifications for Goods and Comparative Data Table:

Item# 1: Supply ,Delivery of Hospital Bed, Manual ,Multifunction,  w/ mattress.

| Item No | UNOPS minimum technical requirements | Qty. | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete |
| --- | --- | --- | --- | --- |
| 1.1 | Hospital Bed, Manual ,Multifunction, w/ mattress |  |  |  |
|  | Name of Manufacturer | 241 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment/furniture offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid CE or FDA or (Declaration of conformity- where applicable based on product classification) |  | ☐ Yes ☐ No |  |
|  | Patient hospital bed, manual, 4 sections. |  | ☐ Yes ☐ No |  |
|  | Patient hospital bed, manual |  | ☐ Yes ☐ No |  |
|  | 4 sections |  | ☐ Yes ☐ No |  |
|  | Manual bed with at least 4 cranks |  | ☐ Yes ☐ No |  |
|  | Heavy duty non-metallic removable Headboard and Footboard. |  | ☐ Yes ☐ No |  |
|  | Parameter: |  | ☐ Yes ☐ No |  |
|  | - Minimum Height: 45-50cm |  | ☐ Yes ☐ No |  |
|  | - Maximum Height: 74-80cm |  | ☐ Yes ☐ No |  |
|  | - Back section adjustable : 0 to ≥ 70 degrees |  | ☐ Yes ☐ No |  |
|  | - Knee section adjustable : 0 to ≥35 degrees |  | ☐ Yes ☐ No |  |
|  | - Trendelenburg/ Reverse trendelenburg: +12°/-12° or more |  | ☐ Yes ☐ No |  |
|  | Noiseless caster with brake, diameter at least 12 cm |  | ☐ Yes ☐ No |  |
|  | With 4 corner roller bumpers |  | ☐ Yes ☐ No |  |
|  | Manual CPR |  | ☐ Yes ☐ No |  |
|  | Patient weight capacity: at least 250 kg |  | ☐ Yes ☐ No |  |
|  | Aluminium alloy side rails, which can be foldable up and down easily |  | ☐ Yes ☐ No |  |
|  | Stainless steel retractable I.V pole with at least 4 collapsible hooks |  | ☐ Yes ☐ No |  |
|  | Mattress |  | ☐ Yes ☐ No |  |
|  | - height of 15cm |  | ☐ Yes ☐ No |  |
|  | - Anti-microbial and anti-fungus |  | ☐ Yes ☐ No |  |
|  | - Complete with fluid resistant, non-latex, breathable and washable cover |  | ☐ Yes ☐ No |  |
|  | Pillow Anti-bacterial, anti-static, toxic-free, high-density foam core |  | ☐ Yes ☐ No |  |
|  | Supplied with |  | ☐ Yes ☐ No |  |
|  | 1x Mattress cover(thick cotton) 1x Bed sheet (thick cotton) 1X Pillow cove (thick cotton) |  | ☐ Yes ☐ No |  |
|  | Safety and standards |  |  |  |
|  | ISO 13485 or 9001 certification of the Manufacturer’s QMS, issued by EU Notified Bodies or by an IAF recognized/accredited Conformity Assessment Body |  | ☐ Yes ☐ No |  |
|  | Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment /furniture proposed shall be of highest quality and produced by well known manufacturers. The equipment /furniture shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer |  | ☐ Yes ☐ No |  |
|  | All equipment/furniture to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the end-user should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
|  | The staff training in operation and maintenance shall be provided |  | ☐ Yes ☐ No |  |
|  | Spare parts shall be available at least 7 years after the expiration of the warranty period. |  | ☐ Yes ☐ No |  |

| General Requirement |  |  |  |
| --- | --- | --- | --- |
|  | The authorization of manufacturer included in your offer | ☐ Yes ☐ No | Insert details |
|  | The model of equipment /furniture that is in the submitted offer , it should be still producing. | ☐ Yes ☐ No | Insert details |
|  | The equipment /furniture shall include a non-removable label that state the country of manufacture (i.e. Made in…). | ☐ Yes ☐ No | Insert details |
|  | If the manufacturer plans to stop production of the awarded equipment/furniture referenced herein and/or to produce improved models before the delivery date, the Supplier shall notify UNOPS of this fact and provide the option of upgrading its purchase. It will be UNOPS decision to upgrade the equipment or to keep the originally ordered one. | ☐ Yes ☐ No | Insert details |
|  | Quality Assurance and Standards conformity |  |  |
| 6 | Quality assurance tests shall be performed at the manufacturer site, prior to shipment. It shall insure high quality, proper and reliable functionality, and applicable standards conformity.. | ☐ Yes ☐ No | Insert details |
| 7 | Quality assurance test certificates shall indicate the serial number of the medical equipment tested, date of the test, types of tests, and acceptance criteria. | ☐ Yes ☐ No | Insert details |
| 8 | All equipment /furniture shall pass the Quality assurance tests successfully, and the test certificates shall be duly stamped by the manufacturer. Quality assurance test certificates shall be submitted to UNOPS, whenever requested. | ☐ Yes ☐ No | Insert details |
|  | Full functionality |  |  |
| 9 | The offered medical equipment /furniture shall include a full set of compatible parts, components, accessories, software, hardware, hardware/software interfaces, start-up consumables and howsoever required to put the medical equipment /furniture into fully operational condition. | ☐ Yes ☐ No | Insert details |
| 10 | Any parts, components, adapters, software, hardware etc, that are not mentioned in the detailed technical offer or purchase order, but required to put the product into fully operational condition shall be deemed part of the awarded medical equipment /furniture and must be provided by the Supplier at no additional cost. | ☐ Yes ☐ No | Insert details |
| 11 | All medical equipment /furniture shall contain the latest software version at the time of shipment, wherever applicable. | ☐ Yes ☐ No | Insert details |
| 12 | All medical equipment/furniture, or its component, that will be permanently built-in or mounted on floor, wall or ceiling shall include all needed fixtures, supports, arms, mounting parts/interfaces, finishing seals, and howsoever required to mount the unit and complete the installation, as per the manufacturer recommendation, and to the satisfaction of UNOPS. | ☐ Yes ☐ No | Insert details |
| 13 | The Supplier shall be responsible to coordinate and liaise with UNOPS, the Consultant, Contractor, sub-contractors and suppliers of other medical equipment/furniture, to provide complete, integrated and fully functional and coordinated solutions wherever applicable. | ☐ Yes ☐ No | Insert details |
| 14 | The Supplier shall provide fully functional batteries for all equipment with internal batteries to the end-user at the time of taking over. | ☐ Yes ☐ No | Insert details |
| 15 | For equipment /furniture that requires water for its operation, the Supplier must stipulate the minimum and recommended acceptable water quality requirements. Hoses, adapters, filters etc shall be provided (wherever applicable). | ☐ Yes ☐ No | Insert details |
| 16 | All electrically operated equipment /furniture must be designed to run on the Yemeni standard AC power (voltages and frequencies) | ☐ Yes ☐ No | Insert details |
| 17 | Equipment/furniture operated at 110V (with and without transformers) shall NOT be acceptable. | ☐ Yes ☐ No | Insert details |
| 18 | All Electrically operated equipment /furniture should comply with IEC 60601 or equivalent | ☐ Yes ☐ No | Insert details |
|  | Packaging, Shipping, Storage and Delivery |  |  |
| 19 | The equipment/furniture package shall be well labeled, with instructions for handling, lifting, etc. | ☐ Yes ☐ No | Insert details |
| 21 | The equipment /furniture package shall be labeled with the Supplier name, Manufacturer, model number, and date of manufacture. | ☐ Yes ☐ No | Insert details |
| 20 | The supplier shall print a thermal stickers of the logo that shall be labelled on all equipment /furniture and the shipping boxes and cartons during delivery processes. | ☐ Yes ☐ No | Insert details |
| 21 | The equipment /furniture shall be packaged in a way to withstand handling, loading, unloading, temperature, humidity and other extremes likely to be encountered during shipping and transport. | ☐ Yes ☐ No | Insert details |
| 22 | The Supplier shall be responsible for shipping and delivery and installing of the equipment /furniture to the specified location as in the tender invitation and within the time frame stipulated in the tender invitation. | ☐ Yes ☐ No | Insert details |
| 23 | The Supplier shall be responsible to provide appropriate store for the medical equipment/furniture until the site is ready for immediate assembling and start up. The equipment/furniture shall be stored in supplier’s stores and delivered on demand to UNOPS projects’ sites. | ☐ Yes ☐ No | Insert details |
| 24 | All equipment /furniture shall be preserved and packaged in accordance with the manufacturer's standard practices, and to avoid damage to the system while in transport and shipment to its final destination. | ☐ Yes ☐ No | Insert details |
| 25 | The Supplier is responsible for loading, unloading, rigging and inside delivery of the medical equipment/furniture to its final destination room inside the building. | ☐ Yes ☐ No | Insert details |
| 26 | The Supplier shall be responsible for taking all appropriate actions to ensure that equipment/furniture can be brought safely into the facility and to the allocated locations. It shall be the responsibility of the Supplier to deliver all equipment /furniture in good condition. Any equipment /furniture damaged in shipping, transportation, or rigging shall be promptly replaced regardless of the status of any claims filed against the carrier. | ☐ Yes ☐ No | Insert details |
| 27 | During the warranty period, and if deemed necessary, the Supplier shall relocate the equipment/furniture to other locations at no additional cost. | ☐ Yes ☐ No | Insert details |
|  | Assembling |  |  |
| 28 | The Supplier shall assemble, mount, configure, calibrate, test and commission the medical equipment /furniture as per the published manufacturer’s instructions, applicable international & local standards, and to the satisfaction of UNOPS. | ☐ Yes ☐ No | Insert details |
| 29 | Only experienced and qualified engineers shall assemble the medical systems and equipment. Competency and Training certificates for the installer, issued and letter headed by the manufacturer, shall be submitted whenever requested by UNOPS. | ☐ Yes ☐ No | Insert details |
| 30 | The Supplier’s work-in-progress activities (delivery, storage, rigging, assemble, inspection, etc) shall be subjected to verification, at any time by UNOPS. UNOPS will notify the Supplier of any observed deficiencies or non-conformity, which could cause suspension of acceptance of the proposed system until corrective action has been demonstrated | ☐ Yes ☐ No | Insert details |
|  | Assembling, Testing & Commissioning inspection (ATCI) |  |  |
| 31 | After assembling and prior to conducting the ‘Assembling, Testing & Commissioning Inspection (ATCI)’, the Supplier shall undertake its own pre-checks to verify that the equipment/furniture, its assembling and its performance conform to the published manufacturer’s specifications. All required parts, accessories and start-up consumables shall be included. | ☐ Yes ☐ No | Insert details |
| 32 | Only experienced and qualified engineers shall conduct the Assembling, Testing & Commissioning. Competency certificate, issued by the manufacturer, shall be submitted during the inspection, whenever requested. | ☐ Yes ☐ No | Insert details |
| 33 | Assembling, Testing & Commissioning Inspection shall demonstrate proper and safe Assembling and operation of the medical equipment /furniture as per the published manufacturer’s specifications and protocols, applicable standards, and to the satisfaction of UNOPS. | ☐ Yes ☐ No | Insert details |
| 34 | Whenever deemed necessary by UNOPS, the Supplier shall provide testing equipment, analyzers etc to verify proper function/performance of the equipment as per the published manufacturer’s specifications. All testing equipment, tools, analyzers, etc used for testing of medical equipment and systems shall be calibrated as per its manufacturer recommendation. Certificate of valid calibration shall be provided upon request. | ☐ Yes ☐ No | Insert details |
| 35 | The Supplier shall submit a printed list of Serial Numbers of all equipment/furniture assembled, and its location (room number). | ☐ Yes ☐ No | Insert details |
| 36 | Assembling, Testing & Commissioning Inspection forms/checklists shall be filled by the Supplier, and submitted to UNOPS. | ☐ Yes ☐ No | Insert details |
|  | Training |  |  |
| 37 | Following a successful Assembling, Testing & Commissioning inspection, the Supplier shall conduct training sessions for the clinical staff onsite. This training shall be scheduled at the convenience of the clinical staff. Training shall be for an appropriate period for the medical system. Training shall include, but not be limited to, training for( One BioMedical Engineer and Two users ) Following the completion of training, the Supplier shall, if requested, certify that trained personnel have completed the training program. | ☐ Yes ☐ No | Insert details |
| 38 | The Supplier shall submit a detailed description of the scheduled training for the clinical personnel and the technical training for biomedical engineers for all supplied equipment /furniture ( One BioMedical Engineer and Two users ) . This should include, but not limited to, detailed description of the training, location, scheduled time, duration, content, qualifications of instructor, and a list of who should attend the training. | ☐ Yes ☐ No | Insert details |
| 39 | The Supplier shall provide local service training for 2 biomedical engineers, unless otherwise instructed by UNOPS. | ☐ Yes ☐ No | Insert details |
|  | Manuals |  |  |
| 40 | The Supplier shall provide 1 original user manuals and 1 original technical service manuals. | ☐ Yes ☐ No | Insert details |
| 41 | Soft copy of user and service manuals (on CD) shall be also provided. | ☐ Yes ☐ No | Insert details |
| 42 | Technical service manuals shall include spare parts lists, electronic circuits schematic diagrams, and detailed troubleshooting guides (where applicable). | ☐ Yes ☐ No | Insert details |
|  | Infection control |  |  |
| 43 | Cleaning, disinfecting and/or sterilization of all medical equipment /furniture must comply with the Disease Control (CDC) guidelines or equivalent international standards. | ☐ Yes ☐ No | Insert details |
| 44 | The Supplier must provide the published manufacturer’s method statement for cleaning for all medical equipment/furniture. | ☐ Yes ☐ No | Insert details |
| 45 | The Supplier shall specify appropriate cleaning methods, procedures, and agents. | ☐ Yes ☐ No | Insert details |
|  | Warranty and Maintenance: |  |  |
| 46 | The Supplier shall provide full warranty for 2 year, as stipulated in the Invitation to Bid. The warranty shall cover free maintenance/labor and free spare parts throughout the warranty period. The warranty period shall include manufacturer defects. | ☐ Yes ☐ No | Insert details |
| 47 | The Supplier shall provide stickers/labels on each equipment/furniture, stating the name of local agent, email, phone and fax numbers, as well as the dates for scheduled preventive maintenance during the free warranty period, as well as the expiration date of the warranty period. | ☐ Yes ☐ No | Insert details |
| 48 | The Supplier shall conduct scheduled Preventive Maintenance (PM) according to the manufacturer recommendations, applicable standards, and accrediting agencies. | ☐ Yes ☐ No | Insert details |
| 49 | Documented PM reports shall be submitted, and signed by the biomedical engineers/technicians onsite. | ☐ Yes ☐ No | Insert details |
| 50 | Response to service calls by factory-trained service engineers shall be within 1 day. If the Supplier fails to adhere to this requirement, then the free warranty period for the affected equipment /furniture shall be extended 1 week per each incident. | ☐ Yes ☐ No | Insert details |
| 51 | The Supplier shall fix malfunctioning equipment/furniture within a maximum of 1 week from the date of notification. | ☐ Yes ☐ No | Insert details |
| 52 | The Supplier shall replace or repair all defective equipment/furniture and software, and shall correct any defects -without charges for parts or labor- both during and after regular working hours, during the warranty period. | ☐ Yes ☐ No | Insert details |
| 53 | The following effectiveness level provisions shall apply to the medical equipment /furniture during the warranty and subsequent support periods. Uptime is defined as the state when the system is working and/or available for use, to UNOPS/MOH satisfaction. Downtime is defined as the state when the system is NOT operable due to breakdown, performance of repairs, or failure to perform according to specifications. The period of downtime shall be from notification of the manufacturer's service representative until the equipment /furniture is returned/presented to the designated UNOPS/MOH representative properly functioning and ready for use. | ☐ Yes ☐ No | Insert details |
| 54 | Scheduled routine preventive maintenance, scheduled upgrades of equipment or software, and external failures (i.e., due to power loss etc) shall not be considered downtime. | ☐ Yes ☐ No | Insert details |
| 55 | Preventive maintenance work, software upgrades and other non-urgent services shall be performed at predetermined times convenient to UNOPS/MOH. These times may include off-hours. | ☐ Yes ☐ No | Insert details |
| 56 | Supplier shall provide a replacement of any defective equipment /furniture or components that cannot be repaired or corrected to the satisfaction of UNOPS/MOH during the warranty or service contract period. The replacement/substituted equipment /furniture shall be technically equivalent and with similar quality of the defective equipment/furniture. Replacement shall be limited to 3 months, as the original defective equipment/furniture must be fixed within this period. | ☐ Yes ☐ No | Insert details |
| 57 | All warranties and rights shall be transferable from UNOPS to the Ministry Of Health (MOH) upon transfer of ownership, the date of which shall be agreed between UNOPS and the MOH. | ☐ Yes ☐ No | Insert details |
| 58 | The Supplier should submit a confirmation letter that spare parts are available at least 7 years after the expiration of the warranty period. | ☐ Yes ☐ No | Insert details |
| 59 | The Supplier shall submit a complete priced spare parts list, and priced consumables/reagents list where applicable, (prices in USD and include customs fees, sales tax and any other fees, taxes or governmental or non-governmental charges). In case any spare part is needed during this period and is not included in the list submitted in the tender, it will be supplied to MOH free of charge.. | ☐ Yes ☐ No | Insert details |

Item 1:Delivery requirements and Comparative Data Table:

0

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | -Bidder shall deliver the goods as follows: 107 Pieces Hospital Bed, Manual ,Multifunction, w/ mattress: 90 Days after Contract signature. -Bidder shall deliver the goods as follows: 120 Pieces of Hospital Bed, Manual ,Multifunction, w/ mattress: 120 Days after Contract signature. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | Delivery at Place DAP to Hospitals & Isolation Units – Multiple Cities in Yemen, Please refer to Section III: Returnable Bidding Forms. Unloaded, customs cleared Incoterms rules as per Incoterms 2020. | ☐ Yes ☐ No | Insert details |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- [20%] , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

Item#2: Supply ,Delivery of Crash Cart:

| Item No | UNOPS minimum technical requirements | Qty. | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete |
| --- | --- | --- | --- | --- |
| 3.2 | Crash Cart |  |  |  |
|  | Name of Manufacturer | 12 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment/furniture offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid CE or FDA or (Declaration of conformity- where applicable based on product classification) |  | ☐ Yes ☐ No |  |
|  | A set of trays/drawers/shelves on wheels used in hospitals for transportation and dispensing of emergency medication/equipment at the site of a medical/surgical emergency for life support protocols (ACLS/ALS) to potentially save someone's life |  | ☐ Yes ☐ No |  |
|  | The crash cart should be made of Stainless-steel tubular frame work, with lightweight and robust design |  | ☐ Yes ☐ No |  |
|  | All stainless-steel material used should be of SS304 grade or better |  | ☐ Yes ☐ No |  |
|  | Shall have Epoxy / Anti-Microbial powder paint finishing |  | ☐ Yes ☐ No |  |
|  | Dual push handles (1 on each side) |  | ☐ Yes ☐ No |  |
|  | 5 or 6 drawers |  | ☐ Yes ☐ No |  |
|  | Top working surface with barriers |  | ☐ Yes ☐ No |  |
|  | Locking system for the drawers |  | ☐ Yes ☐ No |  |
|  | Two accessory mounting brackets to mount accessories anywhere -including 1 bracket for defibrillator with straps |  | ☐ Yes ☐ No |  |
|  | Mounted on 4 swivelling castors of 12 cm diameter, non-rusting. Two of which having locking arrangement. |  | ☐ Yes ☐ No |  |
|  | Oxygen bottle holder, on one side |  | ☐ Yes ☐ No |  |
|  | IV pole, double hook |  | ☐ Yes ☐ No |  |
|  | CPR/ Cardiac massage board |  | ☐ Yes ☐ No |  |
|  | Overall size shall be more approx.. 900mm L x 500mm W x 1200mm H. |  | ☐ Yes ☐ No |  |
|  | Safety and standards |  |  |  |
|  | ISO 13485 or 9001 certification of the Manufacturer’s QMS, issued by EU Notified Bodies or by an IAF recognized/accredited Conformity Assessment Body |  | ☐ Yes ☐ No |  |
|  | Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment /furniture proposed shall be of highest quality and produced by well known manufacturers. The equipment /furniture shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer |  | ☐ Yes ☐ No |  |
|  | All equipment/furniture to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the end-user should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
|  | The staff training in operation and maintenance shall be provided |  | ☐ Yes ☐ No |  |
|  | Spare parts shall be available at least 7 years after the expiration of the warranty period. |  | ☐ Yes ☐ No |  |

| General Requirement |  |  |  |
| --- | --- | --- | --- |
|  | The authorization of manufacturer included in your offer | ☐ Yes ☐ No | Insert details |
|  | The model of equipment /furniture that is in the submitted offer , it should be still producing. | ☐ Yes ☐ No | Insert details |
|  | The equipment /furniture shall include a non-removable label that state the country of manufacture (i.e. Made in…). | ☐ Yes ☐ No | Insert details |
|  | If the manufacturer plans to stop production of the awarded equipment/furniture referenced herein and/or to produce improved models before the delivery date, the Supplier shall notify UNOPS of this fact and provide the option of upgrading its purchase. It will be UNOPS decision to upgrade the equipment or to keep the originally ordered one. | ☐ Yes ☐ No | Insert details |
|  | Quality Assurance and Standards conformity |  |  |
| 6 | Quality assurance tests shall be performed at the manufacturer site, prior to shipment. It shall insure high quality, proper and reliable functionality, and applicable standards conformity.. | ☐ Yes ☐ No | Insert details |
| 7 | Quality assurance test certificates shall indicate the serial number of the medical equipment tested, date of the test, types of tests, and acceptance criteria. | ☐ Yes ☐ No | Insert details |
| 8 | All equipment /furniture shall pass the Quality assurance tests successfully, and the test certificates shall be duly stamped by the manufacturer. Quality assurance test certificates shall be submitted to UNOPS, whenever requested. | ☐ Yes ☐ No | Insert details |
|  | Full functionality |  |  |
| 9 | The offered medical equipment /furniture shall include a full set of compatible parts, components, accessories, software, hardware, hardware/software interfaces, start-up consumables and howsoever required to put the medical equipment /furniture into fully operational condition. | ☐ Yes ☐ No | Insert details |
| 10 | Any parts, components, adapters, software, hardware etc, that are not mentioned in the detailed technical offer or purchase order, but required to put the product into fully operational condition shall be deemed part of the awarded medical equipment /furniture and must be provided by the Supplier at no additional cost. | ☐ Yes ☐ No | Insert details |
| 11 | All medical equipment /furniture shall contain the latest software version at the time of shipment, wherever applicable. | ☐ Yes ☐ No | Insert details |
| 12 | All medical equipment/furniture, or its component, that will be permanently built-in or mounted on floor, wall or ceiling shall include all needed fixtures, supports, arms, mounting parts/interfaces, finishing seals, and howsoever required to mount the unit and complete the installation, as per the manufacturer recommendation, and to the satisfaction of UNOPS. | ☐ Yes ☐ No | Insert details |
| 13 | The Supplier shall be responsible to coordinate and liaise with UNOPS, the Consultant, Contractor, sub-contractors and suppliers of other medical equipment/furniture, to provide complete, integrated and fully functional and coordinated solutions wherever applicable. | ☐ Yes ☐ No | Insert details |
| 14 | The Supplier shall provide fully functional batteries for all equipment with internal batteries to the end-user at the time of taking over. | ☐ Yes ☐ No | Insert details |
| 15 | For equipment /furniture that requires water for its operation, the Supplier must stipulate the minimum and recommended acceptable water quality requirements. Hoses, adapters, filters etc shall be provided (wherever applicable). | ☐ Yes ☐ No | Insert details |
| 16 | All electrically operated equipment /furniture must be designed to run on the Yemeni standard AC power (voltages and frequencies) | ☐ Yes ☐ No | Insert details |
| 17 | Equipment/furniture operated at 110V (with and without transformers) shall NOT be acceptable. | ☐ Yes ☐ No | Insert details |
| 18 | All Electrically operated equipment /furniture should comply with IEC 60601 or equivalent | ☐ Yes ☐ No | Insert details |
|  | Packaging, Shipping, Storage and Delivery |  |  |
| 19 | The equipment/furniture package shall be well labeled, with instructions for handling, lifting, etc. | ☐ Yes ☐ No | Insert details |
| 21 | The equipment /furniture package shall be labeled with the Supplier name, Manufacturer, model number, and date of manufacture. | ☐ Yes ☐ No | Insert details |
| 20 | The supplier shall print a thermal stickers of the logo that shall be labelled on all equipment /furniture and the shipping boxes and cartons during delivery processes. | ☐ Yes ☐ No | Insert details |
| 21 | The equipment /furniture shall be packaged in a way to withstand handling, loading, unloading, temperature, humidity and other extremes likely to be encountered during shipping and transport. | ☐ Yes ☐ No | Insert details |
| 22 | The Supplier shall be responsible for shipping and delivery and installing of the equipment /furniture to the specified location as in the tender invitation and within the time frame stipulated in the tender invitation. | ☐ Yes ☐ No | Insert details |
| 23 | The Supplier shall be responsible to provide appropriate store for the medical equipment/furniture until the site is ready for immediate assembling and start up. The equipment/furniture shall be stored in supplier’s stores and delivered on demand to UNOPS projects’ sites. | ☐ Yes ☐ No | Insert details |
| 24 | All equipment /furniture shall be preserved and packaged in accordance with the manufacturer's standard practices, and to avoid damage to the system while in transport and shipment to its final destination. | ☐ Yes ☐ No | Insert details |
| 25 | The Supplier is responsible for loading, unloading, rigging and inside delivery of the medical equipment/furniture to its final destination room inside the building. | ☐ Yes ☐ No | Insert details |
| 26 | The Supplier shall be responsible for taking all appropriate actions to ensure that equipment/furniture can be brought safely into the facility and to the allocated locations. It shall be the responsibility of the Supplier to deliver all equipment /furniture in good condition. Any equipment /furniture damaged in shipping, transportation, or rigging shall be promptly replaced regardless of the status of any claims filed against the carrier. | ☐ Yes ☐ No | Insert details |
| 27 | During the warranty period, and if deemed necessary, the Supplier shall relocate the equipment/furniture to other locations at no additional cost. | ☐ Yes ☐ No | Insert details |
|  | Assembling |  |  |
| 28 | The Supplier shall assemble, mount, configure, calibrate, test and commission the medical equipment /furniture as per the published manufacturer’s instructions, applicable international & local standards, and to the satisfaction of UNOPS. | ☐ Yes ☐ No | Insert details |
| 29 | Only experienced and qualified engineers shall assemble the medical systems and equipment. Competency and Training certificates for the installer, issued and letter headed by the manufacturer, shall be submitted whenever requested by UNOPS. | ☐ Yes ☐ No | Insert details |
| 30 | The Supplier’s work-in-progress activities (delivery, storage, rigging, assemble, inspection, etc) shall be subjected to verification, at any time by UNOPS. UNOPS will notify the Supplier of any observed deficiencies or non-conformity, which could cause suspension of acceptance of the proposed system until corrective action has been demonstrated | ☐ Yes ☐ No | Insert details |
|  | Assembling, Testing & Commissioning inspection (ATCI) |  |  |
| 31 | After assembling and prior to conducting the ‘Assembling, Testing & Commissioning Inspection (ATCI)’, the Supplier shall undertake its own pre-checks to verify that the equipment/furniture, its assembling and its performance conform to the published manufacturer’s specifications. All required parts, accessories and start-up consumables shall be included. | ☐ Yes ☐ No | Insert details |
| 32 | Only experienced and qualified engineers shall conduct the Assembling, Testing & Commissioning. Competency certificate, issued by the manufacturer, shall be submitted during the inspection, whenever requested. | ☐ Yes ☐ No | Insert details |
| 33 | Assembling, Testing & Commissioning Inspection shall demonstrate proper and safe Assembling and operation of the medical equipment /furniture as per the published manufacturer’s specifications and protocols, applicable standards, and to the satisfaction of UNOPS. | ☐ Yes ☐ No | Insert details |
| 34 | Whenever deemed necessary by UNOPS, the Supplier shall provide testing equipment, analyzers etc to verify proper function/performance of the equipment as per the published manufacturer’s specifications. All testing equipment, tools, analyzers, etc used for testing of medical equipment and systems shall be calibrated as per its manufacturer recommendation. Certificate of valid calibration shall be provided upon request. | ☐ Yes ☐ No | Insert details |
| 35 | The Supplier shall submit a printed list of Serial Numbers of all equipment/furniture assembled, and its location (room number). | ☐ Yes ☐ No | Insert details |
| 36 | Assembling, Testing & Commissioning Inspection forms/checklists shall be filled by the Supplier, and submitted to UNOPS. | ☐ Yes ☐ No | Insert details |
|  | Training |  |  |
| 37 | Following a successful Assembling, Testing & Commissioning inspection, the Supplier shall conduct training sessions for the clinical staff onsite. This training shall be scheduled at the convenience of the clinical staff. Training shall be for an appropriate period for the medical system. Training shall include, but not be limited to, training for( One BioMedical Engineer and Two users ) Following the completion of training, the Supplier shall, if requested, certify that trained personnel have completed the training program. | ☐ Yes ☐ No | Insert details |
| 38 | The Supplier shall submit a detailed description of the scheduled training for the clinical personnel and the technical training for biomedical engineers for all supplied equipment /furniture ( One BioMedical Engineer and Two users ) . This should include, but not limited to, detailed description of the training, location, scheduled time, duration, content, qualifications of instructor, and a list of who should attend the training. | ☐ Yes ☐ No | Insert details |
| 39 | The Supplier shall provide local service training for 2 biomedical engineers, unless otherwise instructed by UNOPS. | ☐ Yes ☐ No | Insert details |
|  | Manuals |  |  |
| 40 | The Supplier shall provide 1 original user manuals and 1 original technical service manuals. | ☐ Yes ☐ No | Insert details |
| 41 | Soft copy of user and service manuals (on CD) shall be also provided. | ☐ Yes ☐ No | Insert details |
| 42 | Technical service manuals shall include spare parts lists, electronic circuits schematic diagrams, and detailed troubleshooting guides (where applicable). | ☐ Yes ☐ No | Insert details |
|  | Infection control |  |  |
| 43 | Cleaning, disinfecting and/or sterilization of all medical equipment /furniture must comply with the Disease Control (CDC) guidelines or equivalent international standards. | ☐ Yes ☐ No | Insert details |
| 44 | The Supplier must provide the published manufacturer’s method statement for cleaning for all medical equipment/furniture. | ☐ Yes ☐ No | Insert details |
| 45 | The Supplier shall specify appropriate cleaning methods, procedures, and agents. | ☐ Yes ☐ No | Insert details |
|  | Warranty and Maintenance: |  |  |
| 46 | The Supplier shall provide full warranty for 2 year, as stipulated in the Invitation to Bid. The warranty shall cover free maintenance/labor and free spare parts throughout the warranty period. The warranty period shall include manufacturer defects. | ☐ Yes ☐ No | Insert details |
| 47 | The Supplier shall provide stickers/labels on each equipment/furniture, stating the name of local agent, email, phone and fax numbers, as well as the dates for scheduled preventive maintenance during the free warranty period, as well as the expiration date of the warranty period. | ☐ Yes ☐ No | Insert details |
| 48 | The Supplier shall conduct scheduled Preventive Maintenance (PM) according to the manufacturer recommendations, applicable standards, and accrediting agencies. | ☐ Yes ☐ No | Insert details |
| 49 | Documented PM reports shall be submitted, and signed by the biomedical engineers/technicians onsite. | ☐ Yes ☐ No | Insert details |
| 50 | Response to service calls by factory-trained service engineers shall be within 1 day. If the Supplier fails to adhere to this requirement, then the free warranty period for the affected equipment /furniture shall be extended 1 week per each incident. | ☐ Yes ☐ No | Insert details |
| 51 | The Supplier shall fix malfunctioning equipment/furniture within a maximum of 1 week from the date of notification. | ☐ Yes ☐ No | Insert details |
| 52 | The Supplier shall replace or repair all defective equipment/furniture and software, and shall correct any defects -without charges for parts or labor- both during and after regular working hours, during the warranty period. | ☐ Yes ☐ No | Insert details |
| 53 | The following effectiveness level provisions shall apply to the medical equipment /furniture during the warranty and subsequent support periods. Uptime is defined as the state when the system is working and/or available for use, to UNOPS/MOH satisfaction. Downtime is defined as the state when the system is NOT operable due to breakdown, performance of repairs, or failure to perform according to specifications. The period of downtime shall be from notification of the manufacturer's service representative until the equipment /furniture is returned/presented to the designated UNOPS/MOH representative properly functioning and ready for use. | ☐ Yes ☐ No | Insert details |
| 54 | Scheduled routine preventive maintenance, scheduled upgrades of equipment or software, and external failures (i.e., due to power loss etc) shall not be considered downtime. | ☐ Yes ☐ No | Insert details |
| 55 | Preventive maintenance work, software upgrades and other non-urgent services shall be performed at predetermined times convenient to UNOPS/MOH. These times may include off-hours. | ☐ Yes ☐ No | Insert details |
| 56 | Supplier shall provide a replacement of any defective equipment /furniture or components that cannot be repaired or corrected to the satisfaction of UNOPS/MOH during the warranty or service contract period. The replacement/substituted equipment /furniture shall be technically equivalent and with similar quality of the defective equipment/furniture. Replacement shall be limited to 3 months, as the original defective equipment/furniture must be fixed within this period. | ☐ Yes ☐ No | Insert details |
| 57 | All warranties and rights shall be transferable from UNOPS to the Ministry Of Health (MOH) upon transfer of ownership, the date of which shall be agreed between UNOPS and the MOH. | ☐ Yes ☐ No | Insert details |
| 58 | The Supplier should submit a confirmation letter that spare parts are available at least 7 years after the expiration of the warranty period. | ☐ Yes ☐ No | Insert details |
| 59 | The Supplier shall submit a complete priced spare parts list, and priced consumables/reagents list where applicable, (prices in USD and include customs fees, sales tax and any other fees, taxes or governmental or non-governmental charges). In case any spare part is needed during this period and is not included in the list submitted in the tender, it will be supplied to MOH free of charge.. | ☐ Yes ☐ No | Insert details |

Delivery requirements and Comparative Data Table:

0

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods 120 Days after Contract signature. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | Delivery at Place DAP to 4 Isolation Units – Multiple Cities in Yemen., Please refer to Section III: Returnable Bidding Forms. Unloaded, customs cleared Incoterms rules as per Incoterms 2020. | ☐ Yes ☐ No | Insert details |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- [20%] , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

Item 3: Supply ,Delivery of Deep Freezer ,  - 40⁰С.

| Item No | UNOPS minimum technical requirements | Qty. | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete |
| --- | --- | --- | --- | --- |
| 4.1 | Deep Freezer, - 40⁰С |  |  |  |
|  | Name of Manufacturer | 4 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable. It is mandatory to send the brochures / data sheet of the product and identify the page number in that brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid EU CE or US FDA regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Intended to store samples in temperatures from -10⁰С to -40⁰С |  | ☐ Yes ☐ No |  |
|  | BMS connectivity and Monitoring graph system |  |  |  |
|  | Freezer housing resistant to scratches and corrosion |  | ☐ Yes ☐ No |  |
|  | At least 12.7 cm foamed polyurethane insulation |  | ☐ Yes ☐ No |  |
|  | 2.5 cm access ports for independent sensors: available |  | ☐ Yes ☐ No |  |
|  | Galvanized interior elements |  | ☐ Yes ☐ No |  |
|  | Three stainless steel shelves: available |  | ☐ Yes ☐ No |  |
|  | Opening for vacuum release when doors are opened/closed: available |  | ☐ Yes ☐ No |  |
|  | Easily removable and washable compressor-protection filter |  | ☐ Yes ☐ No |  |
|  | Door handle with in-built lock |  | ☐ Yes ☐ No |  |
|  | Rollers with stoppers: available |  | ☐ Yes ☐ No |  |
|  | Microprocessor direction and control system with displayable system parameters: available |  | ☐ Yes ☐ No |  |
|  | Electric power regulator with voltage reduction and surge protection: available |  | ☐ Yes ☐ No |  |
|  | At least 100 ltr capacity. |  | ☐ Yes ☐ No |  |
|  | Freon-free cooling system |  | ☐ Yes ☐ No |  |
|  | Manual defrosting |  | ☐ Yes ☐ No |  |
|  | Supplied with |  |  |  |
|  | All components and accessories necessary for having a “ready to start” |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source |  | ☐ Yes ☐ No |  |
|  | Compliant with IEC 60601 or equivalent |  | ☐ Yes ☐ No |  |
|  | Built-in protections against over-voltage and over-current line conditions. |  | ☐ Yes ☐ No |  |
|  | Safety and standards |  |  |  |
|  | ISO 13485 or 9001 certification of the Manufacturer’s QMS, issued by EU Notified Bodies or by an IAF recognized/accredited Conformity Assessment Body |  | ☐ Yes ☐ No |  |
|  | Copy of the above mentioned certificates shall be included in the offer |  | ☐ Yes ☐ No |  |
|  | The estimated life span : 8 -10 years |  | ☐ Yes ☐ No |  |
|  | The product to be supplied shall be new, unused and conform to the standards as specified in technical specifications. |  | ☐ Yes ☐ No |  |
|  | Transport, handle and store all products and materials in accordance with the manufacturer’s recommendations and in a manner that prevents damage or deterioration or excessive distortion. |  | ☐ Yes ☐ No |  |
|  | The equipment proposed shall be of highest quality and produced by well known manufacturers. The equipment shall carry the name and quality label of the manufacturer and fulfill the standards in force. |  | ☐ Yes ☐ No |  |
|  | Technical offers must include brochures, data sheets and technical complete technical specifications. |  | ☐ Yes ☐ No |  |
|  | Upon delivery of the system, the supplier should show official documents showing the country of origin and the date of manufacturing the system as stated by the manufacturer, associated with the serial number. |  | ☐ Yes ☐ No |  |
|  | All equipment to be brand new, and latest in design and technology. |  | ☐ Yes ☐ No |  |
|  | Supplier must include full installation, acceptance testing, safety checks and commissioning of the system for clinical use as per the manufacturer’s recommended procedures. All the equipment and tools to be used in these steps shall be the responsibility of the supplier to provide. The installation engineer/technician as well as the end-user should be trained and authorized by manufacturer to do the installation. |  | ☐ Yes ☐ No |  |
|  | The staff training in operation and maintenance shall be provided |  | ☐ Yes ☐ No |  |
|  | Supplier should deliver with the machines all operator manuals, service manuals, engineering schematics, and all documents and software media relevant to the machines |  | ☐ Yes ☐ No |  |
|  | To submit a spare part pricelist with the part number valid for 7 years starting date after the warranty completion |  | ☐ Yes ☐ No |  |

| General Requirement |  |  |  |
| --- | --- | --- | --- |
|  | The authorization of manufacturer included in your offer | ☐ Yes ☐ No | Insert details |
|  | The model of equipment that is in the submitted offer , it should be still producing. | ☐ Yes ☐ No | Insert details |
|  | The equipment shall include a non-removable label that state the country of manufacture (i.e. Made in…). | ☐ Yes ☐ No | Insert details |
|  | If the manufacturer plans to stop production of the awarded equipment referenced herein and/or to produce improved models before the delivery date, the Supplier shall notify UNOPS of this fact and provide the option of upgrading its purchase. It will be UNOPS decision to upgrade the equipment or to keep the originally ordered one. | ☐ Yes ☐ No | Insert details |
|  | Quality Assurance and Standards conformity |  |  |
| 5 | Quality assurance tests shall be performed at the manufacturer site, prior to shipment. It shall insure high quality, proper and reliable functionality, and applicable standards conformity.. | ☐ Yes ☐ No | Insert details |
| 6 | Quality assurance test certificates shall indicate the serial number of the medical equipment tested, date of the test, types of tests, and acceptance criteria. | ☐ Yes ☐ No | Insert details |
| 7 | All equipment shall pass the Quality assurance tests successfully, and the test certificates shall be duly stamped by the manufacturer. Quality assurance test certificates shall be submitted to UNOPS, whenever requested. | ☐ Yes ☐ No | Insert details |
|  | Full functionality |  |  |
| 8 | The offered medical equipment shall include a full set of compatible parts, components, accessories, software, hardware, hardware/software interfaces, start-up consumables and howsoever required to put the medical equipment into fully operational condition. | ☐ Yes ☐ No | Insert details |
| 9 | Any parts, components, adapters, software, hardware etc, that are not mentioned in the detailed technical offer or purchase order, but required to put the product into fully operational condition shall be deemed part of the awarded medical equipment and must be provided by the Supplier at no additional cost. | ☐ Yes ☐ No | Insert details |
| 10 | All medical equipment shall contain the latest software version at the time of shipment, wherever applicable. | ☐ Yes ☐ No | Insert details |
| 11 | All medical equipment, or its component, that will be permanently built-in or mounted on floor, wall or ceiling shall include all needed fixtures, supports, arms, mounting parts/interfaces, finishing seals, and howsoever required to mount the unit and complete the installation, as per the manufacturer recommendation, and to the satisfaction of UNOPS. | ☐ Yes ☐ No | Insert details |
| 12 | The Supplier shall be responsible to coordinate and liaise with UNOPS, the Consultant, Contractor, sub-contractors and suppliers of other medical equipment, to provide complete, integrated and fully functional and coordinated solutions wherever applicable. | ☐ Yes ☐ No | Insert details |
| 13 | The Supplier shall provide fully functional batteries for all equipment with internal batteries to the end-user at the time of taking over. | ☐ Yes ☐ No | Insert details |
| 14 | For equipment that requires water for its operation, the Supplier must stipulate the minimum and recommended acceptable water quality requirements. Hoses, adapters, filters etc shall be provided (wherever applicable). | ☐ Yes ☐ No | Insert details |
| 15 | All electrically operated equipment must be designed to run on the Yemeni standard AC power (voltages and frequencies) | ☐ Yes ☐ No | Insert details |
| 16 | Equipment operated at 110V (with and without transformers) shall NOT be acceptable. | ☐ Yes ☐ No | Insert details |
| 17 | All Electrically operated equipment should comply with IEC 60601 or equivalent | ☐ Yes ☐ No | Insert details |
|  | Packaging, Shipping, Storage and Delivery |  |  |
| 18 | The equipment package shall be well labeled, with instructions for handling, lifting, etc. | ☐ Yes ☐ No | Insert details |
| 19 | The equipment package shall be labeled with the Supplier name, Manufacturer, model number, and date of manufacture. | ☐ Yes ☐ No | Insert details |
| 20 | The supplier shall print a thermal stickers of the logo that shall be labelled on all equipment and the shipping boxes and cartons during delivery processes. | ☐ Yes ☐ No | Insert details |
| 21 | The equipment shall be packaged in a way to withstand handling, loading, unloading, temperature, humidity and other extremes likely to be encountered during shipping and transport. | ☐ Yes ☐ No | Insert details |
| 22 | The Supplier shall be responsible for shipping and delivery and installing of the equipment to the specified location as in the tender invitation and within the time frame stipulated in the tender invitation. | ☐ Yes ☐ No | Insert details |
| 23 | The Supplier shall be responsible to provide appropriate store for the medical equipment until the site is ready for immediate assembling and start up. The equipment shall be stored in supplier’s stores and delivered on demand to UNOPS projects’ sites. | ☐ Yes ☐ No | Insert details |
| 24 | All equipment shall be preserved and packaged in accordance with the manufacturer's standard practices, and to avoid damage to the system while in transport and shipment to its final destination. | ☐ Yes ☐ No | Insert details |
| 25 | The Supplier is responsible for loading, unloading, rigging and inside delivery of the medical equipment to its final destination room inside the building. | ☐ Yes ☐ No | Insert details |
| 26 | The Supplier shall be responsible for taking all appropriate actions to ensure that equipment can be brought safely into the facility and to the allocated locations. It shall be the responsibility of the Supplier to deliver all equipment in good condition. Any equipment damaged in shipping, transportation, or rigging shall be promptly replaced regardless of the status of any claims filed against the carrier. | ☐ Yes ☐ No | Insert details |
| 27 | During the warranty period, and if deemed necessary, the Supplier shall relocate the equipment to other locations at no additional cost. | ☐ Yes ☐ No | Insert details |
|  | Assembling |  |  |
| 28 | The Supplier shall assemble, mount, configure, calibrate, test and commission the medical equipment as per the published manufacturer’s instructions, applicable international & local standards, and to the satisfaction of UNOPS. | ☐ Yes ☐ No | Insert details |
| 29 | Only experienced and qualified engineers shall assemble the medical systems and equipment. Competency and Training certificates for the installer, issued and letter headed by the manufacturer, shall be submitted whenever requested by UNOPS. | ☐ Yes ☐ No | Insert details |
| 30 | The Supplier’s work-in-progress activities (delivery, storage, rigging, assemble, inspection, etc) shall be subjected to verification, at any time by UNOPS. UNOPS will notify the Supplier of any observed deficiencies or non-conformity, which could cause suspension of acceptance of the proposed system until corrective action has been demonstrated | ☐ Yes ☐ No | Insert details |
|  | Assembling, Testing & Commissioning inspection (ATCI) |  |  |
| 31 | After assembling and prior to conducting the ‘Assembling, Testing & Commissioning Inspection (ATCI)’, the Supplier shall undertake its own pre-checks to verify that the equipment, its assembling and its performance conform to the published manufacturer’s specifications. All required parts, accessories and start-up consumables shall be included. | ☐ Yes ☐ No | Insert details |
| 32 | Only experienced and qualified engineers shall conduct the Assembling, Testing & Commissioning. Competency certificate, issued by the manufacturer, shall be submitted during the inspection, whenever requested. | ☐ Yes ☐ No | Insert details |
| 33 | Assembling, Testing & Commissioning Inspection shall demonstrate proper and safe Assembling and operation of the medical equipment as per the published manufacturer’s specifications and protocols, applicable standards, and to the satisfaction of UNOPS. | ☐ Yes ☐ No | Insert details |
| 34 | Whenever deemed necessary by UNOPS, the Supplier shall provide testing equipment, analyzers etc to verify proper function/performance of the equipment as per the published manufacturer’s specifications. All testing equipment, tools, analyzers, etc used for testing of medical equipment and systems shall be calibrated as per its manufacturer recommendation. Certificate of valid calibration shall be provided upon request. | ☐ Yes ☐ No | Insert details |
| 35 | The Supplier shall submit a printed list of Serial Numbers of all equipment assembled, and its location (room number). | ☐ Yes ☐ No | Insert details |
| 36 | Assembling, Testing & Commissioning Inspection forms/checklists shall be filled by the Supplier, and submitted to UNOPS. | ☐ Yes ☐ No | Insert details |
|  | Training |  |  |
| 37 | Following a successful Assembling, Testing & Commissioning inspection, the Supplier shall conduct training sessions for the clinical staff onsite. This training shall be scheduled at the convenience of the clinical staff. Training shall be for an appropriate period for the medical system. Training shall include, but not be limited to, training for( One BioMedical Engineer and Two users ) Following the completion of training, the Supplier shall, if requested, certify that trained personnel have completed the training program. | ☐ Yes ☐ No | Insert details |
| 38 | The Supplier shall submit a detailed description of the scheduled training for the clinical personnel and the technical training for biomedical engineers for all supplied equipment ( One BioMedical Engineer and Two users ) . This should include, but not limited to, detailed description of the training, location, scheduled time, duration, content, qualifications of instructor, and a list of who should attend the training. | ☐ Yes ☐ No | Insert details |
| 39 | The Supplier shall provide local service training for 2 biomedical engineers, unless otherwise instructed by UNOPS. | ☐ Yes ☐ No | Insert details |
|  | Manuals |  |  |
| 40 | The Supplier shall provide 1 original user manuals and 1 original technical service manuals. | ☐ Yes ☐ No | Insert details |
| 41 | Soft copy of user and service manuals (on CD) shall be also provided. | ☐ Yes ☐ No | Insert details |
| 42 | Technical service manuals shall include spare parts lists, electronic circuits schematic diagrams, and detailed troubleshooting guides (where applicable). | ☐ Yes ☐ No | Insert details |
|  | Infection control |  |  |
| 43 | Cleaning, disinfecting and/or sterilization of all medical equipment must comply with the Disease Control (CDC) guidelines or equivalent international standards. | ☐ Yes ☐ No | Insert details |
| 44 | The Supplier must provide the published manufacturer’s method statement for cleaning for all medical equipment. | ☐ Yes ☐ No | Insert details |
| 45 | The Supplier shall specify appropriate cleaning methods, procedures, and agents. | ☐ Yes ☐ No | Insert details |
|  | Warranty and Maintenance: |  |  |
| 46 | The Supplier shall provide full warranty for 2 year, as stipulated in the Invitation to Bid. The warranty shall cover free maintenance/labor and free spare parts throughout the warranty period. The warranty period shall include manufacturer defects. | ☐ Yes ☐ No | Insert details |
| 47 | The Supplier shall provide stickers/labels on each equipment, stating the name of local agent, email, phone and fax numbers, as well as the dates for scheduled preventive maintenance during the free warranty period, as well as the expiration date of the warranty period. | ☐ Yes ☐ No | Insert details |
| 48 | The Supplier shall conduct scheduled Preventive Maintenance (PM) according to the manufacturer recommendations, applicable standards, and accrediting agencies. | ☐ Yes ☐ No | Insert details |
| 49 | Documented PM reports shall be submitted, and signed by the biomedical engineers/technicians onsite. | ☐ Yes ☐ No | Insert details |
| 50 | Response to service calls by factory-trained service engineers shall be within 1 day. If the Supplier fails to adhere to this requirement, then the free warranty period for the affected equipment shall be extended 1 week per each incident. | ☐ Yes ☐ No | Insert details |
| 51 | The Supplier shall fix malfunctioning equipment within a maximum of 1 week from the date of notification. | ☐ Yes ☐ No | Insert details |
| 52 | The Supplier shall replace or repair all defective equipment and software, and shall correct any defects -without charges for parts or labor- both during and after regular working hours, during the warranty period. | ☐ Yes ☐ No | Insert details |
| 53 | The following effectiveness level provisions shall apply to the medical equipment during the warranty and subsequent support periods. Uptime is defined as the state when the system is working and/or available for use, to UNOPS/MOH satisfaction. Downtime is defined as the state when the system is NOT operable due to breakdown, performance of repairs, or failure to perform according to specifications. The period of downtime shall be from notification of the manufacturer's service representative until the equipment is returned/presented to the designated UNOPS/MOH representative properly functioning and ready for use. | ☐ Yes ☐ No | Insert details |
| 54 | Scheduled routine preventive maintenance, scheduled upgrades of equipment or software, and external failures (i.e., due to power loss etc) shall not be considered downtime. | ☐ Yes ☐ No | Insert details |
| 55 | Preventive maintenance work, software upgrades and other non-urgent services shall be performed at predetermined times convenient to UNOPS/MOH. These times may include off-hours. | ☐ Yes ☐ No | Insert details |
| 56 | Supplier shall provide a replacement of any defective equipment or components that cannot be repaired or corrected to the satisfaction of UNOPS/MOH during the warranty or service contract period. The replacement/substituted equipment shall be technically equivalent and with similar quality of the defective equipment. Replacement shall be limited to 3 months, as the original defective equipment must be fixed within this period. | ☐ Yes ☐ No | Insert details |
| 57 | All warranties and rights shall be transferable from UNOPS to the Ministry Of Health (MOH) upon transfer of ownership, the date of which shall be agreed between UNOPS and the MOH. | ☐ Yes ☐ No | Insert details |
| 58 | The Supplier should submit a confirmation letter that spare parts are available at least 7 years after the expiration of the warranty period. | ☐ Yes ☐ No | Insert details |
| 59 | The Supplier shall submit a complete priced spare parts list, and priced consumables/reagents list where applicable, (prices in USD and include customs fees, sales tax and any other fees, taxes or governmental or non-governmental charges). In case any spare part is needed during this period and is not included in the list submitted in the tender, it will be supplied to MOH free of charge.. | ☐ Yes ☐ No | Insert details |

Delivery requirements and Comparative Data Table:

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods 120 Days after Contract signature. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | Delivery at Place DAP to 4 Isolation Units – Multiple Cities in Yemen. Please refer to Section III: Returnable Bidding Forms. Unloaded, customs cleared Incoterms rules as per Incoterms 2020. | ☐ Yes ☐ No | Insert details |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- [20%] , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |