## Lot 6
RFQ 2200279805-EL ANNEX C - PRICE OFFER- PK Laboratory consumables - Lot 6 for 6.1 Strengthening and Up-gradation of Regional Pesticide Quality Control & Research Laboratory, Quetta (PQL) and 6.2 Establishment of Advance Virology Lab (VL)
Instructions: Please fill in the cells in blue by indicating the Unit Price for each item net of VAT & taxes, the transport and delivery price for each destination and the Delivery Time (weeks). The formula will calculate the totals. The form has to be signed and dated by authorized official of the Bidder.
COMPANY'S NAME: | [7 empty] | UNGM registration id:
Lot 6 | Consumables for Laboratories (6.1 Strengthening and Up-gradation of Regional Pesticide Quality Control & Research Laboratory, Quetta (PQL) + 6.2 Establishment of Advance Virology Lab (VL))
Item Ref | Description | Bidder's Product ID | Waranty duration in months if any. If no waranty please put "0" | Requested Specification | Quantity PQL | Quantity VL | Total Quantity | Unit | Unit price (USD) | Total price per item (USD)
1 | Regent Bottle |  |  | 500 ml | 10 | 0 | 10 | No. | 0 | 0
2 | Round bottom flask |  |  | 250 ml | 3 | 0 | 3 | No. | 0 | 0
3 | Funnel stand |  |  |  | 3 | 0 | 3 | No. | 0 | 0
4 | Reagent Bottle |  |  | 1000 ml | 2 | 0 | 2 | No. | 0 | 0
5 | Round bottom flack |  |  | 500 ml | 2 | 0 | 2 | No. | 0 | 0
6 | Solvent bottles for HPLC |  |  | 1000 ml | 2 | 0 | 2 | No. | 0 | 0
7 | Magnets |  |  | Variable sizes | 6 | 0 | 6 | No. | 0 | 0
8 | Pycnometer |  |  | 50 ml | 2 | 0 | 2 | No. | 0 | 0
9 | Suction Flask (Buchner Flask) |  |  | 500 ml | 2 | 0 | 2 | No. | 0 | 0
10 | Suction Flask (Buchner Rask) |  |  | 250 ml | 2 | 0 | 2 | No. | 0 | 0
11 | Disposable droper |  |  | Plastic | 2000 | 0 | 2000 | No. | 0 | 0
12 | Standard glass vials with cap & Septa |  |  |  | 5 | 0 | 5 | No. | 0 | 0
13 | Micro pipette single Channel 0.2-2ul |  |  | Single Channel, Adjustable, Autoclavable | 2 | 2 | 4 | No. | 0 | 0
14 | Micro pipette single Channel 1-10ul |  |  | Single Channel, Adjustable, Autoclavable | 2 | 2 | 4 | No. | 0 | 0
15 | Micro pipette single Channel 10-100ul |  |  | Single Channel, Adjustable, Autoclavable | 2 | 2 | 4 | No. | 0 | 0
16 | Micro pipette single Channel 50-200ul |  |  | Single Channel, Adjustable, Autoclavable | 2 | 2 | 4 | No. | 0 | 0
17 | Micro pipette single Channel 100-1000ul |  |  | Single Channel, Adjustable, Autoclavable | 2 | 2 | 4 | No. | 0 | 0
18 | Multi-channel Pipette 20-200 ul |  |  | 8 channels, One-handed volume adjustment with brake to protect against accidental volume changes, Four-digit volume display (always visible), Universal tip cone, Completely and repeatedly autoclavable at 121°C (20 minutes) | 2 | 2 | 4 | No. | 0 | 0
19 | Multi-channel Pipette 5-50ul |  |  | 8 channels, One-handed volume adjustment with brake to protect against accidental volume changes, Four-digit volume display (always visible), Universal tip cone, Completely and repeatedly autoclavable at 121°C (20 minutes) | 2 | 2 | 4 | No. | 0 | 0
20 | Multi-channel Pipette 50-500ul |  |  | 12 channels, One-handed volume adjustment with brake to protect against accidental volume changes, Four-digit volume display (always visible), Universal tip cone, Completely and repeatedly autoclavable at 121°C (20 minutes) | 2 | 2 | 4 | No. | 0 | 0
21 | 6-Place Pipette Stand |  |  | Acrylic pipette stands, Holds six pipettes at once, single channel or multi-channel pipettes, no-slip feet. | 2 | 2 | 4 | No. | 0 | 0
22 | Aluminum tube rack for 0.2ml PCR tubes |  |  | Anodized aluminum tube rack holds up to ninety-six (96) indivdual 0.2ml PCR tubes | 5 | 5 | 10 | No. | 0 | 0
23 | Eppendorf tube Racks |  |  | Holds 36 x 1.5-2 mL tubes, 3 rows of 12 wells each, autoclavable | 0 | 2 | 2 | Set of 2 | 0 | 0
24 | Eppondorf tubes |  |  | 02ml tubes (500 tubes), Nippon or Equivalent | 0 | 5 | 5 | No. | 0 | 0
25 | PCR thermocycler tubes |  |  | 0.2 ml, flat cap (1000 tubes) | 0 | 5 | 5 | No. | 0 | 0
26 | PCR Cooler Rack |  |  | 96 wells cooling block is good to use for 0.1ml 0.2 ml PCR Plate, Tubes and Strips, Dimension: 112.2*76.2*20.0mm, no lid | 0 | 2 | 2 | Set of 2 | 0 | 0
TOTAL PRICE OF GOODS OFFERED (without Transport & Delivery costs) without VAT: | [9 empty] | 0
TRD | Transport & Delivery price DDP destination for each destination (PQL & VL) (in USD) |  |  |  | 0 | 0 |  |  |  | 0
GRAND TOTAL DDP PRICE (GOODS + TRANSPORT & DELIVERY to both destinations) without VAT : | [9 empty] | 0
Delivery time (in weeks) from purchase order signature by both parties to Delivery at destination for each destination :
I confirm that the above prices are all inclusive and without Value Added Tax (VAT) and other taxes.
Name: |  |  |  |  | Date: |  |  | Signature:
Note on C8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please enter bidder's item product reference