# Room dividers

There is a Product Partner for this worksection. Click the logo to be redirected to their page.

Worksection application

This worksection is applicable to operable walls, folding doors and accordion doors.

Related material located elsewhere in NATSPEC

Related material may be found in other worksections. For example:

- Doors and hatches for doors in regular door openings and rooms divided by multiple sliding doors.

- Overhead doors for overhead doors and industrial and commercial doors.

- Acoustic insulation for ceiling baffles.

- Joinery for work associated with installation details.

Worksection(s) on which this worksection relies

The following worksections must be included, with this worksection, to provide a complete specification:

- General requirements.

- Door hardware.

Material not included in NATSPEC

Some projects may include items not covered by NATSPEC. For these you may need to create new text, modify this text or use an applicable worksection.

Worksection cross-referencing

Other worksections that cross reference this worksection are:

- None.

Documenting this and related work

Show the following on drawings to your office documentation policy:

- Size.

- Number and arrangement of panels.

- Stacking pattern.

- Pass door.

- Provision for ceiling baffle.

- View panels.

- Corkboard, whiteboard etc.

- Distribution of finishes.

- Joinery associated with installation.

## General

List worksections cross referenced by this worksection. (General requirements references the other general worksections e.g. Metals and prefinishes do not repeat them here.) You may also wish to direct the contractor to other worksections where there may be work that is closely associated with this work.

- Overhead doors.

- Acoustic insulation.

- Joinery.

### Inspection

#### Notice

Give sufficient notice so that inspection may be made of the following:

- Overhead tracks installed before dividers/door panels are hung and ceiling installed.

Hold points, if required, should be inserted here.

### Submissions

#### Samples

Submit 2 samples of each of the following where applicable:

- Sections proposed to be used for frames, louvres and slats.

- Colour range samples of facings and prefinished production material.

- Manufacturer’s standard door furniture items.

Delete if installation is by the supplier noted in Selections.

### Tolerances

#### Tolerances

Deviation (from true grid lines and planes): up to 3 mm maximum in a 1500mm length.

Misalignment (of adjoining surfaces at grid junctions): 3 mm maximum.

Flatness, twist and bow: Maximum 3 mm deviation from a 1500mm straightedge placed in any position.

## Execution

### Completion

#### Maintenance manual

Submit manufacturer’s published recommendations for service use.

#### Cleaning

Temporary coating: On or before completion of the works, or before joining up to other surfaces, remove all traces of temporary coatings used as a means of protection.

## Selections

Refer to the Folding doors, accordion doors and operable walls schedules for details of room dividers for the works.

Designation: If there are several different operable walls in the project, give each one a designation (mark) by which it can be referred. Use this designation on the drawings.

Product: Specification by proprietary item (manufacturer’s standard door suite), will automatically cover most of the items in this schedule.

Door arrangement: e.g. “Single, attached at jamb”, “Single floating (latches to either jamb)”, or “Double (attached to both jambs, joins in the centre)”. State “Cavity stacking” if required.

Stacking arrangement: May be shown on the drawings. Many arrangements are possible, depending on whether the panels are suspended at one or two points.

Panel suspension: “Single point” or “Two point”.

Panel type: There is a wide variety of types available. Consult manufacturers.

Lateral movement prevention: e.g. “Floor guides” or “Retractable horizontal seal, requiring no floor guide”.

Power operation: Available with some types of operable walls.