# GENERAL REQUIREMENTS

Worksection application

This “umbrella” worksection draws together administrative material which is common to most if not all of the technical worksections and which should therefore be brought to the attention of subcontractors and others using that material.  Each technical worksection includes a cross reference to that effect.  General requirements covers topics such as referenced documents, interpretation, inspection and tests, samples and contractor’s submissions, materials and components, installation, marking and completion.

The project specification for this worksection may describe acceptable forms of warranty, notice required for inspections, and acceptable testing authorities. It will also define the relationship between the complete project specification and the drawings.  The worksection should be read in the context of the general conditions of contract, any special conditions of contract, the project preliminaries, and any separately specified quality assurance requirements.

Related material located elsewhere in NATSPEC

Related material may be found in other worksections. For example:

- Mechanical general requirements for Mechanical Services.

- Hydraulic general requirements for Hydraulic Services

- Electrical general requirements for Electrical Services.

- Interiors general requirements for Interiors fitout works.

NATSPEC worksection(s) on which this worksection relies

The following worksections must be included, if this worksection is used, to provide a complete specification:

- None.

Associated material not included in NATSPEC

Some projects may include items not covered by this worksection. For which you may need to create new text. Worksection cross-referencing

Other worksections that reference this worksection are:

- All.

## GENERAL

List here any copies of standards required to be held on site.

### CONTRACT DOCUMENTS

#### Drawings

Large scale drawings take precedence over small scale drawings. Written or calculable dimensions take precedence over scaled dimensions.

If there are any errors in dimensions, set out or size, immediately notify the Employers representative.

#### Bill Of Quantities

If there are any errors in description of items or omissions in the BOQ, immediately notify the Employers representative.

If there are any items which are unclear or are not available within the project programme, immediately notify the Employers representative.

#### Services diagrammatic layouts

Layouts of service lines, plant and equipment shown on the drawings are diagrammatic only, except where figured dimensions are provided or calculable.

Before commencing work:

- Obtain measurements and other necessary information.

- Coordinate the design and installation in conjunction with all trades.

#### Site Levels

Spot levels and identified levels on drawings take precedence over contour lines and ground profile lines.

### INSPECTION

#### Inspection Notification Schedule

The Contractor is to notify the Employers representative when the items identified in the Inspection notification schedule are ready for inspection.

#### Notice

Minimum notice for inspections to be made on site is 24 hours for off site personnel, 4 hours for onsite personnel.

e.g. on-site: 4 hours, off-site: 2 working days. Increase if your office is remote from the site.

If notice of inspection is required in respect of parts of the works that are to be concealed, advise when the inspection can be made before concealment.

### SUBMISSIONS

Some NATSPEC technical worksections provide for specifying particular requirements for shop drawings, contractor’s schedules, and other documentation, including their content. Contractor’s submissions may include manufacturer-generated material and contractor-generated material, required where selection of important items has been by the contractor.

e.g. 5 working days. Timing for particular submissions, such as QA manuals, should be specified in the appropriate technical worksections. The requirement here is a catch-all default.

#### Samples

Consider setting up a procedure for acceptance criteria, storage and location, and verification with site deliveries.

Submit nominated samples for approval of the Employers representative.

If it is intended to incorporate samples into the works, submit proposals for approval. Only incorporate samples in the works which have been approved. Do not incorporate other samples.

Keep endorsed samples in good condition on site, until practical completion.

Prototypes

Where prototypes are called for in other worksections consider setting up a protocol for approval and for the approved prototype to be the benchmark of quality for all subsequent work.

#### Shop drawings

Specific requirements for shop drawings should be specified in the appropriate worksection. See RAIA Advisory Note AN16.01.100 for advice on the processing of shop drawings. The “Review” stamp suggested in that document should also be used. If a contractor’s submission is rejected, reasons must be given

General: If required, submit dimensioned drawings showing details of the fabrication and installation of services and equipment, including relationship to building structure and other services, cable type and size, and marking details.

Diagrammatic layouts: Coordinate work shown diagrammatically in the contract documents, and submit dimensioned set-out drawings.

Nominate alternatives or include both.

## PRODUCTS

### TESTS

#### Notice

Give notice of time and place of nominated tests.

e.g. on-site: 4 hours, off-site: 2 working days. Increase if your office is remote from the site.

#### Attendance

The Contractor is to carry out and attend all tests where nominated in this specification.

As a minimum, the Contractor will carry out the following tests:

- Flatness of the sub-base (allowed tolerance is 2 cm using the 4 Lm bar test), to be certified on site.

- Flatness of the base of foundations (allowed tolerance is 2 cm using the 4 Lm bar test), to be certified on site.

- Testing of the granulometric composition and strength of all aggregates to be used.

- Testing of all concrete in accordance with the regulations and methods as stated in Concrete section of the specification.

- Bricks shall have certified crush strength of greater than 105kg/cm2.

- Upon completion of the electrical installation a test and measurement of the earth reading for the building is to be undertaken. The results of this test are to be certified by a properly qualified electrical employer’s representative and the results are then to be presented to the Employers representative for acceptance.

- Full load testing and commissioning of all components of the electrical system is to be included for the various components of the electrical system. The electrical works will not be approved until the entire system has been successfully tested and signed off in the presence of a suitable qualified UNOPS Employer’s representative.

- The Contractor will supply all necessary appliances and labour for testing of the complete water supply system at such time and as directed by the Employers representative. Such testing shall as a minimum require the pressurizing of the complete water supply system to a pressure of not less than 4.5bar. The pipe work and fittings shall retain this pressure for a minimum of 1 hour following the commencement of the test.

- All drains shall be hydraulically tested to a minimum of 1500 mm head and no drains shall be covered up until such test has been made and repeated as necessary until passed to the approval of the Employers representative. Access plugs and caps shall be removed, greased, refitted and made sound prior to the final testing.

### MATERIALS AND COMPONENTS

#### Consistency

For the whole quantity of each material or product use the same manufacturer or source and provide consistent type, size, quality and appearance.

Edit to suit the project with regard to the location of the building and the degree of exposure of external walls e.g. High, Medium, Low as defined in the Commentary Corrosivity table.

Corrosion resistance tables are provided in worksections covering materials that require corrosion protection. The project corrosivity category will then determine which of the Corrosion resistance tables are applicable. Where these corrosion resistance tables occur you should edit out the ones not applicable to eliminate any design/selection decisions by the builder. Such as:

- Adhesives, sealants and fasteners.

- Brick and block construction.

- Partitions – brick and block

- Plastering.

- Mechanical general requirements.

#### Manufacturers’ or suppliers’ recommendations

Proprietary items: Select, if no selection is given, and transport, deliver, store, handle, protect, finish, adjust, prepare for use, and provide manufactured items in accordance with the current written recommendations and instructions of the manufacturer or supplier.

Proprietary systems/assemblies: Assemble, install or fix in accordance with the current written recommendations and instructions of the manufacturer or supplier.

Project modifications: Advise of activities that supplement, or are contrary to, manufacturer’s or suppliers’ written recommendations and instructions.

#### Proprietary items

Identification of a proprietary item does not necessarily imply exclusive preference for the item so identified, but indicates the necessary properties of the item.

Alternatives: If alternatives are proposed, submit proposed alternatives and include samples, available technical information, reasons for proposed substitutions and cost. If necessary, provide an English translation. State if provision of proposed alternatives will necessitate alteration to other parts of the works and advise consequent costs.

## EXECUTION

### COMPLETION

#### Warranties

Name the employer as warrantee in conformance with the Warranty schedule. Register with manufacturers as necessary. Retain copies delivered with components and equipment.

Check that the principal/proprietor is to be the warrantee - vary accordingly. The principal/proprietor may not be the owner or end user in every case, for example.

Commencement: Commence warranty periods at practical completion or at acceptance of installation, if acceptance is not concurrent with practical completion.

Schedule all warranties in the Warranty schedule of this worksection or in the appropriate technical worksection. If located in technical worksections edit this clause and delete the schedule. See also the Commentary.

### OPERATION AND MAINTENANCE MANUALS

#### General

General: Submit operation and maintenance manuals for installations.

#### Format – hard copy

These will be A4 size loose leaf, in commercial quality files with hard covers, each indexed, divided and titled. Include the following features:

- Cover: Identify each binder with typed or printed title “OPERATION AND MAINTENANCE MANUAL”, to spine. Identify title of project and date of issue.

- Drawings: Fold drawings to A4 size and accommodate them in the files so that they may be unfolded without being detached from the rings.

- Text: Manufacturers’ printed data, including associated diagrams, or typewritten, single-sided on paper, in clear concise English.

Number of copies: 3.

AS/NZS 1170.0 specifies general procedures and criteria for the structural design of a building or structure in limit states format. It covers the following actions:

- Permanent action (formerly dead load).

- Imposed action (formerly live load).

- Wind.

- Snow.

- Earthquake.

- Liquid pressure.

- Ground water.

- Rainwater ponding.

- Earth pressure.

Use this schedule to specify design values to be used by contractors undertaking detailed design of components.

Refer to RAIA Advisory Note AN14.02.100 which offers a form of warranty with an appendix, as a guide only. The form(s) required should be provided as part of the contract documentation.