# Preliminaries

Worksection application

This worksection is applicable to the general requirements of the owner and allows for the selection of a contract. The project specific version may include site security arrangements, occupancy constraints, adjoining properties constraints, owner's site office and other temporary facilities, project signage, provisional sums, requirements for progress photographs, authority requirements, survey requirements, owner-supplied items, separate contracts, some aspects of cost adjustment, and pest eradication.

Related material located elsewhere in NATSPEC

For example Preliminaries for the following contracts have also been prepared:

- ABIC MW-1 – Major works contract.

- ABIC SW-1 – Simple works contract.

- AS 2124 – General conditions of contract.

- AS 4000 – General conditions of contract.

- AS 4905 – Minor works contract conditions (Superintendent administered).

Worksection(s) on which this worksection relies

The following worksections must be included, with this worksection, to provide a complete specification:

- None.

Material not included in NATSPEC

Some projects may include items not covered by NATSPEC. For these you may need to create new text, modify this text or use an applicable worksection. For example:

- On incorporation of the owner’s policies (e.g. apprentice employment, prohibition of smoking, union labour employment, existing site allowances, procurement policies, insurance arrangements), see RAIA Advisory Note AN 15.01.603 (the standard preliminaries of many public works authorities include clauses on policy - this worksection includes some prompts but no text).

- The contractor’s preliminaries are not included (e.g. scaffolds, lunch sheds, cranes, site security) except where these relate to ‘persons other than contractor’ (who may be either separate contractors or persons identified by the architect who become subcontractors).

- Worksection cross referencing

- Other worksections that cross reference this worksection are:

- None.

- Documenting this and related work

- You may document this and related work as follows:

- An outline description of the works should be located in the contract and the contract documents, should be listed.

- Consider incorporating development approval conditions that are the responsibility of the Contractor.

- This worksection should be read in the context of the general conditions of contract, any special conditions of contract, and any separately specified quality assurance requirements.

See also the Commentary.

## General

### Pre-Construction Work

The Employers Representative and Contractor will carry out a joint condition-in survey using video or digital photographs to record the condition of the site upon handover to the Contractor. This will determine the state of the site that the Contractor must hand back upon completion of the works.

The Contractor will carry out a detailed site set out survey for the works.

A Pre-Construction Meeting will be held between the Employers Representative and the Contractor to review the following information:

- Condition-in Survey

- Site Survey

- Work Method Statement

- Programme

- Schedule of Materials and Installed Equipment

If the Employers Representative approves the above documentation, then the Contractor will be issued with the Notice to Proceed. If the documentation is incomplete, the Contractor will have 3 calendar days to revise and resubmit the documentation for approval.

The contract period begins on the day the Notice to Proceed is issued.

The Contractor must mobilise on the project site within 7 calendar days of the date of issue of the Notice to Proceed.

See the selected contract section on the site.

#### Site restrictions

Site security limitations: Comply with any restrictions on site area, access or working times advised by the Employers Representative.

If not shown on the drawings, give details of easements, restrictions arising out of the actions of adjoining land owners, limitations related to continued occupancy by the owner, toxic ground conditions and the like, including maximum noise levels and hours of work not covered by local authority conditions (dealt with under Miscellaneous, below). See also the Commentary.

Access: Access on to and within the site, use of the site for temporary works and constructional plant, including working and storage areas, location of offices, workshops, sheds, roads and parking, is restricted to the areas shown on the drawings or as agreed with the Employers Representative.

e.g. “Shown on drawing A001”, “To be determined”.

#### Occupied areas of site or buildings

Refer also to clauses of the selected contract on possession of and access to the site.

For the parts of the site designated as occupied areas in the Occupied areas schedule:

- Allow occupants to continue using the area for the required period.

- Make available safe access for occupants.

- Arrange work to minimise nuisance to occupants and ensure their safety.

- Protect occupants against weather, dust, dirt, water or other nuisance, by such means as temporary screens.

Complete the schedule if the owner or occupants authorised by the owner will remain in possession of part of the site.

Occupants: e.g. “The owner”, “The owner’s ... department”, “The public”, or name other persons or organisations.

Occupied premises: Describe, or refer to marked areas on the drawings.

Period of occupancy: e.g. “Duration of the contract”.

Appropriate for work in occupied premises where the occupants are similarly constrained. Sometimes a standard owner’s policy for all projects.

#### Protection of persons and property

Temporary works: Provide and maintain required barricades, guards, fencing, shoring, temporary roadways, footpaths, signs, lighting and traffic flagging.

Edit to complement local authority requirements scheduled under Miscellaneous, below. This paragraph should describe the owner’s requirements only. The responsibility for these items is usually the contractor’s.

Accessways, services: Do not obstruct or damage roadways and footpaths, drains and watercourses and other existing services in use on or adjacent to the site. Determine the location of such services. If damage occurs, immediately repair it at the Contractors cost.

Delete if noted in the Authority conditions schedule.

Property: Do not damage property which is to remain on or adjacent to the site, including adjoining property encroaching onto the site. If damage occurs, immediately repair it at the Contractors cost.

#### Existing services

Attend to existing services as follows:

- If the service is to be continued, repair, divert or relocate as required.

- If the service is to be abandoned, cut and seal or disconnect, and make safe.

Submit proposals to the Employers Representative for action for existing services before starting this work. Minimise the number and duration of interruptions.

#### Adjoining property

Records: For properties described in the Adjoining properties to be recorded schedule:

- The Contractor is to inspect the properties with the Employers Representative and Employers and occupants of the properties, before start of work.

- Make detailed records of conditions existing within the properties, especially structural defects and other damage or defacement.

- Arrange for at least 2 copies of each record, including drawings, written descriptions, and photographs, to be endorsed by the owners and occupants, or their representatives, as evidence of conditions existing before commencement of work.

See RAIA Advisory Note AN 11.01.101 on project records.

Submit one endorsed copy of each record to the Employers Representative. The Contractor is to keep the other endorsed copy.

Complete the schedule if there is danger of damage to adjoining property, including the owner’s own, and if precautionary inspections and records need to be made. See RAIA Advisory Note AN 13.01.102 on party walls, AN 13.04.100 on inspections, and AN 18.01.401 on inadvertent building on adjoining property.

### Construction plant

#### Access

Access route and site access point are as shown on the drawings or as agreed with the Employers Representative.

Show on drawings. Nominate a temporary road if required to protect the owner’s property.

Indicate designated roads on the drawings. Proposals for control of traffic on the owner’s property by the contractor should be submitted for review. Off-site traffic control needs authority approval - the contractor’s responsibility.

#### Use of existing services

Existing services may be used as temporary services for the performance of the contract subject to conditions stated in the Existing services schedule.

#### Contractors Facilities and Work Practices

The Contractor is required to provide adequate toilet and washroom facilities for his staff. These facilities shall be kept clean and serviceable at all times.

The Contractor is required to provide adequate first aid equipment on-site, failure of the Contractor to ensure the availability of first aid equipment on-site will result in an immediate ‘stop work’ order being issued. All costs and time delays resulting from any such ‘stop work’ order are entirely the Contractors responsibility.

A site office will be established by the Contractor at the work site.  The location of the site office will be identified by the Employers Representative to the Contractor. The office will have a complete set of the contract documents.

The Contractor is to maintain a safe, healthy and tidy worksite at all times and all work activities are to be performed with protective and safety equipment appropriate for the task. The Contractor is entirely responsible for workplace safety and unsafe work practices will be identified and recommendations made for revised work methods as appropriate.

If existing services, including telephones or permanent building lighting, may be used for contract purposes, list them here and state any conditions applying to their use, e.g. “The existing water service on the site, at no charge”, “Do not disrupt continuous service to owner”, “Pay for connections”, “Provide separate metering and reimburse owner”, “Fully maintain the service”. You may wish to clarify the situation after practical completion i.e. the owner is not liable for services, water, fuel used by the contractor after this point.

Temporary services are generally the business of the contractor. If it is necessary to specify particular requirements, do so here, e.g. temporary services for owner’s facilities if construction activities interfere, power for testing, temporary distribution boards, special lighting requirements, water for testing, metering and payments for services.

#### Project signboards

Provide project-specific signboards and the following:

- Location, size and wording as directed by Employers Representative.

- Maintain in good condition for duration of the work.

- Remove on completion.

Obtain approval before display of advertisements or provision of other signboards.

### Building the works

#### Surveys

Use if instructions are required additional to those in selected contract sections dealing with Owner’s obligations and Contractor’s obligations e.g. employment of licensed surveyor to check tolerances of structural elements such as position of columns, verticality of columns and facades, and floor levels. Also, provision of equipment and labour to assist checks by the architect. See RAIA Advisory Note AN 13.01.101.

Setting out:	Set out the works from the dimensioned drawings

Check the selected contract. Additional information required here may include data and survey marks (pegs, bench marks etc.) necessary for setting out. If this information is available, state how it can be obtained e.g. identify and supply the survey. If it is not, state how it is to be provided by the owner e.g. source, timing, or leave it to the administering architect to sort out.

Check surveys:	Check the setout regularly on site

Final survey:	Confirm final setout of roads, services and buildings on the as constructed drawings after Substantial completion

#### Survey marks

Protection of the contractor’s survey marks is the contractor’s obligation. Check the selected contract.

Definition: The term “survey mark” means a survey peg, bench mark, reference mark, signal, alignment, level mark or any other mark used or intended to be used for the purpose of setting out, checking or measuring the work.

Care of survey marks: Preserve and maintain the survey marks in their true positions. If the survey marks are damaged, immediately advise the Employers Representative and rectify the damage.

#### Contractor's representative

The contractor must employ a suitably experienced Employers Representative as the Site Manager. This person must be on site during working hours, and fluent in English and technical terminology. The Contractor’s Site Manager will have the authority to make all decisions concerning the project

#### Programme of work

Check that the selected contract allows for:

- The program to be submitted to the Architect.

- Provisions for the submission to the Architect of updated programs.

- Provisions for the Architect to call for amendments to the program.

- Provisions for the entitlement of the Contractor to claim for program amendment.

This subclause establishes only the basic requirements for a construction program. On provisional periods for delay see RAIA Advisory Note AN 16.06.101. On the architect’s role in expediting the works, see RAIA Advisory Note AN 16.06.102.

The Contractor is to provide a construction programme which has the following information:

- Sequence of work.

- Allowance for holidays.

- Activity inter-relationships.

- Periods within which various stages or parts of the work are to be executed.

Revise default submission requirements as necessary.

Time scale: Working days.

Update the programme weekly. Identify changes since the previous version, and show the estimated percentage of completion for each item of work.

#### Site meetings

Hold and attend weekly site meetings throughout the contract and ensure attendance of appropriate subcontractors, the Site Manager and Employers Representative. The meeting schedule may be modified by the Employers Representative.

The meeting will consider the following items:

- Technical issues.

- Commercial issues.

- Programme.

- Quality of work.

Refer to RAIA Advisory Notes AN 02.01.301, AN 02.01.302, AN 11.01.100, and AN 16.06.102 recommendation 3.09 that the owner be invited to attend or send a representative to site meetings to observe, but not necessarily to participate. Agendas may be required on large projects.

The frequency of meetings is best agreed by the architect and contractor, as being the most appropriate for the particular project, and may vary. It is helpful if meetings coincide with the timing of progress claims, though not essential.

The Contractor is to keep minutes of site meetings. Within 3 working days after each meeting, submit to each party written copies of the minutes.

Delete if the architect is to take and distribute the minutes.

#### Items supplied by owner

Materials and other items identified in the Items to be supplied schedule will be supplied free of charge to the Contractor for installation in the execution of the works. Unload and take delivery of them, inspect them for defects and then take care of them. If defects are found, advise. Return unused items to the owner.

If quality assurance is required, the owner as a supplier to the contractor will need to supply items which are consistent with quality requirements of the works, and certify this, or advise which items are not consistent. This could be extended to the contract documents themselves - are they current, complete, unambiguous?

For delivery of critical items under the control of the architect/owner (e.g. statues, electrical equipment). If there is not adequate storage available, action may be required.

Of delivery or availability, to permit preparation of program.

The items may be part of existing structures, services, survey marks, etc.

Interface work required of the contractor in connection with the work of ‘persons other than contractor’, such as cutting holes, chasing, provision of plinths, sealing penetrations and making good could be specified in detail here or in the appropriate worksection of the head contract specification. If not specified at all it is liable to give rise to a claim for a variation. Interfaces of persons other than contractor work (sometimes erroneously called “scope of work”) are better delineated in the ‘person other than contractor’ documents itself. They should exactly complement any in the head contract. Liaise with the consultants responsible for ‘person other than contractor’ documents, and the construction or project manager, if any.

### Completion of the works

#### Final cleaning

Lamp and filter replacement, and the like, are dealt with in the various SERVICES worksections.

Before Substantial completion, clean throughout, including interior and exterior surfaces exposed to view. Clean carpeted and soft surfaces. Clean debris from the site, roofs, gutters, downpipes and drainage systems. Remove waste and surplus materials.

#### Reinstatement

Before substantial completion, clean and repair damage caused by installation or use of temporary work and restore existing facilities used during construction to original condition.

#### Adjoining property

At substantial completion, for properties described in the Adjoining properties to be recorded schedule inspect the properties with the Employers Representative and owners and occupants of the properties, recording any damage that has occurred since the pre-commencement inspection.

#### Post construction Works

The Contractor will provide the following documentation after all site construction has been completed:

- Warranty Statement

- Material Test Certificates

- As-Built Drawings

A condition-out survey will be conducted with the Contractor and Employers Representative at which damages caused by the Contractor will be identified. The Employers Representative will determine if the Contractor is to make repairs or if the damage will be deducted from the Contractor’s final invoice.

e.g. “Exterminator’s recommendation”. On birds and buildings, see BDP EDG DES56.

#### Removal of plant

Within 10 working days after substantial completion, remove temporary works and construction plant no longer required. Remove the balance before the end of the defects liability period.

### Payment for the works

It is assumed that any contingency sum is reserved outside the contract. However the contingency sum may be included as a provisional sum; if so then the method of adjustment should be included in the Template. A single adjustment can then be made when the works are complete, i.e. at practical completion.

#### Anticipated progress claims schedule

Adjust if necessary to align with the procedure for progress claims set out in the selected contract. Ideally the schedule will address each trade or package, not just the total claim. This will be intimately linked to the program of work.

The Contractor is to submit a schedule of anticipated progress claims which will be made throughout the contract. Submit a revised schedule with each progress claim.

This subclause should be modified if there is a priced bill of quantities.

### Miscellaneous

Check the selected contract. It may be optional.

#### Compliance with the law

The Contractor is responsible for compliance with all requirements of authorities. The owner, before entering into the contract, has given the notices, paid the fees, and obtained the permits, approvals and other authorisations stated in the Prior applications and approvals schedule.

On occupational health and safety requirements see RAIA Advisory Note AN 14.01.612. The roles of private certifiers are not covered in these Notes or in this Commentary, and vary between jurisdictions.

Authorities commonly impose conditions governing noise, access, dust, hours of operation, inspections and traffic control. The contractor is obliged by law to comply with environmental protection legislation and with local authority requirements. The contract cannot interfere with that obligation, but may stipulate more stringent requirements for contract purposes. Consider specifying any such requirements here in a separate schedule. Responsibility for conditions, if any, imposed by local authorities needs to be resolved. Consider scheduling here those conditions which affect the contractor. Coordinate with Site limitations: under Site restrictions, above. Ultimately, all the conditions are the responsibility of the applicant (owner) as far as the local authorities are concerned.