ANNEX I- SCOPE OF WORKS – Harare (Lot 3)

DOCUMENT FOR SCOPE OF WORKS INCLUDE THE BILLS OF QUANTITIES, COMPLETE SET OF DRAWINGS AND TECHNICAL SPECIFICATIONS.

Introduction – The construction and renovations of the Pharmacy Storage blocks referred to in the Bills of Quantities and set of architectural, structural are Drawings are planned under GFATM-funded project and implemented by United Nations Office for Project Services (UNOPS) in partnership with the United Nations Development Programme (“UNDP”) - Zimbabwe Country office.

The works includes the Construction of a new Pharmacy Storage block and civil works at Beatrice Road Infectious Disease Hospital in Harare City in Zimbabwe. The gross floor area and the type of construction are as per the table below:-

| Sr. No | Name of Facility | Floor Area (m2) | Type of Activity |
| --- | --- | --- | --- |
| 1 | Beatrice Road Infectious Disease Hospital | 800 | New Works |

Scope of Works – Supply all labor, materials and equipment for the new construction, renovation and completion of above specified facilities in the identified locations, including all the required finishes to the approval of UNOPS’ Engineers and as described in the Bills of Quantities. All works should be compliant with as the descriptions in the technical Specifications, Drawings and Bills of Quantities to meet the following main completion status.

- Site Clearance including excavations for strip foundations for new works.

- Casting of strip foundation footing  using reinforced  concrete  as detailed for the new works

- Beams, lintols and  reinforced concrete where necessary to receive the required quality detailed on specification & drawings

- Walling using brickwork or cement and sand block as specified in cement and sand mortar as specified in the Bills of Quantities.

- Roofing-Supply and fixing of timber roof structure comprising of 150mm x 50mm Rafters, Ties and Struts and 75mm x 50mm purlins and roof coverings using galvanized corrugated roof sheets of specified.

- Doors and Windows-Supply and fixing of steel doors and windows in filled with 4mm thick clear sheet glass and 16mm diameter steel rods where specified as per specification, drawings and Bills of Quantities including painting to the Engineer’s Approval.

- Finishes-Floor screed as specified, rendering to external walls and lime plaster to internal walls and painting with the specified paint. 6.4mm thick plasterboard ceiling appropriately painted.

- All electrical works should be done where necessary as per drawings, BOQ and specifications.

Water supply & drainage system to be completed where required as per drawings, BOQ and specifications