##### UNITED NATIONS OFFICE FOR PROJECT SERVICES

PROJECT SCHEDULES FOR

INFRASTRUCTURE SUPPORT TO GLOBAL FUND TO FIGHT HIV/AIDS, TUBERCULOSIS AND MALARIA IN ZIMBABWE, ROUND 8 PHASE II

BLOCK 7, ARUNDEL OFFICE PARK,

MOUNT PLEASANT HEIGHTS,

HARARE ZIMBABWE

Prepared by Peter Ooko K’Aluoch

Harare, Zimbabwe, AFO

September 2013

#### 1.1 Occupied Areas Schedule

| Occupants | Occupied premises | Period of occupancy |
| --- | --- | --- |

#### 1.1 Adjoining Properties to be Recorded Schedule

| Location | Owner | Description |
| --- | --- | --- |

#### 1.1 Existing Services Schedule

| Service | Conditions of use |
| --- | --- |

#### 1.1 Items to be Supplied Schedule

| Location | Item | Quantity | Date |
| --- | --- | --- | --- |

#### 1.1 Prior Applications and Approvals Schedule

| Prior notices given and applications made | Fees paid | Permits, approvals and authorisations received |
| --- | --- | --- |

#### 1.2 Inspection Notification Schedule

Item for inspection

- Demolition- Adjacent structures before commencement of demolition.

Demolition- Propping of structures prior to demolition works

- Demolition- Structure after stripping and removal of roof coverings and other external cladding.

- Demolition- Underground structures after demolition above them.

Earthwork- Excavation completed to contract levels of founding material.

- Earthwork- Filling completed to contract levels.

Service Trenching- Service trenches excavated before laying the service.

- Service Trenching- Services laid in trenches and ready for backfilling.

- Landscape- Walls and Fences- Setting out before commencement of construction.

- Landscape- Walls and Fences- Filter fabric and subsurface drainage in place before backfilling.

Landscape- Soils and Planting - Lawns prepared before seeding.

Landscape- Soils and Planting- Plant holes excavated and prepared for planting.

Landscape- Soils and Planting- Set out of gravel paths prepared for filling

Pavement Base and Subbase- Prepared subgrade.

- Pavement Base and Subbase- Proof rolling of base prior to sealing.

- Concrete Pavement- Concrete formwork, reinforcement and dowels in position.

- Concrete Pavement- Commencement of concrete placing.

- Pavers- Mortar bed- Substrate immediately before tiling.

Pavers- Mortar bed- Trial set-outs before execution

- Pavers- Mortar bed- Control joints before sealing.

- Pavers- Sand bed- Completed base preparation.

- Pavers- Sand bed- Completed trial set-out for segmental paving.

- Pavement Kerb, Channel and Linemarking- Set out of kerbs and channels.

- Pavement Kerb, Channel and Linemarking- Set out of linemarking prior to painting.

- Concrete- General- Base or subgrade before covering.

- Concrete- General - Membrane or film underlay installed on the base.

- Concrete- General - Completed formwork, and reinforcement, cores, fixings and embedded items fixed in place.

- Concrete- General - Surfaces or elements to be concealed in the final work before covering.

Concrete- Commencement of concrete placing.

- Precast Concrete- Formwork dimensions and stability.

- Precast Concrete- Panel edge details and penetrations.

- Precast Concrete- Connection materials, reinforcement and inserts in place.

- Earth Block Walling- Forms for blocks prior to casting blocks.

- Earth Block Walling- Completed blocks prior to use.

- Earth Block Walling- Damp-proof courses, in position.

- Earth Block Walling- Built-in items, in position.

Brickwork- Set out of brickwork to lintels, arches and other architectural features.

- Brickwork- Damp-proof courses, in position.

- Brickwork- Lintels, in position.

- Stonework- The prepared stone sample range.

Stonework- Lintels in position.

- Stonework- Damp-proof courses, in position.

Light Steelwork- Steel framing after erection before lining or cladding.

- Steelwork Painting- Surfaces after preparation prior to application of first coating.

Steelwork Painting- Coating after application of final coat.

Light Timberwork- Timber framing after erection before lining or cladding.

Light Timberwork- Roof framing and connection to wall and ceiling structures.

- Waterproofing- Background preparation completed.

- Waterproofing- Before membranes are finished, covered up or concealed.

- Roofing- Roof framing during construction.

- Roofing- Those parts of the roofing, vapour barrier, insulation and roof plumbing installation which will be covered up or concealed.

- Windows- Openings prepared to receive windows (where windows are to be installed in prepared openings).

- Windows- Fabricated window assemblies delivered to the site, before installation.

- Windows- Commencement of window installation.

- Doors- Door frames standing in place before building in to brickwork.

Doors- Door frames installed before fixing trim.

- Glass Blockwork- Frame and expansion jointing installed, before reinforcing.

- Glass Blockwork- Perimeter and vertical reinforcing installed, before placing mortar and blocks.

Glazing- Glass products before they are installed.

Insulation- Insulation to roof space in areas which will be covered up or concealed.

Lining- wall face or framing before installation of linings.

- Partition systems- Installation of framing / fixings before they are enclosed.

- Room dividers- Overhead tracks installed before dividers/door panels are hung and ceiling installed.

Suspended Ceilings- Framing preparation and setout of suspended ceilings before installation of panels

- Joinery- Shop fabricated or assembled items ready for delivery to the site.

- Joinery- Site erected assemblies on completion of erection.

Metalwork- Shop fabricated or assembled items ready for delivery to the site.

Metalwork- Site erected assemblies on completion of erection.

Stainless Steel Benching- When fabrication is complete, before delivery.

- Window coverings- Building locations and surfaces prepared to receive window coverings before installation.

- Plastering- Backgrounds immediately before applying base coats.

- Plastering- Finish treatments before decoration.

Tiling- Floor preparation and set out of floor tiles before fixing.

- Tiling- Wall preparation and set out of wall tiles before fixing.

- Tiling- Control joints before sealing and grouting.

- Vinyl Finishes- Substrate immediately before fixing vinyl finishes.

- Carpets- Subfloor prepared to receive the carpet installation.

- Carpets- Fixings, edge strips, and underlay installed ready to lay carpet.

Painting- substrate immediately before application of paint finishes.

Mechanical Services- Equipment in place before connection and commissioning.

- Water Services- Underground pipework prior to concealment.

Water Services- Above ground pipework prior to concealment.

- Electrical Services- Underground electrical services conduits prior to concealment.

- Electrical Services- Above ground electrical services conduits in walls prior to concealment.

- Electrical Services- Switchboards prior to installation.

Generating Sets- completed generating set and associated systems before connection to electrical services

#### 1.2 Warranty Schedule

| Warranty | Form | Period |
| --- | --- | --- |

Salvaged for re-use: e.g. hardware, equipment. If re-use is not permitted either delete or state “Re-use not permitted”.

Demolished for re-use: e.g. hardcore. On the use of recycled concrete and masonry materials, see SAA HB155.

#### 2.1 Salvaged Materials for Re-use Schedule

| Item for re-use | Location for re-use |
| --- | --- |

#### 2.1 Salvaged Materials for Disposal Schedule

| Item for disposal | Location for disposal |
| --- | --- |

#### 2.1 Identified Hazardous Materials Schedule

| Item | Hazardous material | Component |
| --- | --- | --- |

#### 2.6 Soil Additives Schedule

| Location | Additive type | Additive rate |
| --- | --- | --- |

#### 2.6 Plant Schedule

| Plant key | Plant species | Number required | Plant size (mm) |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Container size | Minimum trunk diameter | Plant height |

#### 2.7 Base and Subbase Compliance Schedule

| Course | Source | Compliance requirement |
| --- | --- | --- |
| - Base | - Crushed rock or natural gravel |  |
| - Subbase | - Crushed rock or natural gravel |  |

#### 2.9 Paving Schedule

| Paver Properties | Types |  |  |
| --- | --- | --- | --- |
|  | P1 | P2 | P3 |
| Product name |  |  |  |
| - Location |  |  |  |
| - Work size |  |  |  |
| - Material: - Natural stone product |  |  |  |
| - Manufactured stone product |  |  |  |
| - Cement product |  |  |  |
| - Terrazzo product |  |  |  |
| - . Clay/ ceramic product |  |  |  |
| - Colour |  |  |  |
| - Surface finish |  |  |  |
| Beddings: Sand bedding |  |  |  |
| Beddings: - Mortar bedding |  |  |  |
| Grout colour |  |  |  |

#### 3.1 Non reinforced concrete schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
| Location |  |  |  |
| Colour |  |  |  |
| Tolerance class |  |  |  |
| Final Finish |  |  |  |
| Joint notes |  |  |  |

#### 3.1 Reinforced concrete schedule

| Properties | Types |  |
| --- | --- | --- |
| Location |  |  |
| Colour |  |  |
| Tolerance class |  |  |
| Final Finish |  |  |

#### 3.2 Concrete- Integral Finishes Schedule

| Finish Properties | Types |  |  |
| --- | --- | --- | --- |
|  | IF1 | IF2 | IF3 |
| Location |  |  |  |
| Tolerance class |  |  |  |
| Integral finish |  |  |  |
| Final finish |  |  |  |
| Non-slip finish |  |  |  |
| Colour |  |  |  |
| Surface modifier |  |  |  |

#### 3.2 Concrete- Formed Surface Finishes Schedule

| Surface Properties | Types |  |  |
| --- | --- | --- | --- |
|  | FSF1 | FSF2 | FSF3 |
| Location |  |  |  |
| Surface finish type |  |  |  |

#### 3.3 Precast Concrete Prototypes Schedule

| Unit type | Number of prototypes |
| --- | --- |

#### 3.4 Earth Block Walling Construction Schedule

| Earth Block wall | Description |
| --- | --- |
| Location |  |
| Built-in components |  |
| Damp-proof course type |  |
| Flashings material |  |
| Lintel type |  |
| Other components |  |

#### 3.5 Brickwork Construction Schedule

| Brickwork Type | First Class | Second Class |
| --- | --- | --- |
| Location |  |  |
| Colour |  |  |
| Mortar and colour |  |  |
| Built-in components |  |  |
| Damp-proof course type |  |  |
| Flashings material |  |  |
| Lintel type |  |  |
| Other components |  |  |

#### 3.6 Stonework Construction Schedule

| Stonework Type | Type 1 | Type 2 |
| --- | --- | --- |
| Location |  |  |
| Colour |  |  |
| Mortar and colour |  |  |
| Built-in components |  |  |
| Damp-proof course type |  |  |
| Flashings material |  |  |
| Lintel type |  |  |
| Other components |  |  |

#### 4.1 Single Layer Waterproofing System Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | SLWS1 | SLWS2 | SLWS3 |
| Location |  |  |  |
| Proprietary system |  |  |  |
| Sheet type |  |  |  |
| Sheet thickness (mm) |  |  |  |
| Base weight (kg/m2) |  |  |  |
| Method of fixing to background |  |  |  |
| Thermal insulation type |  |  |  |
| Surface protection/finish |  |  |  |

Proprietary system: If the system is specified by proprietary name, some of the other schedule items may be unnecessary and can be deleted.

Sheet type: e.g. “Polymeric” (EPDM, butyl, etc.), “Polymer modified bitumen”.

Method of fixing to background: e.g. “Proprietary adhesive”, “Heat weld”.

Thermal insulation type: e.g. one of the types specified in the Insulation and barriers worksection. Some proprietary extruded polystyrene boards are recommended by the manufacturer for applying above the membrane (with suitable protection) to form an “inverted” roof insulation system.

Surface finish: e.g. “Self finished”, or “Proprietary protective cap sheet”.

#### 4.1 Multi Layer Waterproofing System Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | MLWS1 | MLWS2 | MLWS3 |
| Location |  |  |  |
| Proprietary system |  |  |  |
| Number of layers |  |  |  |
| Material type |  |  |  |
| Base layer |  |  |  |
| Intermediate layer |  |  |  |
| Top layer |  |  |  |
| Method of fixing to background |  |  |  |
| Thermal insulation type |  |  |  |
| Surface protection/finish |  |  |  |

Proprietary system: If the system is specified by proprietary name, some of the other schedule items may be unnecessary and can be deleted.

Material type: Generic types are listed in AS CA55 clause 2.1, and advice on selection is given in clause 3.5.2. However it is advisable to consult manufacturers on currently available products.

- Top layer: Specify the grade and type of fabric for each layer.

Bonding agent: e.g. “Hot bitumen”, “Hot coal tar”, “Cold bitumen adhesive”.

Method of laying: e.g. “Separate layer”, “Shingle”. See AS CA55.

Thermal insulation type: e.g. one of the types specified in the Insulation and barriers worksection. Notwithstanding AS CA55 clause 3.9, some proprietary extruded polystyrene boards are recommended by the manufacturer for applying above the membrane (with suitable protection) to form an “inverted” roof insulation system.

Surface protection/finish: e.g. bituminous paint, mineral aggregate, fibre cement sheets, no fines topping, concrete pavers. Consult roof system manufacturers. See also AS CA55 clause 3.8 and Appendix C.

#### 4.1 Liquid Waterproofing System Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | LWS1 | LWS2 | LWS3 |
| Location |  |  |  |
| Proprietary system |  |  |  |
| Material type |  |  |  |
| Method of application |  |  |  |
| Priming |  |  |  |
| Reinforcement |  |  |  |
| Number of coats |  |  |  |
| Thermal insulation type |  |  |  |
| Surface protection/finish |  |  |  |

#### 4.2 Corrugated Sheet Roofing Materials Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | CSR1 | CSR2 | CSR3 |
| Location |  |  |  |
| Material |  |  |  |
| Profile |  |  |  |
| Thickness of base metal (mm) |  |  |  |
| Finish |  |  |  |
| Colour |  |  |  |
| Thermal insulation type |  |  |  |

#### 4.2 Flat Sheet Roofing Materials Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | FSR1 | FSR2 | FSR3 |
| Location |  |  |  |
| Material |  |  |  |
| Thickness of base metal (mm) |  |  |  |
| Finish |  |  |  |
| Colour |  |  |  |
| Method of fixing to background |  |  |  |

#### 4.2 Glazed Roofing Materials and Skylight Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | GR1 | GR2 | GR3 |
| Location |  |  |  |
| Material or proprietary item |  |  |  |
| Size of skylight |  |  |  |
| Glass type in skylight |  |  |  |
| Profile of roofing material |  |  |  |
| Thickness of roofing material (mm) |  |  |  |
| Colour/tint |  |  |  |
| Method of fixing to background |  |  |  |

#### 4.2 Roof Ventilators Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | RV1 | RV2 | RV3 |
| Location |  |  |  |
| Type |  |  |  |
| Finish |  |  |  |
| Colour |  |  |  |
| Method of fixing to background |  |  |  |

#### 4.2 Gutter and Downpipe Schedule

| Item | Material and finish | Shape and size | Thickness and grade | Jointing method | Colour |
| --- | --- | --- | --- | --- | --- |
| Eaves gutters |  |  |  |  |  |
| Box gutters |  |  |  |  |  |
| Valley gutters |  |  |  |  |  |
| Rainwater heads |  |  |  |  |  |
| Downpipes |  |  |  |  |  |
| Overflow outlets |  |  |  |  |  |

#### 4.3 Window Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | W1 | W2 | W3 |
| Location |  |  |  |
| - Timber frames |  |  |  |
| - Anodised finish aluminium frames |  |  |  |
| - Colour |  |  |  |
| - Powder coated aluminium or steel frames |  |  |  |
| - Colour |  |  |  |
| - Type of powdercoat |  |  |  |
| - PVC frames |  |  |  |
| - Colour |  |  |  |
| - Glazing method |  |  |  |
| Insect screens |  |  |  |
| - Material and finish |  |  |  |

Specification by proprietary item (manufacturer’s standard door suite), will automatically cover most of the prescriptive items in this schedule.

Frame Type: e.g. Standard aluminium frame, thermally improved aluminium frame, timber, UPVC, or thermally broken aluminium frame. The frame type determines the frame factor (BCA Table J2.3b) and is required for the calculation of deemed to satisfy provisions under J2.3.

Anodising:

- Refer to the Metals and prefinishes worksection.

- Surface texture and finish: The surface texture to be produced on the aluminium before anodising is preferably by agreed samples. Guidance on surface texture is given in AS 1231 Appendix E. Seven anodised aluminium surfaces are defined, bright, clear, coloured, dyed, electrolytically coloured, integral colour and matt.

- Thickness grade: Five classes - AA25, AA20, AA15, AA10, AA5 - for environments from the most to the least severe. AA5 should not be used externally.

Powder coating:

- Refer to the Metals and prefinishes worksection.

- AS 3715 sets minimum standards for various performance criteria. Consult with manufacturers if variations are proposed.

#### 4.3 Louvre Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | L1 | L2 | L3 |
| Location |  |  |  |
| Adjustable or fixed |  |  |  |
| Blade material |  |  |  |
| - Timber frames |  |  |  |
| - Anodised finish aluminium frames |  |  |  |
| - Colour |  |  |  |
| - Powder coated aluminium or steel frames |  |  |  |
| - Colour |  |  |  |
| - Type of powdercoat |  |  |  |
| PVC frames |  |  |  |
| Colour |  |  |  |
| Bird screens |  |  |  |
| - Material and finish |  |  |  |

If the louvres are connected to the air conditioning or ventilation system obtain the value required for the maximum pressure drop at 2.0 m/s face velocity from the Consultant, and include as a performance requirement.

Type: e.g.Horizontal, continuous horizontal.

Operation: Fixed,

#### 4.3 Security Grille/ Shutter Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | SG1 | SG2 | SG3 |
| Location |  |  |  |
| Material |  |  |  |
| Finish |  |  |  |
| Hinges: - Material |  |  |  |
| - Fixing |  |  |  |
| Lock |  |  |  |

#### 4.3 Window Hardware Schedule

| Hardware item | Description and finish | Use with window types |
| --- | --- | --- |
| Hinges |  |  |
| - Stays |  |  |
| - Pulls |  |  |
| - Catches |  |  |
| - Locks |  |  |
| - Bolts |  |  |

#### 4.4 Flush Doors Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | FD1 | FD2 | FD3 |
| Location |  |  |  |
| Door thickness (mm) |  |  |  |
| Core material |  |  |  |
| Facing material |  |  |  |
| Finish |  |  |  |
| Floor clearance |  |  |  |
| Hinges |  |  |  |
| - Handles |  |  |  |
| Locks |  |  |  |
| Bolts |  |  |  |
| Seals |  |  |  |
| Hardware finish |  |  |  |

Door type: e.g. “Solid blockboard core”, “MDF”, “Cellular core”, “Intermediate rail core”.

Thickness: Minimum thicknesses are specified in the Template. Other thicknesses may be specified here if applicable. Most door lock furniture can not be fitted to doors less than 35 mm thick.

Core material: “Blockboard” or “MDF” (for solid core); “Cellular paper” or “Wood curls” (for cellular core). For intermediate rail core “To AS 2688” or delete this heading.

Facing: “Hardboard”, “Laminate” or “Plywood”.

Face veneers:

- Veneer quality: e.g. “A” for clear finishes, “B” for opaque.

- Matching arrangement: (clear finishes only) e.g. “Book”, “Centre”, “Diamond”, “Random” or “Slip”.

Edge strips:

- Thickness (mm): State, if thicker than the minimum specified in Template.

Panel: Delete if there are no panels or openings in flush doors. Supply of the metal grilles may be included in the mechanical services subcontract.

- Type: “Timber louvres”, “Glazed” or “Metal grille”.

- Clear opening size (h x w) (mm): Size and position on the door should preferably be shown on the drawings.

Finish: e.g. a paint or clear finish system, or “Melamine faced” (state colour or pattern).

Floor clearance: For fire-resistant doorsets, AS/NZS 1905.1 requires not less than 3 mm and not more than 10 mm at clause 5.5.2.

#### 4.4 Joinery Doors Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | JD1 | JD2 | JD3 |
| Location |  |  |  |
| Door thickness (mm) |  |  |  |
| Timber species or group |  |  |  |
| Finished sizes (mm): - Top rails and stiles |  |  |  |
| - Intermediate rails |  |  |  |
| - Bottom rails |  |  |  |
| Panels: - Material |  |  |  |
| - Thickness (mm) |  |  |  |
| Finish |  |  |  |
| Floor clearance |  |  |  |
| Hinges |  |  |  |
| - Handles |  |  |  |
| Locks |  |  |  |
| Bolts |  |  |  |
| Seals |  |  |  |
| Hardware finish |  |  |  |

Door type: e.g. “Framed and glazed”, “Framed and panelled”, “Framed, double sheeted”, “Louvred”, “Insect screen door”. Delete any of the subsequent headings which do not apply to the joinery door types in the project, e.g. if no ledged and braced doors, delete ledges and braces.

Adhesive bond type: See commentary to Flush doors construction schedule.

Timber grade: Delete if the grades specified in AS 2688 clause 2.1 are acceptable.

Finished sizes (mm): AS 2688 gives minimum sizes. If these are insufficient insert preferred sizes here, or show member arrangement and sizes on the drawings.

- Door thickness: Minimum thicknesses are specified in the Template. Other thicknesses may be specified here if applicable. Most door lock furniture can not be fitted to doors less than 35 mm thick. Large glazed doors should be 45 mm thick, or more.

Panels:

- Material: “Plywood with veneer quality ...”, or “Hardboard” or “Particleboard”, or “Insect screen mesh” (for insect screen doors) - state mesh type (bronze, aluminium or fibreglass) and fibreglass colour (black or grey).

- Thickness: Delete if the thicknesses specified in AS 2688 clause 9.2.2 are acceptable.

Finish: e.g. a paint or clear finish system.

Floor clearance: For fire-resistant doorsets, AS/NZS 1905.1 requires not less than 3 mm and not more than 10 mm at clause 5.5.2.

#### 4.4 PVC Doors Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | PD1 | PD2 | PD3 |
| Location |  |  |  |
| Door thickness (mm) |  |  |  |
| Finished sizes (mm): - Top rails and stiles |  |  |  |
| - Intermediate rails |  |  |  |
| - Bottom rails |  |  |  |
| Panels: - Material |  |  |  |
| - Thickness (mm) |  |  |  |
| Finish |  |  |  |
| Floor clearance |  |  |  |
| Hinges |  |  |  |
| - Handles |  |  |  |
| Locks |  |  |  |
| Bolts |  |  |  |
| Seals |  |  |  |
| Hardware finish |  |  |  |

4.4 Steel Doors Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
| Location |  |  |  |
| Door thickness (mm) |  |  |  |
| Finished sizes (mm): - Top rails and stiles |  |  |  |
| - Intermediate rails |  |  |  |
| - Bottom rails |  |  |  |
| Panels: - Material |  |  |  |
| - Thickness (mm) |  |  |  |
| Finish |  |  |  |
| Floor clearance |  |  |  |
| Hinges |  |  |  |
| - Handles |  |  |  |
| Locks |  |  |  |
| Bolts |  |  |  |
| Seals |  |  |  |
| Hardware finish |  |  |  |

#### 4.4 Automatic Door Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | AD1 | AD2 | AD3 |
| Product |  |  |  |
| Action |  |  |  |
| Glazing |  |  |  |
| Frame type |  |  |  |

#### 4.4 Fire and Smoke Resistant Doorsets Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | FRD1 | FRD2 | FRD3 |
| Location |  |  |  |
| Fire resistance level |  |  |  |
| Smoke resistance level |  |  |  |
| Door finish |  |  |  |
| Glazing |  |  |  |
| Automatic closer |  |  |  |
| - Hinges |  |  |  |
| - Handles |  |  |  |
| - Locks |  |  |  |
| - Seals |  |  |  |
| - Hardware finish |  |  |  |

#### 4.4 Security Screen Doors Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | SD1 | SD2 | SD3 |
| Location |  |  |  |
| Type |  |  |  |
| Material |  |  |  |
| Finish |  |  |  |
| Hinges |  |  |  |
| - Handles |  |  |  |
| Locks |  |  |  |
| Bolts |  |  |  |
| Hardware finish |  |  |  |

Specification by proprietary item (manufacturer’s standard door suite), will automatically cover most of the descriptive items in this schedule.

Type: Hinged to Type I or II or III. Sliding to Type I, II or III. AS 5039 describes the three types at clause 5.2.

- Type I prevents an arm from passing through.

- Type II allows an arm but prevents bodily entry.

- Type III prevents insects passing through.

Material: Steel or aluminium.

Finish: See AS 5039 clause 6.2 for corrosion protection finishes.

Hinges:

- Material: e.g. Aluminium or steel.

- Fixing: Rivets or fastening devices. See AS 5039 clauses 6.7, and 6.8.

Lock: See AS 5039 clause 6.5. If the manufacturer’s standard lock and hardware are not acceptable, specify non-standard hardware using the titles of items specified in detail in the Door hardware worksection, or by the designations (trade names, etc.) of proprietary products.

Specification by proprietary item (manufacturer’s standard door suite), will automatically cover most of the prescriptive items in this schedule.

Automatic closure: As defined in AS/NZS 1905.1. “Required”, or delete.

- Action: “Hinged”, “Double acting” or “Sliding” (may be shown on the drawings).

Face veneers:

- Veneer quality: e.g. “A” for clear finish, “B” for opaque.

- Matching arrangement: (clear finishes only) e.g. “Book”, “Centre”, “Diamond”, “Random” or “Slip”.

Fire resistance level: State required level to AS 1530.4 (in minutes structural adequacy/integrity/insulation.

Glazing: A non-insulated “Vision panel” up to 65,000 mm² clear opening area is permitted by AS/NZS 1905.1, clause 3.4, but regulations may override.

Hardware: e.g. Locksets, latchsets, hinges, floor springs and pivots, closers, handles, flush pulls. The hardware is an integral part of the certified installation (see AS/NZS 1905.1 clause 5.6). Consult the manufacturers. The description may be cross-referred to items specified in detail in the Door and window hardware worksection. List non-standard hardware here.

#### 4.5 Annealed Glasses Schedule

| Generic term | Integral properties | Location(s) |
| --- | --- | --- |
| Clear float, general quality |  | Glazing generally (i.e. if not otherwise shown or specified) |
| Body tinted float | Colour |  |
| Surface coated (reflective) float | % reflectance |  |
|  | Base glass |  |
|  | Base glass colour |  |
| Patterned, clear | Pattern |  |
| Wired cast (clear) | Pattern |  |
| Wired cast (body tinted) | Pattern |  |
|  | Colour |  |
| Applied glazing films | Type |  |
|  | Thickness |  |
|  | Colour |  |
|  | Patern |  |

The maker’s brand name is often the best way to identify tinted, reflective, and patterned glasses.

Location(s): e.g. window designation. Identify the glazed openings on the drawings by a code, e.g. W (1, 2, etc.) for windows, D (1, 2, etc.) for doors, and use the code symbols to locate the glass types in this schedule; or use separate schedules provided in the Windows and Doors and hatches worksections.

Clear float, general quality: “General” and “silvering” are two qualities of float.

Body tinted float:

- Colour: Consult manufacturer - grey, bronze, green, blue.

Surface modified float: Consult manufacturer.

Surface coated (reflective) float: The reflective film may be available on either clear or body tinted float. Consult manufacturer.

Plate, polished, clear: Now rare, superseded by float. Twin ground plate is used where uniform thickness and parallel surfaces are important (e.g. large mirrors).

Sheet, clear: No longer made in Australia. Some imported sheet may be available.

Patterned: Also known as “cast” or “figured rolled”. Proprietary patterns best described by the manufacturer’s brand name. Patterns include “diffuse reflection” (“picture glass”).

Wired cast (body tinted): Do not use body tinted wired (cast or polished) in locations exposed to the sun; fracture may result.

#### 4.5 Processed Glasses Schedule

| Generic term | Glass type (base glass) and other properties | Location(s) |
| --- | --- | --- |
| Mirrors | Clear float, silvering quality |  |
| Obscured glass | Type |  |
|  | Process |  |
|  | Texture |  |
| Toughened safety | Base glass |  |
|  | Base glass colour |  |
|  | % reflectance |  |

Glass type (base glass): The glass to which the process is applied. Any of the above annealed glasses may be processed; for availability, consult manufacturer.

Mirrors: Float is the most common glass type, but the process can be applied to any flat glass, and to polycarbonate sheet.

Obscured glass:

- Process: e.g. “Sandblast obscuring”, “Acid etching”. For terminology and other processes, see AS/NZS 4668.

- Texture: The terms fine, medium, coarse may be used.

Heat strengthened:, Toughened safety: and Safety organic coated: In principle any annealed glass may be used as the base glass.

#### 4.5 Fabricated Glass Units Schedule

| Generic term | Glass types (constituent glasses) and other properties | Location(s) |
| --- | --- | --- |
| Laminated safety glass | External sheet |  |
|  | Internal sheet |  |
|  | Interlayer type |  |
|  | Interlayer thickness |  |
| Sealed double glazed panels |  |  |
| Laminated security-vandal resistant | Level of protection- |  |
| Laminated security-ballistic attack | Level of protection- |  |

#### 4.5 Mirrors Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | M1 | M2 | M3 |
| Location |  |  |  |
| Size (mm) |  |  |  |
| Mirror type |  |  |  |
| Processing |  |  |  |
| Fixing |  |  |  |

#### 4.6 Glass Block Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | GB1 | GB2 | GB3 |
| Location |  |  |  |
| Type |  |  |  |
| Size (mm) |  |  |  |
| Design |  |  |  |
| Colour |  |  |  |
| Mortar pigment colour |  |  |  |
| Grouting sealant colour |  |  |  |

#### 4.7 Insulation Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | IS1 | IS2 | IS3 |
| Location |  |  |  |
| Bulk Insulation Type |  |  |  |
| Thickness (mm) |  |  |  |
| R-value |  |  |  |
| Sarking membrane Type |  |  |  |
| Vapour barrier Type |  |  |  |

#### 5.1 Sheet Lining Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | SL1 | SL2 | SL3 |
| Location |  |  |  |
| Type |  |  |  |
| Thickness (mm) |  |  |  |
| Configuration |  |  |  |
| Joint type |  |  |  |
| Fixing |  |  |  |
| Battens: - Size (mm) |  |  |  |
| - Spacing |  |  |  |

#### 5.2 Partition Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | P1 | P2 | P3 |
| Proprietary system |  |  |  |
| Demountability |  |  |  |
| - Lining to sides of partition |  |  |  |
| - Fixing |  |  |  |
| Cool room panel thickness |  |  |  |
| Internal Temperature range |  |  |  |
| Trim: - Skirting |  |  |  |
| - Head |  |  |  |
| Glazing |  |  |  |
| Framing |  |  |  |

#### 5.3 Folding Doors Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | FOL1 | FOL2 | FOL3 |
| Product |  |  |  |
| Door arrangement |  |  |  |
| Door panels: - Size (mm) |  |  |  |
| - Material |  |  |  |
| - Facing |  |  |  |
| - Finish |  |  |  |
| Hinges: - Material |  |  |  |
| - Colour |  |  |  |
| - Finish |  |  |  |
| Track: - Material |  |  |  |
| - Size (mm) |  |  |  |
| Carriages: - Wheels |  |  |  |
| Hardware: - Item and finish |  |  |  |

Designation: If there are several different folding doors in the project, give each one a designation (mark) by which it can be referred. Use this designation on the drawings.

Product: Specification by proprietary item (manufacturer’s standard door suite), will automatically cover most of the items in this schedule.

Door arrangement: e.g. “Single, attached at jamb”, “Single floating (latches to either jamb)”, or “Double (attached to both jambs, joins in the centre)”. State “Cavity stacking” if required.

Door panels:

- Size: Width x thickness.

- Material: e.g. “Solid core”.

- Facing: e.g. “Wood veneer” (state species), “Vinyl”, “Laminated plastic” (state colour, texture, etc.).

- Finish: (To veneers) e.g. “Clear lacquer prefinish”.

Hinges:

- Material: e.g. “Vinyl extrusions”.

Track:

- Material: e.g. “Extruded aluminium”. Consult manufacturers. Height adjustment may be available.

#### 5.3 Accordion Doors Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | ACD1 | ACD2 | ACD3 |
| Product |  |  |  |
| Door arrangement |  |  |  |
| Doors: - Material |  |  |  |
| - Facing |  |  |  |
| - Finish |  |  |  |
| Connector hinges: - Material |  |  |  |
| - Colour |  |  |  |
| Track: - Material |  |  |  |
| - Size (mm) |  |  |  |
| Carriages: - Wheels |  |  |  |
| Hardware: - Item and finish |  |  |  |

Designation: If there are several different accordion doors in the project, give each one a designation (mark) by which it can be referred. Use this designation on the drawings.

Product: Specification by proprietary item (manufacturer’s standard door suite), will automatically cover most of the items in this schedule.

Door arrangement: e.g. “Single, attached at jamb”, “Single floating (latches to either jamb)”, or “Double (attached to both jambs, joins in the centre)”.

Timber doors: Options are as for folding doors.

Timber doors: and Vinyl doors: are alternatives; delete one.

Vinyl doors:

- Pantograph: e.g. “Plated steel”.

- Covers: e.g. “Semi-rigid 5 ply laminated vinyl fabric, removable and replaceable in situ”.

- Facing: e.g. “Vinyl” or “Wool fabric”. Specify colour.

Connector hinges:

- Material: e.g. “Extruded vinyl”.

#### 5.3 Operable Walls Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | OPW1 | OPW2 | OPW3 |
| Product |  |  |  |
| Door arrangement |  |  |  |
| Stacking arrangement |  |  |  |
| Panel suspension |  |  |  |
| Panel type: - Size (mm) |  |  |  |
| - Facing |  |  |  |
| - Finish |  |  |  |
| Track: - Material |  |  |  |
| - Size (mm) |  |  |  |
| Carriages: - Wheels |  |  |  |
| Hardware: - Item and finish |  |  |  |

#### 5.4 Suspended Ceiling Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | SC1 | SC2 | SC3 |
| Location |  |  |  |
| Suspended ceiling system: - Type |  |  |  |
| - Basic grid (l x w) (mm) |  |  |  |
| - Material |  |  |  |
| - Exposed member finish and colour |  |  |  |
| Sheet lining |  |  |  |
| - -Type |  |  |  |
| - -Thickness (mm) |  |  |  |
| Tiles |  |  |  |
| - Tile size (mm) |  |  |  |
| - Thickness (mm) |  |  |  |
| - Pattern |  |  |  |
| - Colour |  |  |  |
| - Type |  |  |  |
| - Finish |  |  |  |
| Trims |  |  |  |

#### 5.5 Joinery Fixtures Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | JF1 | JF2 | JF3 |
| Location |  |  |  |
| Description |  |  |  |
| Benchtops, material and colour |  |  |  |
| Carcasses, material and colour |  |  |  |
| - Doors and drawers, material and colour |  |  |  |
| Drawer backs, sides and bottoms, material and colour |  |  |  |
| Splashbacks, material and colour |  |  |  |
| Shelves, material and colour |  |  |  |

#### 5.6 Metal Fixtures Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | MF1 | MF2 | MF3 |
| Location |  |  |  |
| Description |  |  |  |
| Dimensions |  |  |  |
| Material |  |  |  |
| Colour |  |  |  |

#### 5.8 Fire Extinguishers Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | FE1 | FE2 | FE3 |
| Location |  |  |  |
| Number |  |  |  |
| Extinguisher type |  |  |  |
| Cabinet Type |  |  |  |
| Security |  |  |  |
| Waterproof cover |  |  |  |

#### 5.8 Fire Blanket Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | FB1 | FB2 | FB3 |
| Location |  |  |  |
| Number |  |  |  |
| Size |  |  |  |
| Waterproof cover |  |  |  |

#### 5.9 Curtain Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | C1 | C2 | C3 |
| Location |  |  |  |
| Fabric and colour |  |  |  |
| Backing |  |  |  |
| Track system |  |  |  |
| Pelmet |  |  |  |
| Operating system |  |  |  |

#### 5.9 Aluminium Venetian Blind Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | AV1 | AV2 | AV3 |
| Location |  |  |  |
| Colour |  |  |  |
| Slat width |  |  |  |
| Top and bottom rail colour |  |  |  |
| Pelmet |  |  |  |

#### 5.9 Plastic Venetian Blind Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | PV1 | PV2 | PV3 |
| Location |  |  |  |
| Colour |  |  |  |
| Top and bottom rail colour |  |  |  |
| Pelmet |  |  |  |

#### 5.9 Timber Venetian Blind Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | TV1 | TV2 | TV3 |
| Location |  |  |  |
| Colour or finish |  |  |  |
| Top and bottom rail colour |  |  |  |
| Pelmet |  |  |  |

#### 5.9 Vertical Louver Blind Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | VLB1 | VLB2 | VLB3 |
| Location |  |  |  |
| Fabric and colour |  |  |  |
| Blade width (mm) |  |  |  |
| Top track colour |  |  |  |
| Pelmet |  |  |  |

#### 6.1 Plastering Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | PL1 | PL2 | PL3 |
| Location |  |  |  |
| Background material |  |  |  |
| Base coat(s) |  |  |  |
| Finish coat |  |  |  |
| Mix type or properties |  |  |  |
| Bead material |  |  |  |
| Movement control joint type |  |  |  |

#### 6.2 Cementitious Toppings Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | CT1 | CT2 | CT3 |
| Location |  |  |  |
| Thickness |  |  |  |
| Topping function |  |  |  |
| Topping method |  |  |  |
| Slip resistance |  |  |  |
| Movement control joint type |  |  |  |
| Reinforcement |  |  |  |
| Colour |  |  |  |

#### 6.3 Wall Tiling Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | WT1 | WT2 | WT3 |
| Location |  |  |  |
| Tile type |  |  |  |
| Size |  |  |  |
| - Colour |  |  |  |
| - Surface |  |  |  |
| Bedding type |  |  |  |
| Tile or bond pattern |  |  |  |
| Grout: - Type |  |  |  |
| - Colour |  |  |  |

If there is more than one type of wall tiling, complete a schedule column for each type (three columns are provided). Schedule items are redundant if information is fully shown on the drawings.

Tile type: Terms denoting generic types of ceramic tiles include quarries, glazed, semi glazed and vitrified (homogeneous, granito), and terms denoting shapes and arrangements, e.g. tessellated, mosaic. Mosaics may be paper faced or gauze backed. There are also glass mosaics. Define the tile type by the manufacturer’s proprietary brand name if possible, or by the generic term plus essential characteristics such as size, colour, surface and edge type. For special purposes it may be necessary to specify other properties such as abrasion class, slip resistance, and chemical resistance.

Rely on approved samples for general quality compliance.

Adhesive bedding: Specify the type, either generically, using the generic terms employed in the standards, or by a proprietary item designation.

Mechanical fixing: If required, preferably specify a proprietary system and suitable tiles. Some systems include both primary and secondary supports.

Grout:

- Type: e.g. “Cement-based proprietary grout”, “Epoxy based grout”. For epoxy, state whether 2 or 3 part, or specify as a proprietary item.

- Colour: See the commentary to Grout.

- Pigment proportions: These may vary with different pigments. Consult manufacturers. In some cases it may be necessary to test the mix for strength.

- Special properties: e.g. resistance to water, heat, chemical attack, cleansing agents, mould or bacteria, or select an appropriate proprietary item.

#### 6.3 Floor Tiling Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | FT1 | FT2 | FT3 |
| Location |  |  |  |
| Tile type |  |  |  |
| Size |  |  |  |
| - Colour |  |  |  |
| - Surface |  |  |  |
| Bedding: - Type |  |  |  |
| - Thickness (mm) |  |  |  |
| - Reinforcement |  |  |  |
| Tile or bond pattern |  |  |  |
| Grout: - Type |  |  |  |
| - Colour |  |  |  |

#### 6.3 Tile Movement Joints Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | MJ1 | MJ2 | MJ3 |
| Location |  |  |  |
| Divider strip - Joint side-plate material |  |  |  |
| - Neoprene colour |  |  |  |
| Sealant: - Type |  |  |  |
| - Colour |  |  |  |
| - Width (mm) |  |  |  |

#### 6.4 Vinyl Sheet and Tile Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | ST1 | ST2 | ST3 |
| Location |  |  |  |
| Type |  |  |  |
| Colour |  |  |  |
| Pattern |  |  |  |
| Tile laying pattern |  |  |  |
| Sheet width (mm) |  |  |  |
| Thickness (mm) |  |  |  |
| Vinyl chip size (mm) |  |  |  |
| Surface |  |  |  |
| Tile dimensions (mm) |  |  |  |

#### 6.4 Stair Vinyl Finishes Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | SF1 | SF2 | SF3 |
| Location |  |  |  |
| Nosing |  |  |  |
| Colour |  |  |  |
| Pattern |  |  |  |
| Material |  |  |  |

#### 6.4 Vinyl Finishes Joint and Accessories Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | SF1 | SF2 | SF3 |
| Cover strip: |  |  |  |
| - Type |  |  |  |
| - Finish |  |  |  |
| Movement joints: | As per tile movement joint | As per tile movement joint | As per tile movement joint |
| Vinyl Skirting: - Type |  |  |  |
| - Size |  |  |  |
| - Colour |  |  |  |
| - Coving radius |  |  |  |

#### 6.5 Entry Mats Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | MT1 | MT2 | MT3 |
| Mat type |  |  |  |
| Location |  |  |  |
| Mat size (mm) |  |  |  |
| Mat colour |  |  |  |
| Recess trim |  |  |  |
| Trim colour |  |  |  |

#### 6.5 Carpet and Laying Schedule

See also the Commentary on this topic.

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | C1 | C2 | C3 |
| Location |  |  |  |
| Generic type |  |  |  |
| Colour and pattern |  |  |  |
| - Pile finish |  |  |  |
| Pile structure: - Total pile mass (g/m2) |  |  |  |
| Underlay |  |  |  |
| Primary backing: - Type |  |  |  |
| - Construction |  |  |  |
| - Mass (g/m²) |  |  |  |
| Fixing method |  |  |  |
| Seaming method |  |  |  |

#### 6.6 Interior Painting Schedule

| Paint systems | Substrate types | Paint name | Colour name or code |
| --- | --- | --- | --- |

Substrate: In some of these paint systems the Substrate column includes various precoated metals. These will usually be structural steel surfaces, for which the protective precoating (primer or system) has been specified in the Structure’ Group of worksections. In these cases the applicable systems offer for selection a range of additional coats, compatible with those precoats, to complete the site painting.

Colour name or code: Do not use AS/NZS 2311 or AS/NZS 2312 paint reference numbers (see Equivalence table in the Commentary) – these do not link to a particular specification. Using other Australian standards (e.g. AS 3730 series – see AS 3730.100 for guidance) is not recommended – proof of compliance with these standards may be impossible to obtain.  No manufacturers are currently licensed under the StandardsMark scheme for these standards (check the register at http://register.sai-global.com/Supplierquery.asp ) and, to be effective, various parameters need to be quantified in the project specification. APAS specifications have done this for you.

#### 6.6 Exterior Painting Schedule

| Paint systems | Substrate types | Paint name | Colour name or code |
| --- | --- | --- | --- |

#### 7.1 Non-ducted Airconditioning System Schedule

| Properties | Types |  |  |  |
| --- | --- | --- | --- | --- |
|  | NAS1 | NAS2 | NAS3 | NAS4 |
| Building area served |  |  |  |  |
| System type |  |  |  |  |
| Plant locations |  |  |  |  |

Non-ducted system designation: Insert suitable description or code, e.g. Ground Floor.

Plant location and area served: Indicate preferred plant location or show on drawings. To be effectively airconditioned and meet specified performance, areas served must be confined by closable doors and windows.

System type: There is a large variety of unit sizes and types available broadly divided into one piece and split systems. Provide a suitable description or refer to a manufacturer’s model range. Do not state a size or imply one through a model number.

Minimum Energy Star rating: See www.energyrating.gov.au, a joint initiative of Commonwealth, State and Territory government agencies. This web site provides a searchable list of registered airconditioner star ratings and energy consumptions.

Plant location: For split systems indicate preferred plant location or show on drawings. Outdoor units must be in locations that do not cause hot air to recirculate or excessive noise in neighbouring properties.

#### 7.1 Ducted Airconditioning System Schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | DAS1 | DAS2 | DAS3 |
| Building area served |  |  |  |
| System type |  |  |  |
| Plant locations |  |  |  |

Ducted system designation: Insert suitable description or code.

Areas served: Provide list of rooms served, e.g. Ground Floor. To be effectively airconditioned and meet specified performance, areas served must be confined by closable doors and windows.

System type: Specify either One piece package or Split system as appropriate. Do not state a size or imply one through a model number.

Minimum Energy Star rating: See www.energyrating.gov.au, a joint initiative of Commonwealth, State and Territory government agencies. This web site provides a searchable list of registered airconditioner star ratings and energy consumptions.

Plant location: Indicate preferred plant location or show on drawings. Outdoor units must be in locations that do not cause hot air to recirculate or excessive noise in neighbouring properties.

#### 7.1 Air Grilles Schedule

| Function | Air grille type |
| --- | --- |
| Supply diffusers and grilles - indoor |  |
| Return as exhaust grilles - indoor |  |
| Return air path |  |

#### 8.1 Water Services Samples Schedule

| Sample required | Details and inclusions |
| --- | --- |

Include details of the required samples. Mock-up of sanitary fixtures may be appropriate to verify clearances etc.

#### 8.1 Water System Piping Schedule

| System | Pipe material and nominal size | Grade or class | Jointing method | Bedding material |
| --- | --- | --- | --- | --- |
| Cold water |  |  |  |  |
| Hot water |  |  |  |  |
| Sanitary plumbing |  |  |  |  |
| Sanitary drainage |  |  |  |  |
| Stormwater |  |  |  |  |

Alternatively omit the schedule and leave selection of materials to the contractor as permitted in the Standards. Regardless of what the contractor selects, metal pipe is specified for some critical applications in the Template such as pipe embedded in concrete.

Show locations and types of appliances on the drawings.

Description: Either describe functionally or provide manufacturer's name and catalog number.

Alternatively show the type and details on the drawings and delete this schedule.

Mounting type: e.g. recessed or fixed. This affects operation too e.g. swivel hose guide, for most installations, or swinging hose reel, for recessed installations.

Reel type: e.g. drum or cage. Also material, diameter.

Nozzle type: e.g. jet or spray or jet only.

Hose length: Typical standard lengths are 18, 25, 30 and 36 m.

#### 8.1 Sanitary fixtures schedule

| Fixture | Description | Accessories and tapware | Colour/finish |
| --- | --- | --- | --- |

Show locations and types of fixtures on the drawings.

Description: Either describe functionally or provide manufacturer's name and catalog number. Include relevant details e.g. number of tap holes. If appropriate include water efficiency rating to AS/NZS 6400 e.g. A up to AAAAA

Accessories and tapware: Either describe functionally or provide manufacturer's name and catalog number.

#### 8.1 Water heater schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | WH1 | WH2 | WH3 |
| Electric hot water heaters |  |  |  |
| Water storage volume (litres) |  |  |  |
| Heating elements (number x watts) |  |  |  |
| Solar hot water heaters |  |  |  |
| Number of collector panels |  |  |  |
| Solar collector |  |  |  |
| Collector performance |  |  |  |
| Boost energy source |  |  |  |

#### 8.1 Fire hose reel schedule

| Properties | Types |  |  |
| --- | --- | --- | --- |
|  | FHR1 | FHR2 | FHR3 |
| Mounting type |  |  |  |
| Reel type |  |  |  |
| Reel material |  |  |  |
| Reel diameter (mm) |  |  |  |
| Nozzle type |  |  |  |
| Hose length (m) |  |  |  |

Show the location of the water heaters on the drawings. For solar heaters include the location of solar collectors.

Water heater type: e.g. indoor storage, indoor instantaneous, outdoor storage.

Heat source: e.g. electric, off-peak electric, gas, solar, heat pump.

Rated hot water recovery (litres) at a rise of (°C): e.g. 250 litres at 50°C. This is redundant if the heating element rating or gas input is specified.

Container construction: describe materials, e.g. vitreous glass coated steel.

Maximum water supply pressure (kPa): Additional pressure control valves may be required to match the supply pressure to the heater.

Maximum allowable stand-by heat loss (kW.h/24h): Include if lower values than in AS 1056.1 are required. May be omitted otherwise.

Tariff arrangements: if elements are to be wired for separate electrical tariffs describe what is required.

Flue damper required: e.g. yes or no. Flue dampers substantially reduce losses when the burner is off.

Boost energy source: e.g. Gas, input (MJ/h) or electric elements (number x watts). Omit if no boost provided.

Maximum rated input power (watts): e.g. 1200. There is currently no MEPS rating for heat pump water heaters. (They are however much more efficient than other, non-solar, types.) One way of specifying energy efficient performance is to set an upper limit on input power. For a given rated delivery a lower input power indicates a more efficient heater.

#### 9.1 Electrical Systems Schedule

| Electrical system | Required or not applicable |
| --- | --- |
| Low voltage power systems. |  |
| Cable support and duct systems. |  |
| Generator set and changeover switching |  |
| Lighting systems. |  |
| Emergency evacuation lighting systems. |  |
| Telecommunications cabling systems. |  |
| Fire detection/alarm system. |  |
| Electronic security systems. |  |

#### 9.1 Electrical Supply Mains Schedule

| Consumers Mains |  |
| --- | --- |
| Type |  |
| Installation and location |  |
| Spare capacity | % |
| Submains |  |
| Type |  |
| Installation and location |  |
| Spare capacity | % |
| Final subcircuits |  |
| Type |  |
| Installation and location |  |
| Spare capacity | % |

#### 9.1 Electrical Switchboard Design Schedule

| Type and size |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Location |  |  |  |  |  |
| Spare capacity |  |  | % |  |  |
|  | SUBBD 1 | SUBBD 2 |  | SUBBD 3 | SUBBD 4 |
| Type and size |  |  |  |  |  |
| Location |  |  |  |  |  |
| Spare capacity | % | % |  | % | % |

#### 9.1 Power Accessories Schedule

| Component | Manufacture | Catalogue or reference | Description/ rating | Other/IP rating | Special |
| --- | --- | --- | --- | --- | --- |
| 3-phase outlets |  |  |  |  |  |
| Isolating switches |  |  |  |  |  |
| Socket outlets |  |  |  |  |  |
| Special purpose outlets |  |  |  |  |  |
| Ceiling mounted sweep fans |  |  |  |  |  |
| Electric duct heaters |  |  |  |  |  |
| Window exhaust fans |  |  |  |  |  |
| Wall mounted exhaust fans |  |  |  |  |  |
| Roof mounted exhaust fans |  |  |  |  |  |
| Surface mounted ducts |  |  |  |  |  |
| Other items.. |  |  |  |  |  |

#### 9.1 Lighting Control and Fittings Schedule

| Component | Manufacture | Catalogue or reference | Description/ rating | Special |
| --- | --- | --- | --- | --- |
| Light switch |  |  |  |  |
| Dimmers |  |  |  |  |
| External fittings |  |  |  |  |
| Internal fittings |  |  |  |  |
| Emergency luminaries |  |  |  |  |
| Exit signs |  |  |  |  |

#### 9.1 Telecommunication Equipmet Schedule

| Building Distributor |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Type |  |  |  | Rack mounted |  |  |  |
| Location |  |  |  |  |  |  |  |
| Spare capacity – minimum |  |  |  | % |  |  |  |
| Space for active equipment |  |  |  | % |  |  |  |
| Floor Distributors |  |  |  |  |  |  |  |
| Distributor designation |  |  |  |  |  |  |  |
| Type |  | Rack mounted |  |  |  | Rack mounted |  |
| Location |  |  |  |  |  |  |  |
| Spare capacity – minimum |  | % |  |  |  | % |  |
| Space for active equipment |  | % |  |  |  | % |  |
| Outlets |  |  |  |  |  |  |  |
| Component | Manufacture |  | Catalogue or reference |  | Description/ rating |  | Special |
| Telecommunications outlet |  |  |  |  |  |  |  |
| Accessible ducts |  |  |  |  |  |  |  |

#### 9.1 Fire Detection Equipment Schedule

| Component | Manufacture | Catalogue or reference | Description/ rating | Special |
| --- | --- | --- | --- | --- |
| Fire alarm monitor base station |  |  |  |  |
| Fire indicator panel |  |  |  |  |
| Break glass alarm buttons |  |  |  |  |
| Point type heat detectors |  |  |  |  |
| Duct sampling units |  |  |  |  |
| Integral heat detector alarms |  |  |  |  |
| Point type smoke detectors |  |  |  |  |
| Integral smoke detector alarms |  |  |  |  |
| Fire alarm signal units |  |  |  |  |
| Magnetic door hold open devices |  |  |  |  |

#### 9.1 Access Control Equipment Schedule

| Component | Manufacture | Catalogue or reference | Description/ rating | Special |
| --- | --- | --- | --- | --- |
| Monitor base station |  |  |  |  |
| Intercom system |  |  |  |  |
| Electric door strikes |  |  |  |  |
| Electric door locks |  |  |  |  |
| Door release buttons |  |  |  |  |
| Access Keypads |  |  |  |  |
| Access Card Readers |  |  |  |  |
| Pressure sensitive floor mats |  |  |  |  |
| Reed switches |  |  |  |  |
| Infra red movement sensors |  |  |  |  |
| CCTV cameras |  |  |  |  |
| Vehicle access sliding gate |  |  |  |  |
| Vehicle access boom gate |  |  |  |  |

#### 9.2 Generator Set Performance Schedule

| Net continuous rated kVA |  |
| --- | --- |
| Overload kV.A output |  |
| Overload time duration |  |
| Rated voltage |  |
| Number of phases |  |
| Neutral connection |  |
| Earthing |  |
| Frequency |  |
| Machine location |  |
| Altitude in metres |  |
| Available cooling water temperature |  |
| Other relevant site conditions |  |

For performance, consider the following:

- Net continuous rated output (i.e. the net continuous output of the generating set after allowing for independent auxiliaries essential for the operation of the machine). Temperature-rise is proportional to output. See AS 1359.30 Table 1 for preferred rated kV.A outputs for a.c. generators.

- Overload kV.A output and overload time duration. The overload kV.A output of the generating set must be capable of at least matching the required engine performance. Note in this connection that AS 4594.1 clause 8.3 permits an engine overload power of 110% for 1 hour in 12 hours.

- Duty-type e.g. SI continuous running duty-type. See AS 1359.101 clause 3.2 for other designations.

- Voltage regulation grade e.g. VR1, VR2-11. See AS 1359.40 clause 40.3 for guidance on the choice of grades. When stability is important, the required speed/load/time characteristics must be specified; these will be affected by the prime mover governor. If parallel operation is involved, voltage regulation and power factor compensation may need to be specified.

Specify operating conditions including the following:

- Machine location e.g. indoor or outdoor. Not required if location is apparent from the drawings.

- Barometric pressure (kPa) - minimum, maximum. Alternatively, if the range is unknown, state the altitude in metres.

- Air temperatures (C) (monthly mean) - minimum and maximum, for hottest month and coldest month; plus ambient around engine, exhaust temperature, temperature drop across the plant room.

- Maximum air flow through the plant room e.g. 6 m/s.

- Relative humidity at maximum ambient air temperature (%). Especially important for turbochargers.

- Available cooling water (if any) temperature (C) – maximum, minimum.

- Other relevant site conditions e.g. environmental hazards such as weather extremes, air pollution, dust, limitations on transmitted noise levels.

- Expected frequency and durations of continuous operation at maximum engine load and minimum engine load.

#### 9.2 Generator Set Fuel Tanks Schedule

| Tank | Day Tank | Bulk Storage Tank |
| --- | --- | --- |
| Location |  |  |
| Description |  |  |
| Specific protection measures |  |  |
| Fuel Capacity or hours |  |  |

For many packaged units the day storage is located within the base of the unit.

Ensure tanks are sized to provide sufficient running time. Tank capacity will also determine whether or not they fall within the requirements for storage of flammable liquids – see AS 1940.