## DH&SDH Requirement Lot 1-8
Equipments Requirement List for DH/SDH
List for DH & SDH_Tender Ref. 51961
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Lot No | Department | Items | Remarks | Quantity to be supplied | Specification | Civil Hospital Aizawl | SRHF | Champhai DH | Kolasib DH | Lawngtlai DH | Civil Hospital Lunglei | Mamit DH | Serchhip DH | Siaha DH | Hnahthial DH/ CHC | Saitual DH/ CHC | Khawzawl DH/ CHC | Kulikawn SDH | Tlabung SDH | Total
1 | SNCU/ NBSU | Phototherapy Unit | 1 each for all DH (including 3 new Districts) | 12 | Technical_Specifications_of_Medical_Devices_for_Neonatal__Pediatric_Care_ICUs | [14 empty] | 12 | bar: 1 to 12
2 | Obs & Gynecology OT | Defibrillator with TCP and AED | 9 DH | 9 | Technical Specifications of Medical Devices for Emergency Response Systems | [14 empty] | 9 | bar: 1 to 9
3 | Obstetrics & Gynecology OT | Multipara Monitor | 1 each for all DH/SDH | 11 | Technical Specifications of Medical Devices for Anesthesia Department | [14 empty] | 11 | bar: 1 to 9; 13 to 14
4 | SNCU | Multipara Monitor | 2 each for all DH with SNCU | 10 | Technical Specifications of Medical Devices for Anesthesia Department | 1: 2; 3: 2; 5: 2; 6: 2; 9: 2 | 10
5 | Obstetrics & Gynecology OT | Anaesthesia Work Station | CHA, Mamit, Kolasib, Lawngtlai, Lunglei, Champhai | 6 | Technical Specifications of Medical Devices for Anesthesia Department | [14 empty] | 6 | bar: 1; 3 to 7
6 | SNCU/NBSU | Infusion Pump | 4 each for all DH/SDH with SNCU, 3 each for all DH with NBSU, 1 for DH without SNCU & NBSU | 41 | Technical_Specifications_of_Medical_Devices_for_Neonatal__Pediatric_Care_ICUs | 4 | 1 | 4 | 3 | 4 | 4 | 3 | 3 | 4 | 3 | 3 | 3 | 1 | 1 | 41
7 | Obs & Gynecology ward | ECG Machine 6 Channel | 1 each for all DH/SDH | 11 | Technical Specification_Medical Devices_Cardiopulomonary Department | [14 empty] | 11 | bar: 1 to 9; 13 to 14
8 | Others | Syringe Pump | For Civil Hospital Aizawl | 1 | Technical Specifications of Medical Devices for Emergency Response System | [14 empty] | 1 | bar: 1
| SNCU |  | DH with NBSU
| Civil Hospital Aizawl |  | Hnahthial
| Champhai DH |  | Saitual
| Civil Hospital Lunglei |  | Khawzawl
| Lawngtlai DH |  | Kolasib DH
| Siaha DH |  | Serchhip DH
Mamit DH

## CHC Requirement
List for CHC_Tender Ref. 51961
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Lot No. | Department | Items | Remarks | Quantity to be supplied | Reference of Specification | Sakawrdai CHC | Kawrthah CHC | Ngopa CHC | Chawngte CHC | Biate CHC | Thenzawl CHC | Vairengte CHC | Hnahthial DH/ CHC | Saitual DH/ CHC | Khawzawl DH/ CHC | TOTAL
9 | NBSU | Multipara Monitor | 2 for each Faciltiy with NBSU NBSU newly functional at Thenzawl CHC and 1 each for Sakawrdai & Kawrthah CHC | 10 | Technical_Specifications_of_Medical_Devices_for_Neonatal__Pediatric_Care_ICUs | 1 | 1 |  |  |  | 2 |  | 2 | 2 | 2 | 10
10 | Others | Endoscopy Machine | 1 each for Saitual & Hnahthial | 2 | Technical specification_Specs attached | [10 empty] | 2 | bar: 8 to 9
|  | CHC | NBSU
| 1 | Sakawrdai | Hnahthial
| 2 | Kawrthah | Saitual
| 3 | Ngopa | Khawzawl
| 4 | Chawngte | Thenzawl
| 5 | Biate
| 6 | Thenzawl
| 7 | Vairengte

## Facility-Contact person
S/n | District | Facility | Types of facility | Name of Medical Officer
1 | Aizawl East | Sakawrdai CHC | CHC | Dr. R Lalrintluanga
2 | Aizawl East | Saitual CHC | CHC | Dr Zothanpari
3 | Champhai | Biate CHC | CHC | Dr Lalngaihawmi
4 | Champhai | Ngopa CHC | CHC | Dr C Lalhmingmawii
5 | Kolasib | Vairengte CHC | CHC | Dr Zoremmawia
6 | Lawngtlai | Chawngte CHC | CHC | Dr Andrew Kawlthangpuia
7 | Lunglei | Hnahthial CHC | CHC | Dr Lalrengpuii
8 | Mamit | Kawrthah CHC | CHC | Dr Lalmalsawmi
9 | Serchhip | Thenzawl CHC | CHC | Dr Remlalnghaki
10 | Aizawl West | Kulikawn SDH | SDH | Dr James RE Mawia
11 | Lunglei | Tlabung SDH | SDH | Dr V Lalremruata
12 | Aizawl West | Mizoram State Health Care Society (MSHCS) |  | Dr Biakthansangi