PS-08 - Infant scale with weighing trouser

**Description**

# *Hanging mechanical infant scale, with weighing trousers. Mechanical spring type, no electronics.*

**Reference Picture**



| Brand / Marque | |  | |
| --- | --- | --- | --- |
| Model / Modèle | |  | |
| Model code as per manufacturer classification / Numéro de référence du produit fournisseur | |  | |
| Manufacturer name / Nom du Fabricant | |  | |
| Manufacturing site / Site du Fabricant | |  | |
| Country of manufacturing / Pays de fabrication | |  | |
| Country of origin / Pays d'origine | |  | |
|  |  |  |  |
|  | **UNOPS Minimum technical requirements // Exigences techniques minimales de l'UNOPS** | **Complies (Yes/No) // Conforme (Oui/Non)** | **Comments/ Technical data //**  **Commentaires/Données techniques** |
| **A** | **Functionality and Performance / Fonctionnalité et performances** |  |  |
| 1 | Round dial with needle, diameter of at least 20 cm. |  |  |
| 2 | Body material: metal (stainless steel or metal with anticorrosive treatment), or plastic (ABS or similar). |  |  |
| 3 | Fit with 2 hooks: Upper hook for fixation and lower hook for attaching weighing trousers. Stainless steel, high-grade galvanized steel, or similar metal with corrosion resistant treatment. |  |  |
| 4 | Readout at least in kg |  |  |
| 5 | Capacity of at least 25 kg. |  |  |
| 6 | Graduation: at least 100 g. |  |  |
| 7 | Zero adjustment. |  |  |
| **B** | **Accessories included** |  |  |
| 1 | Two (2) Weighing trousers, waterproof and washable |  |  |
| **C** | **Certifications and post sales included in the offered price** |  |  |
| 1 | All the requirements included in the document “Certification, technical documentation and related services requirements: **type II for non-medical devices**” are applicable. |  |  |
| **D** | **Supplied with** |  |  |
| 1 | Instructions for assembly, use, reset to zero and cleaning in pictograms. |  |  |
| 2 | Tools necessary for assembly. |  |  |
| 3 | Accessories included in the price offered. | N/A |  |
| 4 | Consumables included in the price offered. | N/A |  |
| **E** | **ANY DEVIATIONS OR SUPERIOR CHARACTERISTICS MUST BE INDICATED BELOW // TOUTE DÉVIATION OU CARACTÉRISTIQUE SUPÉRIEURE DOIT ÊTRE INDIQUÉE CI-DESSOUS :** | | |
|  | | |