PS-44 - Measuring tape

**Description**

# *Body measuring tape.*

**Reference Picture**



| Brand / Marque | |  | |
| --- | --- | --- | --- |
| Model / Modèle | |  | |
| Model code as per manufacturer classification / Numéro de référence du produit fournisseur | |  | |
| Manufacturer name / Nom du Fabricant | |  | |
| Manufacturing site / Site du Fabricant | |  | |
| Country of manufacturing / Pays de fabrication | |  | |
| Country of origin / Pays d'origine | |  | |
|  |  |  |  |
|  | **UNOPS Minimum technical requirements // Exigences techniques minimales de l'UNOPS** | **Complies (Yes/No) // Conforme (Oui/Non)** | **Comments/ Technical data //**  **Commentaires/Données techniques** |
| **A** | **Functionality and Performance / Fonctionnalité et performances** |  |  |
| 1 | Reusable. |  |  |
| 2 | Retractable in its case, automatically or by button. |  |  |
| 3 | Mechanism for hooking the tip of the tape into the case to keep it in position. |  |  |
| 4 | Tape material: Flexible, not extensible PVC, vinyl-coated fiberglass or similar material. |  |  |
| 5 | Case material: ABS. |  |  |
| 6 | Measuring length: up to at least 150 cm. |  |  |
| 7 | Graduation: 1 mm. |  |  |
|  | Resistant to corrosion and the use of hospital-grade disinfectants. |  |  |
| **B** | **Accessories included** |  |  |
| 1 | Set of 2 pieces of Mid-upper arm circumference tapes (MUAC)  a) Material: Flexible, not extensible polypropylene, polyethylene or similar material. Washable, reusable.  b) Measurement: up to at least 45 cm.  c) Graduation: 1 mm  d) With reading window  e) 3 coloured sections (red, orange and green) tape  f)Resistant to corrosion and the use of hospital-grade disinfectants. |  |  |
| **C** | **Certifications and post sales included in the offered price** |  |  |
| 1 | All the requirements included in the document “Certification, technical documentation and related services requirements: **type II for non-medical devices**” are applicable. |  |  |
| **D** | **Supplied with** |  |  |
| 1 | Detailed step-by-step instructions for use and cleaning in pictograms. |  |  |
| 2 | Accessories included in the price offered. | N/A |  |
| 3 | Consumables included in the price offered. | N/A |  |
| **E** | **ANY DEVIATIONS OR SUPERIOR CHARACTERISTICS MUST BE INDICATED BELOW // TOUTE DÉVIATION OU CARACTÉRISTIQUE SUPÉRIEURE DOIT ÊTRE INDIQUÉE CI-DESSOUS :** | | |
|  | | |